High Voltage System.

A multi-channel High Voltage system will be required to operate the LST detector. High voltage values around 5 kV are typical with single tube currents less than 150 nA. In the baseline design each single layer tube will have four independent HV connections. For the double layer solution we consider using two HV connections per tube, one for each layer. This approach of multiple HV sections will help to reduce detector inefficiencies should cells in a tube develop HV problems. Each HV channel will include a current monitor with a resolution of better than 10 nA and a protection circuit that automatically limits the current and prevents a tube from getting permanently damaged. In addition, the HV system provides a mechanism to completely disconnect individual tubes.

In the baseline design each HV section of a tube will be connected to separate channels of the high voltage power supply. As an alternative we also consider solutions with 2 or more (tube) HV sections ganged together and controlled by a single HV power supply channel. In this scenario we would still maintain separate HV wires to each section allowing us to turn us to disconnect a cable should parts of a tube develop a high voltage problem.

The HV system will consist of the following building blocks that will be discussed in greater detail in the following sections:

- HV power supply with current monitor and over current protection.

- HV distribution

- HV cables from the electronics house to the detector

- HV connector including HV capacitor

|  | Double Layer | Large Cells |
| --- | --- | --- |
| Individual LST tubes | 2106 | 1164 |
| HV Channels (Power supply) (depending on design choices, ie the number of tube sectors ganged together) | 1053 - 4212 | 1164 - 4656 |
| Worst case rate per tube (2 Hz/cm2) | 6.2 kHz | 11 kHz |
| Max. tube current | 620 nA (per layer) | 1140 nA |
| Max. current per HV channel | 620 – 2480 nA | 285 – 1140 nA |
| Typical rate per tube (0.2 Hz/cm2) | 620 Hz | 1.1 kHz |
| Typical tube current | 62 nA (per layer) | 110 nA |
| Typical current per HV channel | 62 – 248 nA | 28 – 110 nA |

Table 1 HV Requirements

The general requirements for the HV system are summarized in Table 1.

## Over-Current Protection

Limited streamer tubes, especially during the very first part of their life, have a certain probability of having self-sustained discharges resulting in a large current flow. It was shown that leaving an LST in such a condition results in permanent damage. To prevent this problem, limited streamer tubes are usually conditioned over extended periods before being installed in the detector. Nevertheless,

discharges will still happen from time to time. To protect the LST under these circumstances we adopted a passive circuit that was developed by the University of Padova for the ZEUS LST detector. The circuit diagram is shown in Figure 1 and its current limiting abilities are demonstrated in Figure 2. We tested the circuit at Ohio State and decided to use it for the BaBar LST detector.

## HV cables

We will use a multi-conductor HV cable made by Kerpen-Kabel. A picture of the cable is shown in Figure 3. The outer jacket is halogen free and flame retardant. It comes in 25 wires or 37 wires configurations (others available on request) and is rated for 6 KV (wire to wire). Factory tests are performed at 12 KV. We have obtained a 25 m long sample of this cable which will allow us to perform our own measurements and to setup a complete HV test stand with cable lengths comparable to those we will encounter in IR-II. The baseline design foresees one high voltage cable per gap per sextant.

## HV Connector, HV Capacitor

The current baseline solution includes a direct capacitive coupling between anodes and cathodes. This is similar to other LST detector designs. SLD, for example, used a 2 nF capacitor between ground and HV mounted on a separate HV board close (< 1 m) to the detector. A schematic drawing of the SLD strip read-out is shown in Figure 4 (from NIM A290 353-369). We studied the effect of the HV capacitor on the signals picked up by the strips and concluded that a 500 pF – 1000 pF capacitor has to be used. The exact value will be determined experimentally once the final design choices have been made and the prototype tubes become available.

The 155 resistor was included by SLD to reduce cross talk between channels. Its value was determined experimentally. Again, we will study this with our LST prototypes.

Inserted in the end-caps of each large cell tube are four 2-mm banana plugs and one 2-mm jack for high voltage and ground connections. The double layer design would use two HV plugs. The ground connection (one jack) would be shared by both layers. Figure 5 shows our design for an integrated HV connector that besides the HV and ground jacks and plugs includes the HV capacitors

and eventually the 155  resistor, should we decide to follow the SLD design. A similar solution for the large cell tubes will be available in early summer. Figure 6 shows the complete connector with a simplified model of a tube endcap.

## HV Power Supply and Distribution

The high voltage power supplies for the LST detector have to provide regulated HV up to 5 KV, current monitoring and over-current protection.

CAEN SY546 HV Supply

These requirements are satisfied by a commercial system available from CAEN. This system, the SY546 developed for the LVD experiment at the "Gran Sasso" laboratory, consists of 4u high crates hosting 8 HV boards.  Each board has one HV regulated power supply that feeds 12 output channels. All outputs are set to the same voltage but the current of each channel is individually monitored and alarm thresholds can be set for each of them.

The SY546 is equipped with a CAENet controller and similar CAEN power supplies are already in use in BaBar. Hence we expect the integration with the BaBar detector control system to be straightforward. The SY546 system is no longer in the CAEN catalogue but the Padova group has learnt from CAEN that they are willing (and able) to produce this system for BaBar should we decide to go this route. Initial cost estimates are at $160,000 for 1000 HV channels. We obtained several SY546 crates with 96 channels each from LVD that we will use for the quality control work at Pol. Hi. Tech. An additional crate was sent to Ohio State for evaluation purposes. We have obtained two PCI-based system controller modules and the development of the control software has started. We have also learnt that an opto-coupler component in the SY546 modules is failing. For a nominal fee this can be repaired by CAEN. The SY546 power supply has a built in trip mechanism that shuts off an output channel should the current rise above a preset threshold. However, it does not include the over-current protection circuit discussed above. We are investigating if and how this circuit can be added to the SY546 HV boards.

OSU Custom Designed HV System

We have to develop a custom high voltage power system tailored to the needs of the BaBar LST detector. While the SY546 system might provide an adequate HV solution for the LST detector there are still many outstanding issues (repairs, availability, affordability, protection circuit) that make this an unlikely solution.

OSU has come up with a design that is quite similar to the SY546 system with a number of output channels sharing a common high voltage setting. Here are a few of the relevant features

- Self-contained unit ("Pizza Box", 4u high) with 96 channels

- Outputs are protected against discharge (ZEUS protection circuit)

- Integrated controller for ramping, current monitor, HV setting etc. (1.5 V resolution)

- Individual current measurement for each channel (10 nA resolution)

- Fast Ethernet Interface to control system.

- 2 NIM inputs for a general inhibit and an automatic ramp-down of the hig voltage during injection.

- Significantly reduced cost per channel compared to CAEN SY546 system.

A schematic diagram of this design is shown in Figure 7. Several high voltage transistors are configured as a HV Op-Amp that provides an adjustable output voltage for 48 channels. As in the SY546 system the output channels are set to the same voltage but current monitoring and over-current protection are done on a channel by channel basis. As is indicated in Figure 7 the current limiting circuit from ZEUS is integrated in this design. Not shown in Figure 7 is the digital part which includes a Xilinx FPGA and a micro-controller with an integrated FastEthernet interface. A first prototype with 5 channels (Figure 8) has been built and was successfully tested (linearity of current monitor, output protection, noise and ripple). The current monitor circuit is based on a VCO chip (voltage to frequency convert) and offers fast response time on the order of a few micro-seconds. A complete 96-channel prototype power supply is under construction. The OSU HV system is the baseline solution for the LST detector.

# Text boxes

Figure 6 HV connector and endcap prototypes.

Figure 5 Integrated HV connector prototype for double layer LST tubes.

Figure 4 SLD streamer tube read-out

Figure 3 Multi-wire HV cable

Figure 1 Over-Current Protection Circuit (ZEUS)

Figure 7 HV power supply block diagram for the OSU power supply.

Figure 8 OSU 5-channel prototype HV supply

Figure 2 High voltage as function of chamber current using the ZEUS protection circuit.