## Slide 1
OSU 06/18/08
Ultrabroadband Rotational Spectroscopy: Novel Applications of a Shape Sensitive Detector
BRIAN C. DIAN
Purdue University
Department of Chemistry
560 Oval Dr,
West Lafayette, IN 47907-2084
Chandana Karunatilaka
Post-Doc
Amanda Shirar
Graduate Student
Giana Storck
Graduate Student
Kelly Hotopp
Graduate Student
Erin Blaze Biddle
Undergraduate
Ricky Crawley Jr.
Undergraduate
Notes: <number>

## Slide 2
OSU 06/18/08
Development of Ultrabroadband Microwave Techniques
Multi-octave coverage (7.5-18.5 GHz)
Fast acquisition times (Full bandwidth in seconds or less)
High Sensitivity
Ultrashort pulse times (100 psec)
Relatively easy to couple in laser

## Slide 3
OSU 06/18/08
Ultrabroadband Microwave Techniques
Ideally Suited for Dynamical Studies
Complimentary to fluorescence- and mass-based detection methods
Molecular shape gives rise to a unique spectral signature
Spectrum  1/r2 ( = reduced mass)
Rotational transition moment relies on permanent dipole moment
Ideally suited to ‘dark’ spectroscopy

## Slide 4
OSU 06/18/08
Our Current Experimental Focus
Excited state dynamics
  Probe structural dynamics AFTER excited state processes (ISC, IC) occur
  Amanda Shirar (RA02)
Characterization of combustion dyanmics
  Build a molecular library of spectral fingerprints produced in discharge spectra
  Giana Storck (RA03)
Development of ultrabroadband 2D rotational spectroscopy
  Rotational analogs of NMR 2D techniques (COSY etc.)
  Kelly Hotopp (RA13)

## Slide 5
OSU 06/18/08
W
W
0
0
Coupling Scheme 2
W
W
0
0
Coupling Scheme 1
2-D DRS: Selective Excitation
(Model Calculations)
0 ns
10 ns
20 ns
30 ns
40 ns
0 ns
10 ns
20 ns
30 ns
40 ns
Notes: <number>

## Slide 6
OSU 06/18/08
Ultrabroadband MW Input
Experimental Set-Up
XYZ Translation Stage
Pulsed Valve
Manual Mini Balle-Flygare FTMW Cavity
UV Input
Supersonic Expansion Cools Molecules ~ 2 K
UV Laser ~ 0.4 cm-1 Bw
20-35 mJ 420-270 nm
Ultrabroadband Chamber Packed
With Microwave Absorber
Notes: <number>

## Slide 7: Cavity Setup
OSU 06/18/08
MW
Synthesizer
Arb
12GHz
Scope
50/50
 + 30 MHz
30 MHz

 + 

30 MHz
+ 
Generate
Microwave
Frequency
Cavity
Mixing
Signal
Detection
 - Molecular Frequency
 - Frequency Shift
2Gs/s 100MHz Output
Complete Phase,
Frequency, Amplitude Control
Notes: <number>

## Slide 8
OSU 06/18/08
18.9 GHz
PDRO
12 GHz
Oscilloscope
(40 Gs/s)
200W
Arbitrary
Waveform
Generator
10Gs/s
100 MHz Quartz
Oscillator
GHz Chirped Pulse
0.1-5 GHz
8-18 GHz
Pulsed Sample
Nozzle
0.9-10.9 GHz
26.9-36.9 GHz
1)
2) Interaction
3)
Free Induction
Decay
Setup #1: Mix at 13GHz (Pulse Shaping)
20 dB
13.0 GHz
PDRO
Notes: <number>

## Slide 9
OSU 06/18/08
18.9 GHz
PDRO
12 GHz
Oscilloscope
(40 Gs/s)
200W
Arbitrary
Waveform
Generator
10Gs/s
100 MHz Quartz
Oscillator
GHz Chirped Pulse
0.1-5 GHz
8-18 GHz
Pulsed Sample
Nozzle
0.9-10.9 GHz
26.9-36.9 GHz
1)
2) Interaction
3)
Free Induction
Decay
Setup #1: Mix at 13GHz (Pulse Shaping)
20 dB
13.0 GHz
PDRO
Notes: <number>

## Slide 10
OSU 06/18/08
Full Sweep Time Domain
Full Sweep Frequency Domain
Time and Frequency Domain Pictures of Ultrabroadband MW Pulses: Mix Off 13 GHz

## Slide 11
OSU 06/18/08
FROG: 1 ns Sinc Pulse Mixed with 4 GHz sine wave on 10 GHz Carrier

## Slide 12
OSU 06/18/08
18.9 GHz
PDRO
12 GHz
Oscilloscope
(40 Gs/s)
200W
Arbitrary
Waveform
Generator
10 Gs/s
100 MHz Quartz
Oscillator
GHz Chirped Pulse
1.875-4.625 GHz
7.5-18.5 GHz
Pulsed Sample
Nozzle
0.4-11.4 GHz
1) Detection
2)
3)
Free Induction
Decay
Set Up 2: x4 Frequency Stretcher
x4
20 dB
40 dB
LNA: NF ~1.2
Notes: <number>

## Slide 13
OSU 06/18/08
Time and Frequency Domain Pictures of Ultrabroadband MW Pulses: x4 Frequency Stretch
Full Sweep Frequency Domain
Full Sweep Time Domain
Notes: <number>

## Slide 14
OSU 06/18/08
Low Order Harmonic Distortion from Quadroupler
Frequency Resolved Optical Gate (FROG) Chirped Pulse (Linear frequency sweep)
Harmonic Distortion from Arb.
High Order Harmonic Distortion (Aliased) Signal
Notes: <number>

## Slide 15
OSU 06/18/08
Phase Control
Phase of the excitation pulse is imprinted on the molecular emission

## Slide 16
OSU 06/18/08
18.9 GHz
PDRO
12 GHz
Oscilloscope
(40 Gs/s)
200W
Arbitrary
Waveform
Generator
100 MHz Quartz
Oscillator
Pulsed Sample
Nozzle
0.9-10.9 GHz
26.9-36.9 GHz
1)
2) Interaction
3)
Free Induction
Decay
x4
20 dB
How Do we Do This? Condensed Circuit Diagram
GHz Chirped Pulse
1.875-4.625 GHz
7.5-18.5 GHz
Notes: <number>

## Slide 17
OSU 06/18/08
18.9 GHz
PDRO
12 GHz
Oscilloscope
(40 Gs/s)
200W
Arbitrary
Waveform
Generator
100 MHz Quartz
Oscillator
Pulsed Sample
Nozzle
0.9-10.9 GHz
26.9-36.9 GHz
1)
2)
3) Detection
Free Induction
Decay
x4
20 dB
How Do we Do This? Condensed Circuit Diagram
GHz Chirped Pulse
1.875-4.625 GHz
Notes: <number>

## Slide 18: Ground State Spectrum of 1-chloro-1-flouroethylene
OSU 06/18/08
476 lines assigned to date
~ 18,000:1 S/N across entire bandwidth (rms)
~12,000:1 S/N (Pk to Pk)
Lines split by nuclear hyperfine of Cl
Background subtracted with valve off
13C fit in natural abundance
Details RH14
35Cl
37Cl
Hotband
*H.M. Pickett, J Mol Spec. 148 (1991) 371.

## Slide 19
OSU 06/18/08
Summary
Dual Cavity/CP-FTMW Setup
Two CP-FTMW generation schemes
  Mix off of 13 GHz (Pulse Shaping)
  X4 Frequency Stretch (General Excitation)
Complete Amplitude, Frequency, and Phase control of excitation pulse
Ultrashort pulse times (1ns or less)
Well suited for dynamical measurements

## Slide 20: Acknowledgements
OSU 06/18/08
Funding:
  Purdue University
  Camille and Henry Dreyfus Young Faculty Award
  ACS Petroleum Research Foundation
Chandana Karunatilaka: Post-Doc
Amanda Shirar: Graduate Student
Giana Storck: Graduate Student
Kelly Hotopp: Graduate Student
Erin Blaze Biddle : Undergraduate
Ricky Crawley Jr.: Undergraduate
Students:
Notes: <number>

## Slide 21
OSU 06/18/08
Chamber
PLDRO
(18.9 GHz)
Power Supply
(P.S.)
12 GHz Scope
Filter
Arb
D8
Analog
Waveguide
Pulsed Valve Driver
D3
D1
D2
Trig In
Ext Trig
BNC
In Out
Quartz Osc.
Ref In
SMA
RF Clock Input
Rb Clock
10 MHz
10 MHz
Insulated MW
Ch 3
Ch 2
Marker 1
500 MHz Scope
GPIB
GPIB
RS232
COM1
DG535
Trigger
Ext Ref In
RF
IF
LO
To P.S.
To P.S.
To P.S.
200W
100 MHz
To P.S.
50  Circuit
To Switch
To Amp
To 18.9 GHz
To Quad. GHz
To Quartz Oscillator
D7
Masterclock
Discharge
Nozzle
Pulse
Generator
Mass Gate
Timing Controller
quadrupolar
x4
To
P.S.
6 dB
Notes: <number>