## Slide 1: Off-axis cavity ring-down spectroscopy based on a continuous-wave optical parametric oscillator

## Slide 2: Contents
Motivation
Off-axis technique
Experimental Setup
Results
Summary

## Slide 3: Motivation
Mid-infrared spectroscopy (2-4 μm)
  Fundamental transition of ro-vibrational states
In CRDS spectral resolution is limited by the free spectral range (FSR)
  Low pressure?
    Piezo scanning?
Frequency
Transmission
FSR

## Slide 4: Off-axis technique
Re-entrant condition
  Degeneracy of transverse electro-magnetic modes (TEMnm)
  Magic length
  Divides the FSR to N groups of degenerated modes
  The beam returns to the starting point after N round trips
Frequency
Transmission
J. Courtois, A. K. Mohamed and D. Romanini Opt. Express 18(5), 1 March 2010.

## Slide 5: Experimental Setup
To wavemeter
M
HWP
PBS
Optoisolator
Residual Pump
HR
HR
MgO:PPLN Nonlinear Crystal
L
DBS
AOM
20 W Yb pump laser, 1064nm
M
M
M
M
L
DBS
PD
L
M
L
OPO
’’Mode Matching Optics’’

## Slide 6: Experimental Setup
1,0
1,5
2,0
2,5
3,0
3,5
Pump at
1,064 μm
Signal tunable
1,5...1,75 μm
Idler tunable
2,7...3,45 μm
Wavelength (μm)
Optical parametric oscillator (OPO)
  CW singly resonant
Optical cavity
  N=4, K=1, R=1 m
  Lmagic~ 0.293 m

## Slide 7: Results
On-axis injection (FSR = 500 MHz)

## Slide 8: Results
Off-axis injection (FSR = 125 MHz)

## Slide 9: Results
Stability of the cavity
  N=4, K=1, R=0.5 m
  Lmagic~ 0.146 m

## Slide 10: Results

## Slide 11: Results
Ring-down distributions
  Exitation of higher TEM modes

## Slide 12: Summary
Off-axis technique decrease the FSR by N times
  Better spectral resolution
  No mode matching
Problems with higher TEM modes
  Different spatial distribution on mirror surfaces leads to deviations in ring-down times
Solving the problem
  Excite even higher TEM modes
  Separate the ring-down times

## Slide 13: Thank You!
Acknowledgements
  Prof. Lauri Halonen
  Markku Vainio
  Mikael Siltanen
  The People in the Laboratory of
  Physical Chemistry, University of
  Helsinki