## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Opto-pack QA |  | 895.0399 | 856.0934 | 915.7605 | 963.4744 | 914.0956 | 985.1002 | 969.0645 | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post-mount |  | 1300.4607 | 1057.0858 | 1512.2174 | 1464.2818 | 1198.6101 | 1367.9115 | 1268.8744 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Opto-board at -10C |  | 1431.6142 | 1117.7179 | 1304.5753 | 1314.0423 | 1244.3666 | 1392.6304 | 718.0606 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Opto-board at 50C |  | 1304.925 | 1165.4303 | 1181.3187 | 1148.9632 | 1043.8695 | 1303.4416 | 798.3931 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Opto-board QA |  | 1434.1342 | 1150.2472 | 1182.556 | 1312.5175 | 1208.2063 | 1418.6587 | 774.9817 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Opto-pack QA |  | 810.0458 | 871.0613 | 830.7969 | 889.5205 | 915.9563 | 965.2312 | 986.8402 | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post-mount |  | 1100.8361 | 1230.7071 | 1159.9233 | 1110.6494 | 1333.2944 | 1141.6008 | 1175.3085 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Opto-board at -10C |  | 1216.661 | 1341.0878 | 1222.7292 | 1151.1812 | 1330.0712 | 1208.9877 | 1261.5809 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Opto-board at 50C |  | 1031.5456 | 1151.1093 | 1046.0806 | 1022.5871 | 1125.074 | 1042.5403 | 1096.0339 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Opto-board QA |  | 1190.3632 | 1322.8861 | 1192.8168 | 1137.4042 | 1291.133 | 1189.4045 | 1273.0996 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 340.9424 |  |  |  | 2020-02-03 |  |  |  | Fail
QA | mA | 342 | 378 | 336.8652 |  |  |  | 2020-02-03 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 1.0303 |  | 2020-02-03 |  |  |  | Fail
QA | uA | 1 | 1.0229 |  | 2020-02-03 |  |  |  | Fail
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.024501 | 0.025164 | 0.028782 | 0.029527 | 0.025048 | 0.035831 | 0.027567 | 0.024329 | 0.034569 | 0.029504 | 0.2047 | 0.031221 | 0.024456 | 0.024319 |  |  | Pass
Fall | ns | 1 | 0.51939 | 0.86365 | 0.36487 | 0.30453 | 0.51571 | 0.98117 | 0.28383 | 0.52193 | 0.5856 | 0.53282 | 0.4211 | 0.35054 | 0.36135 | 0.6662 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):02/03/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):02/03/2020 1: 0.58723; Date (DD/MM/YY):02/03/2020 2: 0.57312; Date (DD/MM/YY):02/03/2020 3: 0.59724; Date (DD/MM/YY):02/03/2020 4: 0.63041; Date (DD/MM/YY):02/03/2020 5: 0.63536; Date (DD/MM/YY):02/03/2020 6: 0.635; Initial: 7: 0.60802 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):02/03/2020 1: 0.58691; Date (DD/MM/YY):02/03/2020 2: 0.57828; Date (DD/MM/YY):02/03/2020 3: 0.61863; Date (DD/MM/YY):02/03/2020 4: 0.61656; Date (DD/MM/YY):02/03/2020 5: 0.63567; Date (DD/MM/YY):02/03/2020 6: 0.63978; Initial: 7: 0.63337 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):02/03/2020 1: 0.59472; Date (DD/MM/YY):02/03/2020 2: 0.61699; Date (DD/MM/YY):02/03/2020 3: 0.61201; Date (DD/MM/YY):02/03/2020 4: 0.62914; Date (DD/MM/YY):02/03/2020 5: 0.63942; Date (DD/MM/YY):02/03/2020 6: 0.6634; Initial: 7: 0.67063 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):02/03/2020 1: 0.65979; Date (DD/MM/YY):02/03/2020 2: 0.69832; Date (DD/MM/YY):02/03/2020 3: 0.66977; Date (DD/MM/YY):02/03/2020 4: 0.67203; Date (DD/MM/YY):02/03/2020 5: 0.68237; Date (DD/MM/YY):02/03/2020 6: 0.69199; Initial: 7: 0.71413 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):02/03/2020 1: 0.15447; Date (DD/MM/YY):02/03/2020 2: 0.07819; Date (DD/MM/YY):02/03/2020 3: 0.18165; Date (DD/MM/YY):02/03/2020 4: 0.12261; Date (DD/MM/YY):02/03/2020 5: 0.19549; Date (DD/MM/YY):02/03/2020 6: 0.09247; Initial: 7: 0.0768 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):02/03/2020 1: 0.14584; Date (DD/MM/YY):02/03/2020 2: 0.07757; Date (DD/MM/YY):02/03/2020 3: 0.18664; Date (DD/MM/YY):02/03/2020 4: 0.11779; Date (DD/MM/YY):02/03/2020 5: 0.20369; Date (DD/MM/YY):02/03/2020 6: 0.09394; Initial: 7: 0.07117 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/03/2020 1: 12.351; Date (DD/MM/YY):02/03/2020 2: 12.763; Date (DD/MM/YY):02/03/2020 3: 12.066; Date (DD/MM/YY):02/03/2020 4: 12.774; Date (DD/MM/YY):02/03/2020 5: 12.463; Date (DD/MM/YY):02/03/2020 6: 12.466; Initial: 7: 13.059
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/03/2020 1: 12.25; Date (DD/MM/YY):02/03/2020 2: 12.735; Date (DD/MM/YY):02/03/2020 3: 12.089; Date (DD/MM/YY):02/03/2020 4: 12.798; Date (DD/MM/YY):02/03/2020 5: 12.39; Date (DD/MM/YY):02/03/2020 6: 12.411; Initial: 7: 12.986
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/03/2020 1: 11.514; Date (DD/MM/YY):02/03/2020 2: 12.2; Date (DD/MM/YY):02/03/2020 3: 11.278; Date (DD/MM/YY):02/03/2020 4: 12.145; Date (DD/MM/YY):02/03/2020 5: 11.657; Date (DD/MM/YY):02/03/2020 6: 11.854; Initial: 7: 12.526
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/03/2020 1: 11.518; Date (DD/MM/YY):02/03/2020 2: 12.187; Date (DD/MM/YY):02/03/2020 3: 11.233; Date (DD/MM/YY):02/03/2020 4: 12.159; Date (DD/MM/YY):02/03/2020 5: 11.629; Date (DD/MM/YY):02/03/2020 6: 11.868; Initial: 7: 12.548
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/03/2020 1: 11.9009; Date (DD/MM/YY):02/03/2020 2: 12.4671; Date (DD/MM/YY):02/03/2020 3: 11.654; Date (DD/MM/YY):02/03/2020 4: 12.4795; Date (DD/MM/YY):02/03/2020 5: 12.0341; Date (DD/MM/YY):02/03/2020 6: 12.1385; Initial: 7: 12.801
Pos Width mmean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/03/2020 1: 11.9141; Date (DD/MM/YY):02/03/2020 2: 12.4714; Date (DD/MM/YY):02/03/2020 3: 11.6548; Date (DD/MM/YY):02/03/2020 4: 12.4685; Date (DD/MM/YY):02/03/2020 5: 12.009; Date (DD/MM/YY):02/03/2020 6: 12.118; Initial: 7: 12.7829
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):02/03/2020 1: 47.6089; Date (DD/MM/YY):02/03/2020 2: 49.7447; Date (DD/MM/YY):02/03/2020 3: 46.2118; Date (DD/MM/YY):02/03/2020 4: 49.5708; Date (DD/MM/YY):02/03/2020 5: 47.8324; Date (DD/MM/YY):02/03/2020 6: 49.0907; Initial: 7: 51.3013 | Pass
Duty Cycle @ IPIN = 50uA | % | 46 | 54 | Date (DD/MM/YY):02/03/2020 1: 47.6361; Date (DD/MM/YY):02/03/2020 2: 49.8845; Date (DD/MM/YY):02/03/2020 3: 46.6447; Date (DD/MM/YY):02/03/2020 4: 49.9404; Date (DD/MM/YY):02/03/2020 5: 48.1556; Date (DD/MM/YY):02/03/2020 6: 48.5859; Initial: 7: 51.2371 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):02/03/2020 1: 47.6667; Date (DD/MM/YY):02/03/2020 2: 49.8878; Date (DD/MM/YY):02/03/2020 3: 46.6416; Date (DD/MM/YY):02/03/2020 4: 49.8795; Date (DD/MM/YY):02/03/2020 5: 48.0433; Date (DD/MM/YY):02/03/2020 6: 48.4794; Initial: 7: 51.1431 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):02/03/2020 1: 1.1298; Date (DD/MM/YY):02/03/2020 2: 1.148; Date (DD/MM/YY):02/03/2020 3: 1.1178; Date (DD/MM/YY):02/03/2020 4: 1.1436; Date (DD/MM/YY):02/03/2020 5: 1.1521; Date (DD/MM/YY):02/03/2020 6: 1.1347; Initial: 7: 1.1351 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):02/03/2020 1: 1.1422; Date (DD/MM/YY):02/03/2020 2: 1.1422; Date (DD/MM/YY):02/03/2020 3: 1.1361; Date (DD/MM/YY):02/03/2020 4: 1.1376; Date (DD/MM/YY):02/03/2020 5: 1.1581; Date (DD/MM/YY):02/03/2020 6: 1.1372; Initial: 7: 1.1197 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):02/03/2020 1: 1.0749; Date (DD/MM/YY):02/03/2020 2: 1.0912; Date (DD/MM/YY):02/03/2020 3: 1.094; Date (DD/MM/YY):02/03/2020 4: 1.0926; Date (DD/MM/YY):02/03/2020 5: 1.0935; Date (DD/MM/YY):02/03/2020 6: 1.1017; Initial: 7: 1.096 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):02/03/2020 1: 0.95038; Date (DD/MM/YY):02/03/2020 2: 0.95492; Date (DD/MM/YY):02/03/2020 3: 0.96146; Date (DD/MM/YY):02/03/2020 4: 0.96087; Date (DD/MM/YY):02/03/2020 5: 0.9617; Date (DD/MM/YY):02/03/2020 6: 0.9593; Initial: 7: 0.9657 | Fail
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/03/2020 1: 0.42532; Date (DD/MM/YY):02/03/2020 2: 0.42715; Date (DD/MM/YY):02/03/2020 3: 0.42027; Date (DD/MM/YY):02/03/2020 4: 0.42183; Date (DD/MM/YY):02/03/2020 5: 0.4328; Date (DD/MM/YY):02/03/2020 6: 0.41525; Initial: 7: 0.40535 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/03/2020 1: 0.40289; Date (DD/MM/YY):02/03/2020 2: 0.40547; Date (DD/MM/YY):02/03/2020 3: 0.3986; Date (DD/MM/YY):02/03/2020 4: 0.39878; Date (DD/MM/YY):02/03/2020 5: 0.40606; Date (DD/MM/YY):02/03/2020 6: 0.39419; Initial: 7: 0.39714 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/03/2020 1: 0.37761; Date (DD/MM/YY):02/03/2020 2: 0.3858; Date (DD/MM/YY):02/03/2020 3: 0.38311; Date (DD/MM/YY):02/03/2020 4: 0.37932; Date (DD/MM/YY):02/03/2020 5: 0.37948; Date (DD/MM/YY):02/03/2020 6: 0.38927; Initial: 7: 0.37682 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/03/2020 1: 0.39133; Date (DD/MM/YY):02/03/2020 2: 0.40847; Date (DD/MM/YY):02/03/2020 3: 0.40889; Date (DD/MM/YY):02/03/2020 4: 0.40168; Date (DD/MM/YY):02/03/2020 5: 0.39873; Date (DD/MM/YY):02/03/2020 6: 0.39913; Initial: 7: 0.40094 | Pass
Bit errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):02/03/2020 1: 0; Date (DD/MM/YY):02/03/2020 2: 0; Date (DD/MM/YY):02/03/2020 3: 0; Date (DD/MM/YY):02/03/2020 4: 0; Date (DD/MM/YY):02/03/2020 5: 0; Date (DD/MM/YY):02/03/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):02/03/2020 1: 0; Date (DD/MM/YY):02/03/2020 2: 0; Date (DD/MM/YY):02/03/2020 3: 0; Date (DD/MM/YY):02/03/2020 4: 0; Date (DD/MM/YY):02/03/2020 5: 0; Date (DD/MM/YY):02/03/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/03/2020 1: 0; Date (DD/MM/YY):02/03/2020 2: 0; Date (DD/MM/YY):02/03/2020 3: 0; Date (DD/MM/YY):02/03/2020 4: 0; Date (DD/MM/YY):02/03/2020 5: 0; Date (DD/MM/YY):02/03/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/03/2020 1: 0; Date (DD/MM/YY):02/03/2020 2: 0; Date (DD/MM/YY):02/03/2020 3: 0; Date (DD/MM/YY):02/03/2020 4: 0; Date (DD/MM/YY):02/03/2020 5: 0; Date (DD/MM/YY):02/03/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass