## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Opto-pack QA |  | 952.8303 | 934.254 | 949.4651 | 1078.9428 | 981.4131 | 1041.4251 | 1039.4844 | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post-mount |  | 1099.7476 | 940.5929 | 1256.7194 | 1303.4383 | 1170.9513 | 1155.7025 | 777.6768 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Opto-board at -10C |  | 1218.4049 | 961.8192 | 1230.3453 | 1307.4547 | 1078.9527 | 1108.3456 | 950.717 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Opto-board at 50C |  | 1090.3377 | 857.9944 | 1072.377 | 1178.0344 | 982.8049 | 984.3477 | 835.1095 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Opto-board QA |  | 1213.1195 | 950.006 | 1216.9156 | 1294.8874 | 1078.7055 | 1095.7888 | 937.9836 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Opto-pack QA |  | 983.5611 | 992.9505 | 931.0349 | 982.5745 | 999.3068 | 1034.9414 | 1028.7014 | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post-mount |  | 1310.196 | 1362.2382 | 1259.9025 | 1205.6001 | 1173.7616 | 1192.3278 | 1135.7607 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Opto-board at -10C |  | 1341.0486 | 1416.325 | 1295.3384 | 1246.1044 | 1426.8494 | 1213.4435 | 1175.1861 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Opto-board at 50C |  | 1177.6403 | 1230.0816 | 1146.764 | 1111.8526 | 1256.3534 | 1076.352 | 1032.7518 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Opto-board QA |  | 1333.2839 | 1376.5351 | 1277.2592 | 1253.7736 | 1389.6921 | 1184.7878 | 1165.6264 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 330.3223 |  |  |  | 2020-02-03 |  |  |  | Fail
QA | mA | 342 | 378 | 325.8911 |  |  |  | 2020-02-03 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 1.0242 |  | 2020-02-03 |  |  |  | Fail
QA | uA | 1 | 1.0209 |  | 2020-02-03 |  |  |  | Fail
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.026404 | 0.042466 | 0.033843 | 0.028217 | 0.035651 | 0.029438 | 0.024808 | 0.026747 | 0.05634 | 0.026274 | 0.034446 | 0.026106 | 0.025312 | 0.028387 |  |  | Pass
Fall | ns | 1 | 0.81142 | 0.50135 | 0.36104 | 0.77251 | 0.43735 | 0.56848 | 0.58245 | 0.8134 | 0.75621 | 0.49585 | 0.45198 | 0.46911 | 0.42764 | 0.42056 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):02/03/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):02/03/2020 1: 0.59669; Date (DD/MM/YY):02/03/2020 2: 0.57756; Date (DD/MM/YY):02/03/2020 3: 0.59289; Date (DD/MM/YY):02/03/2020 4: 0.60094; Date (DD/MM/YY):02/03/2020 5: 0.637; Date (DD/MM/YY):02/03/2020 6: 0.63682; Initial: 7: 0.63281 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):02/03/2020 1: 0.59165; Date (DD/MM/YY):02/03/2020 2: 0.6012; Date (DD/MM/YY):02/03/2020 3: 0.61009; Date (DD/MM/YY):02/03/2020 4: 0.62165; Date (DD/MM/YY):02/03/2020 5: 0.63383; Date (DD/MM/YY):02/03/2020 6: 0.62975; Initial: 7: 0.63887 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):02/03/2020 1: 0.62126; Date (DD/MM/YY):02/03/2020 2: 0.63095; Date (DD/MM/YY):02/03/2020 3: 0.61294; Date (DD/MM/YY):02/03/2020 4: 0.6196; Date (DD/MM/YY):02/03/2020 5: 0.63438; Date (DD/MM/YY):02/03/2020 6: 0.63763; Initial: 7: 0.62279 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):02/03/2020 1: 0.6707; Date (DD/MM/YY):02/03/2020 2: 0.67905; Date (DD/MM/YY):02/03/2020 3: 0.67699; Date (DD/MM/YY):02/03/2020 4: 0.67791; Date (DD/MM/YY):02/03/2020 5: 0.6714; Date (DD/MM/YY):02/03/2020 6: 0.67795; Initial: 7: 0.7156 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):02/03/2020 1: 0.11721; Date (DD/MM/YY):02/03/2020 2: 0.08782; Date (DD/MM/YY):02/03/2020 3: 0.10839; Date (DD/MM/YY):02/03/2020 4: 0.1563; Date (DD/MM/YY):02/03/2020 5: 0.16363; Date (DD/MM/YY):02/03/2020 6: 0.24657; Initial: 7: 0.12701 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):02/03/2020 1: 0.11163; Date (DD/MM/YY):02/03/2020 2: 0.07282; Date (DD/MM/YY):02/03/2020 3: 0.0905; Date (DD/MM/YY):02/03/2020 4: 0.16039; Date (DD/MM/YY):02/03/2020 5: 0.15276; Date (DD/MM/YY):02/03/2020 6: 0.24423; Initial: 7: 0.12728 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/03/2020 1: 12.374; Date (DD/MM/YY):02/03/2020 2: 12.433; Date (DD/MM/YY):02/03/2020 3: 12.686; Date (DD/MM/YY):02/03/2020 4: 12.33; Date (DD/MM/YY):02/03/2020 5: 12.549; Date (DD/MM/YY):02/03/2020 6: 13.347; Initial: 7: 12.813
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/03/2020 1: 12.24; Date (DD/MM/YY):02/03/2020 2: 12.445; Date (DD/MM/YY):02/03/2020 3: 12.626; Date (DD/MM/YY):02/03/2020 4: 12.237; Date (DD/MM/YY):02/03/2020 5: 12.452; Date (DD/MM/YY):02/03/2020 6: 13.296; Initial: 7: 12.727
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/03/2020 1: 11.635; Date (DD/MM/YY):02/03/2020 2: 11.826; Date (DD/MM/YY):02/03/2020 3: 12.056; Date (DD/MM/YY):02/03/2020 4: 11.588; Date (DD/MM/YY):02/03/2020 5: 11.765; Date (DD/MM/YY):02/03/2020 6: 12.433; Initial: 7: 12.081
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/03/2020 1: 11.649; Date (DD/MM/YY):02/03/2020 2: 11.88; Date (DD/MM/YY):02/03/2020 3: 12.08; Date (DD/MM/YY):02/03/2020 4: 11.584; Date (DD/MM/YY):02/03/2020 5: 11.816; Date (DD/MM/YY):02/03/2020 6: 12.447; Initial: 7: 12.12
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/03/2020 1: 11.9747; Date (DD/MM/YY):02/03/2020 2: 12.1433; Date (DD/MM/YY):02/03/2020 3: 12.3547; Date (DD/MM/YY):02/03/2020 4: 11.9057; Date (DD/MM/YY):02/03/2020 5: 12.1517; Date (DD/MM/YY):02/03/2020 6: 12.8597; Initial: 7: 12.3992
Pos Width mmean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/03/2020 1: 11.9517; Date (DD/MM/YY):02/03/2020 2: 12.1472; Date (DD/MM/YY):02/03/2020 3: 12.3554; Date (DD/MM/YY):02/03/2020 4: 11.9138; Date (DD/MM/YY):02/03/2020 5: 12.1536; Date (DD/MM/YY):02/03/2020 6: 12.8945; Initial: 7: 12.4122
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):02/03/2020 1: 47.7749; Date (DD/MM/YY):02/03/2020 2: 48.5765; Date (DD/MM/YY):02/03/2020 3: 49.3674; Date (DD/MM/YY):02/03/2020 4: 47.7046; Date (DD/MM/YY):02/03/2020 5: 48.5692; Date (DD/MM/YY):02/03/2020 6: 51.5092; Initial: 7: 49.5528 | Pass
Duty Cycle @ IPIN = 50uA | % | 46 | 54 | Date (DD/MM/YY):02/03/2020 1: 47.9403; Date (DD/MM/YY):02/03/2020 2: 48.5851; Date (DD/MM/YY):02/03/2020 3: 49.4428; Date (DD/MM/YY):02/03/2020 4: 47.6498; Date (DD/MM/YY):02/03/2020 5: 48.6249; Date (DD/MM/YY):02/03/2020 6: 51.4662; Initial: 7: 49.6242 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):02/03/2020 1: 47.8245; Date (DD/MM/YY):02/03/2020 2: 48.5962; Date (DD/MM/YY):02/03/2020 3: 49.4201; Date (DD/MM/YY):02/03/2020 4: 47.6548; Date (DD/MM/YY):02/03/2020 5: 48.6133; Date (DD/MM/YY):02/03/2020 6: 51.6098; Initial: 7: 49.6548 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):02/03/2020 1: 1.1295; Date (DD/MM/YY):02/03/2020 2: 1.1204; Date (DD/MM/YY):02/03/2020 3: 1.1333; Date (DD/MM/YY):02/03/2020 4: 1.1338; Date (DD/MM/YY):02/03/2020 5: 1.1386; Date (DD/MM/YY):02/03/2020 6: 1.1461; Initial: 7: 1.1369 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):02/03/2020 1: 1.1387; Date (DD/MM/YY):02/03/2020 2: 1.1244; Date (DD/MM/YY):02/03/2020 3: 1.1306; Date (DD/MM/YY):02/03/2020 4: 1.1442; Date (DD/MM/YY):02/03/2020 5: 1.1412; Date (DD/MM/YY):02/03/2020 6: 1.129; Initial: 7: 1.1322 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):02/03/2020 1: 1.0739; Date (DD/MM/YY):02/03/2020 2: 1.0796; Date (DD/MM/YY):02/03/2020 3: 1.0841; Date (DD/MM/YY):02/03/2020 4: 1.0935; Date (DD/MM/YY):02/03/2020 5: 1.0983; Date (DD/MM/YY):02/03/2020 6: 1.0902; Initial: 7: 1.099 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):02/03/2020 1: 0.94353; Date (DD/MM/YY):02/03/2020 2: 0.95034; Date (DD/MM/YY):02/03/2020 3: 0.94812; Date (DD/MM/YY):02/03/2020 4: 0.95735; Date (DD/MM/YY):02/03/2020 5: 0.95993; Date (DD/MM/YY):02/03/2020 6: 0.95385; Initial: 7: 0.95971 | Fail
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/03/2020 1: 0.42366; Date (DD/MM/YY):02/03/2020 2: 0.41681; Date (DD/MM/YY):02/03/2020 3: 0.42091; Date (DD/MM/YY):02/03/2020 4: 0.4305; Date (DD/MM/YY):02/03/2020 5: 0.42761; Date (DD/MM/YY):02/03/2020 6: 0.42575; Initial: 7: 0.42408 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/03/2020 1: 0.40854; Date (DD/MM/YY):02/03/2020 2: 0.4037; Date (DD/MM/YY):02/03/2020 3: 0.40637; Date (DD/MM/YY):02/03/2020 4: 0.41295; Date (DD/MM/YY):02/03/2020 5: 0.41479; Date (DD/MM/YY):02/03/2020 6: 0.41668; Initial: 7: 0.41326 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/03/2020 1: 0.37485; Date (DD/MM/YY):02/03/2020 2: 0.37608; Date (DD/MM/YY):02/03/2020 3: 0.38804; Date (DD/MM/YY):02/03/2020 4: 0.38384; Date (DD/MM/YY):02/03/2020 5: 0.38922; Date (DD/MM/YY):02/03/2020 6: 0.38998; Initial: 7: 0.3886 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/03/2020 1: 0.38915; Date (DD/MM/YY):02/03/2020 2: 0.39738; Date (DD/MM/YY):02/03/2020 3: 0.40077; Date (DD/MM/YY):02/03/2020 4: 0.41882; Date (DD/MM/YY):02/03/2020 5: 0.42299; Date (DD/MM/YY):02/03/2020 6: 0.41864; Initial: 7: 0.42294 | Pass
Bit errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):02/03/2020 1: 0; Date (DD/MM/YY):02/03/2020 2: 0; Date (DD/MM/YY):02/03/2020 3: 0; Date (DD/MM/YY):02/03/2020 4: 0; Date (DD/MM/YY):02/03/2020 5: 0; Date (DD/MM/YY):02/03/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):02/03/2020 1: 0; Date (DD/MM/YY):02/03/2020 2: 0; Date (DD/MM/YY):02/03/2020 3: 0; Date (DD/MM/YY):02/03/2020 4: 0; Date (DD/MM/YY):02/03/2020 5: 0; Date (DD/MM/YY):02/03/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/03/2020 1: 0; Date (DD/MM/YY):02/03/2020 2: 0; Date (DD/MM/YY):02/03/2020 3: 0; Date (DD/MM/YY):02/03/2020 4: 0; Date (DD/MM/YY):02/03/2020 5: 0; Date (DD/MM/YY):02/03/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/03/2020 1: 0; Date (DD/MM/YY):02/03/2020 2: 0; Date (DD/MM/YY):02/03/2020 3: 0; Date (DD/MM/YY):02/03/2020 4: 0; Date (DD/MM/YY):02/03/2020 5: 0; Date (DD/MM/YY):02/03/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass