## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2171.8713 | 1909.0449 | 1998.2841 | 1994.2548 | 2067.5763 | 2037.3512 | 2000.5992 | -- | -- | --
Post Opto-pack Burn-in |  | 2102.9334 | 1845.8134 | 1932.3942 | 1930.2932 | 1968.3536 | 1933.7055 | 1910.4699 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1680.5014 | 1370.5691 | 1586.5267 | 1386.3531 | 1579.8 | 1395.2566 | 1661.5239 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1592.9605 | 1319.2402 | 1553.7705 | 1308.4854 | 1518.0224 | 1339.3559 | 1599.4684 | -- | -- | --
Change (%) |  | -5.2092 | -3.7451 | -2.0647 | -5.6167 | -3.9105 | -4.0065 | -3.7349 | -- | -- | --
Opto-board at 0C |  | 1658.4397 | 1403.0545 | 1698.724 | 1417.857 | 1642.042 | 1454.3557 | 1751.0581 | -- | -- | --
Change (%) |  | -1.3128 | 2.3702 | 7.0719 | 2.2724 | 3.9399 | 4.2357 | 5.3887 | -- | -- | --
Opto-board at 50C |  | 1485.5339 | 1242.4736 | 1461.5009 | 1270.8153 | 1440.0385 | 1280.8895 | 1533.905 | -- | -- | --
Change (%) |  | -11.6017 | -9.3461 | -7.8805 | -8.3339 | -8.8468 | -8.1969 | -7.6808 | -- | -- | --
Opto-board QA (10C) |  | 1662.8791 | 1406.0385 | 1660.4184 | 1416.5484 | 1625.2164 | 1439.146 | 1730.6259 | -- | -- | --
Change (%) |  | -1.0486 | 2.5879 | 4.6574 | 2.178 | 2.8748 | 3.1456 | 4.159 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1672.1194 | 1673.5276 | 1617.2466 | 1822.3205 | 1860.7311 | 1874.8483 | 1872.793 | -- | -- | --
Post Opto-pack Burn-in |  | 2039.9248 | 1997.8533 | 1966.168 | 1934.7912 | 2000.5597 | 2007.9368 | 1978.1499 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1519.8758 | 1565.5843 | 1518.8623 | 1455.3304 | 1590.4083 | 1586.4624 | 1588.1919 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1427.5928 | 1494.8774 | 1450.2815 | 1417.8112 | 1532.8352 | 1515.8804 | 1503.1156 | -- | -- | --
Change (%) |  | -6.0717 | -4.5163 | -4.5153 | -2.5781 | -3.62 | -4.449 | -5.3568 | -- | -- | --
Opto-board at 0C |  | 1533.8367 | 1421.6149 | 1534.7604 | 1502.567 | 1630.5318 | 1561.8333 | 1618.472 | -- | -- | --
Change (%) |  | 0.91856 | -9.1959 | 1.0467 | 3.2458 | 2.5228 | -1.5525 | 1.9066 | -- | -- | --
Opto-board at 50C |  | 1332.0833 | 1273.0168 | 1359.8443 | 1321.3174 | 1466.013 | 1420.5848 | 1411.9173 | -- | -- | --
Change (%) |  | -12.3558 | -18.6874 | -10.4695 | -9.2084 | -7.8216 | -10.4558 | -11.0991 | -- | -- | --
Opto-board QA (10C) |  | 1514.5401 | 1405.4237 | 1516.83 | 1481.1209 | 1556.7563 | 1588.0023 | 1602.31 | -- | -- | --
Change (%) |  | -0.35106 | -10.2301 | -0.1338 | 1.7721 | -2.1159 | 0.097065 | 0.88895 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 322 | 384 | 364.3799 |  |  |  | 2021-06-22 |  |  |  | Pass
QA | mA | 304 | 366 | 347.2046 |  |  |  | 2021-06-22 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.66474 |  | 2021-06-22 |  |  |  | Pass
QA | uA | 1 | 0.60251 |  | 2021-06-22 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.035207 | 0.029508 | 0.03501 | 0.0348 | 0.4285 | 0.04943 | 0.0328 | 0.07261 | 0.05595 | 0.05046 | 0.05631 | 0.032298 | 0.02794 | 0.32419 |  |  | Pass
Fall | ns | 1 | 0.30061 | 0.4997 | 0.38488 | 0.35824 | 0.44467 | 0.38834 | 0.28438 | 0.31721 | 0.30503 | 0.26168 | 0.50571 | 0.37291 | 0.30354 | 0.40317 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):06/22/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):06/22/2021 1: 0.53876; Date (DD/MM/YY):06/22/2021 2: 0.55836; Date (DD/MM/YY):06/22/2021 3: 0.57749; Date (DD/MM/YY):06/22/2021 4: 0.59984; Date (DD/MM/YY):06/22/2021 5: 0.61148; Date (DD/MM/YY):06/22/2021 6: 0.60383; Initial: 7: 0.60895 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):06/22/2021 1: 0.51135; Date (DD/MM/YY):06/22/2021 2: 0.52847; Date (DD/MM/YY):06/22/2021 3: 0.55881; Date (DD/MM/YY):06/22/2021 4: 0.57235; Date (DD/MM/YY):06/22/2021 5: 0.59247; Date (DD/MM/YY):06/22/2021 6: 0.58932; Initial: 7: 0.60535 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):06/22/2021 1: 0.70678; Date (DD/MM/YY):06/22/2021 2: 0.75685; Date (DD/MM/YY):06/22/2021 3: 0.74486; Date (DD/MM/YY):06/22/2021 4: 0.67323; Date (DD/MM/YY):06/22/2021 5: 0.7325; Date (DD/MM/YY):06/22/2021 6: 0.675; Initial: 7: 0.71571 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):06/22/2021 1: 0.70801; Date (DD/MM/YY):06/22/2021 2: 0.63913; Date (DD/MM/YY):06/22/2021 3: 0.67225; Date (DD/MM/YY):06/22/2021 4: 0.69455; Date (DD/MM/YY):06/22/2021 5: 0.647; Date (DD/MM/YY):06/22/2021 6: 0.6758; Initial: 7: 0.70889 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):06/22/2021 1: 0.15149; Date (DD/MM/YY):06/22/2021 2: 0.08221; Date (DD/MM/YY):06/22/2021 3: 0.07837; Date (DD/MM/YY):06/22/2021 4: 0.12076; Date (DD/MM/YY):06/22/2021 5: 0.10539; Date (DD/MM/YY):06/22/2021 6: 0.12764; Initial: 7: 0.06023 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):06/22/2021 1: 0.15835; Date (DD/MM/YY):06/22/2021 2: 0.06058; Date (DD/MM/YY):06/22/2021 3: 0.06349; Date (DD/MM/YY):06/22/2021 4: 0.11692; Date (DD/MM/YY):06/22/2021 5: 0.09728; Date (DD/MM/YY):06/22/2021 6: 0.09782; Initial: 7: 0.05328 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/22/2021 1: 12.202; Date (DD/MM/YY):06/22/2021 2: 12.811; Date (DD/MM/YY):06/22/2021 3: 12.397; Date (DD/MM/YY):06/22/2021 4: 12.591; Date (DD/MM/YY):06/22/2021 5: 12.875; Date (DD/MM/YY):06/22/2021 6: 13.05; Initial: 7: 12.8
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/22/2021 1: 12.104; Date (DD/MM/YY):06/22/2021 2: 12.782; Date (DD/MM/YY):06/22/2021 3: 12.283; Date (DD/MM/YY):06/22/2021 4: 12.499; Date (DD/MM/YY):06/22/2021 5: 12.874; Date (DD/MM/YY):06/22/2021 6: 12.936; Initial: 7: 12.726
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/22/2021 1: 11.453; Date (DD/MM/YY):06/22/2021 2: 12.337; Date (DD/MM/YY):06/22/2021 3: 11.865; Date (DD/MM/YY):06/22/2021 4: 11.949; Date (DD/MM/YY):06/22/2021 5: 12.347; Date (DD/MM/YY):06/22/2021 6: 12.448; Initial: 7: 12.398
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/22/2021 1: 11.439; Date (DD/MM/YY):06/22/2021 2: 12.375; Date (DD/MM/YY):06/22/2021 3: 11.794; Date (DD/MM/YY):06/22/2021 4: 11.997; Date (DD/MM/YY):06/22/2021 5: 12.412; Date (DD/MM/YY):06/22/2021 6: 12.494; Initial: 7: 12.39
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/22/2021 1: 11.7861; Date (DD/MM/YY):06/22/2021 2: 12.565; Date (DD/MM/YY):06/22/2021 3: 12.0813; Date (DD/MM/YY):06/22/2021 4: 12.249; Date (DD/MM/YY):06/22/2021 5: 12.625; Date (DD/MM/YY):06/22/2021 6: 12.7149; Initial: 7: 12.5739
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/22/2021 1: 11.7742; Date (DD/MM/YY):06/22/2021 2: 12.578; Date (DD/MM/YY):06/22/2021 3: 12.0766; Date (DD/MM/YY):06/22/2021 4: 12.2668; Date (DD/MM/YY):06/22/2021 5: 12.6301; Date (DD/MM/YY):06/22/2021 6: 12.7155; Initial: 7: 12.56
GoNoGoDuty Cycle | % | 45 | 55 | Date (DD/MM/YY):06/22/2021 1: 47.2675; Date (DD/MM/YY):06/22/2021 2: 50.321; Date (DD/MM/YY):06/22/2021 3: 48.39; Date (DD/MM/YY):06/22/2021 4: 49.0889; Date (DD/MM/YY):06/22/2021 5: 50.5445; Date (DD/MM/YY):06/22/2021 6: 50.9026; Initial: 7: 50.3654 | Pass
Duty Cycle @ IPIN = 100uA | % | 45 | 55 | Date (DD/MM/YY):06/22/2021 1: 47.2076; Date (DD/MM/YY):06/22/2021 2: 50.3411; Date (DD/MM/YY):06/22/2021 3: 48.4082; Date (DD/MM/YY):06/22/2021 4: 49.0639; Date (DD/MM/YY):06/22/2021 5: 50.5158; Date (DD/MM/YY):06/22/2021 6: 50.9116; Initial: 7: 50.3371 | Pass
Duty Cycle @ IPIN = 1000uA | % | 45 | 55 | Date (DD/MM/YY):06/22/2021 1: 47.1075; Date (DD/MM/YY):06/22/2021 2: 50.3088; Date (DD/MM/YY):06/22/2021 3: 48.3061; Date (DD/MM/YY):06/22/2021 4: 49.0741; Date (DD/MM/YY):06/22/2021 5: 50.5379; Date (DD/MM/YY):06/22/2021 6: 50.8679; Initial: 7: 50.2602 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):06/22/2021 1: 1.1171; Date (DD/MM/YY):06/22/2021 2: 1.1002; Date (DD/MM/YY):06/22/2021 3: 1.1046; Date (DD/MM/YY):06/22/2021 4: 1.0802; Date (DD/MM/YY):06/22/2021 5: 1.0733; Date (DD/MM/YY):06/22/2021 6: 1.0889; Initial: 7: 1.0664 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):06/22/2021 1: 1.1042; Date (DD/MM/YY):06/22/2021 2: 1.0885; Date (DD/MM/YY):06/22/2021 3: 1.093; Date (DD/MM/YY):06/22/2021 4: 1.0714; Date (DD/MM/YY):06/22/2021 5: 1.0673; Date (DD/MM/YY):06/22/2021 6: 1.0837; Initial: 7: 1.0604 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):06/22/2021 1: 1.1254; Date (DD/MM/YY):06/22/2021 2: 1.1421; Date (DD/MM/YY):06/22/2021 3: 1.1378; Date (DD/MM/YY):06/22/2021 4: 1.0901; Date (DD/MM/YY):06/22/2021 5: 1.1122; Date (DD/MM/YY):06/22/2021 6: 1.1038; Initial: 7: 1.1004 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):06/22/2021 1: 1.1108; Date (DD/MM/YY):06/22/2021 2: 1.1173; Date (DD/MM/YY):06/22/2021 3: 1.1272; Date (DD/MM/YY):06/22/2021 4: 1.0909; Date (DD/MM/YY):06/22/2021 5: 1.0956; Date (DD/MM/YY):06/22/2021 6: 1.098; Initial: 7: 1.0898 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/22/2021 1: 0.36483; Date (DD/MM/YY):06/22/2021 2: 0.38002; Date (DD/MM/YY):06/22/2021 3: 0.3837; Date (DD/MM/YY):06/22/2021 4: 0.36613; Date (DD/MM/YY):06/22/2021 5: 0.35737; Date (DD/MM/YY):06/22/2021 6: 0.36483; Initial: 7: 0.35823 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/22/2021 1: 0.35369; Date (DD/MM/YY):06/22/2021 2: 0.34211; Date (DD/MM/YY):06/22/2021 3: 0.34075; Date (DD/MM/YY):06/22/2021 4: 0.32991; Date (DD/MM/YY):06/22/2021 5: 0.33241; Date (DD/MM/YY):06/22/2021 6: 0.34245; Initial: 7: 0.33179 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/22/2021 1: 0.41877; Date (DD/MM/YY):06/22/2021 2: 0.42772; Date (DD/MM/YY):06/22/2021 3: 0.42613; Date (DD/MM/YY):06/22/2021 4: 0.38712; Date (DD/MM/YY):06/22/2021 5: 0.4036; Date (DD/MM/YY):06/22/2021 6: 0.3963; Initial: 7: 0.39866 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/22/2021 1: 0.39755; Date (DD/MM/YY):06/22/2021 2: 0.39292; Date (DD/MM/YY):06/22/2021 3: 0.40325; Date (DD/MM/YY):06/22/2021 4: 0.38068; Date (DD/MM/YY):06/22/2021 5: 0.37495; Date (DD/MM/YY):06/22/2021 6: 0.37939; Initial: 7: 0.37457 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):06/22/2021 1: 0; Date (DD/MM/YY):06/22/2021 2: 0; Date (DD/MM/YY):06/22/2021 3: 0; Date (DD/MM/YY):06/22/2021 4: 0; Date (DD/MM/YY):06/22/2021 5: 0; Date (DD/MM/YY):06/22/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):06/22/2021 1: 0; Date (DD/MM/YY):06/22/2021 2: 0; Date (DD/MM/YY):06/22/2021 3: 0; Date (DD/MM/YY):06/22/2021 4: 0; Date (DD/MM/YY):06/22/2021 5: 0; Date (DD/MM/YY):06/22/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):06/22/2021 1: 0; Date (DD/MM/YY):06/22/2021 2: 0; Date (DD/MM/YY):06/22/2021 3: 0; Date (DD/MM/YY):06/22/2021 4: 0; Date (DD/MM/YY):06/22/2021 5: 0; Date (DD/MM/YY):06/22/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):06/22/2021 1: 0; Date (DD/MM/YY):06/22/2021 2: 0; Date (DD/MM/YY):06/22/2021 3: 0; Date (DD/MM/YY):06/22/2021 4: 0; Date (DD/MM/YY):06/22/2021 5: 0; Date (DD/MM/YY):06/22/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass