## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 828.0405 | 881.805 | 793.9476 | 885.547 | 807.9367 | 843.1826 | 839.7101 | -- | -- | --
Post Opto-pack Burn-in |  | 689.4946 | 814.8006 | 728.4697 | 838.1356 | 758.3472 | 806.9126 | 850.0118 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1303.7452 | 1131.9239 | 1283.2076 | 1373.0618 | 1159.2187 | 1215.8134 | 1184.2008 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1297.752 | 1128.1227 | 1280.6949 | 1372.1549 | 1157.4177 | 1211.3109 | 1181.0366 | -- | -- | --
Change (%) |  | -0.4597 | -0.33582 | -0.19582 | -0.066051 | -0.15536 | -0.37033 | -0.2672 | -- | -- | --
Opto-board at 0C |  | 1348.5202 | 1103.3108 | 1199.06 | 1392.8047 | 1181.9071 | 1234.514 | 1109.4972 | -- | -- | --
Change (%) |  | 3.4343 | -2.5278 | -6.5576 | 1.4379 | 1.9572 | 1.5381 | -6.3084 | -- | -- | --
Opto-board at 50C |  | 1175.461 | 1034.4009 | 1063.1732 | 1250.5779 | 1052.062 | 1100.5604 | 987.5016 | -- | -- | --
Change (%) |  | -9.8397 | -8.6157 | -17.1472 | -8.9205 | -9.2439 | -9.4795 | -16.6103 | -- | -- | --
Opto-board QA (10C) |  | 1310.7295 | 1108.0605 | 1174.0566 | 1355.4616 | 1160.9402 | 1199.7049 | 1083.3395 | -- | -- | --
Change (%) |  | 0.53571 | -2.1082 | -8.5061 | -1.2818 | 0.14851 | -1.3249 | -8.5172 | -- | -- | --
Reception Test |  | 1163.055 | 1084.995 | 1133.248 | 1034.608 | 825.0059 | 773.6986 | 987.1985
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 925.9785 | 922.0599 | 933.9468 | 982.5608 | 953.9895 | 1017.7376 | 1016.0846 | -- | -- | --
Post Opto-pack Burn-in |  | 743.8317 | 787.4126 | 778.6405 | 848.2869 | 817.5605 | 829.7741 | 892.7724 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1354.4351 | 1301.7089 | 1324.0528 | 1355.7506 | 1453.2724 | 1418.9721 | 1431.112 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1348.2305 | 1300.44 | 1319.6267 | 1352.9033 | 1445.3734 | 1419.71 | 1428.9269 | -- | -- | --
Change (%) |  | -0.45809 | -0.097475 | -0.33428 | -0.21001 | -0.54354 | 0.052004 | -0.15268 | -- | -- | --
Opto-board at 0C |  | 1344.6351 | 1280.5316 | 1340.2115 | 1384.2689 | 1639.109 | 1732.0852 | 1782.8606 | -- | -- | --
Change (%) |  | -0.72355 | -1.6269 | 1.2204 | 2.1035 | 12.7875 | 22.0662 | 24.5787 | -- | -- | --
Opto-board at 50C |  | 1197.7693 | 1164.9504 | 1150.3945 | 1202.1835 | 1341.5616 | 1405.0747 | 1398.9387 | -- | -- | --
Change (%) |  | -11.5669 | -10.5061 | -13.1157 | -11.3271 | -7.6868 | -0.9794 | -2.2481 | -- | -- | --
Opto-board QA (10C) |  | 1334.4854 | 1271.471 | 1301.4928 | 1334.2585 | 1542.7983 | 1686.1168 | 1676.1973 | -- | -- | --
Change (%) |  | -1.4729 | -2.3229 | -1.7039 | -1.5853 | 6.1603 | 18.8266 | 17.1255 | -- | -- | --
Reception Test |  | 942.244 | 971.6155 | 958.5871 | 956.6027 | 829.6836 | 912.3253 | 952.8919

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 365.2373 |  |  |  | 2020-06-04 |  |  |  | Pass
QA | mA | 342 | 378 | 325.7446 |  |  |  | 2020-06-04 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.54085 |  | 2020-06-04 |  |  |  | Pass
QA | uA | 1 | 0.12754 |  | 2020-06-04 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.45436 | 0.32399 | 0.48184 | 0.46703 | 0.59744 | 0.4474 | 0.3944 | 0.44662 | 0.60184 | 0.75093 | 0.51957 | 0.51161 | 0.33991 | 0.4639 |  |  | Pass
Fall | ns | 1 | 0.78673 | 0.79975 | 0.98056 | 0.88737 | 0.98142 | 0.99546 | 0.71405 | 0.77551 | 0.81188 | 0.80347 | 0.64488 | 0.735 | 0.98538 | 0.64589 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):06/04/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):06/04/2020 1: 0.60596; Date (DD/MM/YY):06/04/2020 2: 0.59688; Date (DD/MM/YY):06/04/2020 3: 0.62702; Date (DD/MM/YY):06/04/2020 4: 0.67505; Date (DD/MM/YY):06/04/2020 5: 0.65176; Date (DD/MM/YY):06/04/2020 6: 0.66089; Initial: 7: 0.65635 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):06/04/2020 1: 0.60566; Date (DD/MM/YY):06/04/2020 2: 0.61511; Date (DD/MM/YY):06/04/2020 3: 0.6317; Date (DD/MM/YY):06/04/2020 4: 0.62427; Date (DD/MM/YY):06/04/2020 5: 0.65216; Date (DD/MM/YY):06/04/2020 6: 0.65815; Initial: 7: 0.66912 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):06/04/2020 1: 0.66443; Date (DD/MM/YY):06/04/2020 2: 0.6816; Date (DD/MM/YY):06/04/2020 3: 0.60064; Date (DD/MM/YY):06/04/2020 4: 0.61209; Date (DD/MM/YY):06/04/2020 5: 0.66335; Date (DD/MM/YY):06/04/2020 6: 0.66351; Initial: 7: 0.74762 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):06/04/2020 1: 0.67901; Date (DD/MM/YY):06/04/2020 2: 0.64299; Date (DD/MM/YY):06/04/2020 3: 0.69612; Date (DD/MM/YY):06/04/2020 4: 0.69698; Date (DD/MM/YY):06/04/2020 5: 0.65613; Date (DD/MM/YY):06/04/2020 6: 0.72585; Initial: 7: 0.82512 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):06/04/2020 1: 0.0794; Date (DD/MM/YY):06/04/2020 2: 0.07671; Date (DD/MM/YY):06/04/2020 3: 0.04183; Date (DD/MM/YY):06/04/2020 4: 0.07899; Date (DD/MM/YY):06/04/2020 5: 0.21822; Date (DD/MM/YY):06/04/2020 6: 0.07323; Initial: 7: 0.05714 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):06/04/2020 1: 0.08443; Date (DD/MM/YY):06/04/2020 2: 0.05038; Date (DD/MM/YY):06/04/2020 3: 0.04334; Date (DD/MM/YY):06/04/2020 4: 0.07837; Date (DD/MM/YY):06/04/2020 5: 0.21688; Date (DD/MM/YY):06/04/2020 6: 0.05516; Initial: 7: 0.04474 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/04/2020 1: 12.374; Date (DD/MM/YY):06/04/2020 2: 12.68; Date (DD/MM/YY):06/04/2020 3: 11.945; Date (DD/MM/YY):06/04/2020 4: 13.084; Date (DD/MM/YY):06/04/2020 5: 12.261; Date (DD/MM/YY):06/04/2020 6: 12.513; Initial: 7: 12.546
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/04/2020 1: 12.367; Date (DD/MM/YY):06/04/2020 2: 12.57; Date (DD/MM/YY):06/04/2020 3: 11.935; Date (DD/MM/YY):06/04/2020 4: 13.036; Date (DD/MM/YY):06/04/2020 5: 12.211; Date (DD/MM/YY):06/04/2020 6: 12.45; Initial: 7: 12.464
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/04/2020 1: 11.933; Date (DD/MM/YY):06/04/2020 2: 12.228; Date (DD/MM/YY):06/04/2020 3: 11.635; Date (DD/MM/YY):06/04/2020 4: 12.621; Date (DD/MM/YY):06/04/2020 5: 11.523; Date (DD/MM/YY):06/04/2020 6: 12.121; Initial: 7: 12.149
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/04/2020 1: 11.955; Date (DD/MM/YY):06/04/2020 2: 12.257; Date (DD/MM/YY):06/04/2020 3: 11.657; Date (DD/MM/YY):06/04/2020 4: 12.652; Date (DD/MM/YY):06/04/2020 5: 11.517; Date (DD/MM/YY):06/04/2020 6: 12.127; Initial: 7: 12.156
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/04/2020 1: 12.1472; Date (DD/MM/YY):06/04/2020 2: 12.4247; Date (DD/MM/YY):06/04/2020 3: 11.7922; Date (DD/MM/YY):06/04/2020 4: 12.8938; Date (DD/MM/YY):06/04/2020 5: 11.8902; Date (DD/MM/YY):06/04/2020 6: 12.3065; Initial: 7: 12.3037
Pos Width mmean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/04/2020 1: 12.15; Date (DD/MM/YY):06/04/2020 2: 12.4184; Date (DD/MM/YY):06/04/2020 3: 11.7819; Date (DD/MM/YY):06/04/2020 4: 12.852; Date (DD/MM/YY):06/04/2020 5: 11.8506; Date (DD/MM/YY):06/04/2020 6: 12.3064; Initial: 7: 12.2882
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):06/04/2020 1: 48.632; Date (DD/MM/YY):06/04/2020 2: 49.6758; Date (DD/MM/YY):06/04/2020 3: 47.212; Date (DD/MM/YY):06/04/2020 4: 51.5051; Date (DD/MM/YY):06/04/2020 5: 47.4198; Date (DD/MM/YY):06/04/2020 6: 49.3337; Initial: 7: 49.2351 | Pass
Duty Cycle @ IPIN = 50uA | % | 46 | 54 | Date (DD/MM/YY):06/04/2020 1: 48.6402; Date (DD/MM/YY):06/04/2020 2: 49.73; Date (DD/MM/YY):06/04/2020 3: 47.1439; Date (DD/MM/YY):06/04/2020 4: 51.6055; Date (DD/MM/YY):06/04/2020 5: 47.5755; Date (DD/MM/YY):06/04/2020 6: 49.2483; Initial: 7: 49.2409 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):06/04/2020 1: 48.6065; Date (DD/MM/YY):06/04/2020 2: 49.6839; Date (DD/MM/YY):06/04/2020 3: 47.14; Date (DD/MM/YY):06/04/2020 4: 51.4001; Date (DD/MM/YY):06/04/2020 5: 47.4025; Date (DD/MM/YY):06/04/2020 6: 49.2431; Initial: 7: 49.1528 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/04/2020 1: 1.1097; Date (DD/MM/YY):06/04/2020 2: 1.101; Date (DD/MM/YY):06/04/2020 3: 1.1162; Date (DD/MM/YY):06/04/2020 4: 1.1926; Date (DD/MM/YY):06/04/2020 5: 1.1612; Date (DD/MM/YY):06/04/2020 6: 1.157; Initial: 7: 1.1645 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/04/2020 1: 1.1038; Date (DD/MM/YY):06/04/2020 2: 1.0939; Date (DD/MM/YY):06/04/2020 3: 1.1085; Date (DD/MM/YY):06/04/2020 4: 1.1872; Date (DD/MM/YY):06/04/2020 5: 1.1556; Date (DD/MM/YY):06/04/2020 6: 1.1516; Initial: 7: 1.1587 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/04/2020 1: 1.0416; Date (DD/MM/YY):06/04/2020 2: 1.0403; Date (DD/MM/YY):06/04/2020 3: 1.0508; Date (DD/MM/YY):06/04/2020 4: 1.08; Date (DD/MM/YY):06/04/2020 5: 1.0952; Date (DD/MM/YY):06/04/2020 6: 1.0984; Initial: 7: 1.1348 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/04/2020 1: 1.0406; Date (DD/MM/YY):06/04/2020 2: 1.0244; Date (DD/MM/YY):06/04/2020 3: 1.0528; Date (DD/MM/YY):06/04/2020 4: 1.0897; Date (DD/MM/YY):06/04/2020 5: 1.0856; Date (DD/MM/YY):06/04/2020 6: 1.1012; Initial: 7: 1.1278 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/04/2020 1: 0.4171; Date (DD/MM/YY):06/04/2020 2: 0.41223; Date (DD/MM/YY):06/04/2020 3: 0.42435; Date (DD/MM/YY):06/04/2020 4: 0.45202; Date (DD/MM/YY):06/04/2020 5: 0.44216; Date (DD/MM/YY):06/04/2020 6: 0.44189; Initial: 7: 0.44616 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/04/2020 1: 0.39593; Date (DD/MM/YY):06/04/2020 2: 0.3911; Date (DD/MM/YY):06/04/2020 3: 0.40217; Date (DD/MM/YY):06/04/2020 4: 0.44818; Date (DD/MM/YY):06/04/2020 5: 0.43484; Date (DD/MM/YY):06/04/2020 6: 0.43431; Initial: 7: 0.44107 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/04/2020 1: 0.36343; Date (DD/MM/YY):06/04/2020 2: 0.38376; Date (DD/MM/YY):06/04/2020 3: 0.37946; Date (DD/MM/YY):06/04/2020 4: 0.38081; Date (DD/MM/YY):06/04/2020 5: 0.40167; Date (DD/MM/YY):06/04/2020 6: 0.40097; Initial: 7: 0.44004 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/04/2020 1: 0.38055; Date (DD/MM/YY):06/04/2020 2: 0.36441; Date (DD/MM/YY):06/04/2020 3: 0.39178; Date (DD/MM/YY):06/04/2020 4: 0.40102; Date (DD/MM/YY):06/04/2020 5: 0.38676; Date (DD/MM/YY):06/04/2020 6: 0.4103; Initial: 7: 0.43262 | Pass
Bit errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):06/04/2020 1: 0; Date (DD/MM/YY):06/04/2020 2: 0; Date (DD/MM/YY):06/04/2020 3: 0; Date (DD/MM/YY):06/04/2020 4: 0; Date (DD/MM/YY):06/04/2020 5: 0; Date (DD/MM/YY):06/04/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):06/04/2020 1: 0; Date (DD/MM/YY):06/04/2020 2: 0; Date (DD/MM/YY):06/04/2020 3: 0; Date (DD/MM/YY):06/04/2020 4: 0; Date (DD/MM/YY):06/04/2020 5: 0; Date (DD/MM/YY):06/04/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):06/04/2020 1: 0; Date (DD/MM/YY):06/04/2020 2: 0; Date (DD/MM/YY):06/04/2020 3: 0; Date (DD/MM/YY):06/04/2020 4: 0; Date (DD/MM/YY):06/04/2020 5: 0; Date (DD/MM/YY):06/04/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):06/04/2020 1: 0; Date (DD/MM/YY):06/04/2020 2: 0; Date (DD/MM/YY):06/04/2020 3: 0; Date (DD/MM/YY):06/04/2020 4: 0; Date (DD/MM/YY):06/04/2020 5: 0; Date (DD/MM/YY):06/04/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass