## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1039.3187 | 960.1705 | 1014.1081 | 1046.4374 | 979.4977 | 995.0521 | 1017.8508 | -- | -- | --
Post Opto-pack Burn-in |  | 933.381 | 850.5317 | 930.8825 | 948.2521 | 881.3435 | 925.0229 | 917.8442 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1098.4357 | 883.7261 | 1121.7653 | 1108.71 | 932.6078 | 973.8987 | 840.6703 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1310.7808 | 1064.5001 | 1399.9179 | 1169.0172 | 1340.3526 | 1144.8106 | 1360.3959 | -- | -- | --
Change (%) |  | 19.3316 | 20.4559 | 24.796 | 5.4394 | 43.7209 | 17.5492 | 61.8228 | -- | -- | --
Opto-board at 0C |  | 1346.793 | 1022.0632 | 1332.8434 | 1347.1996 | 1150.567 | 1124.6514 | 1043.0069 | -- | -- | --
Change (%) |  | 22.6101 | 15.6539 | 18.8166 | 21.5106 | 23.3709 | 15.4793 | 24.0685 | -- | -- | --
Opto-board at 50C |  | 1117.5292 | 888.3177 | 1171.9721 | 1169.7127 | 1014.401 | 973.0825 | 888.9943 | -- | -- | --
Change (%) |  | 1.7382 | 0.51957 | 4.4757 | 5.5021 | 8.7704 | -0.083806 | 5.7483 | -- | -- | --
Opto-board QA (10C) |  | 1303.8868 | 1011.7232 | 1335.4608 | 1319.145 | 1143.8046 | 1102.2376 | 1020.9771 | -- | -- | --
Change (%) |  | 18.704 | 14.4838 | 19.0499 | 18.9802 | 22.6458 | 13.1779 | 21.448 | -- | -- | --
Reception Test |  | 1266.465 | 1069.934 | 1318.244 | 1161.452 | 1087.277 | 963.6555 | 1259.288
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 960.8183 | 938.5195 | 964.8632 | 956.9094 | 913.5194 | 931.9999 | 976.0948 | -- | -- | --
Post Opto-pack Burn-in |  | 883.3081 | 906.446 | 867.7667 | 849.0994 | 840.7879 | 847.2066 | 890.8287 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1165.6435 | 1053.6136 | 1155.799 | 1071.633 | 1218.5991 | 1054.0537 | 1045.2688 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 887.0903 | 1061.325 | 1054.9535 | 1091.876 | 931.2562 | 1139.7593 | 1067.5904 | -- | -- | --
Change (%) |  | -23.8969 | 0.7319 | -8.7252 | 1.889 | -23.5798 | 8.1311 | 2.1355 | -- | -- | --
Opto-board at 0C |  | 1074.2604 | 1057.9295 | 1192.8991 | 1086.6867 | 1185.9185 | 1088.0262 | 1103.7288 | -- | -- | --
Change (%) |  | -7.8397 | 0.40963 | 3.2099 | 1.4047 | -2.6818 | 3.223 | 5.5928 | -- | -- | --
Opto-board at 50C |  | 959.0631 | 962.9626 | 1057.9322 | 940.6326 | 1044.7206 | 995.3704 | 968.2358 | -- | -- | --
Change (%) |  | -17.7224 | -8.6038 | -8.4675 | -12.2244 | -14.2687 | -5.5674 | -7.3697 | -- | -- | --
Opto-board QA (10C) |  | 1083.0293 | 1063.2461 | 1137.3358 | 1085.2263 | 1161.3161 | 1100.1167 | 1071.1788 | -- | -- | --
Change (%) |  | -7.0874 | 0.91424 | -1.5974 | 1.2685 | -4.7007 | 4.3701 | 2.4788 | -- | -- | --
Reception Test |  | 858.7275 | 939.5464 | 877.1233 | 961.2946 | 805.9216 | 885.6051 | 945.3918

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 346.5576 |  |  |  | 2020-08-13 |  |  |  | Pass
QA | mA | 342 | 378 | 333.4595 |  |  |  | 2020-08-13 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.79228 |  | 2020-08-13 |  |  |  | Pass
QA | uA | 1 | 0.72946 |  | 2020-08-13 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.39552 | 0.47605 | 0.59361 | 0.57871 | 0.66132 | 0.39183 | 0.45053 | 0.38987 | 0.65949 | 0.47607 | 0.43167 | 0.5027 | 0.36648 | 0.3042 |  |  | Pass
Fall | ns | 1 | 0.55014 | 0.41356 | 0.57071 | 0.4907 | 0.72033 | 0.68679 | 0.45147 | 0.52811 | 0.56885 | 0.5598 | 0.55782 | 0.46971 | 0.47949 | 0.6494 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
347.76
347
Electrical: |  |  |  |  | Date (DD/MM/YY):08/13/2020 | [5 empty] | Initial:
|  | Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise |  | ns | -- | 1 | Date (DD/MM/YY):08/13/2020 1: 0.61232; Date (DD/MM/YY):08/13/2020 2: 0.62706; Date (DD/MM/YY):08/13/2020 3: 0.63556; Date (DD/MM/YY):08/13/2020 4: 0.68264; Date (DD/MM/YY):08/13/2020 5: 0.69307; Date (DD/MM/YY):08/13/2020 6: 0.67003; Initial: 7: 0.64678 | Pass
Clk Fall |  | ns | -- | 1 | Date (DD/MM/YY):08/13/2020 1: 0.61291; Date (DD/MM/YY):08/13/2020 2: 0.61787; Date (DD/MM/YY):08/13/2020 3: 0.65271; Date (DD/MM/YY):08/13/2020 4: 0.6613; Date (DD/MM/YY):08/13/2020 5: 0.6834; Date (DD/MM/YY):08/13/2020 6: 0.68316; Initial: 7: 0.6782 | Pass
Data Rise |  | ns | -- | 1 | Date (DD/MM/YY):08/13/2020 1: 0.67887; Date (DD/MM/YY):08/13/2020 2: 0.68454; Date (DD/MM/YY):08/13/2020 3: 0.63796; Date (DD/MM/YY):08/13/2020 4: 0.60466; Date (DD/MM/YY):08/13/2020 5: 0.65367; Date (DD/MM/YY):08/13/2020 6: 0.63657; Initial: 7: 0.73611 | Pass
Data Fall |  | ns | -- | 1 | Date (DD/MM/YY):08/13/2020 1: 0.67546; Date (DD/MM/YY):08/13/2020 2: 0.66316; Date (DD/MM/YY):08/13/2020 3: 0.71708; Date (DD/MM/YY):08/13/2020 4: 0.68049; Date (DD/MM/YY):08/13/2020 5: 0.64704; Date (DD/MM/YY):08/13/2020 6: 0.73188; Initial: 7: 0.80637 | Pass
Jitter @ IPIN = 100uA |  | ns | -- | 1 | Date (DD/MM/YY):08/13/2020 1: 0.16382; Date (DD/MM/YY):08/13/2020 2: 0.09546; Date (DD/MM/YY):08/13/2020 3: 0.26714; Date (DD/MM/YY):08/13/2020 4: 0.19239; Date (DD/MM/YY):08/13/2020 5: 0.0651; Date (DD/MM/YY):08/13/2020 6: 0.07034; Initial: 7: 0.12748 | Pass
Jitter @ IPIN = 1000uA |  | ns | -- | 1 | Date (DD/MM/YY):08/13/2020 1: 0.14413; Date (DD/MM/YY):08/13/2020 2: 0.07399; Date (DD/MM/YY):08/13/2020 3: 0.23137; Date (DD/MM/YY):08/13/2020 4: 0.1821; Date (DD/MM/YY):08/13/2020 5: 0.0528; Date (DD/MM/YY):08/13/2020 6: 0.06231; Initial: 7: 0.12525 | Pass
Pos Width max @ IPIN = 100uA |  |  |  |  | Date (DD/MM/YY):08/13/2020 1: 12.521; Date (DD/MM/YY):08/13/2020 2: 13.017; Date (DD/MM/YY):08/13/2020 3: 12.825; Date (DD/MM/YY):08/13/2020 4: 12.908; Date (DD/MM/YY):08/13/2020 5: 12.718; Date (DD/MM/YY):08/13/2020 6: 12.973; Initial: 7: 13.173
Pos Width max @ IPIN = 1000uA |  |  |  |  | Date (DD/MM/YY):08/13/2020 1: 12.486; Date (DD/MM/YY):08/13/2020 2: 12.988; Date (DD/MM/YY):08/13/2020 3: 12.688; Date (DD/MM/YY):08/13/2020 4: 12.891; Date (DD/MM/YY):08/13/2020 5: 12.727; Date (DD/MM/YY):08/13/2020 6: 12.982; Initial: 7: 13.135
Pos Width min @ IPIN = 100uA |  |  |  |  | Date (DD/MM/YY):08/13/2020 1: 11.852; Date (DD/MM/YY):08/13/2020 2: 12.467; Date (DD/MM/YY):08/13/2020 3: 11.838; Date (DD/MM/YY):08/13/2020 4: 12.224; Date (DD/MM/YY):08/13/2020 5: 12.348; Date (DD/MM/YY):08/13/2020 6: 12.593; Initial: 7: 12.623
Pos Width min @ IPIN = 1000uA |  |  |  |  | Date (DD/MM/YY):08/13/2020 1: 11.92; Date (DD/MM/YY):08/13/2020 2: 12.548; Date (DD/MM/YY):08/13/2020 3: 11.878; Date (DD/MM/YY):08/13/2020 4: 12.262; Date (DD/MM/YY):08/13/2020 5: 12.364; Date (DD/MM/YY):08/13/2020 6: 12.581; Initial: 7: 12.634
Pos Width mean @ IPIN = 100uA |  |  |  |  | Date (DD/MM/YY):08/13/2020 1: 12.1824; Date (DD/MM/YY):08/13/2020 2: 12.7599; Date (DD/MM/YY):08/13/2020 3: 12.2845; Date (DD/MM/YY):08/13/2020 4: 12.5453; Date (DD/MM/YY):08/13/2020 5: 12.5138; Date (DD/MM/YY):08/13/2020 6: 12.7773; Initial: 7: 12.8818
Pos Width mmean @ IPIN = 1000uA |  |  |  |  | Date (DD/MM/YY):08/13/2020 1: 12.2086; Date (DD/MM/YY):08/13/2020 2: 12.763; Date (DD/MM/YY):08/13/2020 3: 12.2891; Date (DD/MM/YY):08/13/2020 4: 12.5548; Date (DD/MM/YY):08/13/2020 5: 12.5199; Date (DD/MM/YY):08/13/2020 6: 12.7807; Initial: 7: 12.8705
GoNoGoDuty Cycle |  | % | 46 | 54 | Date (DD/MM/YY):08/13/2020 1: 48.9187; Date (DD/MM/YY):08/13/2020 2: 51.0367; Date (DD/MM/YY):08/13/2020 3: 49.2065; Date (DD/MM/YY):08/13/2020 4: 50.2614; Date (DD/MM/YY):08/13/2020 5: 50.1609; Date (DD/MM/YY):08/13/2020 6: 51.1521; Initial: 7: 51.5998 | Pass
Duty Cycle @ IPIN = 50uA |  | % | 46 | 54 | Date (DD/MM/YY):08/13/2020 1: 48.7798; Date (DD/MM/YY):08/13/2020 2: 51.0702; Date (DD/MM/YY):08/13/2020 3: 49.1582; Date (DD/MM/YY):08/13/2020 4: 50.1934; Date (DD/MM/YY):08/13/2020 5: 50.0595; Date (DD/MM/YY):08/13/2020 6: 51.1417; Initial: 7: 51.5786 | Pass
Duty Cycle @ IPIN = 1000uA |  | % | 46 | 54 | Date (DD/MM/YY):08/13/2020 1: 48.846; Date (DD/MM/YY):08/13/2020 2: 51.0581; Date (DD/MM/YY):08/13/2020 3: 49.1676; Date (DD/MM/YY):08/13/2020 4: 50.2303; Date (DD/MM/YY):08/13/2020 5: 50.076; Date (DD/MM/YY):08/13/2020 6: 51.1207; Initial: 7: 51.4813 | Pass
Clock+ common mode |  | V | 1 | 1.5 | Date (DD/MM/YY):08/13/2020 1: 1.1362; Date (DD/MM/YY):08/13/2020 2: 1.1356; Date (DD/MM/YY):08/13/2020 3: 1.1293; Date (DD/MM/YY):08/13/2020 4: 1.1626; Date (DD/MM/YY):08/13/2020 5: 1.1468; Date (DD/MM/YY):08/13/2020 6: 1.1592; Initial: 7: 1.1441 | Pass
Clock- common mode |  | V | 1 | 1.5 | Date (DD/MM/YY):08/13/2020 1: 1.1325; Date (DD/MM/YY):08/13/2020 2: 1.1308; Date (DD/MM/YY):08/13/2020 3: 1.1258; Date (DD/MM/YY):08/13/2020 4: 1.1598; Date (DD/MM/YY):08/13/2020 5: 1.1435; Date (DD/MM/YY):08/13/2020 6: 1.1568; Initial: 7: 1.1411 | Pass
Data+ common mode |  | V | 1 | 1.5 | Date (DD/MM/YY):08/13/2020 1: 1.0663; Date (DD/MM/YY):08/13/2020 2: 1.0764; Date (DD/MM/YY):08/13/2020 3: 1.0698; Date (DD/MM/YY):08/13/2020 4: 1.0761; Date (DD/MM/YY):08/13/2020 5: 1.08; Date (DD/MM/YY):08/13/2020 6: 1.0991; Initial: 7: 1.1215 | Pass
Data- common mode |  | V | 1 | 1.5 | Date (DD/MM/YY):08/13/2020 1: 1.0613; Date (DD/MM/YY):08/13/2020 2: 1.0613; Date (DD/MM/YY):08/13/2020 3: 1.0716; Date (DD/MM/YY):08/13/2020 4: 1.0855; Date (DD/MM/YY):08/13/2020 5: 1.072; Date (DD/MM/YY):08/13/2020 6: 1.1032; Initial: 7: 1.1182 | Pass
Clock+ amplitude |  | V | 0.2 | 0.5 | Date (DD/MM/YY):08/13/2020 1: 0.43402; Date (DD/MM/YY):08/13/2020 2: 0.43085; Date (DD/MM/YY):08/13/2020 3: 0.42713; Date (DD/MM/YY):08/13/2020 4: 0.44509; Date (DD/MM/YY):08/13/2020 5: 0.43605; Date (DD/MM/YY):08/13/2020 6: 0.44007; Initial: 7: 0.43495 | Pass
Clock- amplitude |  | V | 0.2 | 0.5 | Date (DD/MM/YY):08/13/2020 1: 0.41476; Date (DD/MM/YY):08/13/2020 2: 0.41543; Date (DD/MM/YY):08/13/2020 3: 0.41323; Date (DD/MM/YY):08/13/2020 4: 0.43394; Date (DD/MM/YY):08/13/2020 5: 0.43122; Date (DD/MM/YY):08/13/2020 6: 0.43839; Initial: 7: 0.42949 | Pass
Data+ amplitude |  | V | 0.2 | 0.5 | Date (DD/MM/YY):08/13/2020 1: 0.38967; Date (DD/MM/YY):08/13/2020 2: 0.3991; Date (DD/MM/YY):08/13/2020 3: 0.38885; Date (DD/MM/YY):08/13/2020 4: 0.37977; Date (DD/MM/YY):08/13/2020 5: 0.39456; Date (DD/MM/YY):08/13/2020 6: 0.40046; Initial: 7: 0.42861 | Pass
Data- amplitude |  | V | 0.2 | 0.5 | Date (DD/MM/YY):08/13/2020 1: 0.39516; Date (DD/MM/YY):08/13/2020 2: 0.385; Date (DD/MM/YY):08/13/2020 3: 0.39928; Date (DD/MM/YY):08/13/2020 4: 0.39764; Date (DD/MM/YY):08/13/2020 5: 0.3775; Date (DD/MM/YY):08/13/2020 6: 0.40904; Initial: 7: 0.42123 | Pass
Bit errors @ IPIN = 50uA |  | -- | -- | 0 | Date (DD/MM/YY):08/13/2020 1: 0; Date (DD/MM/YY):08/13/2020 2: 0; Date (DD/MM/YY):08/13/2020 3: 0; Date (DD/MM/YY):08/13/2020 4: 0; Date (DD/MM/YY):08/13/2020 5: 0; Date (DD/MM/YY):08/13/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 50uA |  | -- | -- | 0 | Date (DD/MM/YY):08/13/2020 1: 0; Date (DD/MM/YY):08/13/2020 2: 0; Date (DD/MM/YY):08/13/2020 3: 0; Date (DD/MM/YY):08/13/2020 4: 0; Date (DD/MM/YY):08/13/2020 5: 0; Date (DD/MM/YY):08/13/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA |  | -- | -- | 0 | Date (DD/MM/YY):08/13/2020 1: 0; Date (DD/MM/YY):08/13/2020 2: 0; Date (DD/MM/YY):08/13/2020 3: 0; Date (DD/MM/YY):08/13/2020 4: 0; Date (DD/MM/YY):08/13/2020 5: 0; Date (DD/MM/YY):08/13/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA |  | -- | -- | 0 | Date (DD/MM/YY):08/13/2020 1: 0; Date (DD/MM/YY):08/13/2020 2: 0; Date (DD/MM/YY):08/13/2020 3: 0; Date (DD/MM/YY):08/13/2020 4: 0; Date (DD/MM/YY):08/13/2020 5: 0; Date (DD/MM/YY):08/13/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors |  | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass