## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 751.7148 | 841.3751 | 822.5215 | 888.0587 | 904.6223 | 883.4652 | 896.7393 | -- | -- | --
Post Opto-pack Burn-in |  | 861.5224 | 949.6984 | 878.8726 | 875.9949 | 966.2126 | 866.8131 | 888.7736 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1170.4965 | 939.2923 | 1195.0816 | 1131.0241 | 1238.434 | 1114.9917 | 1043.766 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1253.2791 | 1021.7039 | 1279.2101 | 1253.0097 | 1309.2803 | 1152.1507 | 1096.7979 | -- | -- | --
Change (%) |  | 7.0724 | 8.7738 | 7.0396 | 10.7854 | 5.7206 | 3.3327 | 5.0808 | -- | -- | --
Opto-board at 0C |  | 1293.8351 | 1087.2294 | 1290.9742 | 1324.8057 | 1274.4178 | 1162.9047 | 1145.3095 | -- | -- | --
Change (%) |  | 10.5373 | 15.7499 | 8.0239 | 17.1333 | 2.9056 | 4.2972 | 9.7286 | -- | -- | --
Opto-board at 50C |  | 1155.7823 | 945.6731 | 1147.8443 | 1144.9967 | 1116.4284 | 1000.7432 | 984.9601 | -- | -- | --
Change (%) |  | -1.2571 | 0.67932 | -3.9526 | 1.2354 | -9.8516 | -10.2466 | -5.634 | -- | -- | --
Opto-board QA (10C) |  | 1299.0356 | 1066.5708 | 1280.733 | 1288.5489 | 1258.9949 | 1160.3036 | 1134.6145 | -- | -- | --
Change (%) |  | 10.9816 | 13.5505 | 7.167 | 13.9276 | 1.6602 | 4.0639 | 8.7039 | -- | -- | --
Reception Test |  | 1021.979 | 959.3617 | 1071.864 | 872.2044 | 942.5053 | 751.141 | 986.993
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 643.5324 | 737.6401 | 684.4205 | 775.3726 | 768.9205 | 790.079 | 850.5241 | -- | -- | --
Post Opto-pack Burn-in |  | 774.9312 | 862.2274 | 803.1725 | 829.388 | 851.1381 | 844.7355 | 857.6263 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1048.3392 | 1051.8444 | 1007.9928 | 1061.383 | 1213.9233 | 1169.9443 | 1154.1077 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 952.724 | 911.2794 | 918.0362 | 919.2324 | 1023.0032 | 1133.9851 | 1027.8354 | -- | -- | --
Change (%) |  | -9.1206 | -13.3637 | -8.9243 | -13.393 | -15.7275 | -3.0736 | -10.9411 | -- | -- | --
Opto-board at 0C |  | 1028.9275 | 1065.5068 | 1043.7396 | 1073.0291 | 1001.4052 | 963.9144 | 1063.0413 | -- | -- | --
Change (%) |  | -1.8517 | 1.2989 | 3.5463 | 1.0973 | -17.5067 | -17.6102 | -7.8906 | -- | -- | --
Opto-board at 50C |  | 885.7916 | 910.1893 | 919.5176 | 903.2328 | 830.3023 | 863.4159 | 927.5013 | -- | -- | --
Change (%) |  | -15.5052 | -13.4673 | -8.7774 | -14.9004 | -31.6018 | -26.2003 | -19.6348 | -- | -- | --
Opto-board QA (10C) |  | 984.0697 | 1014.3598 | 1031.5679 | 1047.3856 | 1042.144 | 958.4746 | 1055.403 | -- | -- | --
Change (%) |  | -6.1306 | -3.5637 | 2.3388 | -1.3188 | -14.1508 | -18.0752 | -8.5525 | -- | -- | --
Reception Test |  | 777.2152 | 822.5025 | 695.8933 | 791.833 | 743.3984 | 794.5343 | 811.476

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 354.0039 |  |  |  | 2020-06-22 |  |  |  | Pass
QA | mA | 342 | 378 | 334.9243 |  |  |  | 2020-06-22 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.61662 |  | 2020-06-22 |  |  |  | Pass
QA | uA | 1 | 0.41053 |  | 2020-06-22 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.05309 | 0.03941 | 0.17646 | 0.03629 | 0.52791 | 0.4632 | 0.1087 | 0.06122 | 0.55443 | 0.6141 | 0.534 | 0.51354 | 0.33533 | 0.39247 |  |  | Pass
Fall | ns | 1 | 0.47124 | 0.56317 | 0.78891 | 0.53484 | 0.58047 | 0.56049 | 0.40116 | 0.4698 | 0.35518 | 0.5993 | 0.42818 | 0.35661 | 0.27398 | 0.35771 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):06/22/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):06/22/2020 1: 0.59522; Date (DD/MM/YY):06/22/2020 2: 0.61185; Date (DD/MM/YY):06/22/2020 3: 0.64115; Date (DD/MM/YY):06/22/2020 4: 0.63629; Date (DD/MM/YY):06/22/2020 5: 0.65845; Date (DD/MM/YY):06/22/2020 6: 0.66395; Initial: 7: 0.67655 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):06/22/2020 1: 0.63564; Date (DD/MM/YY):06/22/2020 2: 0.61969; Date (DD/MM/YY):06/22/2020 3: 0.63558; Date (DD/MM/YY):06/22/2020 4: 0.64629; Date (DD/MM/YY):06/22/2020 5: 0.6567; Date (DD/MM/YY):06/22/2020 6: 0.66404; Initial: 7: 0.67312 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):06/22/2020 1: 0.62289; Date (DD/MM/YY):06/22/2020 2: 0.67514; Date (DD/MM/YY):06/22/2020 3: 0.64407; Date (DD/MM/YY):06/22/2020 4: 0.59957; Date (DD/MM/YY):06/22/2020 5: 0.64941; Date (DD/MM/YY):06/22/2020 6: 0.63737; Initial: 7: 0.75324 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):06/22/2020 1: 0.71223; Date (DD/MM/YY):06/22/2020 2: 0.6528; Date (DD/MM/YY):06/22/2020 3: 0.68856; Date (DD/MM/YY):06/22/2020 4: 0.66283; Date (DD/MM/YY):06/22/2020 5: 0.6299; Date (DD/MM/YY):06/22/2020 6: 0.72593; Initial: 7: 0.80809 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):06/22/2020 1: 0.10193; Date (DD/MM/YY):06/22/2020 2: 0.07846; Date (DD/MM/YY):06/22/2020 3: 0.23705; Date (DD/MM/YY):06/22/2020 4: 0.17107; Date (DD/MM/YY):06/22/2020 5: 0.09893; Date (DD/MM/YY):06/22/2020 6: 0.21018; Initial: 7: 0.16253 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):06/22/2020 1: 0.12742; Date (DD/MM/YY):06/22/2020 2: 0.08202; Date (DD/MM/YY):06/22/2020 3: 0.22598; Date (DD/MM/YY):06/22/2020 4: 0.16541; Date (DD/MM/YY):06/22/2020 5: 0.08261; Date (DD/MM/YY):06/22/2020 6: 0.21365; Initial: 7: 0.13313 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/22/2020 1: 13.238; Date (DD/MM/YY):06/22/2020 2: 12.597; Date (DD/MM/YY):06/22/2020 3: 12.833; Date (DD/MM/YY):06/22/2020 4: 12.3; Date (DD/MM/YY):06/22/2020 5: 12.067; Date (DD/MM/YY):06/22/2020 6: 12.091; Initial: 7: 12.529
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/22/2020 1: 13.205; Date (DD/MM/YY):06/22/2020 2: 12.577; Date (DD/MM/YY):06/22/2020 3: 12.812; Date (DD/MM/YY):06/22/2020 4: 12.209; Date (DD/MM/YY):06/22/2020 5: 11.976; Date (DD/MM/YY):06/22/2020 6: 11.975; Initial: 7: 12.372
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/22/2020 1: 12.699; Date (DD/MM/YY):06/22/2020 2: 12.142; Date (DD/MM/YY):06/22/2020 3: 11.994; Date (DD/MM/YY):06/22/2020 4: 11.659; Date (DD/MM/YY):06/22/2020 5: 11.528; Date (DD/MM/YY):06/22/2020 6: 11.247; Initial: 7: 11.842
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/22/2020 1: 12.637; Date (DD/MM/YY):06/22/2020 2: 12.113; Date (DD/MM/YY):06/22/2020 3: 11.992; Date (DD/MM/YY):06/22/2020 4: 11.636; Date (DD/MM/YY):06/22/2020 5: 11.579; Date (DD/MM/YY):06/22/2020 6: 11.342; Initial: 7: 11.879
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/22/2020 1: 12.9294; Date (DD/MM/YY):06/22/2020 2: 12.3387; Date (DD/MM/YY):06/22/2020 3: 12.4153; Date (DD/MM/YY):06/22/2020 4: 11.9507; Date (DD/MM/YY):06/22/2020 5: 11.8007; Date (DD/MM/YY):06/22/2020 6: 11.6698; Initial: 7: 12.1603
Pos Width mmean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/22/2020 1: 12.8896; Date (DD/MM/YY):06/22/2020 2: 12.3046; Date (DD/MM/YY):06/22/2020 3: 12.375; Date (DD/MM/YY):06/22/2020 4: 11.9334; Date (DD/MM/YY):06/22/2020 5: 11.7619; Date (DD/MM/YY):06/22/2020 6: 11.6562; Initial: 7: 12.1128
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):06/22/2020 1: 51.5811; Date (DD/MM/YY):06/22/2020 2: 49.2363; Date (DD/MM/YY):06/22/2020 3: 49.6404; Date (DD/MM/YY):06/22/2020 4: 47.8244; Date (DD/MM/YY):06/22/2020 5: 47.094; Date (DD/MM/YY):06/22/2020 6: 46.788; Initial: 7: 48.4764 | Pass
Duty Cycle @ IPIN = 50uA | % | 46 | 54 | Date (DD/MM/YY):06/22/2020 1: 51.7616; Date (DD/MM/YY):06/22/2020 2: 49.3898; Date (DD/MM/YY):06/22/2020 3: 49.6592; Date (DD/MM/YY):06/22/2020 4: 47.8116; Date (DD/MM/YY):06/22/2020 5: 47.2118; Date (DD/MM/YY):06/22/2020 6: 46.7305; Initial: 7: 48.6704 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):06/22/2020 1: 51.5628; Date (DD/MM/YY):06/22/2020 2: 49.2268; Date (DD/MM/YY):06/22/2020 3: 49.5034; Date (DD/MM/YY):06/22/2020 4: 47.7411; Date (DD/MM/YY):06/22/2020 5: 47.0554; Date (DD/MM/YY):06/22/2020 6: 46.6282; Initial: 7: 48.4521 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/22/2020 1: 1.1519; Date (DD/MM/YY):06/22/2020 2: 1.1531; Date (DD/MM/YY):06/22/2020 3: 1.1462; Date (DD/MM/YY):06/22/2020 4: 1.177; Date (DD/MM/YY):06/22/2020 5: 1.1717; Date (DD/MM/YY):06/22/2020 6: 1.159; Initial: 7: 1.1731 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/22/2020 1: 1.1478; Date (DD/MM/YY):06/22/2020 2: 1.1481; Date (DD/MM/YY):06/22/2020 3: 1.1417; Date (DD/MM/YY):06/22/2020 4: 1.1732; Date (DD/MM/YY):06/22/2020 5: 1.1683; Date (DD/MM/YY):06/22/2020 6: 1.1534; Initial: 7: 1.1688 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/22/2020 1: 1.0767; Date (DD/MM/YY):06/22/2020 2: 1.0953; Date (DD/MM/YY):06/22/2020 3: 1.0891; Date (DD/MM/YY):06/22/2020 4: 1.0747; Date (DD/MM/YY):06/22/2020 5: 1.0983; Date (DD/MM/YY):06/22/2020 6: 1.1081; Initial: 7: 1.1465 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/22/2020 1: 1.0689; Date (DD/MM/YY):06/22/2020 2: 1.0762; Date (DD/MM/YY):06/22/2020 3: 1.0878; Date (DD/MM/YY):06/22/2020 4: 1.0826; Date (DD/MM/YY):06/22/2020 5: 1.0881; Date (DD/MM/YY):06/22/2020 6: 1.1116; Initial: 7: 1.1411 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/22/2020 1: 0.44087; Date (DD/MM/YY):06/22/2020 2: 0.44135; Date (DD/MM/YY):06/22/2020 3: 0.43647; Date (DD/MM/YY):06/22/2020 4: 0.44626; Date (DD/MM/YY):06/22/2020 5: 0.44397; Date (DD/MM/YY):06/22/2020 6: 0.43841; Initial: 7: 0.44481 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/22/2020 1: 0.42564; Date (DD/MM/YY):06/22/2020 2: 0.42586; Date (DD/MM/YY):06/22/2020 3: 0.42474; Date (DD/MM/YY):06/22/2020 4: 0.43342; Date (DD/MM/YY):06/22/2020 5: 0.43437; Date (DD/MM/YY):06/22/2020 6: 0.42702; Initial: 7: 0.43938 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/22/2020 1: 0.39581; Date (DD/MM/YY):06/22/2020 2: 0.40735; Date (DD/MM/YY):06/22/2020 3: 0.40012; Date (DD/MM/YY):06/22/2020 4: 0.37259; Date (DD/MM/YY):06/22/2020 5: 0.39859; Date (DD/MM/YY):06/22/2020 6: 0.40069; Initial: 7: 0.43876 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/22/2020 1: 0.4025; Date (DD/MM/YY):06/22/2020 2: 0.38638; Date (DD/MM/YY):06/22/2020 3: 0.41232; Date (DD/MM/YY):06/22/2020 4: 0.39298; Date (DD/MM/YY):06/22/2020 5: 0.38299; Date (DD/MM/YY):06/22/2020 6: 0.4107; Initial: 7: 0.43184 | Pass
Bit errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):06/22/2020 1: 0; Date (DD/MM/YY):06/22/2020 2: 0; Date (DD/MM/YY):06/22/2020 3: 0; Date (DD/MM/YY):06/22/2020 4: 0; Date (DD/MM/YY):06/22/2020 5: 0; Date (DD/MM/YY):06/22/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):06/22/2020 1: 0; Date (DD/MM/YY):06/22/2020 2: 0; Date (DD/MM/YY):06/22/2020 3: 0; Date (DD/MM/YY):06/22/2020 4: 0; Date (DD/MM/YY):06/22/2020 5: 0; Date (DD/MM/YY):06/22/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):06/22/2020 1: 0; Date (DD/MM/YY):06/22/2020 2: 0; Date (DD/MM/YY):06/22/2020 3: 0; Date (DD/MM/YY):06/22/2020 4: 0; Date (DD/MM/YY):06/22/2020 5: 0; Date (DD/MM/YY):06/22/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):06/22/2020 1: 0; Date (DD/MM/YY):06/22/2020 2: 0; Date (DD/MM/YY):06/22/2020 3: 0; Date (DD/MM/YY):06/22/2020 4: 0; Date (DD/MM/YY):06/22/2020 5: 0; Date (DD/MM/YY):06/22/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass