## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 788.9121 | 855.2394 | 790.1794 | 948.0816 | 867.5547 | 841.5411 | 892.1055 | -- | -- | --
Post Opto-pack Burn-in |  | 834.9991 | 878.4368 | 855.0034 | 966.9189 | 919.788 | 863.2843 | 912.487 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1215.7528 | 961.9629 | 1225.3389 | 1267.3808 | 1256.1522 | 1254.2998 | 1185.9833 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1162.8044 | 951.436 | 1156.5817 | 1308.5011 | 1104.1396 | 1146.6257 | 1101.5399 | -- | -- | --
Change (%) |  | -4.3552 | -1.0943 | -5.6113 | 3.2445 | -12.1015 | -8.5844 | -7.1201 | -- | -- | --
Opto-board at 0C |  | 1181.3693 | 974.6598 | 1193.2446 | 1352.4518 | 1144.6698 | 1207.6695 | 1128.849 | -- | -- | --
Change (%) |  | -2.8282 | 1.3199 | -2.6192 | 6.7123 | -8.8749 | -3.7176 | -4.8175 | -- | -- | --
Opto-board at 50C |  | 1079.2384 | 890.2147 | 1049.3913 | 1214.3411 | 1043.9225 | 1071.6709 | 1013.6423 | -- | -- | --
Change (%) |  | -11.2288 | -7.4585 | -14.3591 | -4.185 | -16.8952 | -14.5602 | -14.5315 | -- | -- | --
Opto-board QA (10C) |  | 1179.5478 | 977.1892 | 1181.0617 | 1351.505 | 1148.5012 | 1198.6914 | 1138.9044 | -- | -- | --
Change (%) |  | -2.978 | 1.5828 | -3.6135 | 6.6376 | -8.5699 | -4.4334 | -3.9696 | -- | -- | --
Reception Test |  | 987.7897 | 875.2267 | 1044.672 | 1029.347 | 869.0633 | 946.0003 | 1124.841
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 950.0572 | 863.3443 | 939.2542 | 1001.541 | 925.2579 | 991.784 | 1078.3429 | -- | -- | --
Post Opto-pack Burn-in |  | 897.8046 | 894.0189 | 926.7907 | 955.8549 | 904.4658 | 924.1007 | 994.1738 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1250.4724 | 1197.2792 | 1295.8413 | 1270.1589 | 1438.4493 | 1357.394 | 1462.3716 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1257.8157 | 1196.2159 | 1328.8263 | 1284.138 | 1382.6486 | 1362.3796 | 1454.4507 | -- | -- | --
Change (%) |  | 0.58724 | -0.088812 | 2.5455 | 1.1006 | -3.8792 | 0.3673 | -0.54165 | -- | -- | --
Opto-board at 0C |  | 1322.1569 | 1271.2565 | 1352.9684 | 1330.5939 | 1402.0281 | 1408.2818 | 1490.8246 | -- | -- | --
Change (%) |  | 5.7326 | 6.1788 | 4.4085 | 4.7581 | -2.532 | 3.7489 | 1.9457 | -- | -- | --
Opto-board at 50C |  | 1182.1323 | 1097.0314 | 1229.6335 | 1190.4179 | 1257.7063 | 1275.0974 | 1347.665 | -- | -- | --
Change (%) |  | -5.4651 | -8.373 | -5.1093 | -6.278 | -12.5651 | -6.0628 | -7.8439 | -- | -- | --
Opto-board QA (10C) |  | 1311.9265 | 1266.3777 | 1386.2095 | 1334.4973 | 1439.4541 | 1414.0622 | 1491.2013 | -- | -- | --
Change (%) |  | 4.9145 | 5.7713 | 6.9737 | 5.0654 | 0.069852 | 4.1748 | 1.9714 | -- | -- | --
Reception Test |  | 946.6586 | 876.4105 | 820.0691 | 967.6702 | 852.0829 | 931.0793 | 956.6749

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 335.4492 |  |  |  | 2020-06-23 |  |  |  | Fail
QA | mA | 342 | 378 | 318.1152 |  |  |  | 2020-06-24 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.73748 |  | 2020-06-23 |  |  |  | Pass
QA | uA | 1 | 0.28971 |  | 2020-06-24 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.1586 | 0.03506 | 0.2031 | 0.25551 | 0.2222 | 0.24279 | 0.03361 | 0.17 | 0.38845 | 0.032854 | 0.33508 | 0.06206 | 0.05158 | 0.1809 |  |  | Pass
Fall | ns | 1 | 0.37627 | 0.45309 | 0.55075 | 0.46477 | 0.72117 | 0.5555 | 0.50926 | 0.37384 | 0.34392 | 0.57344 | 0.4487 | 0.44371 | 0.50121 | 0.50112 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):06/24/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):06/24/2020 1: 0.62338; Date (DD/MM/YY):06/24/2020 2: 0.62591; Date (DD/MM/YY):06/24/2020 3: 0.66116; Date (DD/MM/YY):06/24/2020 4: 0.65485; Date (DD/MM/YY):06/24/2020 5: 0.70883; Date (DD/MM/YY):06/24/2020 6: 0.6807; Initial: 7: 0.68737 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):06/24/2020 1: 0.63278; Date (DD/MM/YY):06/24/2020 2: 0.63162; Date (DD/MM/YY):06/24/2020 3: 0.66776; Date (DD/MM/YY):06/24/2020 4: 0.6978; Date (DD/MM/YY):06/24/2020 5: 0.67897; Date (DD/MM/YY):06/24/2020 6: 0.69905; Initial: 7: 0.70314 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):06/24/2020 1: 0.66267; Date (DD/MM/YY):06/24/2020 2: 0.6867; Date (DD/MM/YY):06/24/2020 3: 0.66238; Date (DD/MM/YY):06/24/2020 4: 0.61131; Date (DD/MM/YY):06/24/2020 5: 0.65585; Date (DD/MM/YY):06/24/2020 6: 0.61089; Initial: 7: 0.75379 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):06/24/2020 1: 0.71803; Date (DD/MM/YY):06/24/2020 2: 0.64757; Date (DD/MM/YY):06/24/2020 3: 0.71425; Date (DD/MM/YY):06/24/2020 4: 0.69001; Date (DD/MM/YY):06/24/2020 5: 0.64012; Date (DD/MM/YY):06/24/2020 6: 0.74249; Initial: 7: 0.81674 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):06/24/2020 1: 0.14329; Date (DD/MM/YY):06/24/2020 2: 0.0793; Date (DD/MM/YY):06/24/2020 3: 0.16817; Date (DD/MM/YY):06/24/2020 4: 0.16547; Date (DD/MM/YY):06/24/2020 5: 0.06784; Date (DD/MM/YY):06/24/2020 6: 0.06841; Initial: 7: 0.19688 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):06/24/2020 1: 0.11234; Date (DD/MM/YY):06/24/2020 2: 0.06943; Date (DD/MM/YY):06/24/2020 3: 0.13539; Date (DD/MM/YY):06/24/2020 4: 0.16235; Date (DD/MM/YY):06/24/2020 5: 0.05467; Date (DD/MM/YY):06/24/2020 6: 0.06438; Initial: 7: 0.18486 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/24/2020 1: 12.743; Date (DD/MM/YY):06/24/2020 2: 12.629; Date (DD/MM/YY):06/24/2020 3: 12.507; Date (DD/MM/YY):06/24/2020 4: 12.26; Date (DD/MM/YY):06/24/2020 5: 12.412; Date (DD/MM/YY):06/24/2020 6: 13.285; Initial: 7: 12.959
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/24/2020 1: 12.647; Date (DD/MM/YY):06/24/2020 2: 12.555; Date (DD/MM/YY):06/24/2020 3: 12.452; Date (DD/MM/YY):06/24/2020 4: 12.212; Date (DD/MM/YY):06/24/2020 5: 12.356; Date (DD/MM/YY):06/24/2020 6: 13.284; Initial: 7: 12.861
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/24/2020 1: 12.058; Date (DD/MM/YY):06/24/2020 2: 12.144; Date (DD/MM/YY):06/24/2020 3: 11.773; Date (DD/MM/YY):06/24/2020 4: 11.634; Date (DD/MM/YY):06/24/2020 5: 12.051; Date (DD/MM/YY):06/24/2020 6: 12.868; Initial: 7: 12.202
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/24/2020 1: 12.155; Date (DD/MM/YY):06/24/2020 2: 12.156; Date (DD/MM/YY):06/24/2020 3: 11.874; Date (DD/MM/YY):06/24/2020 4: 11.664; Date (DD/MM/YY):06/24/2020 5: 12.038; Date (DD/MM/YY):06/24/2020 6: 12.889; Initial: 7: 12.225
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/24/2020 1: 12.3858; Date (DD/MM/YY):06/24/2020 2: 12.3542; Date (DD/MM/YY):06/24/2020 3: 12.1686; Date (DD/MM/YY):06/24/2020 4: 11.9546; Date (DD/MM/YY):06/24/2020 5: 12.2182; Date (DD/MM/YY):06/24/2020 6: 13.097; Initial: 7: 12.578
Pos Width mmean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/24/2020 1: 12.3756; Date (DD/MM/YY):06/24/2020 2: 12.3425; Date (DD/MM/YY):06/24/2020 3: 12.1329; Date (DD/MM/YY):06/24/2020 4: 11.966; Date (DD/MM/YY):06/24/2020 5: 12.1963; Date (DD/MM/YY):06/24/2020 6: 13.0874; Initial: 7: 12.5481
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):06/24/2020 1: 49.4546; Date (DD/MM/YY):06/24/2020 2: 49.4451; Date (DD/MM/YY):06/24/2020 3: 48.6165; Date (DD/MM/YY):06/24/2020 4: 47.9518; Date (DD/MM/YY):06/24/2020 5: 48.8191; Date (DD/MM/YY):06/24/2020 6: 52.407; Initial: 7: 50.3065 | Pass
Duty Cycle @ IPIN = 50uA | % | 46 | 54 | Date (DD/MM/YY):06/24/2020 1: 49.6101; Date (DD/MM/YY):06/24/2020 2: 49.4522; Date (DD/MM/YY):06/24/2020 3: 48.8279; Date (DD/MM/YY):06/24/2020 4: 47.8212; Date (DD/MM/YY):06/24/2020 5: 48.9027; Date (DD/MM/YY):06/24/2020 6: 52.3877; Initial: 7: 50.3528 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):06/24/2020 1: 49.5045; Date (DD/MM/YY):06/24/2020 2: 49.3834; Date (DD/MM/YY):06/24/2020 3: 48.5421; Date (DD/MM/YY):06/24/2020 4: 47.8659; Date (DD/MM/YY):06/24/2020 5: 48.8067; Date (DD/MM/YY):06/24/2020 6: 52.3714; Initial: 7: 50.2036 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/24/2020 1: 1.1906; Date (DD/MM/YY):06/24/2020 2: 1.1756; Date (DD/MM/YY):06/24/2020 3: 1.2123; Date (DD/MM/YY):06/24/2020 4: 1.1625; Date (DD/MM/YY):06/24/2020 5: 1.1585; Date (DD/MM/YY):06/24/2020 6: 1.1455; Initial: 7: 1.1687 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/24/2020 1: 1.1883; Date (DD/MM/YY):06/24/2020 2: 1.1725; Date (DD/MM/YY):06/24/2020 3: 1.2091; Date (DD/MM/YY):06/24/2020 4: 1.16; Date (DD/MM/YY):06/24/2020 5: 1.1554; Date (DD/MM/YY):06/24/2020 6: 1.143; Initial: 7: 1.1667 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/24/2020 1: 1.1135; Date (DD/MM/YY):06/24/2020 2: 1.1326; Date (DD/MM/YY):06/24/2020 3: 1.1584; Date (DD/MM/YY):06/24/2020 4: 1.0768; Date (DD/MM/YY):06/24/2020 5: 1.0745; Date (DD/MM/YY):06/24/2020 6: 1.0987; Initial: 7: 1.1335 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/24/2020 1: 1.1073; Date (DD/MM/YY):06/24/2020 2: 1.1128; Date (DD/MM/YY):06/24/2020 3: 1.16; Date (DD/MM/YY):06/24/2020 4: 1.0861; Date (DD/MM/YY):06/24/2020 5: 1.0676; Date (DD/MM/YY):06/24/2020 6: 1.1036; Initial: 7: 1.1272 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/24/2020 1: 0.45438; Date (DD/MM/YY):06/24/2020 2: 0.44945; Date (DD/MM/YY):06/24/2020 3: 0.46406; Date (DD/MM/YY):06/24/2020 4: 0.44844; Date (DD/MM/YY):06/24/2020 5: 0.44223; Date (DD/MM/YY):06/24/2020 6: 0.43476; Initial: 7: 0.44841 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/24/2020 1: 0.44271; Date (DD/MM/YY):06/24/2020 2: 0.43631; Date (DD/MM/YY):06/24/2020 3: 0.45442; Date (DD/MM/YY):06/24/2020 4: 0.43523; Date (DD/MM/YY):06/24/2020 5: 0.43554; Date (DD/MM/YY):06/24/2020 6: 0.43165; Initial: 7: 0.44521 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/24/2020 1: 0.41783; Date (DD/MM/YY):06/24/2020 2: 0.42524; Date (DD/MM/YY):06/24/2020 3: 0.43115; Date (DD/MM/YY):06/24/2020 4: 0.38049; Date (DD/MM/YY):06/24/2020 5: 0.38974; Date (DD/MM/YY):06/24/2020 6: 0.39853; Initial: 7: 0.43747 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/24/2020 1: 0.42357; Date (DD/MM/YY):06/24/2020 2: 0.40977; Date (DD/MM/YY):06/24/2020 3: 0.4528; Date (DD/MM/YY):06/24/2020 4: 0.39924; Date (DD/MM/YY):06/24/2020 5: 0.37647; Date (DD/MM/YY):06/24/2020 6: 0.41046; Initial: 7: 0.43032 | Pass
Bit errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):06/24/2020 1: 0; Date (DD/MM/YY):06/24/2020 2: 0; Date (DD/MM/YY):06/24/2020 3: 0; Date (DD/MM/YY):06/24/2020 4: 0; Date (DD/MM/YY):06/24/2020 5: 0; Date (DD/MM/YY):06/24/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):06/24/2020 1: 0; Date (DD/MM/YY):06/24/2020 2: 0; Date (DD/MM/YY):06/24/2020 3: 0; Date (DD/MM/YY):06/24/2020 4: 0; Date (DD/MM/YY):06/24/2020 5: 0; Date (DD/MM/YY):06/24/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):06/24/2020 1: 0; Date (DD/MM/YY):06/24/2020 2: 0; Date (DD/MM/YY):06/24/2020 3: 0; Date (DD/MM/YY):06/24/2020 4: 0; Date (DD/MM/YY):06/24/2020 5: 0; Date (DD/MM/YY):06/24/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):06/24/2020 1: 0; Date (DD/MM/YY):06/24/2020 2: 0; Date (DD/MM/YY):06/24/2020 3: 0; Date (DD/MM/YY):06/24/2020 4: 0; Date (DD/MM/YY):06/24/2020 5: 0; Date (DD/MM/YY):06/24/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass