## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1964.3049 | 1841.1519 | 1914.1823 | 1876.2159 | 1787.6695 | 1794.8334 | 1811.1692 | -- | -- | --
Post Opto-pack Burn-in |  | 2007.2595 | 1889.1534 | 1960.7262 | 1921.4523 | 1828.0062 | 1849.2764 | 1842.9433 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1643.4173 | 1211.8637 | 1593.0623 | 1615.508 | 1393.0069 | 1422.0042 | 1373.9916 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1221.595 | 775.2091 | 1184.0313 | 1099.7903 | 939.1318 | 1040.862 | 1056.0559 | -- | -- | --
Change (%) |  | -25.6674 | -36.0317 | -25.6758 | -31.9229 | -32.5824 | -26.8032 | -23.1396 | -- | -- | --
Opto-board at 0C |  | 1297.9879 | 887.8218 | 1348.4432 | 1287.7616 | 1108.28 | 910.1553 | 1139.0068 | -- | -- | --
Change (%) |  | -21.019 | -26.7391 | -15.3553 | -20.2875 | -20.4397 | -35.9949 | -17.1023 | -- | -- | --
Opto-board at 50C |  | 1220.6323 | 842.725 | 1267.1129 | 1184.9708 | 1007.7622 | 868.3234 | 1077.0452 | -- | -- | --
Change (%) |  | -25.726 | -30.4604 | -20.4606 | -26.6503 | -27.6556 | -38.9367 | -21.6119 | -- | -- | --
Opto-board QA (10C) |  | 1293.9578 | 872.1285 | 1324.2012 | 1311.8099 | 1102.1267 | 912.3707 | 1122.3927 | -- | -- | --
Change (%) |  | -21.2642 | -28.0341 | -16.877 | -18.7989 | -20.8815 | -35.8391 | -18.3115 | -- | -- | --
Reception Test |  | 1372.229 | 1126.443 | 1280.906 | 1122.983 | 1060.703 | 911.0506 | 1293.439
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1575.8031 | 1629.3952 | 1581.0755 | 1570.7232 | 1586.8674 | 1637.4785 | 1539.2086 | -- | -- | --
Post Opto-pack Burn-in |  | 1531.0259 | 1577.9904 | 1542.4351 | 1511.0132 | 1536.8076 | 1583.0325 | 1487.9451 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1224.336 | 1285.6964 | 1295.0091 | 1216.0431 | 1404.5351 | 1368.1316 | 1379.7817 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1078.2862 | 1118.4588 | 1097.7757 | 1085.6121 | 1177.2833 | 1224.3136 | 1213.161 | -- | -- | --
Change (%) |  | -11.9289 | -13.0075 | -15.2303 | -10.7259 | -16.1799 | -10.512 | -12.0759 | -- | -- | --
Opto-board at 0C |  | 1120.9382 | 1220.4937 | 1193.4661 | 1166.6297 | 1240.2966 | 1343.4209 | 1267.8159 | -- | -- | --
Change (%) |  | -8.4452 | -5.0714 | -7.8411 | -4.0635 | -11.6934 | -1.8062 | -8.1147 | -- | -- | --
Opto-board at 50C |  | 1014.0705 | 1047.7072 | 1025.9439 | 1010.298 | 1078.973 | 1137.1922 | 1103.5781 | -- | -- | --
Change (%) |  | -17.1738 | -18.5105 | -20.7771 | -16.9192 | -23.1793 | -16.8799 | -20.0179 | -- | -- | --
Opto-board QA (10C) |  | 1098.9532 | 1216.848 | 1156.8781 | 1168.6503 | 1266.7395 | 1313.3271 | 1267.5616 | -- | -- | --
Change (%) |  | -10.2409 | -5.3549 | -10.6664 | -3.8973 | -9.8108 | -4.0058 | -8.1332 | -- | -- | --
Reception Test |  | 809.7967 | 959.998 | 927.5616 | 930.0887 | 842.2507 | 950.1061 | 915.4011

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 345.5811 |  |  |  | 2020-06-25 |  |  |  | Pass
QA | mA | 342 | 378 | 327.8442 |  |  |  | 2020-06-25 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.5098 |  | 2020-06-25 |  |  |  | Pass
QA | uA | 1 | 0.46635 |  | 2020-06-25 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.192 | 0.1673 | 0.06739 | 0.2445 | 0.3419 | 0.50255 | 0.032853 | 0.2012 | 0.07267 | 0.08955 | 0.37513 | 0.05357 | 0.2155 | 0.028976 |  |  | Pass
Fall | ns | 1 | 0.34486 | 0.401 | 0.41454 | 0.42933 | 0.55318 | 0.45251 | 0.31964 | 0.34635 | 0.40623 | 0.25509 | 0.51433 | 0.36812 | 0.40725 | 0.53709 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):06/25/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):06/25/2020 1: 0.58101; Date (DD/MM/YY):06/25/2020 2: 0.61344; Date (DD/MM/YY):06/25/2020 3: 0.64309; Date (DD/MM/YY):06/25/2020 4: 0.65893; Date (DD/MM/YY):06/25/2020 5: 0.64648; Date (DD/MM/YY):06/25/2020 6: 0.69374; Initial: 7: 0.69296 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):06/25/2020 1: 0.63426; Date (DD/MM/YY):06/25/2020 2: 0.62938; Date (DD/MM/YY):06/25/2020 3: 0.64895; Date (DD/MM/YY):06/25/2020 4: 0.65398; Date (DD/MM/YY):06/25/2020 5: 0.65283; Date (DD/MM/YY):06/25/2020 6: 0.67372; Initial: 7: 0.69821 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):06/25/2020 1: 0.66317; Date (DD/MM/YY):06/25/2020 2: 0.67324; Date (DD/MM/YY):06/25/2020 3: 0.65016; Date (DD/MM/YY):06/25/2020 4: 0.59921; Date (DD/MM/YY):06/25/2020 5: 0.6392; Date (DD/MM/YY):06/25/2020 6: 0.61747; Initial: 7: 0.73727 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):06/25/2020 1: 0.7224; Date (DD/MM/YY):06/25/2020 2: 0.64714; Date (DD/MM/YY):06/25/2020 3: 0.69692; Date (DD/MM/YY):06/25/2020 4: 0.66085; Date (DD/MM/YY):06/25/2020 5: 0.64306; Date (DD/MM/YY):06/25/2020 6: 0.71459; Initial: 7: 0.82111 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):06/25/2020 1: 0.12994; Date (DD/MM/YY):06/25/2020 2: 0.08054; Date (DD/MM/YY):06/25/2020 3: 0.0916; Date (DD/MM/YY):06/25/2020 4: 0.05067; Date (DD/MM/YY):06/25/2020 5: 0.10303; Date (DD/MM/YY):06/25/2020 6: 0.05477; Initial: 7: 0.09896 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):06/25/2020 1: 0.08083; Date (DD/MM/YY):06/25/2020 2: 0.05407; Date (DD/MM/YY):06/25/2020 3: 0.07918; Date (DD/MM/YY):06/25/2020 4: 0.04644; Date (DD/MM/YY):06/25/2020 5: 0.09321; Date (DD/MM/YY):06/25/2020 6: 0.05072; Initial: 7: 0.08494 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/25/2020 1: 13.192; Date (DD/MM/YY):06/25/2020 2: 12.752; Date (DD/MM/YY):06/25/2020 3: 12.458; Date (DD/MM/YY):06/25/2020 4: 12.155; Date (DD/MM/YY):06/25/2020 5: 12.112; Date (DD/MM/YY):06/25/2020 6: 12.519; Initial: 7: 12.597
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/25/2020 1: 13.043; Date (DD/MM/YY):06/25/2020 2: 12.701; Date (DD/MM/YY):06/25/2020 3: 12.392; Date (DD/MM/YY):06/25/2020 4: 12.125; Date (DD/MM/YY):06/25/2020 5: 12.02; Date (DD/MM/YY):06/25/2020 6: 12.528; Initial: 7: 12.483
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/25/2020 1: 12.478; Date (DD/MM/YY):06/25/2020 2: 12.309; Date (DD/MM/YY):06/25/2020 3: 11.933; Date (DD/MM/YY):06/25/2020 4: 11.808; Date (DD/MM/YY):06/25/2020 5: 11.505; Date (DD/MM/YY):06/25/2020 6: 12.18; Initial: 7: 12.062
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/25/2020 1: 12.55; Date (DD/MM/YY):06/25/2020 2: 12.346; Date (DD/MM/YY):06/25/2020 3: 11.954; Date (DD/MM/YY):06/25/2020 4: 11.801; Date (DD/MM/YY):06/25/2020 5: 11.593; Date (DD/MM/YY):06/25/2020 6: 12.203; Initial: 7: 12.099
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):06/25/2020 1: 12.8031; Date (DD/MM/YY):06/25/2020 2: 12.5036; Date (DD/MM/YY):06/25/2020 3: 12.186; Date (DD/MM/YY):06/25/2020 4: 11.9814; Date (DD/MM/YY):06/25/2020 5: 11.8045; Date (DD/MM/YY):06/25/2020 6: 12.3522; Initial: 7: 12.3209
Pos Width mmean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):06/25/2020 1: 12.7912; Date (DD/MM/YY):06/25/2020 2: 12.5059; Date (DD/MM/YY):06/25/2020 3: 12.1784; Date (DD/MM/YY):06/25/2020 4: 11.958; Date (DD/MM/YY):06/25/2020 5: 11.7802; Date (DD/MM/YY):06/25/2020 6: 12.3424; Initial: 7: 12.2973
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):06/25/2020 1: 51.125; Date (DD/MM/YY):06/25/2020 2: 50.0087; Date (DD/MM/YY):06/25/2020 3: 48.9549; Date (DD/MM/YY):06/25/2020 4: 47.8523; Date (DD/MM/YY):06/25/2020 5: 47.0883; Date (DD/MM/YY):06/25/2020 6: 49.4716; Initial: 7: 49.262 | Pass
Duty Cycle @ IPIN = 50uA | % | 46 | 54 | Date (DD/MM/YY):06/25/2020 1: 51.2566; Date (DD/MM/YY):06/25/2020 2: 50.0583; Date (DD/MM/YY):06/25/2020 3: 48.7853; Date (DD/MM/YY):06/25/2020 4: 47.933; Date (DD/MM/YY):06/25/2020 5: 47.2943; Date (DD/MM/YY):06/25/2020 6: 49.4441; Initial: 7: 49.2935 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):06/25/2020 1: 51.1701; Date (DD/MM/YY):06/25/2020 2: 50.0342; Date (DD/MM/YY):06/25/2020 3: 48.7446; Date (DD/MM/YY):06/25/2020 4: 47.8285; Date (DD/MM/YY):06/25/2020 5: 47.1444; Date (DD/MM/YY):06/25/2020 6: 49.3699; Initial: 7: 49.1927 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/25/2020 1: 1.1632; Date (DD/MM/YY):06/25/2020 2: 1.1769; Date (DD/MM/YY):06/25/2020 3: 1.1964; Date (DD/MM/YY):06/25/2020 4: 1.1787; Date (DD/MM/YY):06/25/2020 5: 1.1398; Date (DD/MM/YY):06/25/2020 6: 1.1374; Initial: 7: 1.1549 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/25/2020 1: 1.1592; Date (DD/MM/YY):06/25/2020 2: 1.1724; Date (DD/MM/YY):06/25/2020 3: 1.1922; Date (DD/MM/YY):06/25/2020 4: 1.1752; Date (DD/MM/YY):06/25/2020 5: 1.1349; Date (DD/MM/YY):06/25/2020 6: 1.1323; Initial: 7: 1.1498 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/25/2020 1: 1.0906; Date (DD/MM/YY):06/25/2020 2: 1.1208; Date (DD/MM/YY):06/25/2020 3: 1.0922; Date (DD/MM/YY):06/25/2020 4: 1.0596; Date (DD/MM/YY):06/25/2020 5: 1.095; Date (DD/MM/YY):06/25/2020 6: 1.0886; Initial: 7: 1.105 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):06/25/2020 1: 1.0825; Date (DD/MM/YY):06/25/2020 2: 1.1015; Date (DD/MM/YY):06/25/2020 3: 1.0912; Date (DD/MM/YY):06/25/2020 4: 1.0688; Date (DD/MM/YY):06/25/2020 5: 1.0852; Date (DD/MM/YY):06/25/2020 6: 1.0919; Initial: 7: 1.0958 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/25/2020 1: 0.4526; Date (DD/MM/YY):06/25/2020 2: 0.45549; Date (DD/MM/YY):06/25/2020 3: 0.46305; Date (DD/MM/YY):06/25/2020 4: 0.46034; Date (DD/MM/YY):06/25/2020 5: 0.44162; Date (DD/MM/YY):06/25/2020 6: 0.43996; Initial: 7: 0.45047 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/25/2020 1: 0.42727; Date (DD/MM/YY):06/25/2020 2: 0.44217; Date (DD/MM/YY):06/25/2020 3: 0.45256; Date (DD/MM/YY):06/25/2020 4: 0.44962; Date (DD/MM/YY):06/25/2020 5: 0.43041; Date (DD/MM/YY):06/25/2020 6: 0.43049; Initial: 7: 0.44432 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/25/2020 1: 0.40502; Date (DD/MM/YY):06/25/2020 2: 0.42266; Date (DD/MM/YY):06/25/2020 3: 0.40262; Date (DD/MM/YY):06/25/2020 4: 0.37093; Date (DD/MM/YY):06/25/2020 5: 0.40813; Date (DD/MM/YY):06/25/2020 6: 0.39929; Initial: 7: 0.43495 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):06/25/2020 1: 0.41531; Date (DD/MM/YY):06/25/2020 2: 0.41054; Date (DD/MM/YY):06/25/2020 3: 0.42012; Date (DD/MM/YY):06/25/2020 4: 0.39824; Date (DD/MM/YY):06/25/2020 5: 0.38872; Date (DD/MM/YY):06/25/2020 6: 0.41259; Initial: 7: 0.41979 | Pass
Bit errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):06/25/2020 1: 0; Date (DD/MM/YY):06/25/2020 2: 0; Date (DD/MM/YY):06/25/2020 3: 0; Date (DD/MM/YY):06/25/2020 4: 0; Date (DD/MM/YY):06/25/2020 5: 0; Date (DD/MM/YY):06/25/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):06/25/2020 1: 0; Date (DD/MM/YY):06/25/2020 2: 0; Date (DD/MM/YY):06/25/2020 3: 0; Date (DD/MM/YY):06/25/2020 4: 0; Date (DD/MM/YY):06/25/2020 5: 0; Date (DD/MM/YY):06/25/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):06/25/2020 1: 0; Date (DD/MM/YY):06/25/2020 2: 0; Date (DD/MM/YY):06/25/2020 3: 0; Date (DD/MM/YY):06/25/2020 4: 0; Date (DD/MM/YY):06/25/2020 5: 0; Date (DD/MM/YY):06/25/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):06/25/2020 1: 0; Date (DD/MM/YY):06/25/2020 2: 0; Date (DD/MM/YY):06/25/2020 3: 0; Date (DD/MM/YY):06/25/2020 4: 0; Date (DD/MM/YY):06/25/2020 5: 0; Date (DD/MM/YY):06/25/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass