## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1001.0285 | 1004.6996 | 964.2119 | 1081.2639 | 993.1452 | 957.5465 | 1049.6739 | -- | -- | --
Post Opto-pack Burn-in |  | 1009.465 | 988.3117 | 1010.0516 | 1059.1347 | 1027.932 | 1063.5916 | 1079.8197 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1366.7548 | 1068.9996 | 1363.0722 | 1497.5488 | 1366.4517 | 1389.1145 | 1419.2368 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 969.7173 | 751.5973 | 1023.8739 | 1123.43 | 1054.8164 | 1032.7271 | 1052.0048 | -- | -- | --
Change (%) |  | -29.0496 | -29.6915 | -24.8848 | -24.9821 | -22.8062 | -25.6557 | -25.8753 | -- | -- | --
Opto-board at 0C |  | 975.1349 | 728.7758 | 1117.6536 | 1163.743 | 1088.7079 | 1069.2672 | 1069.6849 | -- | -- | --
Change (%) |  | -28.6533 | -31.8264 | -18.0048 | -22.2901 | -20.3259 | -23.0253 | -24.6296 | -- | -- | --
Opto-board at 50C |  | 847.2565 | 643.2025 | 971.2115 | 1009.9456 | 944.5523 | 937.807 | 944.7725 | -- | -- | --
Change (%) |  | -38.0096 | -39.8314 | -28.7483 | -32.5601 | -30.8755 | -32.4889 | -33.4309 | -- | -- | --
Opto-board QA (10C) |  | 955.022 | 718.8812 | 1095.8862 | 1154.5442 | 1076.3837 | 1049.7415 | 1058.5719 | -- | -- | --
Change (%) |  | -30.1248 | -32.752 | -19.6018 | -22.9044 | -21.2278 | -24.4309 | -25.4126 | -- | -- | --
Reception Test |  | 1263.908 | 1036.536 | 1195.384 | 1169.209 | 1140.861 | 953.3317 | 1305.532
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1032.9478 | 1053.8878 | 1020.6181 | 1086.0383 | 959.6736 | 945.7988 | 1032.609 | -- | -- | --
Post Opto-pack Burn-in |  | 972.9454 | 994.3473 | 980.642 | 1001.6322 | 950.359 | 952.134 | 997.2282 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1228.595 | 1271.7301 | 1293.546 | 1320.5734 | 1381.9323 | 1353.5625 | 1418.1146 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1214.2222 | 1208.5201 | 1250.9681 | 1271.9224 | 1109.644 | 1273.0066 | 1358.1289 | -- | -- | --
Change (%) |  | -1.1699 | -4.9704 | -3.2916 | -3.6841 | -19.7034 | -5.9514 | -4.23 | -- | -- | --
Opto-board at 0C |  | 1242.7705 | 1256.1197 | 1253.931 | 1330.4653 | 1075.2921 | 1186.8691 | 1342.6639 | -- | -- | --
Change (%) |  | 1.1538 | -1.2275 | -3.0625 | 0.74906 | -22.1892 | -12.3152 | -5.3205 | -- | -- | --
Opto-board at 50C |  | 1120.3913 | 1105.9312 | 1125.3288 | 1162.6344 | 954.9759 | 1049.5221 | 1190.9713 | -- | -- | --
Change (%) |  | -8.8071 | -13.0373 | -13.0043 | -11.9599 | -30.8956 | -22.4622 | -16.0173 | -- | -- | --
Opto-board QA (10C) |  | 1240.7352 | 1231.7704 | 1271.5255 | 1296.4821 | 1098.1436 | 1175.1476 | 1329.3651 | -- | -- | --
Change (%) |  | 0.98814 | -3.1422 | -1.7023 | -1.8243 | -20.5356 | -13.1811 | -6.2583 | -- | -- | --
Reception Test |  | 1051.21 | 1106.399 | 1076.008 | 1095.346 | 985.031 | 1070.587 | 1056.977

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 342.6514 |  |  |  | 2020-07-02 |  |  |  | Pass
QA | mA | 342 | 378 | 329.7729 |  |  |  | 2020-07-02 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.86436 |  | 2020-07-02 |  |  |  | Pass
QA | uA | 1 | 0.65296 |  | 2020-07-02 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.3196 | 0.03275 | 0.1612 | 0.0385 | 0.04353 | 0.1181 | 0.034215 | 0.3124 | 0.02992 | 0.034234 | 0.3786 | 0.026486 | 0.3289 | 0.30684 |  |  | Pass
Fall | ns | 1 | 0.41337 | 0.34643 | 0.4729 | 0.5136 | 0.70053 | 0.58527 | 0.37048 | 0.41132 | 0.53005 | 0.6724 | 0.44884 | 0.37669 | 0.27637 | 0.33519 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/02/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/02/2020 1: 0.59976; Date (DD/MM/YY):07/02/2020 2: 0.6256; Date (DD/MM/YY):07/02/2020 3: 0.61759; Date (DD/MM/YY):07/02/2020 4: 0.67819; Date (DD/MM/YY):07/02/2020 5: 0.67326; Date (DD/MM/YY):07/02/2020 6: 0.67774; Initial: 7: 0.63912 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/02/2020 1: 0.60089; Date (DD/MM/YY):07/02/2020 2: 0.62546; Date (DD/MM/YY):07/02/2020 3: 0.63544; Date (DD/MM/YY):07/02/2020 4: 0.6342; Date (DD/MM/YY):07/02/2020 5: 0.65675; Date (DD/MM/YY):07/02/2020 6: 0.65675; Initial: 7: 0.67908 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/02/2020 1: 0.66881; Date (DD/MM/YY):07/02/2020 2: 0.70865; Date (DD/MM/YY):07/02/2020 3: 0.66477; Date (DD/MM/YY):07/02/2020 4: 0.59684; Date (DD/MM/YY):07/02/2020 5: 0.66457; Date (DD/MM/YY):07/02/2020 6: 0.66059; Initial: 7: 0.77083 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/02/2020 1: 0.74949; Date (DD/MM/YY):07/02/2020 2: 0.65966; Date (DD/MM/YY):07/02/2020 3: 0.7272; Date (DD/MM/YY):07/02/2020 4: 0.7031; Date (DD/MM/YY):07/02/2020 5: 0.66228; Date (DD/MM/YY):07/02/2020 6: 0.72791; Initial: 7: 0.83215 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/02/2020 1: 0.20318; Date (DD/MM/YY):07/02/2020 2: 0.10147; Date (DD/MM/YY):07/02/2020 3: 0.2003; Date (DD/MM/YY):07/02/2020 4: 0.08778; Date (DD/MM/YY):07/02/2020 5: 0.11345; Date (DD/MM/YY):07/02/2020 6: 0.08604; Initial: 7: 0.12153 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/02/2020 1: 0.18541; Date (DD/MM/YY):07/02/2020 2: 0.09894; Date (DD/MM/YY):07/02/2020 3: 0.19822; Date (DD/MM/YY):07/02/2020 4: 0.08914; Date (DD/MM/YY):07/02/2020 5: 0.11396; Date (DD/MM/YY):07/02/2020 6: 0.05339; Initial: 7: 0.12844 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/02/2020 1: 12.873; Date (DD/MM/YY):07/02/2020 2: 12.248; Date (DD/MM/YY):07/02/2020 3: 12.419; Date (DD/MM/YY):07/02/2020 4: 12.997; Date (DD/MM/YY):07/02/2020 5: 12.395; Date (DD/MM/YY):07/02/2020 6: 12.433; Initial: 7: 13.088
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/02/2020 1: 12.749; Date (DD/MM/YY):07/02/2020 2: 12.239; Date (DD/MM/YY):07/02/2020 3: 12.359; Date (DD/MM/YY):07/02/2020 4: 12.892; Date (DD/MM/YY):07/02/2020 5: 12.365; Date (DD/MM/YY):07/02/2020 6: 12.329; Initial: 7: 13.053
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/02/2020 1: 12.095; Date (DD/MM/YY):07/02/2020 2: 11.71; Date (DD/MM/YY):07/02/2020 3: 11.646; Date (DD/MM/YY):07/02/2020 4: 12.499; Date (DD/MM/YY):07/02/2020 5: 11.885; Date (DD/MM/YY):07/02/2020 6: 11.956; Initial: 7: 12.565
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/02/2020 1: 12.122; Date (DD/MM/YY):07/02/2020 2: 11.712; Date (DD/MM/YY):07/02/2020 3: 11.618; Date (DD/MM/YY):07/02/2020 4: 12.486; Date (DD/MM/YY):07/02/2020 5: 11.897; Date (DD/MM/YY):07/02/2020 6: 12.03; Initial: 7: 12.564
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/02/2020 1: 12.47; Date (DD/MM/YY):07/02/2020 2: 11.9714; Date (DD/MM/YY):07/02/2020 3: 12.0264; Date (DD/MM/YY):07/02/2020 4: 12.6909; Date (DD/MM/YY):07/02/2020 5: 12.1579; Date (DD/MM/YY):07/02/2020 6: 12.1879; Initial: 7: 12.8038
Pos Width mmean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/02/2020 1: 12.4662; Date (DD/MM/YY):07/02/2020 2: 11.969; Date (DD/MM/YY):07/02/2020 3: 12.0194; Date (DD/MM/YY):07/02/2020 4: 12.6749; Date (DD/MM/YY):07/02/2020 5: 12.1304; Date (DD/MM/YY):07/02/2020 6: 12.1729; Initial: 7: 12.7942
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):07/02/2020 1: 49.8911; Date (DD/MM/YY):07/02/2020 2: 47.9611; Date (DD/MM/YY):07/02/2020 3: 47.9525; Date (DD/MM/YY):07/02/2020 4: 50.7254; Date (DD/MM/YY):07/02/2020 5: 48.5231; Date (DD/MM/YY):07/02/2020 6: 48.7091; Initial: 7: 51.1939 | Pass
Duty Cycle @ IPIN = 50uA | % | 46 | 54 | Date (DD/MM/YY):07/02/2020 1: 49.9488; Date (DD/MM/YY):07/02/2020 2: 47.9422; Date (DD/MM/YY):07/02/2020 3: 48.2453; Date (DD/MM/YY):07/02/2020 4: 50.7776; Date (DD/MM/YY):07/02/2020 5: 48.7243; Date (DD/MM/YY):07/02/2020 6: 48.8247; Initial: 7: 51.2684 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):07/02/2020 1: 49.8649; Date (DD/MM/YY):07/02/2020 2: 47.8927; Date (DD/MM/YY):07/02/2020 3: 48.0838; Date (DD/MM/YY):07/02/2020 4: 50.715; Date (DD/MM/YY):07/02/2020 5: 48.5191; Date (DD/MM/YY):07/02/2020 6: 48.7103; Initial: 7: 51.1744 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/02/2020 1: 1.2096; Date (DD/MM/YY):07/02/2020 2: 1.1872; Date (DD/MM/YY):07/02/2020 3: 1.2164; Date (DD/MM/YY):07/02/2020 4: 1.1506; Date (DD/MM/YY):07/02/2020 5: 1.1271; Date (DD/MM/YY):07/02/2020 6: 1.1314; Initial: 7: 1.138 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/02/2020 1: 1.2062; Date (DD/MM/YY):07/02/2020 2: 1.1839; Date (DD/MM/YY):07/02/2020 3: 1.2127; Date (DD/MM/YY):07/02/2020 4: 1.1446; Date (DD/MM/YY):07/02/2020 5: 1.1218; Date (DD/MM/YY):07/02/2020 6: 1.1268; Initial: 7: 1.1337 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/02/2020 1: 1.1171; Date (DD/MM/YY):07/02/2020 2: 1.1328; Date (DD/MM/YY):07/02/2020 3: 1.1333; Date (DD/MM/YY):07/02/2020 4: 1.0484; Date (DD/MM/YY):07/02/2020 5: 1.0595; Date (DD/MM/YY):07/02/2020 6: 1.0741; Initial: 7: 1.0949 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/02/2020 1: 1.1115; Date (DD/MM/YY):07/02/2020 2: 1.1156; Date (DD/MM/YY):07/02/2020 3: 1.1348; Date (DD/MM/YY):07/02/2020 4: 1.0599; Date (DD/MM/YY):07/02/2020 5: 1.0507; Date (DD/MM/YY):07/02/2020 6: 1.0769; Initial: 7: 1.0886 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/02/2020 1: 0.46455; Date (DD/MM/YY):07/02/2020 2: 0.45624; Date (DD/MM/YY):07/02/2020 3: 0.46832; Date (DD/MM/YY):07/02/2020 4: 0.43037; Date (DD/MM/YY):07/02/2020 5: 0.41911; Date (DD/MM/YY):07/02/2020 6: 0.42313; Initial: 7: 0.428 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/02/2020 1: 0.4484; Date (DD/MM/YY):07/02/2020 2: 0.44203; Date (DD/MM/YY):07/02/2020 3: 0.45648; Date (DD/MM/YY):07/02/2020 4: 0.41978; Date (DD/MM/YY):07/02/2020 5: 0.40684; Date (DD/MM/YY):07/02/2020 6: 0.41306; Initial: 7: 0.42038 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/02/2020 1: 0.4204; Date (DD/MM/YY):07/02/2020 2: 0.4298; Date (DD/MM/YY):07/02/2020 3: 0.41977; Date (DD/MM/YY):07/02/2020 4: 0.35377; Date (DD/MM/YY):07/02/2020 5: 0.37837; Date (DD/MM/YY):07/02/2020 6: 0.3818; Initial: 7: 0.41218 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/02/2020 1: 0.43159; Date (DD/MM/YY):07/02/2020 2: 0.42748; Date (DD/MM/YY):07/02/2020 3: 0.4425; Date (DD/MM/YY):07/02/2020 4: 0.37859; Date (DD/MM/YY):07/02/2020 5: 0.3583; Date (DD/MM/YY):07/02/2020 6: 0.38881; Initial: 7: 0.40264 | Pass
Bit errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):07/02/2020 1: 0; Date (DD/MM/YY):07/02/2020 2: 0; Date (DD/MM/YY):07/02/2020 3: 0; Date (DD/MM/YY):07/02/2020 4: 0; Date (DD/MM/YY):07/02/2020 5: 0; Date (DD/MM/YY):07/02/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):07/02/2020 1: 0; Date (DD/MM/YY):07/02/2020 2: 0; Date (DD/MM/YY):07/02/2020 3: 0; Date (DD/MM/YY):07/02/2020 4: 0; Date (DD/MM/YY):07/02/2020 5: 0; Date (DD/MM/YY):07/02/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/02/2020 1: 0; Date (DD/MM/YY):07/02/2020 2: 0; Date (DD/MM/YY):07/02/2020 3: 0; Date (DD/MM/YY):07/02/2020 4: 0; Date (DD/MM/YY):07/02/2020 5: 0; Date (DD/MM/YY):07/02/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/02/2020 1: 0; Date (DD/MM/YY):07/02/2020 2: 0; Date (DD/MM/YY):07/02/2020 3: 0; Date (DD/MM/YY):07/02/2020 4: 0; Date (DD/MM/YY):07/02/2020 5: 0; Date (DD/MM/YY):07/02/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass