## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1832.2899 | 1758.6132 | 1872.3944 | 1786.9994 | 1796.0045 | 1756.6502 | 1812.0867 | -- | -- | --
Post Opto-pack Burn-in |  | 1768.6029 | 1705.3874 | 1767.5575 | 1685.9004 | 1739.7954 | 1678.7977 | 1727.5239 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1188.6651 | 978.3173 | 1360.0931 | 1187.5919 | 1178.0845 | 1219.4369 | 1086.6998 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1112.5081 | 799.1731 | 1263.4295 | 1120.9384 | 1033.9378 | 998.6086 | 1063.058 | -- | -- | --
Change (%) |  | -6.4069 | -18.3115 | -7.1071 | -5.6125 | -12.2357 | -18.109 | -2.1756 | -- | -- | --
Opto-board at 0C |  | 1201.3595 | 898.1835 | 1411.8038 | 1240.0238 | 1172.6022 | 1109.7179 | 1191.0664 | -- | -- | --
Change (%) |  | 1.068 | -8.191 | 3.802 | 4.415 | -0.46536 | -8.9975 | 9.604 | -- | -- | --
Opto-board at 50C |  | 1135.3203 | 836.0855 | 1302.9097 | 1138.1998 | 1061.0756 | 1017.0311 | 1101.3522 | -- | -- | --
Change (%) |  | -4.4878 | -14.5384 | -4.2044 | -4.159 | -9.9321 | -16.5983 | 1.3483 | -- | -- | --
Opto-board QA (10C) |  | 1203.8417 | 893.1464 | 1403.3995 | 1239.954 | 1147.5654 | 1118.6511 | 1178.0259 | -- | -- | --
Change (%) |  | 1.2768 | -8.7059 | 3.1841 | 4.4091 | -2.5906 | -8.2649 | 8.404 | -- | -- | --
Reception Test |  | 1276.086 | 964.8111 | 1233.162 | 1045.489 | 1014.116 | 934.2858 | 1196.739
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1818.8297 | 1855.1758 | 1798.7612 | 1842.2905 | 1771.6633 | 1718.5686 | 1728.1377 | -- | -- | --
Post Opto-pack Burn-in |  | 1776.5996 | 1847.4178 | 1769.1604 | 1799.2362 | 1713.1876 | 1695.3235 | 1691.852 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1337.6773 | 1429.1207 | 1263.1215 | 1393.9311 | 1453.5908 | 1436.3226 | 1490.4101 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1320.8837 | 1316.935 | 1364.5731 | 1304.7115 | 1249.5287 | 1305.3993 | 1432.44 | -- | -- | --
Change (%) |  | -1.2554 | -7.85 | 8.0318 | -6.4006 | -14.0385 | -9.1152 | -3.8895 | -- | -- | --
Opto-board at 0C |  | 1424.6312 | 1492.8133 | 1384.28 | 1472.6802 | 1321.7045 | 1145.0444 | 1531.4272 | -- | -- | --
Change (%) |  | 6.5004 | 4.4568 | 9.592 | 5.6494 | -9.0731 | -20.2794 | 2.7521 | -- | -- | --
Opto-board at 50C |  | 1257.7619 | 1344.6978 | 1227.3473 | 1320.6193 | 1212.9285 | 1040.8279 | 1410.6646 | -- | -- | --
Change (%) |  | -5.9742 | -5.9073 | -2.8322 | -5.2594 | -16.5564 | -27.5352 | -5.3506 | -- | -- | --
Opto-board QA (10C) |  | 1398.7997 | 1448.3858 | 1365.9082 | 1465.6631 | 1369.9544 | 1103.0778 | 1534.1303 | -- | -- | --
Change (%) |  | 4.5693 | 1.348 | 8.1375 | 5.146 | -5.7538 | -23.2013 | 2.9334 | -- | -- | --
Reception Test |  | 882.9041 | 1083.844 | 994.1002 | 1024.148 | 907.1491 | 1006.095 | 955.8825

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 346.1914 |  |  |  | 2020-07-01 |  |  |  | Pass
QA | mA | 342 | 378 | 335.4614 |  |  |  | 2020-07-01 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.85762 |  | 2020-07-01 |  |  |  | Pass
QA | uA | 1 | 0.58065 |  | 2020-07-01 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.05084 | 0.04323 | 0.43946 | 0.03074 | 0.0877 | 0.031889 | 0.033807 | 0.04988 | 0.38268 | 0.2652 | 0.2004 | 0.032338 | 0.034678 | 0.0628 |  |  | Pass
Fall | ns | 1 | 0.4912 | 0.42944 | 0.42302 | 0.35703 | 0.59565 | 0.60101 | 0.31919 | 0.49475 | 0.34632 | 0.48579 | 0.42794 | 0.40077 | 0.46601 | 0.4317 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/01/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/01/2020 1: 0.61917; Date (DD/MM/YY):07/01/2020 2: 0.63963; Date (DD/MM/YY):07/01/2020 3: 0.63098; Date (DD/MM/YY):07/01/2020 4: 0.65492; Date (DD/MM/YY):07/01/2020 5: 0.66051; Date (DD/MM/YY):07/01/2020 6: 0.68803; Initial: 7: 0.66654 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/01/2020 1: 0.62281; Date (DD/MM/YY):07/01/2020 2: 0.62122; Date (DD/MM/YY):07/01/2020 3: 0.6399; Date (DD/MM/YY):07/01/2020 4: 0.6387; Date (DD/MM/YY):07/01/2020 5: 0.65922; Date (DD/MM/YY):07/01/2020 6: 0.6689; Initial: 7: 0.67735 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/01/2020 1: 0.68899; Date (DD/MM/YY):07/01/2020 2: 0.68782; Date (DD/MM/YY):07/01/2020 3: 0.61636; Date (DD/MM/YY):07/01/2020 4: 0.62425; Date (DD/MM/YY):07/01/2020 5: 0.67896; Date (DD/MM/YY):07/01/2020 6: 0.67862; Initial: 7: 0.76705 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/01/2020 1: 0.71935; Date (DD/MM/YY):07/01/2020 2: 0.663; Date (DD/MM/YY):07/01/2020 3: 0.72258; Date (DD/MM/YY):07/01/2020 4: 0.70581; Date (DD/MM/YY):07/01/2020 5: 0.66733; Date (DD/MM/YY):07/01/2020 6: 0.7663; Initial: 7: 0.85658 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/01/2020 1: 0.17888; Date (DD/MM/YY):07/01/2020 2: 0.27263; Date (DD/MM/YY):07/01/2020 3: 0.15558; Date (DD/MM/YY):07/01/2020 4: 0.20411; Date (DD/MM/YY):07/01/2020 5: 0.06622; Date (DD/MM/YY):07/01/2020 6: 0.19777; Initial: 7: 0.14474 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/01/2020 1: 0.14769; Date (DD/MM/YY):07/01/2020 2: 0.25793; Date (DD/MM/YY):07/01/2020 3: 0.13986; Date (DD/MM/YY):07/01/2020 4: 0.19532; Date (DD/MM/YY):07/01/2020 5: 0.05379; Date (DD/MM/YY):07/01/2020 6: 0.19066; Initial: 7: 0.14132 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/01/2020 1: 12.491; Date (DD/MM/YY):07/01/2020 2: 12.162; Date (DD/MM/YY):07/01/2020 3: 12.699; Date (DD/MM/YY):07/01/2020 4: 13.142; Date (DD/MM/YY):07/01/2020 5: 12.528; Date (DD/MM/YY):07/01/2020 6: 12.476; Initial: 7: 13.121
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/01/2020 1: 12.415; Date (DD/MM/YY):07/01/2020 2: 12.069; Date (DD/MM/YY):07/01/2020 3: 12.653; Date (DD/MM/YY):07/01/2020 4: 13.021; Date (DD/MM/YY):07/01/2020 5: 12.531; Date (DD/MM/YY):07/01/2020 6: 12.424; Initial: 7: 13.057
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/01/2020 1: 11.714; Date (DD/MM/YY):07/01/2020 2: 11.21; Date (DD/MM/YY):07/01/2020 3: 12.042; Date (DD/MM/YY):07/01/2020 4: 12.331; Date (DD/MM/YY):07/01/2020 5: 12.184; Date (DD/MM/YY):07/01/2020 6: 11.806; Initial: 7: 12.496
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/01/2020 1: 11.757; Date (DD/MM/YY):07/01/2020 2: 11.258; Date (DD/MM/YY):07/01/2020 3: 12.122; Date (DD/MM/YY):07/01/2020 4: 12.364; Date (DD/MM/YY):07/01/2020 5: 12.19; Date (DD/MM/YY):07/01/2020 6: 11.818; Initial: 7: 12.526
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/01/2020 1: 12.0765; Date (DD/MM/YY):07/01/2020 2: 11.6516; Date (DD/MM/YY):07/01/2020 3: 12.3801; Date (DD/MM/YY):07/01/2020 4: 12.7045; Date (DD/MM/YY):07/01/2020 5: 12.3489; Date (DD/MM/YY):07/01/2020 6: 12.1462; Initial: 7: 12.7879
Pos Width mmean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/01/2020 1: 12.0809; Date (DD/MM/YY):07/01/2020 2: 11.6548; Date (DD/MM/YY):07/01/2020 3: 12.3846; Date (DD/MM/YY):07/01/2020 4: 12.6863; Date (DD/MM/YY):07/01/2020 5: 12.3306; Date (DD/MM/YY):07/01/2020 6: 12.1228; Initial: 7: 12.7632
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):07/01/2020 1: 48.2334; Date (DD/MM/YY):07/01/2020 2: 46.6885; Date (DD/MM/YY):07/01/2020 3: 49.5355; Date (DD/MM/YY):07/01/2020 4: 50.9612; Date (DD/MM/YY):07/01/2020 5: 49.2823; Date (DD/MM/YY):07/01/2020 6: 48.5431; Initial: 7: 51.151 | Pass
Duty Cycle @ IPIN = 50uA | % | 46 | 54 | Date (DD/MM/YY):07/01/2020 1: 48.3421; Date (DD/MM/YY):07/01/2020 2: 46.6905; Date (DD/MM/YY):07/01/2020 3: 49.5065; Date (DD/MM/YY):07/01/2020 4: 50.8848; Date (DD/MM/YY):07/01/2020 5: 49.4714; Date (DD/MM/YY):07/01/2020 6: 48.5892; Initial: 7: 51.1609 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):07/01/2020 1: 48.3199; Date (DD/MM/YY):07/01/2020 2: 46.6369; Date (DD/MM/YY):07/01/2020 3: 49.5461; Date (DD/MM/YY):07/01/2020 4: 50.7474; Date (DD/MM/YY):07/01/2020 5: 49.3327; Date (DD/MM/YY):07/01/2020 6: 48.4914; Initial: 7: 51.0538 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/01/2020 1: 1.1401; Date (DD/MM/YY):07/01/2020 2: 1.1246; Date (DD/MM/YY):07/01/2020 3: 1.1616; Date (DD/MM/YY):07/01/2020 4: 1.2045; Date (DD/MM/YY):07/01/2020 5: 1.1909; Date (DD/MM/YY):07/01/2020 6: 1.1769; Initial: 7: 1.2076 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/01/2020 1: 1.1346; Date (DD/MM/YY):07/01/2020 2: 1.1172; Date (DD/MM/YY):07/01/2020 3: 1.1554; Date (DD/MM/YY):07/01/2020 4: 1.1994; Date (DD/MM/YY):07/01/2020 5: 1.1868; Date (DD/MM/YY):07/01/2020 6: 1.1722; Initial: 7: 1.203 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/01/2020 1: 1.062; Date (DD/MM/YY):07/01/2020 2: 1.0927; Date (DD/MM/YY):07/01/2020 3: 1.0851; Date (DD/MM/YY):07/01/2020 4: 1.1054; Date (DD/MM/YY):07/01/2020 5: 1.1155; Date (DD/MM/YY):07/01/2020 6: 1.1176; Initial: 7: 1.1743 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/01/2020 1: 1.0573; Date (DD/MM/YY):07/01/2020 2: 1.0729; Date (DD/MM/YY):07/01/2020 3: 1.0851; Date (DD/MM/YY):07/01/2020 4: 1.1151; Date (DD/MM/YY):07/01/2020 5: 1.1044; Date (DD/MM/YY):07/01/2020 6: 1.1197; Initial: 7: 1.1672 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/01/2020 1: 0.43073; Date (DD/MM/YY):07/01/2020 2: 0.42661; Date (DD/MM/YY):07/01/2020 3: 0.44196; Date (DD/MM/YY):07/01/2020 4: 0.45275; Date (DD/MM/YY):07/01/2020 5: 0.4465; Date (DD/MM/YY):07/01/2020 6: 0.44458; Initial: 7: 0.45659 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/01/2020 1: 0.415; Date (DD/MM/YY):07/01/2020 2: 0.40503; Date (DD/MM/YY):07/01/2020 3: 0.42969; Date (DD/MM/YY):07/01/2020 4: 0.44459; Date (DD/MM/YY):07/01/2020 5: 0.441; Date (DD/MM/YY):07/01/2020 6: 0.43675; Initial: 7: 0.44999 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/01/2020 1: 0.37986; Date (DD/MM/YY):07/01/2020 2: 0.40721; Date (DD/MM/YY):07/01/2020 3: 0.39656; Date (DD/MM/YY):07/01/2020 4: 0.38422; Date (DD/MM/YY):07/01/2020 5: 0.40393; Date (DD/MM/YY):07/01/2020 6: 0.40537; Initial: 7: 0.44865 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/01/2020 1: 0.39283; Date (DD/MM/YY):07/01/2020 2: 0.38277; Date (DD/MM/YY):07/01/2020 3: 0.40881; Date (DD/MM/YY):07/01/2020 4: 0.40843; Date (DD/MM/YY):07/01/2020 5: 0.38783; Date (DD/MM/YY):07/01/2020 6: 0.41591; Initial: 7: 0.44551 | Pass
Bit errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):07/01/2020 1: 0; Date (DD/MM/YY):07/01/2020 2: 0; Date (DD/MM/YY):07/01/2020 3: 0; Date (DD/MM/YY):07/01/2020 4: 0; Date (DD/MM/YY):07/01/2020 5: 0; Date (DD/MM/YY):07/01/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):07/01/2020 1: 0; Date (DD/MM/YY):07/01/2020 2: 0; Date (DD/MM/YY):07/01/2020 3: 0; Date (DD/MM/YY):07/01/2020 4: 0; Date (DD/MM/YY):07/01/2020 5: 0; Date (DD/MM/YY):07/01/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/01/2020 1: 0; Date (DD/MM/YY):07/01/2020 2: 0; Date (DD/MM/YY):07/01/2020 3: 0; Date (DD/MM/YY):07/01/2020 4: 0; Date (DD/MM/YY):07/01/2020 5: 0; Date (DD/MM/YY):07/01/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/01/2020 1: 0; Date (DD/MM/YY):07/01/2020 2: 0; Date (DD/MM/YY):07/01/2020 3: 0; Date (DD/MM/YY):07/01/2020 4: 0; Date (DD/MM/YY):07/01/2020 5: 0; Date (DD/MM/YY):07/01/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass