## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1761.27 | 1699.0985 | 1764.7857 | 1810.3537 | 1798.3426 | 1685.3514 | 1775.3178 | -- | -- | --
Post Opto-pack Burn-in |  | 1701.1525 | 1695.3482 | 1754.1213 | 1771.9735 | 1755.106 | 1662.2936 | 1730.1591 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1200.3779 | 857.9154 | 1307.8114 | 1303.8669 | 1227.2664 | 1195.4894 | 1175.5185 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1149.5625 | 921.6804 | 1287.662 | 1275.0249 | 1177.7843 | 1069.1506 | 1124.3885 | -- | -- | --
Change (%) |  | -4.2333 | 7.4326 | -1.5407 | -2.212 | -4.0319 | -10.568 | -4.3496 | -- | -- | --
Opto-board at 0C |  | 1249.3245 | 1001.7424 | 1445.5351 | 1401.6546 | 1308.5564 | 1194.0813 | 1221.3095 | -- | -- | --
Change (%) |  | 4.0776 | 16.7647 | 10.5309 | 7.4998 | 6.6237 | -0.11779 | 3.8954 | -- | -- | --
Opto-board at 50C |  | 1107.2982 | 882.1812 | 1261.2689 | 1255.6507 | 1167.7026 | 1036.0187 | 1087.8597 | -- | -- | --
Change (%) |  | -7.7542 | 2.8285 | -3.5588 | -3.6979 | -4.8534 | -13.3394 | -7.457 | -- | -- | --
Opto-board QA (10C) |  | 1228.4377 | 978.964 | 1438.8441 | 1390.1238 | 1270.8423 | 1183.408 | 1206.6826 | -- | -- | --
Change (%) |  | 2.3376 | 14.1096 | 10.0192 | 6.6155 | 3.5507 | -1.0106 | 2.6511 | -- | -- | --
Reception Test |  | 1186.2 | 925.8151 | 1217.438 | 1106.168 | 1001.449 | 852.7776 | 1245.428
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1934.4806 | 1951.3024 | 2097.8214 | 2008.2073 | 1982.4822 | 1951.9033 | 2037.7473 | -- | -- | --
Post Opto-pack Burn-in |  | 1853.51 | 1867.7293 | 1985.6747 | 1930.3728 | 1902.7414 | 1906.9426 | 1943.5878 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1342.6984 | 1433.3204 | 1464.7261 | 1451.1698 | 1553.065 | 1477.4946 | 1662.1639 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1127.1966 | 1185.2967 | 1290.8757 | 1224.2174 | 1182.8743 | 1260.1688 | 1406.4358 | -- | -- | --
Change (%) |  | -16.0499 | -17.3041 | -11.8691 | -15.6393 | -23.8361 | -14.7091 | -15.3853 | -- | -- | --
Opto-board at 0C |  | 1312.859 | 1362.7475 | 1470.0209 | 1388.4938 | 1318.9588 | 1436.0767 | 1592.4207 | -- | -- | --
Change (%) |  | -2.2223 | -4.9237 | 0.36149 | -4.319 | -15.0738 | -2.8033 | -4.1959 | -- | -- | --
Opto-board at 50C |  | 1224.883 | 1287.5103 | 1374.4036 | 1336.9955 | 1261.8548 | 1346.0225 | 1528.1308 | -- | -- | --
Change (%) |  | -8.7745 | -10.1729 | -6.1665 | -7.8677 | -18.7507 | -8.8983 | -8.0638 | -- | -- | --
Opto-board QA (10C) |  | 1294.2811 | 1335.0384 | 1468.4754 | 1371.1716 | 1376.8685 | 1419.1803 | 1587.4667 | -- | -- | --
Change (%) |  | -3.606 | -6.8569 | 0.25598 | -5.5127 | -11.3451 | -3.9468 | -4.494 | -- | -- | --
Reception Test |  | 1056.085 | 1217.043 | 1115.343 | 1225.405 | 1074.155 | 1131.9 | 1187.752

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 346.0693 |  |  |  | 2020-07-02 |  |  |  | Pass
QA | mA | 342 | 378 | 326.9165 |  |  |  | 2020-07-02 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.72497 |  | 2020-07-02 |  |  |  | Pass
QA | uA | 1 | 0.67892 |  | 2020-07-02 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.04196 | 0.04159 | 0.1764 | 0.04131 | 0.37689 | 0.3261 | 0.030545 | 0.035462 | 0.3209 | 0.3011 | 0.37113 | 0.3719 | 0.0974 | 0.34191 |  |  | Pass
Fall | ns | 1 | 0.42731 | 0.46802 | 0.61321 | 0.46263 | 0.4916 | 0.4758 | 0.52724 | 0.42281 | 0.35722 | 0.261 | 0.54442 | 0.38463 | 0.33778 | 0.45348 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/02/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/02/2020 1: 0.60411; Date (DD/MM/YY):07/02/2020 2: 0.63367; Date (DD/MM/YY):07/02/2020 3: 0.62983; Date (DD/MM/YY):07/02/2020 4: 0.68772; Date (DD/MM/YY):07/02/2020 5: 0.65495; Date (DD/MM/YY):07/02/2020 6: 0.67052; Initial: 7: 0.65892 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/02/2020 1: 0.61458; Date (DD/MM/YY):07/02/2020 2: 0.63045; Date (DD/MM/YY):07/02/2020 3: 0.64631; Date (DD/MM/YY):07/02/2020 4: 0.63001; Date (DD/MM/YY):07/02/2020 5: 0.64815; Date (DD/MM/YY):07/02/2020 6: 0.67857; Initial: 7: 0.69051 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/02/2020 1: 0.68346; Date (DD/MM/YY):07/02/2020 2: 0.69666; Date (DD/MM/YY):07/02/2020 3: 0.63252; Date (DD/MM/YY):07/02/2020 4: 0.6028; Date (DD/MM/YY):07/02/2020 5: 0.6405; Date (DD/MM/YY):07/02/2020 6: 0.62004; Initial: 7: 0.71121 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/02/2020 1: 0.69665; Date (DD/MM/YY):07/02/2020 2: 0.66289; Date (DD/MM/YY):07/02/2020 3: 0.69729; Date (DD/MM/YY):07/02/2020 4: 0.67061; Date (DD/MM/YY):07/02/2020 5: 0.64581; Date (DD/MM/YY):07/02/2020 6: 0.72057; Initial: 7: 0.81469 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/02/2020 1: 0.09525; Date (DD/MM/YY):07/02/2020 2: 0.07635; Date (DD/MM/YY):07/02/2020 3: 0.0698; Date (DD/MM/YY):07/02/2020 4: 0.14976; Date (DD/MM/YY):07/02/2020 5: 0.11774; Date (DD/MM/YY):07/02/2020 6: 0.16456; Initial: 7: 0.06935 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/02/2020 1: 0.06613; Date (DD/MM/YY):07/02/2020 2: 0.0635; Date (DD/MM/YY):07/02/2020 3: 0.07577; Date (DD/MM/YY):07/02/2020 4: 0.15319; Date (DD/MM/YY):07/02/2020 5: 0.10853; Date (DD/MM/YY):07/02/2020 6: 0.16301; Initial: 7: 0.04396 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/02/2020 1: 12.707; Date (DD/MM/YY):07/02/2020 2: 12.217; Date (DD/MM/YY):07/02/2020 3: 12.239; Date (DD/MM/YY):07/02/2020 4: 13.355; Date (DD/MM/YY):07/02/2020 5: 12.079; Date (DD/MM/YY):07/02/2020 6: 13.279; Initial: 7: 12.615
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/02/2020 1: 12.707; Date (DD/MM/YY):07/02/2020 2: 12.201; Date (DD/MM/YY):07/02/2020 3: 12.281; Date (DD/MM/YY):07/02/2020 4: 13.295; Date (DD/MM/YY):07/02/2020 5: 12.005; Date (DD/MM/YY):07/02/2020 6: 13.168; Initial: 7: 12.472
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/02/2020 1: 12.252; Date (DD/MM/YY):07/02/2020 2: 11.76; Date (DD/MM/YY):07/02/2020 3: 11.802; Date (DD/MM/YY):07/02/2020 4: 12.693; Date (DD/MM/YY):07/02/2020 5: 11.513; Date (DD/MM/YY):07/02/2020 6: 12.606; Initial: 7: 12.157
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/02/2020 1: 12.25; Date (DD/MM/YY):07/02/2020 2: 11.769; Date (DD/MM/YY):07/02/2020 3: 11.818; Date (DD/MM/YY):07/02/2020 4: 12.744; Date (DD/MM/YY):07/02/2020 5: 11.482; Date (DD/MM/YY):07/02/2020 6: 12.617; Initial: 7: 12.205
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/02/2020 1: 12.4768; Date (DD/MM/YY):07/02/2020 2: 11.9811; Date (DD/MM/YY):07/02/2020 3: 12.0197; Date (DD/MM/YY):07/02/2020 4: 13.007; Date (DD/MM/YY):07/02/2020 5: 11.7766; Date (DD/MM/YY):07/02/2020 6: 12.9064; Initial: 7: 12.3547
Pos Width mmean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/02/2020 1: 12.4624; Date (DD/MM/YY):07/02/2020 2: 11.9838; Date (DD/MM/YY):07/02/2020 3: 12.0148; Date (DD/MM/YY):07/02/2020 4: 13.0043; Date (DD/MM/YY):07/02/2020 5: 11.7384; Date (DD/MM/YY):07/02/2020 6: 12.9087; Initial: 7: 12.3354
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):07/02/2020 1: 49.8094; Date (DD/MM/YY):07/02/2020 2: 48.0702; Date (DD/MM/YY):07/02/2020 3: 48.2561; Date (DD/MM/YY):07/02/2020 4: 52.019; Date (DD/MM/YY):07/02/2020 5: 46.9875; Date (DD/MM/YY):07/02/2020 6: 51.7282; Initial: 7: 49.3742 | Pass
Duty Cycle @ IPIN = 50uA | % | 46 | 54 | Date (DD/MM/YY):07/02/2020 1: 49.9652; Date (DD/MM/YY):07/02/2020 2: 48.0048; Date (DD/MM/YY):07/02/2020 3: 48.121; Date (DD/MM/YY):07/02/2020 4: 52.0423; Date (DD/MM/YY):07/02/2020 5: 47.1264; Date (DD/MM/YY):07/02/2020 6: 51.6328; Initial: 7: 49.4974 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):07/02/2020 1: 49.8484; Date (DD/MM/YY):07/02/2020 2: 47.943; Date (DD/MM/YY):07/02/2020 3: 48.0722; Date (DD/MM/YY):07/02/2020 4: 52.0169; Date (DD/MM/YY):07/02/2020 5: 46.9765; Date (DD/MM/YY):07/02/2020 6: 51.6399; Initial: 7: 49.3592 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/02/2020 1: 1.1383; Date (DD/MM/YY):07/02/2020 2: 1.1243; Date (DD/MM/YY):07/02/2020 3: 1.1586; Date (DD/MM/YY):07/02/2020 4: 1.1691; Date (DD/MM/YY):07/02/2020 5: 1.1436; Date (DD/MM/YY):07/02/2020 6: 1.1521; Initial: 7: 1.1696 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/02/2020 1: 1.1354; Date (DD/MM/YY):07/02/2020 2: 1.1197; Date (DD/MM/YY):07/02/2020 3: 1.1548; Date (DD/MM/YY):07/02/2020 4: 1.1649; Date (DD/MM/YY):07/02/2020 5: 1.1402; Date (DD/MM/YY):07/02/2020 6: 1.1492; Initial: 7: 1.167 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/02/2020 1: 1.0625; Date (DD/MM/YY):07/02/2020 2: 1.0833; Date (DD/MM/YY):07/02/2020 3: 1.1037; Date (DD/MM/YY):07/02/2020 4: 1.0691; Date (DD/MM/YY):07/02/2020 5: 1.0849; Date (DD/MM/YY):07/02/2020 6: 1.1018; Initial: 7: 1.1534 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/02/2020 1: 1.061; Date (DD/MM/YY):07/02/2020 2: 1.0681; Date (DD/MM/YY):07/02/2020 3: 1.1037; Date (DD/MM/YY):07/02/2020 4: 1.0802; Date (DD/MM/YY):07/02/2020 5: 1.0767; Date (DD/MM/YY):07/02/2020 6: 1.1068; Initial: 7: 1.149 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/02/2020 1: 0.42883; Date (DD/MM/YY):07/02/2020 2: 0.42236; Date (DD/MM/YY):07/02/2020 3: 0.43627; Date (DD/MM/YY):07/02/2020 4: 0.44295; Date (DD/MM/YY):07/02/2020 5: 0.43294; Date (DD/MM/YY):07/02/2020 6: 0.43378; Initial: 7: 0.44498 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/02/2020 1: 0.41103; Date (DD/MM/YY):07/02/2020 2: 0.40242; Date (DD/MM/YY):07/02/2020 3: 0.42135; Date (DD/MM/YY):07/02/2020 4: 0.43451; Date (DD/MM/YY):07/02/2020 5: 0.42084; Date (DD/MM/YY):07/02/2020 6: 0.42773; Initial: 7: 0.43809 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/02/2020 1: 0.37826; Date (DD/MM/YY):07/02/2020 2: 0.4006; Date (DD/MM/YY):07/02/2020 3: 0.40391; Date (DD/MM/YY):07/02/2020 4: 0.37339; Date (DD/MM/YY):07/02/2020 5: 0.39472; Date (DD/MM/YY):07/02/2020 6: 0.39984; Initial: 7: 0.44135 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/02/2020 1: 0.39522; Date (DD/MM/YY):07/02/2020 2: 0.38632; Date (DD/MM/YY):07/02/2020 3: 0.41245; Date (DD/MM/YY):07/02/2020 4: 0.39283; Date (DD/MM/YY):07/02/2020 5: 0.37673; Date (DD/MM/YY):07/02/2020 6: 0.40923; Initial: 7: 0.43773 | Pass
Bit errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):07/02/2020 1: 0; Date (DD/MM/YY):07/02/2020 2: 0; Date (DD/MM/YY):07/02/2020 3: 0; Date (DD/MM/YY):07/02/2020 4: 0; Date (DD/MM/YY):07/02/2020 5: 0; Date (DD/MM/YY):07/02/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 50uA | -- | -- | 0 | Date (DD/MM/YY):07/02/2020 1: 0; Date (DD/MM/YY):07/02/2020 2: 0; Date (DD/MM/YY):07/02/2020 3: 0; Date (DD/MM/YY):07/02/2020 4: 0; Date (DD/MM/YY):07/02/2020 5: 0; Date (DD/MM/YY):07/02/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/02/2020 1: 0; Date (DD/MM/YY):07/02/2020 2: 0; Date (DD/MM/YY):07/02/2020 3: 0; Date (DD/MM/YY):07/02/2020 4: 0; Date (DD/MM/YY):07/02/2020 5: 0; Date (DD/MM/YY):07/02/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/02/2020 1: 0; Date (DD/MM/YY):07/02/2020 2: 0; Date (DD/MM/YY):07/02/2020 3: 0; Date (DD/MM/YY):07/02/2020 4: 0; Date (DD/MM/YY):07/02/2020 5: 0; Date (DD/MM/YY):07/02/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass