## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1202.1135 | 1297.2594 | 1277.1816 | 1253.9734 | 1239.9576 | 1229.0379 | 1199.7353 | -- | -- | --
Post Opto-pack Burn-in |  | 1016.6495 | 1117.1947 | 1116.1793 | 1052.0217 | 1076.3404 | 1048.7272 | 1001.6424 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 933.267 | 780.1241 | 1037.2084 | 1024.237 | 903.4482 | 947.9421 | 856.6361 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 931.5209 | 694.0262 | 1034.7052 | 1023.9978 | 942.0981 | 986.7783 | 885.3013 | -- | -- | --
Change (%) |  | -0.18709 | -11.0364 | -0.24134 | -0.023353 | 4.278 | 4.0969 | 3.3463 | -- | -- | --
Opto-board at 0C |  | 1016.3516 | 751.7194 | 1206.4649 | 1090.462 | 995.9942 | 1095.6633 | 971.2031 | -- | -- | --
Change (%) |  | 8.9026 | -3.641 | 16.3185 | 6.4658 | 10.2436 | 15.5834 | 13.3741 | -- | -- | --
Opto-board at 50C |  | 882.3006 | 648.6061 | 1070.6638 | 956.2181 | 879.824 | 965.7009 | 853.9155 | -- | -- | --
Change (%) |  | -5.4611 | -16.8586 | 3.2255 | -6.6409 | -2.6149 | 1.8734 | -0.3176 | -- | -- | --
Opto-board QA (10C) |  | 1008.5084 | 743.5853 | 1197.8037 | 1091.6479 | 983.211 | 1082.8105 | 974.0944 | -- | -- | --
Change (%) |  | 8.0622 | -4.6837 | 15.4834 | 6.5816 | 8.8287 | 14.2275 | 13.7116 | -- | -- | --
Reception Test |  | 956.197 | 909.5578 | 966.501 | 846.1246 | 811.0696 | 763.8764 | 1005.846
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1453.3635 | 1520.7343 | 1347.6162 | 1453.086 | 1410.8717 | 1331.0774 | 1386.3194 | -- | -- | --
Post Opto-pack Burn-in |  | 1347.0646 | 1349.1074 | 1303.753 | 1313.8505 | 1282.7567 | 1236.8242 | 1250.7366 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1021.4048 | 970.7633 | 1000.2747 | 1034.8669 | 938.1233 | 960.0734 | 1036.0576 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 992.2021 | 949.2108 | 1007.1058 | 1085.0793 | 967.5109 | 1033.4015 | 1094.6118 | -- | -- | --
Change (%) |  | -2.8591 | -2.2202 | 0.68292 | 4.8521 | 3.1326 | 7.6378 | 5.6516 | -- | -- | --
Opto-board at -10C |  | 1177.2816 | 1068.4466 | 1063.3916 | 1188.8565 | 1013.7313 | 1173.2744 | 1210.4674 | -- | -- | --
Change (%) |  | 15.261 | 10.0625 | 6.31 | 14.8801 | 8.0595 | 22.2067 | 16.834 | -- | -- | --
Opto-board at 50C |  | 1037.4094 | 912.0121 | 939.2702 | 1036.4008 | 915.8488 | 994.3487 | 1047.8683 | -- | -- | --
Change (%) |  | 1.5669 | -6.0521 | -6.0988 | 0.14822 | -2.3744 | 3.5701 | 1.14 | -- | -- | --
Opto-board QA (10C) |  | 1174.1704 | 1061.0301 | 1047.9095 | 1151.3649 | 1026.6045 | 1129.3022 | 1197.0838 | -- | -- | --
Change (%) |  | 14.9564 | 9.2985 | 4.7622 | 11.2573 | 9.4317 | 17.6266 | 15.5422 | -- | -- | --
Reception Test |  | 811.8821 | 935.3845 | 804.4777 | 904.9086 | 900.1369 | 926.6777 | 1001.27

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 353.0273 |  |  |  | 2020-07-21 |  |  |  | Pass
QA | mA | 342 | 378 | 330.3833 |  |  |  | 2020-07-21 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.6957 |  | 2020-07-21 |  |  |  | Pass
QA | uA | 1 | 0.70662 |  | 2020-07-21 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.04425 | 0.031184 | 0.1329 | 0.2112 | 0.04205 | 0.4181 | 0.033037 | 0.04124 | 0.5539 | 0.03554 | 0.035317 | 0.03889 | 0.029278 | 0.03522 |  |  | Pass
Fall | ns | 1 | 0.28025 | 0.51332 | 0.44278 | 0.37582 | 0.55199 | 0.41864 | 0.31041 | 0.28463 | 0.43698 | 0.32314 | 0.59507 | 0.35943 | 0.39817 | 0.47562 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/21/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/21/2020 1: 0.60736; Date (DD/MM/YY):07/21/2020 2: 0.62397; Date (DD/MM/YY):07/21/2020 3: 0.62742; Date (DD/MM/YY):07/21/2020 4: 0.63683; Date (DD/MM/YY):07/21/2020 5: 0.70664; Date (DD/MM/YY):07/21/2020 6: 0.68323; Initial: 7: 0.69917 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/21/2020 1: 0.63526; Date (DD/MM/YY):07/21/2020 2: 0.63733; Date (DD/MM/YY):07/21/2020 3: 0.67129; Date (DD/MM/YY):07/21/2020 4: 0.67618; Date (DD/MM/YY):07/21/2020 5: 0.68431; Date (DD/MM/YY):07/21/2020 6: 0.68567; Initial: 7: 0.68468 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/21/2020 1: 0.60745; Date (DD/MM/YY):07/21/2020 2: 0.68497; Date (DD/MM/YY):07/21/2020 3: 0.64934; Date (DD/MM/YY):07/21/2020 4: 0.60906; Date (DD/MM/YY):07/21/2020 5: 0.65814; Date (DD/MM/YY):07/21/2020 6: 0.70297; Initial: 7: 0.73603 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/21/2020 1: 0.70751; Date (DD/MM/YY):07/21/2020 2: 0.65768; Date (DD/MM/YY):07/21/2020 3: 0.70346; Date (DD/MM/YY):07/21/2020 4: 0.68175; Date (DD/MM/YY):07/21/2020 5: 0.65222; Date (DD/MM/YY):07/21/2020 6: 0.71988; Initial: 7: 0.8136 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/21/2020 1: 0.13109; Date (DD/MM/YY):07/21/2020 2: 0.26817; Date (DD/MM/YY):07/21/2020 3: 0.08725; Date (DD/MM/YY):07/21/2020 4: 0.06038; Date (DD/MM/YY):07/21/2020 5: 0.07404; Date (DD/MM/YY):07/21/2020 6: 0.16374; Initial: 7: 0.07248 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/21/2020 1: 0.1125; Date (DD/MM/YY):07/21/2020 2: 0.25558; Date (DD/MM/YY):07/21/2020 3: 0.0875; Date (DD/MM/YY):07/21/2020 4: 0.0461; Date (DD/MM/YY):07/21/2020 5: 0.05604; Date (DD/MM/YY):07/21/2020 6: 0.14432; Initial: 7: 0.04978 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/21/2020 1: 12.818; Date (DD/MM/YY):07/21/2020 2: 12.707; Date (DD/MM/YY):07/21/2020 3: 12.346; Date (DD/MM/YY):07/21/2020 4: 12.064; Date (DD/MM/YY):07/21/2020 5: 12.786; Date (DD/MM/YY):07/21/2020 6: 13.147; Initial: 7: 12.621
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/21/2020 1: 12.807; Date (DD/MM/YY):07/21/2020 2: 12.727; Date (DD/MM/YY):07/21/2020 3: 12.412; Date (DD/MM/YY):07/21/2020 4: 11.974; Date (DD/MM/YY):07/21/2020 5: 12.747; Date (DD/MM/YY):07/21/2020 6: 13.005; Initial: 7: 12.575
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/21/2020 1: 12.273; Date (DD/MM/YY):07/21/2020 2: 11.806; Date (DD/MM/YY):07/21/2020 3: 11.894; Date (DD/MM/YY):07/21/2020 4: 11.65; Date (DD/MM/YY):07/21/2020 5: 12.377; Date (DD/MM/YY):07/21/2020 6: 12.429; Initial: 7: 12.239
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/21/2020 1: 12.266; Date (DD/MM/YY):07/21/2020 2: 11.825; Date (DD/MM/YY):07/21/2020 3: 11.912; Date (DD/MM/YY):07/21/2020 4: 11.685; Date (DD/MM/YY):07/21/2020 5: 12.421; Date (DD/MM/YY):07/21/2020 6: 12.491; Initial: 7: 12.254
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/21/2020 1: 12.5421; Date (DD/MM/YY):07/21/2020 2: 12.2597; Date (DD/MM/YY):07/21/2020 3: 12.1289; Date (DD/MM/YY):07/21/2020 4: 11.8384; Date (DD/MM/YY):07/21/2020 5: 12.5763; Date (DD/MM/YY):07/21/2020 6: 12.7605; Initial: 7: 12.4097
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/21/2020 1: 12.5111; Date (DD/MM/YY):07/21/2020 2: 12.2485; Date (DD/MM/YY):07/21/2020 3: 12.1234; Date (DD/MM/YY):07/21/2020 4: 11.8238; Date (DD/MM/YY):07/21/2020 5: 12.5786; Date (DD/MM/YY):07/21/2020 6: 12.7418; Initial: 7: 12.3973
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):07/21/2020 1: 50.0677; Date (DD/MM/YY):07/21/2020 2: 49.0498; Date (DD/MM/YY):07/21/2020 3: 48.7018; Date (DD/MM/YY):07/21/2020 4: 47.3417; Date (DD/MM/YY):07/21/2020 5: 50.3954; Date (DD/MM/YY):07/21/2020 6: 50.9923; Initial: 7: 49.6209 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):07/21/2020 1: 50.248; Date (DD/MM/YY):07/21/2020 2: 49.0764; Date (DD/MM/YY):07/21/2020 3: 48.5489; Date (DD/MM/YY):07/21/2020 4: 47.3438; Date (DD/MM/YY):07/21/2020 5: 50.2987; Date (DD/MM/YY):07/21/2020 6: 51.1038; Initial: 7: 49.7549 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):07/21/2020 1: 50.0527; Date (DD/MM/YY):07/21/2020 2: 49.003; Date (DD/MM/YY):07/21/2020 3: 48.5035; Date (DD/MM/YY):07/21/2020 4: 47.2947; Date (DD/MM/YY):07/21/2020 5: 50.3224; Date (DD/MM/YY):07/21/2020 6: 50.9736; Initial: 7: 49.612 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/21/2020 1: 1.1032; Date (DD/MM/YY):07/21/2020 2: 1.1175; Date (DD/MM/YY):07/21/2020 3: 1.1502; Date (DD/MM/YY):07/21/2020 4: 1.1993; Date (DD/MM/YY):07/21/2020 5: 1.1781; Date (DD/MM/YY):07/21/2020 6: 1.188; Initial: 7: 1.1958 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/21/2020 1: 1.0972; Date (DD/MM/YY):07/21/2020 2: 1.1116; Date (DD/MM/YY):07/21/2020 3: 1.1448; Date (DD/MM/YY):07/21/2020 4: 1.1954; Date (DD/MM/YY):07/21/2020 5: 1.174; Date (DD/MM/YY):07/21/2020 6: 1.1841; Initial: 7: 1.1905 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/21/2020 1: 1.045; Date (DD/MM/YY):07/21/2020 2: 1.0541; Date (DD/MM/YY):07/21/2020 3: 1.0742; Date (DD/MM/YY):07/21/2020 4: 1.0928; Date (DD/MM/YY):07/21/2020 5: 1.1106; Date (DD/MM/YY):07/21/2020 6: 1.1231; Initial: 7: 1.1838 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/21/2020 1: 1.0442; Date (DD/MM/YY):07/21/2020 2: 1.04; Date (DD/MM/YY):07/21/2020 3: 1.0728; Date (DD/MM/YY):07/21/2020 4: 1.1029; Date (DD/MM/YY):07/21/2020 5: 1.102; Date (DD/MM/YY):07/21/2020 6: 1.1247; Initial: 7: 1.1792 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/21/2020 1: 0.4129; Date (DD/MM/YY):07/21/2020 2: 0.42252; Date (DD/MM/YY):07/21/2020 3: 0.4366; Date (DD/MM/YY):07/21/2020 4: 0.46429; Date (DD/MM/YY):07/21/2020 5: 0.45136; Date (DD/MM/YY):07/21/2020 6: 0.45297; Initial: 7: 0.45843 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/21/2020 1: 0.3928; Date (DD/MM/YY):07/21/2020 2: 0.40244; Date (DD/MM/YY):07/21/2020 3: 0.42299; Date (DD/MM/YY):07/21/2020 4: 0.45167; Date (DD/MM/YY):07/21/2020 5: 0.44735; Date (DD/MM/YY):07/21/2020 6: 0.45227; Initial: 7: 0.45565 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/21/2020 1: 0.36976; Date (DD/MM/YY):07/21/2020 2: 0.382; Date (DD/MM/YY):07/21/2020 3: 0.39219; Date (DD/MM/YY):07/21/2020 4: 0.3872; Date (DD/MM/YY):07/21/2020 5: 0.4107; Date (DD/MM/YY):07/21/2020 6: 0.41641; Initial: 7: 0.45631 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/21/2020 1: 0.38665; Date (DD/MM/YY):07/21/2020 2: 0.36822; Date (DD/MM/YY):07/21/2020 3: 0.40126; Date (DD/MM/YY):07/21/2020 4: 0.41178; Date (DD/MM/YY):07/21/2020 5: 0.39714; Date (DD/MM/YY):07/21/2020 6: 0.42567; Initial: 7: 0.45844 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/21/2020 1: 0; Date (DD/MM/YY):07/21/2020 2: 0; Date (DD/MM/YY):07/21/2020 3: 0; Date (DD/MM/YY):07/21/2020 4: 0; Date (DD/MM/YY):07/21/2020 5: 0; Date (DD/MM/YY):07/21/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/21/2020 1: 0; Date (DD/MM/YY):07/21/2020 2: 0; Date (DD/MM/YY):07/21/2020 3: 0; Date (DD/MM/YY):07/21/2020 4: 0; Date (DD/MM/YY):07/21/2020 5: 0; Date (DD/MM/YY):07/21/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/21/2020 1: 0; Date (DD/MM/YY):07/21/2020 2: 0; Date (DD/MM/YY):07/21/2020 3: 0; Date (DD/MM/YY):07/21/2020 4: 0; Date (DD/MM/YY):07/21/2020 5: 0; Date (DD/MM/YY):07/21/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/21/2020 1: 0; Date (DD/MM/YY):07/21/2020 2: 0; Date (DD/MM/YY):07/21/2020 3: 0; Date (DD/MM/YY):07/21/2020 4: 0; Date (DD/MM/YY):07/21/2020 5: 0; Date (DD/MM/YY):07/21/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass