## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in | [8 empty] | -- | -- | --
Post Opto-pack Burn-in |  | 1354.2387 | 1336.7524 | 1371.2155 | 1271.0458 | 1391.682 | 1277.2676 | 1261.8966 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1185.7675 | 858.5333 | 1229.3459 | 1193.1132 | 1145.6232 | 1139.002 | 1052.0218 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1228.2206 | 797.2905 | 1403.1806 | 1221.9153 | 1207.553 | 1249.4296 | 1141.139 | -- | -- | --
Change (%) |  | 3.5802 | -7.1334 | 14.1404 | 2.414 | 5.4058 | 9.6951 | 8.471 | -- | -- | --
Opto-board at 0C |  | 1310.3992 | 913.7475 | 1366.984 | 1311.4511 | 1325.2152 | 1235.106 | 1297.7955 | -- | -- | --
Change (%) |  | 10.5106 | 6.4312 | 11.196 | 9.9184 | 15.6764 | 8.4376 | 23.362 | -- | -- | --
Opto-board at 50C |  | 1183.9082 | 803.118 | 1214.9168 | 1163.6334 | 1169.9714 | 1097.8697 | 1130.2563 | -- | -- | --
Change (%) |  | -0.1568 | -6.4547 | -1.1737 | -2.4708 | 2.1253 | -3.6113 | 7.4366 | -- | -- | --
Opto-board QA (10C) |  | 1306.5767 | 916.1116 | 1372.2855 | 1279.998 | 1295.9939 | 1230.7559 | 1280.8233 | -- | -- | --
Change (%) |  | 10.1883 | 6.7066 | 11.6273 | 7.2822 | 13.1257 | 8.0556 | 21.7487 | -- | -- | --
Reception Test |  | 1292.575 | 985.0976 | 1220.513 | 1064.45 | 1170.226 | 973.3545 | 1186.321
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1284.8001 | 1289.8317 | 1264.078 | 1290.2294 | 1225.1079 | 1233.3566 | 1278.9486 | -- | -- | --
Post Opto-pack Burn-in |  | 1203.7564 | 1227.5823 | 1207.7161 | 1204.9155 | 1162.844 | 1187.3719 | 1181.0921 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 969.957 | 955.0189 | 940.834 | 1007.5518 | 881.6759 | 980.158 | 998.2617 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 998.5232 | 929.7045 | 932.0276 | 1022.0452 | 892.2412 | 1025.0668 | 1102.1559 | -- | -- | --
Change (%) |  | 2.9451 | -2.6507 | -0.93602 | 1.4385 | 1.1983 | 4.5818 | 10.4075 | -- | -- | --
Opto-board at -10C |  | 1047.066 | 1029.7289 | 1050.7353 | 1103.7058 | 935.9147 | 1099.6626 | 1184.3502 | -- | -- | --
Change (%) |  | 7.9497 | 7.8229 | 11.6813 | 9.5433 | 6.1518 | 12.1924 | 18.6413 | -- | -- | --
Opto-board at 50C |  | 908.7988 | 910.4842 | 919.1701 | 977.3711 | 808.4456 | 966.5065 | 1033.7784 | -- | -- | --
Change (%) |  | -6.3052 | -4.6632 | -2.3026 | -2.9954 | -8.3058 | -1.3928 | 3.5579 | -- | -- | --
Opto-board QA (10C) |  | 1025.4396 | 1020.6415 | 1038.8105 | 1085.162 | 931.9652 | 1089.8426 | 1169.5821 | -- | -- | --
Change (%) |  | 5.7201 | 6.8713 | 10.4138 | 7.7028 | 5.7038 | 11.1905 | 17.1619 | -- | -- | --
Reception Test |  | 721.4322 | 796.6359 | 749.5424 | 775.9908 | 686.2124 | 718.9445 | 779.1834

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 344.6045 |  |  |  | 2020-07-21 |  |  |  | Pass
QA | mA | 342 | 378 | 323.5352 |  |  |  | 2020-07-21 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.68535 |  | 2020-07-21 |  |  |  | Pass
QA | uA | 1 | 0.47994 |  | 2020-07-21 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.34004 | 0.04563 | 0.1376 | 0.037341 | 0.3278 | 0.1629 | 0.0523 | 0.35898 | 0.03889 | 0.033165 | 0.030809 | 0.030614 | 0.026903 | 0.030794 |  |  | Pass
Fall | ns | 1 | 0.50599 | 0.41657 | 0.3725 | 0.69528 | 0.45351 | 0.43295 | 0.52292 | 0.49986 | 0.41896 | 0.40027 | 0.53199 | 0.36858 | 0.48019 | 0.51921 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/21/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/21/2020 1: 0.59458; Date (DD/MM/YY):07/21/2020 2: 0.601; Date (DD/MM/YY):07/21/2020 3: 0.62424; Date (DD/MM/YY):07/21/2020 4: 0.65696; Date (DD/MM/YY):07/21/2020 5: 0.66603; Date (DD/MM/YY):07/21/2020 6: 0.67429; Initial: 7: 0.67535 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/21/2020 1: 0.60635; Date (DD/MM/YY):07/21/2020 2: 0.61819; Date (DD/MM/YY):07/21/2020 3: 0.64486; Date (DD/MM/YY):07/21/2020 4: 0.6437; Date (DD/MM/YY):07/21/2020 5: 0.66878; Date (DD/MM/YY):07/21/2020 6: 0.66363; Initial: 7: 0.66536 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/21/2020 1: 0.66989; Date (DD/MM/YY):07/21/2020 2: 0.71346; Date (DD/MM/YY):07/21/2020 3: 0.65959; Date (DD/MM/YY):07/21/2020 4: 0.6147; Date (DD/MM/YY):07/21/2020 5: 0.66375; Date (DD/MM/YY):07/21/2020 6: 0.71909; Initial: 7: 0.7673 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/21/2020 1: 0.72396; Date (DD/MM/YY):07/21/2020 2: 0.66078; Date (DD/MM/YY):07/21/2020 3: 0.70839; Date (DD/MM/YY):07/21/2020 4: 0.6898; Date (DD/MM/YY):07/21/2020 5: 0.66834; Date (DD/MM/YY):07/21/2020 6: 0.76518; Initial: 7: 0.84325 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/21/2020 1: 0.18399; Date (DD/MM/YY):07/21/2020 2: 0.10163; Date (DD/MM/YY):07/21/2020 3: 0.22096; Date (DD/MM/YY):07/21/2020 4: 0.05889; Date (DD/MM/YY):07/21/2020 5: 0.12995; Date (DD/MM/YY):07/21/2020 6: 0.18028; Initial: 7: 0.21229 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/21/2020 1: 0.14491; Date (DD/MM/YY):07/21/2020 2: 0.10356; Date (DD/MM/YY):07/21/2020 3: 0.21041; Date (DD/MM/YY):07/21/2020 4: 0.04061; Date (DD/MM/YY):07/21/2020 5: 0.10811; Date (DD/MM/YY):07/21/2020 6: 0.19525; Initial: 7: 0.19557 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/21/2020 1: 12.608; Date (DD/MM/YY):07/21/2020 2: 12.577; Date (DD/MM/YY):07/21/2020 3: 12.409; Date (DD/MM/YY):07/21/2020 4: 12.458; Date (DD/MM/YY):07/21/2020 5: 12.281; Date (DD/MM/YY):07/21/2020 6: 12.23; Initial: 7: 12.505
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/21/2020 1: 12.54; Date (DD/MM/YY):07/21/2020 2: 12.586; Date (DD/MM/YY):07/21/2020 3: 12.43; Date (DD/MM/YY):07/21/2020 4: 12.338; Date (DD/MM/YY):07/21/2020 5: 12.189; Date (DD/MM/YY):07/21/2020 6: 12.247; Initial: 7: 12.437
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/21/2020 1: 11.935; Date (DD/MM/YY):07/21/2020 2: 12.076; Date (DD/MM/YY):07/21/2020 3: 11.701; Date (DD/MM/YY):07/21/2020 4: 12.086; Date (DD/MM/YY):07/21/2020 5: 11.735; Date (DD/MM/YY):07/21/2020 6: 11.614; Initial: 7: 11.749
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/21/2020 1: 11.968; Date (DD/MM/YY):07/21/2020 2: 12.071; Date (DD/MM/YY):07/21/2020 3: 11.743; Date (DD/MM/YY):07/21/2020 4: 12.086; Date (DD/MM/YY):07/21/2020 5: 11.726; Date (DD/MM/YY):07/21/2020 6: 11.647; Initial: 7: 11.801
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/21/2020 1: 12.2803; Date (DD/MM/YY):07/21/2020 2: 12.3149; Date (DD/MM/YY):07/21/2020 3: 12.0711; Date (DD/MM/YY):07/21/2020 4: 12.2304; Date (DD/MM/YY):07/21/2020 5: 11.9857; Date (DD/MM/YY):07/21/2020 6: 11.9231; Initial: 7: 12.1307
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/21/2020 1: 12.2523; Date (DD/MM/YY):07/21/2020 2: 12.3111; Date (DD/MM/YY):07/21/2020 3: 12.067; Date (DD/MM/YY):07/21/2020 4: 12.2179; Date (DD/MM/YY):07/21/2020 5: 11.9586; Date (DD/MM/YY):07/21/2020 6: 11.9179; Initial: 7: 12.108
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):07/21/2020 1: 49.1474; Date (DD/MM/YY):07/21/2020 2: 49.3358; Date (DD/MM/YY):07/21/2020 3: 48.4818; Date (DD/MM/YY):07/21/2020 4: 49.0059; Date (DD/MM/YY):07/21/2020 5: 47.9206; Date (DD/MM/YY):07/21/2020 6: 47.9864; Initial: 7: 48.6323 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):07/21/2020 1: 49.1388; Date (DD/MM/YY):07/21/2020 2: 49.2514; Date (DD/MM/YY):07/21/2020 3: 48.317; Date (DD/MM/YY):07/21/2020 4: 48.9695; Date (DD/MM/YY):07/21/2020 5: 47.9743; Date (DD/MM/YY):07/21/2020 6: 47.7208; Initial: 7: 48.553 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):07/21/2020 1: 49.0133; Date (DD/MM/YY):07/21/2020 2: 49.2467; Date (DD/MM/YY):07/21/2020 3: 48.2747; Date (DD/MM/YY):07/21/2020 4: 48.8767; Date (DD/MM/YY):07/21/2020 5: 47.8418; Date (DD/MM/YY):07/21/2020 6: 47.6759; Initial: 7: 48.442 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/21/2020 1: 1.1051; Date (DD/MM/YY):07/21/2020 2: 1.1058; Date (DD/MM/YY):07/21/2020 3: 1.1111; Date (DD/MM/YY):07/21/2020 4: 1.1785; Date (DD/MM/YY):07/21/2020 5: 1.1398; Date (DD/MM/YY):07/21/2020 6: 1.1349; Initial: 7: 1.1697 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/21/2020 1: 1.099; Date (DD/MM/YY):07/21/2020 2: 1.0985; Date (DD/MM/YY):07/21/2020 3: 1.1057; Date (DD/MM/YY):07/21/2020 4: 1.1752; Date (DD/MM/YY):07/21/2020 5: 1.136; Date (DD/MM/YY):07/21/2020 6: 1.1307; Initial: 7: 1.1658 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/21/2020 1: 1.0353; Date (DD/MM/YY):07/21/2020 2: 1.0595; Date (DD/MM/YY):07/21/2020 3: 1.058; Date (DD/MM/YY):07/21/2020 4: 1.0676; Date (DD/MM/YY):07/21/2020 5: 1.0859; Date (DD/MM/YY):07/21/2020 6: 1.0902; Initial: 7: 1.1309 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/21/2020 1: 1.0353; Date (DD/MM/YY):07/21/2020 2: 1.0424; Date (DD/MM/YY):07/21/2020 3: 1.0604; Date (DD/MM/YY):07/21/2020 4: 1.0773; Date (DD/MM/YY):07/21/2020 5: 1.0757; Date (DD/MM/YY):07/21/2020 6: 1.0924; Initial: 7: 1.1257 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/21/2020 1: 0.41269; Date (DD/MM/YY):07/21/2020 2: 0.41677; Date (DD/MM/YY):07/21/2020 3: 0.41951; Date (DD/MM/YY):07/21/2020 4: 0.44509; Date (DD/MM/YY):07/21/2020 5: 0.43086; Date (DD/MM/YY):07/21/2020 6: 0.43135; Initial: 7: 0.44666 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/21/2020 1: 0.392; Date (DD/MM/YY):07/21/2020 2: 0.39354; Date (DD/MM/YY):07/21/2020 3: 0.39767; Date (DD/MM/YY):07/21/2020 4: 0.43607; Date (DD/MM/YY):07/21/2020 5: 0.41953; Date (DD/MM/YY):07/21/2020 6: 0.41961; Initial: 7: 0.44017 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/21/2020 1: 0.36166; Date (DD/MM/YY):07/21/2020 2: 0.38588; Date (DD/MM/YY):07/21/2020 3: 0.3797; Date (DD/MM/YY):07/21/2020 4: 0.37132; Date (DD/MM/YY):07/21/2020 5: 0.39472; Date (DD/MM/YY):07/21/2020 6: 0.39561; Initial: 7: 0.43823 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/21/2020 1: 0.37956; Date (DD/MM/YY):07/21/2020 2: 0.36641; Date (DD/MM/YY):07/21/2020 3: 0.3929; Date (DD/MM/YY):07/21/2020 4: 0.39182; Date (DD/MM/YY):07/21/2020 5: 0.37476; Date (DD/MM/YY):07/21/2020 6: 0.40226; Initial: 7: 0.42782 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/21/2020 1: 0; Date (DD/MM/YY):07/21/2020 2: 0; Date (DD/MM/YY):07/21/2020 3: 0; Date (DD/MM/YY):07/21/2020 4: 0; Date (DD/MM/YY):07/21/2020 5: 0; Date (DD/MM/YY):07/21/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/21/2020 1: 0; Date (DD/MM/YY):07/21/2020 2: 0; Date (DD/MM/YY):07/21/2020 3: 0; Date (DD/MM/YY):07/21/2020 4: 0; Date (DD/MM/YY):07/21/2020 5: 0; Date (DD/MM/YY):07/21/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/21/2020 1: 0; Date (DD/MM/YY):07/21/2020 2: 0; Date (DD/MM/YY):07/21/2020 3: 0; Date (DD/MM/YY):07/21/2020 4: 0; Date (DD/MM/YY):07/21/2020 5: 0; Date (DD/MM/YY):07/21/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/21/2020 1: 0; Date (DD/MM/YY):07/21/2020 2: 0; Date (DD/MM/YY):07/21/2020 3: 0; Date (DD/MM/YY):07/21/2020 4: 0; Date (DD/MM/YY):07/21/2020 5: 0; Date (DD/MM/YY):07/21/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass