## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1813.1526 | 1840.2425 | 1883.467 | 1795.0732 | 1827.951 | 1808.3462 | 1776.158 | -- | -- | --
Post Opto-pack Burn-in |  | 1605.9296 | 1635.6788 | 1659.2943 | 1563.3818 | 1577.7178 | 1555.4008 | 1519.6655 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1124.3719 | 803.4773 | 1300.3398 | 1158.4908 | 1033.5493 | 1085.3757 | 1008.3715 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1158.3893 | 997.6086 | 1349.6936 | 1078.046 | 1105.4624 | 1036.9281 | 1217.6479 | -- | -- | --
Change (%) |  | 3.0255 | 24.1614 | 3.7955 | -6.9439 | 6.9579 | -4.4637 | 20.7539 | -- | -- | --
Opto-board at 0C |  | 1275.6232 | 1069.4376 | 1559.9398 | 1155.143 | 1293.1849 | 1201.7042 | 1318.5367 | -- | -- | --
Change (%) |  | 13.4521 | 33.1012 | 19.964 | -0.28898 | 25.1208 | 10.7178 | 30.759 | -- | -- | --
Opto-board at 50C |  | 1112.8536 | 941.5895 | 1369.7114 | 1033.7883 | 1116.3376 | 1049.8181 | 1149.4382 | -- | -- | --
Change (%) |  | -1.0244 | 17.1893 | 5.3349 | -10.7642 | 8.0101 | -3.2761 | 13.9895 | -- | -- | --
Opto-board QA (10C) |  | 1262.2372 | 1086.1131 | 1536.3724 | 1158.011 | 1296.9584 | 1199.9469 | 1309.4592 | -- | -- | --
Change (%) |  | 12.2615 | 35.1766 | 18.1516 | -0.041417 | 25.4859 | 10.5559 | 29.8588 | -- | -- | --
Reception Test |  | 1273.693 | 1149.388 | 1316.12 | 1198.816 | 1043.171 | 1029.638 | 1371.902
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1713.6822 | 1693.2652 | 1693.5392 | 1727.4166 | 1759.0041 | 1782.8328 | 1809.8169 | -- | -- | --
Post Opto-pack Burn-in |  | 1650.926 | 1632.3814 | 1646.7526 | 1661.3509 | 1693.6588 | 1703.6759 | 1758.7358 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 993.9594 | 1012.3225 | 988.2128 | 1022.7157 | 943.4059 | 1091.0157 | 1081.087 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 964.7633 | 1042.3995 | 1077.3457 | 1084.8497 | 898.7568 | 1047.4309 | 1241.5198 | -- | -- | --
Change (%) |  | -2.9374 | 2.9711 | 9.0196 | 6.0754 | -4.7328 | -3.9949 | 14.84 | -- | -- | --
Opto-board at 0C |  | 1017.9483 | 1168.9267 | 1140.9104 | 1262.3796 | 995.433 | 1270.3693 | 1330.3823 | -- | -- | --
Change (%) |  | 2.4135 | 15.4698 | 15.4519 | 23.4341 | 5.5148 | 16.4391 | 23.0597 | -- | -- | --
Opto-board at 50C |  | 905.4856 | 1046.7243 | 1020.2105 | 1105.2304 | 870.9433 | 1072.6703 | 1164.2325 | -- | -- | --
Change (%) |  | -8.9012 | 3.3983 | 3.2379 | 8.0682 | -7.681 | -1.6815 | 7.6909 | -- | -- | --
Opto-board QA (10C) |  | 1039.3539 | 1124.5171 | 1136.3008 | 1239.1332 | 1045.0324 | 1299.2612 | 1344.9714 | -- | -- | --
Change (%) |  | 4.567 | 11.0829 | 14.9854 | 21.1611 | 10.7723 | 19.0873 | 24.4092 | -- | -- | --
Reception Test |  | 850.2414 | 979.5724 | 935.1861 | 1001.912 | 1062.345 | 1067.239 | 1138.78

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 353.7598 |  |  |  | 2020-07-26 |  |  |  | Pass
QA | mA | 342 | 378 | 333.5938 |  |  |  | 2020-07-26 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.95315 |  | 2020-07-26 |  |  |  | Pass
QA | uA | 1 | 0.65747 |  | 2020-07-26 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.56273 | 0.44683 | 0.44598 | 0.32225 | 0.5562 | 0.36729 | 0.37317 | 0.567 | 0.50243 | 0.46216 | 0.493 | 0.58937 | 0.46038 | 0.33317 |  |  | Pass
Fall | ns | 1 | 0.65376 | 0.53802 | 0.72502 | 0.82524 | 0.91641 | 0.88151 | 0.63129 | 0.65828 | 0.66795 | 0.56722 | 0.67184 | 0.58706 | 0.65276 | 0.73955 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/26/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/26/2020 1: 0.60172; Date (DD/MM/YY):07/26/2020 2: 0.623; Date (DD/MM/YY):07/26/2020 3: 0.63783; Date (DD/MM/YY):07/26/2020 4: 0.65536; Date (DD/MM/YY):07/26/2020 5: 0.68253; Date (DD/MM/YY):07/26/2020 6: 0.68254; Initial: 7: 0.71669 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/26/2020 1: 0.60977; Date (DD/MM/YY):07/26/2020 2: 0.63655; Date (DD/MM/YY):07/26/2020 3: 0.66019; Date (DD/MM/YY):07/26/2020 4: 0.65498; Date (DD/MM/YY):07/26/2020 5: 0.68299; Date (DD/MM/YY):07/26/2020 6: 0.68985; Initial: 7: 0.67822 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/26/2020 1: 0.65421; Date (DD/MM/YY):07/26/2020 2: 0.69888; Date (DD/MM/YY):07/26/2020 3: 0.64403; Date (DD/MM/YY):07/26/2020 4: 0.6141; Date (DD/MM/YY):07/26/2020 5: 0.65328; Date (DD/MM/YY):07/26/2020 6: 0.68006; Initial: 7: 0.73387 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/26/2020 1: 0.66104; Date (DD/MM/YY):07/26/2020 2: 0.6562; Date (DD/MM/YY):07/26/2020 3: 0.70224; Date (DD/MM/YY):07/26/2020 4: 0.68409; Date (DD/MM/YY):07/26/2020 5: 0.64915; Date (DD/MM/YY):07/26/2020 6: 0.71981; Initial: 7: 0.81924 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/26/2020 1: 0.12004; Date (DD/MM/YY):07/26/2020 2: 0.09621; Date (DD/MM/YY):07/26/2020 3: 0.12256; Date (DD/MM/YY):07/26/2020 4: 0.10897; Date (DD/MM/YY):07/26/2020 5: 0.19089; Date (DD/MM/YY):07/26/2020 6: 0.04951; Initial: 7: 0.05818 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/26/2020 1: 0.08279; Date (DD/MM/YY):07/26/2020 2: 0.08041; Date (DD/MM/YY):07/26/2020 3: 0.11246; Date (DD/MM/YY):07/26/2020 4: 0.10257; Date (DD/MM/YY):07/26/2020 5: 0.19829; Date (DD/MM/YY):07/26/2020 6: 0.04973; Initial: 7: 0.051 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/26/2020 1: 12.772; Date (DD/MM/YY):07/26/2020 2: 12.269; Date (DD/MM/YY):07/26/2020 3: 12.14; Date (DD/MM/YY):07/26/2020 4: 12.486; Date (DD/MM/YY):07/26/2020 5: 12.612; Date (DD/MM/YY):07/26/2020 6: 12.662; Initial: 7: 12.025
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/26/2020 1: 12.634; Date (DD/MM/YY):07/26/2020 2: 12.226; Date (DD/MM/YY):07/26/2020 3: 12.062; Date (DD/MM/YY):07/26/2020 4: 12.452; Date (DD/MM/YY):07/26/2020 5: 12.575; Date (DD/MM/YY):07/26/2020 6: 12.629; Initial: 7: 11.971
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/26/2020 1: 12.1; Date (DD/MM/YY):07/26/2020 2: 11.715; Date (DD/MM/YY):07/26/2020 3: 11.536; Date (DD/MM/YY):07/26/2020 4: 12.022; Date (DD/MM/YY):07/26/2020 5: 11.943; Date (DD/MM/YY):07/26/2020 6: 12.331; Initial: 7: 11.684
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/26/2020 1: 12.16; Date (DD/MM/YY):07/26/2020 2: 11.762; Date (DD/MM/YY):07/26/2020 3: 11.551; Date (DD/MM/YY):07/26/2020 4: 12.013; Date (DD/MM/YY):07/26/2020 5: 11.933; Date (DD/MM/YY):07/26/2020 6: 12.336; Initial: 7: 11.686
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/26/2020 1: 12.412; Date (DD/MM/YY):07/26/2020 2: 11.9971; Date (DD/MM/YY):07/26/2020 3: 11.839; Date (DD/MM/YY):07/26/2020 4: 12.2452; Date (DD/MM/YY):07/26/2020 5: 12.2724; Date (DD/MM/YY):07/26/2020 6: 12.5103; Initial: 7: 11.8411
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/26/2020 1: 12.3991; Date (DD/MM/YY):07/26/2020 2: 11.9788; Date (DD/MM/YY):07/26/2020 3: 11.8099; Date (DD/MM/YY):07/26/2020 4: 12.2293; Date (DD/MM/YY):07/26/2020 5: 12.2482; Date (DD/MM/YY):07/26/2020 6: 12.492; Initial: 7: 11.8289
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):07/26/2020 1: 49.5696; Date (DD/MM/YY):07/26/2020 2: 47.9355; Date (DD/MM/YY):07/26/2020 3: 47.3876; Date (DD/MM/YY):07/26/2020 4: 49.0459; Date (DD/MM/YY):07/26/2020 5: 49.1761; Date (DD/MM/YY):07/26/2020 6: 50.0333; Initial: 7: 47.4467 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):07/26/2020 1: 49.7047; Date (DD/MM/YY):07/26/2020 2: 48.032; Date (DD/MM/YY):07/26/2020 3: 47.3593; Date (DD/MM/YY):07/26/2020 4: 48.9829; Date (DD/MM/YY):07/26/2020 5: 49.1122; Date (DD/MM/YY):07/26/2020 6: 50.0457; Initial: 7: 47.4076 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):07/26/2020 1: 49.6085; Date (DD/MM/YY):07/26/2020 2: 47.9153; Date (DD/MM/YY):07/26/2020 3: 47.254; Date (DD/MM/YY):07/26/2020 4: 48.9253; Date (DD/MM/YY):07/26/2020 5: 48.9843; Date (DD/MM/YY):07/26/2020 6: 49.9809; Initial: 7: 47.3115 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/26/2020 1: 1.1373; Date (DD/MM/YY):07/26/2020 2: 1.1469; Date (DD/MM/YY):07/26/2020 3: 1.1678; Date (DD/MM/YY):07/26/2020 4: 1.1635; Date (DD/MM/YY):07/26/2020 5: 1.1636; Date (DD/MM/YY):07/26/2020 6: 1.1447; Initial: 7: 1.1848 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/26/2020 1: 1.1345; Date (DD/MM/YY):07/26/2020 2: 1.1429; Date (DD/MM/YY):07/26/2020 3: 1.1654; Date (DD/MM/YY):07/26/2020 4: 1.16; Date (DD/MM/YY):07/26/2020 5: 1.1606; Date (DD/MM/YY):07/26/2020 6: 1.1415; Initial: 7: 1.1818 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/26/2020 1: 1.0525; Date (DD/MM/YY):07/26/2020 2: 1.095; Date (DD/MM/YY):07/26/2020 3: 1.0903; Date (DD/MM/YY):07/26/2020 4: 1.0705; Date (DD/MM/YY):07/26/2020 5: 1.0914; Date (DD/MM/YY):07/26/2020 6: 1.098; Initial: 7: 1.1328 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/26/2020 1: 1.0517; Date (DD/MM/YY):07/26/2020 2: 1.0737; Date (DD/MM/YY):07/26/2020 3: 1.0899; Date (DD/MM/YY):07/26/2020 4: 1.0773; Date (DD/MM/YY):07/26/2020 5: 1.0831; Date (DD/MM/YY):07/26/2020 6: 1.1027; Initial: 7: 1.1273 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/26/2020 1: 0.43273; Date (DD/MM/YY):07/26/2020 2: 0.438; Date (DD/MM/YY):07/26/2020 3: 0.44499; Date (DD/MM/YY):07/26/2020 4: 0.4451; Date (DD/MM/YY):07/26/2020 5: 0.44328; Date (DD/MM/YY):07/26/2020 6: 0.4354; Initial: 7: 0.45484 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/26/2020 1: 0.41641; Date (DD/MM/YY):07/26/2020 2: 0.42035; Date (DD/MM/YY):07/26/2020 3: 0.43259; Date (DD/MM/YY):07/26/2020 4: 0.43643; Date (DD/MM/YY):07/26/2020 5: 0.43772; Date (DD/MM/YY):07/26/2020 6: 0.42896; Initial: 7: 0.44883 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/26/2020 1: 0.37205; Date (DD/MM/YY):07/26/2020 2: 0.41238; Date (DD/MM/YY):07/26/2020 3: 0.40041; Date (DD/MM/YY):07/26/2020 4: 0.37951; Date (DD/MM/YY):07/26/2020 5: 0.40206; Date (DD/MM/YY):07/26/2020 6: 0.40114; Initial: 7: 0.43987 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/26/2020 1: 0.38964; Date (DD/MM/YY):07/26/2020 2: 0.38672; Date (DD/MM/YY):07/26/2020 3: 0.41035; Date (DD/MM/YY):07/26/2020 4: 0.3951; Date (DD/MM/YY):07/26/2020 5: 0.38187; Date (DD/MM/YY):07/26/2020 6: 0.41076; Initial: 7: 0.43078 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/26/2020 1: 0; Date (DD/MM/YY):07/26/2020 2: 0; Date (DD/MM/YY):07/26/2020 3: 0; Date (DD/MM/YY):07/26/2020 4: 0; Date (DD/MM/YY):07/26/2020 5: 0; Date (DD/MM/YY):07/26/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/26/2020 1: 0; Date (DD/MM/YY):07/26/2020 2: 0; Date (DD/MM/YY):07/26/2020 3: 0; Date (DD/MM/YY):07/26/2020 4: 0; Date (DD/MM/YY):07/26/2020 5: 0; Date (DD/MM/YY):07/26/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/26/2020 1: 0; Date (DD/MM/YY):07/26/2020 2: 0; Date (DD/MM/YY):07/26/2020 3: 0; Date (DD/MM/YY):07/26/2020 4: 0; Date (DD/MM/YY):07/26/2020 5: 0; Date (DD/MM/YY):07/26/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/26/2020 1: 0; Date (DD/MM/YY):07/26/2020 2: 0; Date (DD/MM/YY):07/26/2020 3: 0; Date (DD/MM/YY):07/26/2020 4: 0; Date (DD/MM/YY):07/26/2020 5: 0; Date (DD/MM/YY):07/26/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass