## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1993.285 | 2092.5336 | 1960.6006 | 2018.0689 | 1986.8104 | 2034.6731 | 2013.2897 | -- | -- | --
Post Opto-pack Burn-in |  | 1954.5504 | 1988.7412 | 1913.4527 | 1955.1401 | 1927.5172 | 1965.5435 | 1913.4486 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1330.9934 | 1051.2583 | 1501.3195 | 1498.3461 | 1335.0057 | 1462.5356 | 1288.1495 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1395.3911 | 1205.5535 | 1582.8372 | 1323.0677 | 1397.3796 | 1357.0171 | 1473.6138 | -- | -- | --
Change (%) |  | 4.8383 | 14.6772 | 5.4297 | -11.6981 | 4.6722 | -7.2148 | 14.3977 | -- | -- | --
Opto-board at 0C |  | 1432.4928 | 1248.3673 | 1670.3172 | 1404.3054 | 1502.2321 | 1432.8284 | 1611.2538 | -- | -- | --
Change (%) |  | 7.6258 | 18.7498 | 11.2566 | -6.2763 | 12.5263 | -2.0312 | 25.0828 | -- | -- | --
Opto-board at 50C |  | 1300.2867 | 1119.8268 | 1457.6414 | 1235.1169 | 1337.034 | 1308.0403 | 1406.6349 | -- | -- | --
Change (%) |  | -2.3071 | 6.5225 | -2.9093 | -17.568 | 0.15193 | -10.5635 | 9.1981 | -- | -- | --
Opto-board QA (10C) |  | 1420.103 | 1245.5812 | 1682.5858 | 1402.0916 | 1511.2012 | 1452.4841 | 1576.0002 | -- | -- | --
Change (%) |  | 6.695 | 18.4848 | 12.0738 | -6.424 | 13.1981 | -0.68726 | 22.3461 | -- | -- | --
Reception Test |  | 1528.894 | 1361.121 | 1476.828 | 1369.946 | 1197.246 | 1068.953 | 1421.598
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1871.1219 | 1797.7232 | 1888.841 | 1812.4387 | 1816.7254 | 1813.6044 | 1846.7735 | -- | -- | --
Post Opto-pack Burn-in |  | 1773.0168 | 1704.8274 | 1797.6146 | 1736.4978 | 1787.2329 | 1780.6721 | 1837.1175 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1112.2859 | 1058.412 | 1173.4757 | 1260.111 | 1138.574 | 1310.7823 | 1459.6685 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1049.6106 | 1060.9586 | 1149.9819 | 1131.3883 | 1066.601 | 1227.4868 | 1322.2825 | -- | -- | --
Change (%) |  | -5.6348 | 0.24061 | -2.0021 | -10.2152 | -6.3213 | -6.3546 | -9.4121 | -- | -- | --
Opto-board at 0C |  | 1135.6025 | 1203.4805 | 1287.7808 | 1338.4651 | 1083.5215 | 1326.9701 | 1411.7383 | -- | -- | --
Change (%) |  | 2.0963 | 13.7062 | 9.7407 | 6.218 | -4.8352 | 1.235 | -3.2836 | -- | -- | --
Opto-board at 50C |  | 1015.1092 | 1052.4609 | 1160.5036 | 1205.8573 | 998.5224 | 1167.3367 | 1265.9888 | -- | -- | --
Change (%) |  | -8.7367 | -0.56226 | -1.1054 | -4.3055 | -12.3006 | -10.9435 | -13.2687 | -- | -- | --
Opto-board QA (10C) |  | 1114.6836 | 1196.0997 | 1331.272 | 1342.4512 | 1097.8723 | 1267.7214 | 1449.0352 | -- | -- | --
Change (%) |  | 0.21556 | 13.0089 | 13.4469 | 6.5344 | -3.5748 | -3.2851 | -0.72848 | -- | -- | --
Reception Test |  | 917.3091 | 982.0785 | 1032.658 | 1056.716 | 915.2875 | 864.6126 | 1057.411

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 351.4404 |  |  |  | 2020-07-27 |  |  |  | Pass
QA | mA | 342 | 378 | 333.9722 |  |  |  | 2020-07-27 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.71243 |  | 2020-07-27 |  |  |  | Pass
QA | uA | 1 | 0.66337 |  | 2020-07-27 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.44847 | 0.30032 | 0.33724 | 0.34573 | 0.48885 | 0.44038 | 0.32475 | 0.4276 | 0.58753 | 0.50887 | 0.41768 | 0.54648 | 0.33534 | 0.35459 |  |  | Pass
Fall | ns | 1 | 0.80742 | 0.68855 | 0.85173 | 0.67108 | 0.68147 | 0.60913 | 0.55102 | 0.7919 | 0.58357 | 0.74325 | 0.72288 | 0.60952 | 0.63641 | 0.72156 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):07/27/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):07/27/2020 1: 0.60832; Date (DD/MM/YY):07/27/2020 2: 0.61961; Date (DD/MM/YY):07/27/2020 3: 0.62343; Date (DD/MM/YY):07/27/2020 4: 0.65669; Date (DD/MM/YY):07/27/2020 5: 0.66201; Date (DD/MM/YY):07/27/2020 6: 0.69877; Initial: 7: 0.6783 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):07/27/2020 1: 0.62474; Date (DD/MM/YY):07/27/2020 2: 0.6362; Date (DD/MM/YY):07/27/2020 3: 0.64227; Date (DD/MM/YY):07/27/2020 4: 0.64196; Date (DD/MM/YY):07/27/2020 5: 0.66345; Date (DD/MM/YY):07/27/2020 6: 0.67049; Initial: 7: 0.6832 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):07/27/2020 1: 0.68256; Date (DD/MM/YY):07/27/2020 2: 0.70148; Date (DD/MM/YY):07/27/2020 3: 0.64698; Date (DD/MM/YY):07/27/2020 4: 0.62264; Date (DD/MM/YY):07/27/2020 5: 0.66429; Date (DD/MM/YY):07/27/2020 6: 0.63844; Initial: 7: 0.7674 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):07/27/2020 1: 0.70631; Date (DD/MM/YY):07/27/2020 2: 0.65418; Date (DD/MM/YY):07/27/2020 3: 0.69962; Date (DD/MM/YY):07/27/2020 4: 0.6806; Date (DD/MM/YY):07/27/2020 5: 0.64454; Date (DD/MM/YY):07/27/2020 6: 0.72073; Initial: 7: 0.82127 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):07/27/2020 1: 0.12471; Date (DD/MM/YY):07/27/2020 2: 0.12776; Date (DD/MM/YY):07/27/2020 3: 0.15755; Date (DD/MM/YY):07/27/2020 4: 0.19424; Date (DD/MM/YY):07/27/2020 5: 0.07068; Date (DD/MM/YY):07/27/2020 6: 0.0962; Initial: 7: 0.13403 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):07/27/2020 1: 0.11038; Date (DD/MM/YY):07/27/2020 2: 0.11068; Date (DD/MM/YY):07/27/2020 3: 0.16117; Date (DD/MM/YY):07/27/2020 4: 0.20166; Date (DD/MM/YY):07/27/2020 5: 0.06825; Date (DD/MM/YY):07/27/2020 6: 0.08854; Initial: 7: 0.1331 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/27/2020 1: 12.84; Date (DD/MM/YY):07/27/2020 2: 12.45; Date (DD/MM/YY):07/27/2020 3: 12.663; Date (DD/MM/YY):07/27/2020 4: 12.657; Date (DD/MM/YY):07/27/2020 5: 12.201; Date (DD/MM/YY):07/27/2020 6: 12.338; Initial: 7: 12.622
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/27/2020 1: 12.71; Date (DD/MM/YY):07/27/2020 2: 12.427; Date (DD/MM/YY):07/27/2020 3: 12.567; Date (DD/MM/YY):07/27/2020 4: 12.65; Date (DD/MM/YY):07/27/2020 5: 12.176; Date (DD/MM/YY):07/27/2020 6: 12.3; Initial: 7: 12.617
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/27/2020 1: 12.128; Date (DD/MM/YY):07/27/2020 2: 11.869; Date (DD/MM/YY):07/27/2020 3: 11.934; Date (DD/MM/YY):07/27/2020 4: 11.945; Date (DD/MM/YY):07/27/2020 5: 11.828; Date (DD/MM/YY):07/27/2020 6: 11.91; Initial: 7: 12.054
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/27/2020 1: 12.174; Date (DD/MM/YY):07/27/2020 2: 11.894; Date (DD/MM/YY):07/27/2020 3: 11.913; Date (DD/MM/YY):07/27/2020 4: 11.981; Date (DD/MM/YY):07/27/2020 5: 11.805; Date (DD/MM/YY):07/27/2020 6: 11.899; Initial: 7: 12.067
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):07/27/2020 1: 12.4646; Date (DD/MM/YY):07/27/2020 2: 12.1646; Date (DD/MM/YY):07/27/2020 3: 12.2495; Date (DD/MM/YY):07/27/2020 4: 12.2999; Date (DD/MM/YY):07/27/2020 5: 12.0253; Date (DD/MM/YY):07/27/2020 6: 12.1097; Initial: 7: 12.3376
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):07/27/2020 1: 12.4408; Date (DD/MM/YY):07/27/2020 2: 12.15; Date (DD/MM/YY):07/27/2020 3: 12.2363; Date (DD/MM/YY):07/27/2020 4: 12.2969; Date (DD/MM/YY):07/27/2020 5: 11.9989; Date (DD/MM/YY):07/27/2020 6: 12.0837; Initial: 7: 12.3294
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):07/27/2020 1: 49.9253; Date (DD/MM/YY):07/27/2020 2: 48.8096; Date (DD/MM/YY):07/27/2020 3: 49.1688; Date (DD/MM/YY):07/27/2020 4: 49.2595; Date (DD/MM/YY):07/27/2020 5: 48.0422; Date (DD/MM/YY):07/27/2020 6: 48.4035; Initial: 7: 49.4031 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):07/27/2020 1: 49.8683; Date (DD/MM/YY):07/27/2020 2: 48.7008; Date (DD/MM/YY):07/27/2020 3: 49.0075; Date (DD/MM/YY):07/27/2020 4: 49.204; Date (DD/MM/YY):07/27/2020 5: 48.1257; Date (DD/MM/YY):07/27/2020 6: 48.4335; Initial: 7: 49.353 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):07/27/2020 1: 49.7857; Date (DD/MM/YY):07/27/2020 2: 48.6079; Date (DD/MM/YY):07/27/2020 3: 48.9493; Date (DD/MM/YY):07/27/2020 4: 49.1914; Date (DD/MM/YY):07/27/2020 5: 48.0146; Date (DD/MM/YY):07/27/2020 6: 48.3408; Initial: 7: 49.3228 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/27/2020 1: 1.1538; Date (DD/MM/YY):07/27/2020 2: 1.1366; Date (DD/MM/YY):07/27/2020 3: 1.1543; Date (DD/MM/YY):07/27/2020 4: 1.1818; Date (DD/MM/YY):07/27/2020 5: 1.1726; Date (DD/MM/YY):07/27/2020 6: 1.1665; Initial: 7: 1.1608 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/27/2020 1: 1.149; Date (DD/MM/YY):07/27/2020 2: 1.1317; Date (DD/MM/YY):07/27/2020 3: 1.1486; Date (DD/MM/YY):07/27/2020 4: 1.1782; Date (DD/MM/YY):07/27/2020 5: 1.1692; Date (DD/MM/YY):07/27/2020 6: 1.1627; Initial: 7: 1.1565 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/27/2020 1: 1.0748; Date (DD/MM/YY):07/27/2020 2: 1.0867; Date (DD/MM/YY):07/27/2020 3: 1.062; Date (DD/MM/YY):07/27/2020 4: 1.1002; Date (DD/MM/YY):07/27/2020 5: 1.1013; Date (DD/MM/YY):07/27/2020 6: 1.1043; Initial: 7: 1.1352 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):07/27/2020 1: 1.0686; Date (DD/MM/YY):07/27/2020 2: 1.0683; Date (DD/MM/YY):07/27/2020 3: 1.063; Date (DD/MM/YY):07/27/2020 4: 1.1081; Date (DD/MM/YY):07/27/2020 5: 1.0915; Date (DD/MM/YY):07/27/2020 6: 1.1082; Initial: 7: 1.1287 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/27/2020 1: 0.45132; Date (DD/MM/YY):07/27/2020 2: 0.44215; Date (DD/MM/YY):07/27/2020 3: 0.44775; Date (DD/MM/YY):07/27/2020 4: 0.46018; Date (DD/MM/YY):07/27/2020 5: 0.45565; Date (DD/MM/YY):07/27/2020 6: 0.45234; Initial: 7: 0.45081 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/27/2020 1: 0.43498; Date (DD/MM/YY):07/27/2020 2: 0.42327; Date (DD/MM/YY):07/27/2020 3: 0.43195; Date (DD/MM/YY):07/27/2020 4: 0.44961; Date (DD/MM/YY):07/27/2020 5: 0.44741; Date (DD/MM/YY):07/27/2020 6: 0.4456; Initial: 7: 0.44429 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/27/2020 1: 0.40497; Date (DD/MM/YY):07/27/2020 2: 0.41634; Date (DD/MM/YY):07/27/2020 3: 0.39047; Date (DD/MM/YY):07/27/2020 4: 0.39826; Date (DD/MM/YY):07/27/2020 5: 0.41395; Date (DD/MM/YY):07/27/2020 6: 0.41077; Initial: 7: 0.44516 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):07/27/2020 1: 0.41353; Date (DD/MM/YY):07/27/2020 2: 0.39754; Date (DD/MM/YY):07/27/2020 3: 0.40292; Date (DD/MM/YY):07/27/2020 4: 0.4175; Date (DD/MM/YY):07/27/2020 5: 0.39446; Date (DD/MM/YY):07/27/2020 6: 0.42; Initial: 7: 0.43663 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/27/2020 1: 0; Date (DD/MM/YY):07/27/2020 2: 0; Date (DD/MM/YY):07/27/2020 3: 0; Date (DD/MM/YY):07/27/2020 4: 0; Date (DD/MM/YY):07/27/2020 5: 0; Date (DD/MM/YY):07/27/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):07/27/2020 1: 0; Date (DD/MM/YY):07/27/2020 2: 0; Date (DD/MM/YY):07/27/2020 3: 0; Date (DD/MM/YY):07/27/2020 4: 0; Date (DD/MM/YY):07/27/2020 5: 0; Date (DD/MM/YY):07/27/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/27/2020 1: 0; Date (DD/MM/YY):07/27/2020 2: 0; Date (DD/MM/YY):07/27/2020 3: 0; Date (DD/MM/YY):07/27/2020 4: 0; Date (DD/MM/YY):07/27/2020 5: 0; Date (DD/MM/YY):07/27/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):07/27/2020 1: 0; Date (DD/MM/YY):07/27/2020 2: 0; Date (DD/MM/YY):07/27/2020 3: 0; Date (DD/MM/YY):07/27/2020 4: 0; Date (DD/MM/YY):07/27/2020 5: 0; Date (DD/MM/YY):07/27/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass