## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1830.0335 | 1874.8874 | 1942.7831 | 1867.5433 | 1909.8601 | 1986.2287 | 1971.6675 | -- | -- | --
Post Opto-pack Burn-in |  | 1704.3542 | 1772.4151 | 1820.0876 | 1734.8318 | 1815.3623 | 1875.3015 | 1838.9626 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1295.1702 | 1169.4823 | 1587.7166 | 1324.4569 | 1507.5826 | 1320.8776 | 1561.1479 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1295.9633 | 1200.1543 | 1541.1919 | 1288.3911 | 1505.9475 | 1320.9479 | 1521.1042 | -- | -- | --
Change (%) |  | 0.061235 | 2.6227 | -2.9303 | -2.7231 | -0.10846 | 0.0053217 | -2.565 | -- | -- | --
Opto-board at 0C |  | 1385.9997 | 1241.8801 | 1511.0453 | 1332.846 | 1522.1538 | 1349.7242 | 1548.8804 | -- | -- | --
Change (%) |  | 7.0129 | 6.1906 | -4.829 | 0.6334 | 0.96653 | 2.1839 | -0.7858 | -- | -- | --
Opto-board at 50C |  | 1253.987 | 1078.4719 | 1368.3015 | 1165.8802 | 1382.9051 | 1172.181 | 1383.6385 | -- | -- | --
Change (%) |  | -3.1798 | -7.7821 | -13.8195 | -11.973 | -8.27 | -11.2574 | -11.3704 | -- | -- | --
Opto-board QA (10C) |  | 1373.3004 | 1239.4155 | 1524.3238 | 1295.2744 | 1482.2137 | 1330.4463 | 1556.4604 | -- | -- | --
Change (%) |  | 6.0324 | 5.9798 | -3.9927 | -2.2034 | -1.6828 | 0.72442 | -0.30026 | -- | -- | --
Reception Test |  | 1251.526 | 1132.066 | 1279.314 | 1078.796 | 1145.377 | 1056.447 | 1300.528
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1903.7687 | 1836.1698 | 1887.488 | 1808.4386 | 1829.9704 | 1934.4154 | 1853.1596 | -- | -- | --
Post Opto-pack Burn-in |  | 1840.6324 | 1808.8149 | 1825.6297 | 1767.0541 | 1801.2016 | 1888.0211 | 1826.7351 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1060.1376 | 1305.7567 | 1284.3721 | 1390.542 | 1118.2977 | 1438.6975 | 1505.5455 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1208.4626 | 1345.6449 | 1411.9727 | 1505.2673 | 1230.5057 | 1556.669 | 1446.7653 | -- | -- | --
Change (%) |  | 13.9911 | 3.0548 | 9.9349 | 8.2504 | 10.0338 | 8.1999 | -3.9042 | -- | -- | --
Opto-board at 0C |  | 1197.5029 | 1383.5674 | 1538.4832 | 1558.6025 | 1237.0623 | 1590.622 | 1473.4853 | -- | -- | --
Change (%) |  | 12.9573 | 5.959 | 19.7848 | 12.086 | 10.6201 | 10.5599 | -2.1295 | -- | -- | --
Opto-board at 50C |  | 1074.3059 | 1220.735 | 1357.7935 | 1368.4437 | 1087.9618 | 1428.0496 | 1320.7379 | -- | -- | --
Change (%) |  | 1.3365 | -6.5113 | 5.7165 | -1.5892 | -2.7127 | -0.7401 | -12.2751 | -- | -- | --
Opto-board QA (10C) |  | 1215.4927 | 1375.436 | 1500.3037 | 1580.4436 | 1285.4618 | 1658.9504 | 1446.8501 | -- | -- | --
Change (%) |  | 14.6542 | 5.3363 | 16.8122 | 13.6567 | 14.9481 | 15.3092 | -3.8986 | -- | -- | --
Reception Test |  | 1091.059 | 1117.148 | 1092.256 | 1117.527 | 1065.326 | 1186.553 | 1112.374

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 336.792 |  |  |  | 2020-08-03 |  |  |  | Fail
QA | mA | 342 | 378 | 328.9062 |  |  |  | 2020-08-03 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.33496 |  | 2020-08-03 |  |  |  | Pass
QA | uA | 1 | 0.47991 |  | 2020-08-03 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.1373 | 0.1824 | 0.3191 | 0.1328 | 0.31142 | 0.234 | 0.1482 | 0.1142 | 0.2708 | 0.348 | 0.3704 | 0.1799 | 0.27614 | 0.27058 |  |  | Pass
Fall | ns | 1 | 0.3133 | 0.36672 | 0.51326 | 0.47969 | 0.34107 | 0.38211 | 0.44376 | 0.31306 | 0.39373 | 0.31837 | 0.53242 | 0.41962 | 0.35109 | 0.41217 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):08/03/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):08/03/2020 1: 0.60715; Date (DD/MM/YY):08/03/2020 2: 0.60747; Date (DD/MM/YY):08/03/2020 3: 0.61939; Date (DD/MM/YY):08/03/2020 4: 0.63726; Date (DD/MM/YY):08/03/2020 5: 0.68893; Date (DD/MM/YY):08/03/2020 6: 0.66917; Initial: 7: 0.63919 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):08/03/2020 1: 0.62067; Date (DD/MM/YY):08/03/2020 2: 0.62395; Date (DD/MM/YY):08/03/2020 3: 0.65185; Date (DD/MM/YY):08/03/2020 4: 0.64022; Date (DD/MM/YY):08/03/2020 5: 0.66953; Date (DD/MM/YY):08/03/2020 6: 0.66081; Initial: 7: 0.68064 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):08/03/2020 1: 0.66464; Date (DD/MM/YY):08/03/2020 2: 0.69025; Date (DD/MM/YY):08/03/2020 3: 0.6304; Date (DD/MM/YY):08/03/2020 4: 0.62883; Date (DD/MM/YY):08/03/2020 5: 0.66718; Date (DD/MM/YY):08/03/2020 6: 0.62939; Initial: 7: 0.75932 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):08/03/2020 1: 0.6584; Date (DD/MM/YY):08/03/2020 2: 0.65493; Date (DD/MM/YY):08/03/2020 3: 0.69872; Date (DD/MM/YY):08/03/2020 4: 0.68641; Date (DD/MM/YY):08/03/2020 5: 0.64489; Date (DD/MM/YY):08/03/2020 6: 0.72438; Initial: 7: 0.81506 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):08/03/2020 1: 0.19998; Date (DD/MM/YY):08/03/2020 2: 0.25753; Date (DD/MM/YY):08/03/2020 3: 0.07982; Date (DD/MM/YY):08/03/2020 4: 0.07732; Date (DD/MM/YY):08/03/2020 5: 0.08161; Date (DD/MM/YY):08/03/2020 6: 0.22532; Initial: 7: 0.11812 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):08/03/2020 1: 0.17934; Date (DD/MM/YY):08/03/2020 2: 0.23053; Date (DD/MM/YY):08/03/2020 3: 0.06883; Date (DD/MM/YY):08/03/2020 4: 0.04642; Date (DD/MM/YY):08/03/2020 5: 0.05345; Date (DD/MM/YY):08/03/2020 6: 0.23269; Initial: 7: 0.12251 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/03/2020 1: 12.667; Date (DD/MM/YY):08/03/2020 2: 13.194; Date (DD/MM/YY):08/03/2020 3: 12.214; Date (DD/MM/YY):08/03/2020 4: 12.212; Date (DD/MM/YY):08/03/2020 5: 12.793; Date (DD/MM/YY):08/03/2020 6: 12.405; Initial: 7: 13.039
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/03/2020 1: 12.623; Date (DD/MM/YY):08/03/2020 2: 13.018; Date (DD/MM/YY):08/03/2020 3: 12.203; Date (DD/MM/YY):08/03/2020 4: 12.105; Date (DD/MM/YY):08/03/2020 5: 12.708; Date (DD/MM/YY):08/03/2020 6: 12.404; Initial: 7: 12.989
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/03/2020 1: 11.872; Date (DD/MM/YY):08/03/2020 2: 12.172; Date (DD/MM/YY):08/03/2020 3: 11.727; Date (DD/MM/YY):08/03/2020 4: 11.758; Date (DD/MM/YY):08/03/2020 5: 12.327; Date (DD/MM/YY):08/03/2020 6: 11.661; Initial: 7: 12.508
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/03/2020 1: 11.93; Date (DD/MM/YY):08/03/2020 2: 12.256; Date (DD/MM/YY):08/03/2020 3: 11.746; Date (DD/MM/YY):08/03/2020 4: 11.816; Date (DD/MM/YY):08/03/2020 5: 12.348; Date (DD/MM/YY):08/03/2020 6: 11.678; Initial: 7: 12.532
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/03/2020 1: 12.2631; Date (DD/MM/YY):08/03/2020 2: 12.658; Date (DD/MM/YY):08/03/2020 3: 11.9663; Date (DD/MM/YY):08/03/2020 4: 11.957; Date (DD/MM/YY):08/03/2020 5: 12.5546; Date (DD/MM/YY):08/03/2020 6: 12.0263; Initial: 7: 12.7708
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/03/2020 1: 12.2681; Date (DD/MM/YY):08/03/2020 2: 12.6203; Date (DD/MM/YY):08/03/2020 3: 11.9784; Date (DD/MM/YY):08/03/2020 4: 11.9518; Date (DD/MM/YY):08/03/2020 5: 12.5467; Date (DD/MM/YY):08/03/2020 6: 12.0437; Initial: 7: 12.7701
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):08/03/2020 1: 49.1997; Date (DD/MM/YY):08/03/2020 2: 50.5539; Date (DD/MM/YY):08/03/2020 3: 48.032; Date (DD/MM/YY):08/03/2020 4: 47.8672; Date (DD/MM/YY):08/03/2020 5: 50.2402; Date (DD/MM/YY):08/03/2020 6: 48.2347; Initial: 7: 51.0961 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):08/03/2020 1: 49.0761; Date (DD/MM/YY):08/03/2020 2: 50.7057; Date (DD/MM/YY):08/03/2020 3: 47.9317; Date (DD/MM/YY):08/03/2020 4: 47.8579; Date (DD/MM/YY):08/03/2020 5: 50.2671; Date (DD/MM/YY):08/03/2020 6: 48.1197; Initial: 7: 51.1076 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):08/03/2020 1: 49.0805; Date (DD/MM/YY):08/03/2020 2: 50.464; Date (DD/MM/YY):08/03/2020 3: 47.9395; Date (DD/MM/YY):08/03/2020 4: 47.8134; Date (DD/MM/YY):08/03/2020 5: 50.1995; Date (DD/MM/YY):08/03/2020 6: 48.1706; Initial: 7: 51.0904 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/03/2020 1: 1.1178; Date (DD/MM/YY):08/03/2020 2: 1.131; Date (DD/MM/YY):08/03/2020 3: 1.1381; Date (DD/MM/YY):08/03/2020 4: 1.1957; Date (DD/MM/YY):08/03/2020 5: 1.1612; Date (DD/MM/YY):08/03/2020 6: 1.1792; Initial: 7: 1.178 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/03/2020 1: 1.114; Date (DD/MM/YY):08/03/2020 2: 1.1277; Date (DD/MM/YY):08/03/2020 3: 1.1342; Date (DD/MM/YY):08/03/2020 4: 1.194; Date (DD/MM/YY):08/03/2020 5: 1.1574; Date (DD/MM/YY):08/03/2020 6: 1.177; Initial: 7: 1.1763 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/03/2020 1: 1.0438; Date (DD/MM/YY):08/03/2020 2: 1.0788; Date (DD/MM/YY):08/03/2020 3: 1.0898; Date (DD/MM/YY):08/03/2020 4: 1.0786; Date (DD/MM/YY):08/03/2020 5: 1.0898; Date (DD/MM/YY):08/03/2020 6: 1.1147; Initial: 7: 1.1252 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/03/2020 1: 1.0447; Date (DD/MM/YY):08/03/2020 2: 1.0647; Date (DD/MM/YY):08/03/2020 3: 1.0896; Date (DD/MM/YY):08/03/2020 4: 1.0879; Date (DD/MM/YY):08/03/2020 5: 1.0793; Date (DD/MM/YY):08/03/2020 6: 1.1193; Initial: 7: 1.1201 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/03/2020 1: 0.42662; Date (DD/MM/YY):08/03/2020 2: 0.42856; Date (DD/MM/YY):08/03/2020 3: 0.43483; Date (DD/MM/YY):08/03/2020 4: 0.45292; Date (DD/MM/YY):08/03/2020 5: 0.4382; Date (DD/MM/YY):08/03/2020 6: 0.45033; Initial: 7: 0.44963 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/03/2020 1: 0.40575; Date (DD/MM/YY):08/03/2020 2: 0.41528; Date (DD/MM/YY):08/03/2020 3: 0.41948; Date (DD/MM/YY):08/03/2020 4: 0.44549; Date (DD/MM/YY):08/03/2020 5: 0.43381; Date (DD/MM/YY):08/03/2020 6: 0.43912; Initial: 7: 0.44564 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/03/2020 1: 0.36871; Date (DD/MM/YY):08/03/2020 2: 0.40225; Date (DD/MM/YY):08/03/2020 3: 0.4027; Date (DD/MM/YY):08/03/2020 4: 0.37986; Date (DD/MM/YY):08/03/2020 5: 0.39817; Date (DD/MM/YY):08/03/2020 6: 0.4072; Initial: 7: 0.43237 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/03/2020 1: 0.3853; Date (DD/MM/YY):08/03/2020 2: 0.39965; Date (DD/MM/YY):08/03/2020 3: 0.41105; Date (DD/MM/YY):08/03/2020 4: 0.39641; Date (DD/MM/YY):08/03/2020 5: 0.37621; Date (DD/MM/YY):08/03/2020 6: 0.41764; Initial: 7: 0.42428 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/03/2020 1: 0; Date (DD/MM/YY):08/03/2020 2: 0; Date (DD/MM/YY):08/03/2020 3: 0; Date (DD/MM/YY):08/03/2020 4: 0; Date (DD/MM/YY):08/03/2020 5: 0; Date (DD/MM/YY):08/03/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/03/2020 1: 0; Date (DD/MM/YY):08/03/2020 2: 0; Date (DD/MM/YY):08/03/2020 3: 0; Date (DD/MM/YY):08/03/2020 4: 0; Date (DD/MM/YY):08/03/2020 5: 0; Date (DD/MM/YY):08/03/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/03/2020 1: 0; Date (DD/MM/YY):08/03/2020 2: 0; Date (DD/MM/YY):08/03/2020 3: 0; Date (DD/MM/YY):08/03/2020 4: 0; Date (DD/MM/YY):08/03/2020 5: 0; Date (DD/MM/YY):08/03/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/03/2020 1: 0; Date (DD/MM/YY):08/03/2020 2: 0; Date (DD/MM/YY):08/03/2020 3: 0; Date (DD/MM/YY):08/03/2020 4: 0; Date (DD/MM/YY):08/03/2020 5: 0; Date (DD/MM/YY):08/03/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass