## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1946.4742 | 2015.1379 | 1939.5939 | 1831.1838 | 1882.5473 | 1833.3918 | 1757.6215 | -- | -- | --
Post Opto-pack Burn-in |  | 1805.6381 | 1876.39 | 1821.8965 | 1718.3128 | 1737.3801 | 1702.2171 | 1650.5738 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1299.01 | 1154.6203 | 1420.2056 | 1182.9093 | 1289.7792 | 1059.6416 | 1228.2024 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1301.6408 | 1149.7652 | 1307.2385 | 1156.7831 | 1278.8169 | 1054.1675 | 1216.8889 | -- | -- | --
Change (%) |  | 0.20252 | -0.42049 | -7.9543 | -2.2086 | -0.84993 | -0.5166 | -0.92115 | -- | -- | --
Opto-board at 0C |  | 1399.0665 | 1224.1331 | 1389.0692 | 1128.2639 | 1359.955 | 1166.7509 | 1243.0342 | -- | -- | --
Change (%) |  | 7.7025 | 6.0204 | -2.1924 | -4.6196 | 5.4409 | 10.1081 | 1.2076 | -- | -- | --
Opto-board at 50C |  | 1216.0148 | 1088.3222 | 1205.0301 | 983.6153 | 1199.4108 | 994.0228 | 1059.2065 | -- | -- | --
Change (%) |  | -6.3891 | -5.742 | -15.151 | -16.8478 | -7.0065 | -6.1925 | -13.7596 | -- | -- | --
Opto-board QA (10C) |  | 1376.2213 | 1231.2302 | 1401.8777 | 1121.9721 | 1373.6651 | 1171.9174 | 1229.3102 | -- | -- | --
Change (%) |  | 5.9439 | 6.6351 | -1.2905 | -5.1515 | 6.5039 | 10.5956 | 0.090194 | -- | -- | --
Reception Test |  | 1318.693 | 1160.394 | 1254.686 | 1042.535 | 1072.187 | 891.7143 | 1141.588
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1953.0232 | 2095.2802 | 1943.6822 | 1866.425 | 1851.4637 | 1893.2027 | 1814.5332 | -- | -- | --
Post Opto-pack Burn-in |  | 1831.1826 | 1963.3638 | 1885.6183 | 1773.8697 | 1780.4701 | 1856.345 | 1792.7933 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1047.4475 | 1464.4608 | 1286.1735 | 1302.8011 | 1078.9111 | 1361.2047 | 1164.4962 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1000.4813 | 1338.7646 | 1330.8286 | 1306.6128 | 1023.8133 | 1348.9231 | 1161.6801 | -- | -- | --
Change (%) |  | -4.4839 | -8.5831 | 3.4719 | 0.29257 | -5.1068 | -0.90226 | -0.24183 | -- | -- | --
Opto-board at 0C |  | 1069.4389 | 1421.8562 | 1452.2399 | 1388.9714 | 1084.0222 | 1428.1529 | 1221.3362 | -- | -- | --
Change (%) |  | 2.0995 | -2.9092 | 12.9117 | 6.6142 | 0.47373 | 4.9183 | 4.8811 | -- | -- | --
Opto-board at 50C |  | 953.2088 | 1269.0763 | 1283.1158 | 1200.4567 | 931.6908 | 1251.5149 | 1077.6304 | -- | -- | --
Change (%) |  | -8.997 | -13.3417 | -0.23773 | -7.8557 | -13.6453 | -8.0583 | -7.4595 | -- | -- | --
Opto-board QA (10C) |  | 1060.435 | 1416.6021 | 1392.3795 | 1404.4292 | 1129.049 | 1393.8995 | 1227.2698 | -- | -- | --
Change (%) |  | 1.2399 | -3.268 | 8.2575 | 7.8007 | 4.6471 | 2.4019 | 5.3906 | -- | -- | --
Reception Test |  | 943.1378 | 1162.151 | 1041.513 | 1033.707 | 1087.451 | 1191.218 | 1201.44

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 350.4639 |  |  |  | 2020-08-03 |  |  |  | Pass
QA | mA | 342 | 378 | 335.3882 |  |  |  | 2020-08-03 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.6398 |  | 2020-08-03 |  |  |  | Pass
QA | uA | 1 | 0.51707 |  | 2020-08-03 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.06561 | 0.06704 | 0.2272 | 0.033259 | 0.1997 | 0.1196 | 0.04512 | 0.06205 | 0.305 | 0.1302 | 0.2243 | 0.03794 | 0.03317 | 0.031566 |  |  | Pass
Fall | ns | 1 | 0.30709 | 0.40142 | 0.44711 | 0.5065 | 0.51988 | 0.34923 | 0.28322 | 0.30989 | 0.41835 | 0.3495 | 0.43059 | 0.33597 | 0.40498 | 0.41189 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):08/03/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):08/03/2020 1: 0.58844; Date (DD/MM/YY):08/03/2020 2: 0.61804; Date (DD/MM/YY):08/03/2020 3: 0.61633; Date (DD/MM/YY):08/03/2020 4: 0.63108; Date (DD/MM/YY):08/03/2020 5: 0.67429; Date (DD/MM/YY):08/03/2020 6: 0.68814; Initial: 7: 0.68447 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):08/03/2020 1: 0.62159; Date (DD/MM/YY):08/03/2020 2: 0.63382; Date (DD/MM/YY):08/03/2020 3: 0.64582; Date (DD/MM/YY):08/03/2020 4: 0.65376; Date (DD/MM/YY):08/03/2020 5: 0.65476; Date (DD/MM/YY):08/03/2020 6: 0.6845; Initial: 7: 0.67952 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):08/03/2020 1: 0.61903; Date (DD/MM/YY):08/03/2020 2: 0.68459; Date (DD/MM/YY):08/03/2020 3: 0.63441; Date (DD/MM/YY):08/03/2020 4: 0.61865; Date (DD/MM/YY):08/03/2020 5: 0.66168; Date (DD/MM/YY):08/03/2020 6: 0.65461; Initial: 7: 0.7737 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):08/03/2020 1: 0.68996; Date (DD/MM/YY):08/03/2020 2: 0.65831; Date (DD/MM/YY):08/03/2020 3: 0.68638; Date (DD/MM/YY):08/03/2020 4: 0.6731; Date (DD/MM/YY):08/03/2020 5: 0.64244; Date (DD/MM/YY):08/03/2020 6: 0.7302; Initial: 7: 0.8172 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):08/03/2020 1: 0.08488; Date (DD/MM/YY):08/03/2020 2: 0.22174; Date (DD/MM/YY):08/03/2020 3: 0.22771; Date (DD/MM/YY):08/03/2020 4: 0.05145; Date (DD/MM/YY):08/03/2020 5: 0.14859; Date (DD/MM/YY):08/03/2020 6: 0.05339; Initial: 7: 0.06226 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):08/03/2020 1: 0.05911; Date (DD/MM/YY):08/03/2020 2: 0.21483; Date (DD/MM/YY):08/03/2020 3: 0.22127; Date (DD/MM/YY):08/03/2020 4: 0.04007; Date (DD/MM/YY):08/03/2020 5: 0.14321; Date (DD/MM/YY):08/03/2020 6: 0.05497; Initial: 7: 0.04234 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/03/2020 1: 12.699; Date (DD/MM/YY):08/03/2020 2: 13.237; Date (DD/MM/YY):08/03/2020 3: 12.707; Date (DD/MM/YY):08/03/2020 4: 12.217; Date (DD/MM/YY):08/03/2020 5: 12.96; Date (DD/MM/YY):08/03/2020 6: 12.599; Initial: 7: 12.277
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/03/2020 1: 12.616; Date (DD/MM/YY):08/03/2020 2: 13.08; Date (DD/MM/YY):08/03/2020 3: 12.71; Date (DD/MM/YY):08/03/2020 4: 12.096; Date (DD/MM/YY):08/03/2020 5: 12.885; Date (DD/MM/YY):08/03/2020 6: 12.601; Initial: 7: 12.168
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/03/2020 1: 12.189; Date (DD/MM/YY):08/03/2020 2: 12.276; Date (DD/MM/YY):08/03/2020 3: 11.88; Date (DD/MM/YY):08/03/2020 4: 11.845; Date (DD/MM/YY):08/03/2020 5: 12.343; Date (DD/MM/YY):08/03/2020 6: 12.277; Initial: 7: 11.85
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/03/2020 1: 12.191; Date (DD/MM/YY):08/03/2020 2: 12.277; Date (DD/MM/YY):08/03/2020 3: 11.918; Date (DD/MM/YY):08/03/2020 4: 11.856; Date (DD/MM/YY):08/03/2020 5: 12.366; Date (DD/MM/YY):08/03/2020 6: 12.272; Initial: 7: 11.882
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/03/2020 1: 12.4356; Date (DD/MM/YY):08/03/2020 2: 12.6985; Date (DD/MM/YY):08/03/2020 3: 12.302; Date (DD/MM/YY):08/03/2020 4: 11.9988; Date (DD/MM/YY):08/03/2020 5: 12.6215; Date (DD/MM/YY):08/03/2020 6: 12.4422; Initial: 7: 12.0411
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/03/2020 1: 12.424; Date (DD/MM/YY):08/03/2020 2: 12.6738; Date (DD/MM/YY):08/03/2020 3: 12.2886; Date (DD/MM/YY):08/03/2020 4: 11.9821; Date (DD/MM/YY):08/03/2020 5: 12.6144; Date (DD/MM/YY):08/03/2020 6: 12.4398; Initial: 7: 12.02
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):08/03/2020 1: 49.7584; Date (DD/MM/YY):08/03/2020 2: 50.7531; Date (DD/MM/YY):08/03/2020 3: 49.198; Date (DD/MM/YY):08/03/2020 4: 48.0045; Date (DD/MM/YY):08/03/2020 5: 50.4786; Date (DD/MM/YY):08/03/2020 6: 49.7083; Initial: 7: 48.154 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):08/03/2020 1: 49.7915; Date (DD/MM/YY):08/03/2020 2: 50.8502; Date (DD/MM/YY):08/03/2020 3: 49.2335; Date (DD/MM/YY):08/03/2020 4: 48.034; Date (DD/MM/YY):08/03/2020 5: 50.5335; Date (DD/MM/YY):08/03/2020 6: 49.781; Initial: 7: 48.1797 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):08/03/2020 1: 49.7063; Date (DD/MM/YY):08/03/2020 2: 50.7089; Date (DD/MM/YY):08/03/2020 3: 49.1745; Date (DD/MM/YY):08/03/2020 4: 47.9236; Date (DD/MM/YY):08/03/2020 5: 50.4814; Date (DD/MM/YY):08/03/2020 6: 49.7716; Initial: 7: 48.0939 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/03/2020 1: 1.1356; Date (DD/MM/YY):08/03/2020 2: 1.1367; Date (DD/MM/YY):08/03/2020 3: 1.1303; Date (DD/MM/YY):08/03/2020 4: 1.1297; Date (DD/MM/YY):08/03/2020 5: 1.1089; Date (DD/MM/YY):08/03/2020 6: 1.1218; Initial: 7: 1.1282 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/03/2020 1: 1.1293; Date (DD/MM/YY):08/03/2020 2: 1.1306; Date (DD/MM/YY):08/03/2020 3: 1.1247; Date (DD/MM/YY):08/03/2020 4: 1.1246; Date (DD/MM/YY):08/03/2020 5: 1.103; Date (DD/MM/YY):08/03/2020 6: 1.1167; Initial: 7: 1.1229 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/03/2020 1: 1.0521; Date (DD/MM/YY):08/03/2020 2: 1.0751; Date (DD/MM/YY):08/03/2020 3: 1.0736; Date (DD/MM/YY):08/03/2020 4: 1.0223; Date (DD/MM/YY):08/03/2020 5: 1.0357; Date (DD/MM/YY):08/03/2020 6: 1.0567; Initial: 7: 1.1038 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/03/2020 1: 1.0482; Date (DD/MM/YY):08/03/2020 2: 1.057; Date (DD/MM/YY):08/03/2020 3: 1.0713; Date (DD/MM/YY):08/03/2020 4: 1.0337; Date (DD/MM/YY):08/03/2020 5: 1.0313; Date (DD/MM/YY):08/03/2020 6: 1.0611; Initial: 7: 1.095 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/03/2020 1: 0.43905; Date (DD/MM/YY):08/03/2020 2: 0.43729; Date (DD/MM/YY):08/03/2020 3: 0.43241; Date (DD/MM/YY):08/03/2020 4: 0.433; Date (DD/MM/YY):08/03/2020 5: 0.41614; Date (DD/MM/YY):08/03/2020 6: 0.42416; Initial: 7: 0.43065 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/03/2020 1: 0.41805; Date (DD/MM/YY):08/03/2020 2: 0.41969; Date (DD/MM/YY):08/03/2020 3: 0.41787; Date (DD/MM/YY):08/03/2020 4: 0.41654; Date (DD/MM/YY):08/03/2020 5: 0.40512; Date (DD/MM/YY):08/03/2020 6: 0.41583; Initial: 7: 0.42031 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/03/2020 1: 0.38341; Date (DD/MM/YY):08/03/2020 2: 0.40934; Date (DD/MM/YY):08/03/2020 3: 0.39904; Date (DD/MM/YY):08/03/2020 4: 0.34476; Date (DD/MM/YY):08/03/2020 5: 0.36543; Date (DD/MM/YY):08/03/2020 6: 0.37573; Initial: 7: 0.43209 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/03/2020 1: 0.38968; Date (DD/MM/YY):08/03/2020 2: 0.38827; Date (DD/MM/YY):08/03/2020 3: 0.40535; Date (DD/MM/YY):08/03/2020 4: 0.36826; Date (DD/MM/YY):08/03/2020 5: 0.35335; Date (DD/MM/YY):08/03/2020 6: 0.38802; Initial: 7: 0.41412 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/03/2020 1: 0; Date (DD/MM/YY):08/03/2020 2: 0; Date (DD/MM/YY):08/03/2020 3: 0; Date (DD/MM/YY):08/03/2020 4: 0; Date (DD/MM/YY):08/03/2020 5: 0; Date (DD/MM/YY):08/03/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/03/2020 1: 0; Date (DD/MM/YY):08/03/2020 2: 0; Date (DD/MM/YY):08/03/2020 3: 0; Date (DD/MM/YY):08/03/2020 4: 0; Date (DD/MM/YY):08/03/2020 5: 0; Date (DD/MM/YY):08/03/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/03/2020 1: 0; Date (DD/MM/YY):08/03/2020 2: 0; Date (DD/MM/YY):08/03/2020 3: 0; Date (DD/MM/YY):08/03/2020 4: 0; Date (DD/MM/YY):08/03/2020 5: 0; Date (DD/MM/YY):08/03/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/03/2020 1: 0; Date (DD/MM/YY):08/03/2020 2: 0; Date (DD/MM/YY):08/03/2020 3: 0; Date (DD/MM/YY):08/03/2020 4: 0; Date (DD/MM/YY):08/03/2020 5: 0; Date (DD/MM/YY):08/03/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass