## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2068.2062 | 1989.6449 | 1942.9007 | 1986.9103 | 2016.1237 | 2047.6 | 2042.9434 | -- | -- | --
Post Opto-pack Burn-in |  | 1830.5632 | 1773.9492 | 1764.1097 | 1748.3838 | 1776.4271 | 1789.6714 | 1783.2959 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1486.2496 | 1142.0168 | 1376.1806 | 1253.5352 | 1451.1556 | 1333.0823 | 1424.831 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1252.3524 | 1182.1188 | 1425.775 | 1220.3464 | 1407.5194 | 1337.7919 | 1459.8385 | -- | -- | --
Change (%) |  | -15.7374 | 3.5115 | 3.6038 | -2.6476 | -3.007 | 0.35329 | 2.457 | -- | -- | --
Opto-board at 0C |  | 1261.1829 | 1226.4576 | 1483.3684 | 1250.4969 | 1467.7586 | 1364.7318 | 1536.018 | -- | -- | --
Change (%) |  | -15.1433 | 7.394 | 7.7888 | -0.24238 | 1.1441 | 2.3742 | 7.8035 | -- | -- | --
Opto-board at 50C |  | 1129.1896 | 1083.2693 | 1306.7585 | 1126.5968 | 1300.1609 | 1210.7632 | 1342.7845 | -- | -- | --
Change (%) |  | -24.0242 | -5.1442 | -5.0445 | -10.1264 | -10.4051 | -9.1757 | -5.7583 | -- | -- | --
Opto-board QA (10C) |  | 1239.7402 | 1224.3062 | 1434.314 | 1259.2265 | 1452.7133 | 1375.5394 | 1500.2925 | -- | -- | --
Change (%) |  | -16.586 | 7.2056 | 4.2243 | 0.45402 | 0.10735 | 3.1849 | 5.2962 | -- | -- | --
Reception Test |  | 1304.161 | 1080.569 | 1230.138 | 1140.22 | 1030.349 | 920.2303 | 1192.116
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1764.0926 | 1718.9767 | 1713.0899 | 1693.5053 | 1685.2564 | 1618.7332 | 1676.2164 | -- | -- | --
Post Opto-pack Burn-in |  | 1745.1654 | 1723.8102 | 1690.3221 | 1661.7056 | 1690.2553 | 1629.0642 | 1661.7714 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 835.1941 | 960.4606 | 974.1974 | 954.7861 | 940.7887 | 1092.6515 | 979.7828 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 806.4611 | 1000.0004 | 949.9484 | 980.1173 | 932.0687 | 1027.2338 | 998.0262 | -- | -- | --
Change (%) |  | -3.4403 | 4.1167 | -2.4891 | 2.6531 | -0.92689 | -5.9871 | 1.862 | -- | -- | --
Opto-board at 0C |  | 802.7117 | 983.3088 | 1062.9072 | 978.9876 | 914.3451 | 1013.6094 | 994.6544 | -- | -- | --
Change (%) |  | -3.8892 | 2.3789 | 9.1059 | 2.5348 | -2.8108 | -7.234 | 1.5179 | -- | -- | --
Opto-board at 50C |  | 739.3962 | 895.4456 | 936.2027 | 857.5851 | 808.4009 | 923.159 | 881.9446 | -- | -- | --
Change (%) |  | -11.4701 | -6.7691 | -3.9001 | -10.1804 | -14.072 | -15.512 | -9.9857 | -- | -- | --
Opto-board QA (10C) |  | 806.7585 | 957.8068 | 1062.9626 | 984.8107 | 914.4113 | 1026.708 | 987.261 | -- | -- | --
Change (%) |  | -3.4047 | -0.27631 | 9.1116 | 3.1446 | -2.8038 | -6.0352 | 0.76325 | -- | -- | --
Reception Test |  | 777.5763 | 977.8271 | 869.0454 | 838.6603 | 816.1039 | 736.1561 | 847.6555

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 336.9141 |  |  |  | 2020-08-28 |  |  |  | Fail
QA | mA | 342 | 378 | 325.2686 |  |  |  | 2020-08-28 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.63559 |  | 2020-08-28 |  |  |  | Pass
QA | uA | 1 | 0.50121 |  | 2020-08-28 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.35224 | 0.42922 | 0.54739 | 0.32219 | 0.45628 | 0.48482 | 0.43819 | 0.36658 | 0.69554 | 0.72853 | 0.6186 | 0.63627 | 0.49962 | 0.52165 |  |  | Pass
Fall | ns | 1 | 0.6864 | 0.67965 | 0.8634 | 0.92012 | 0.7549 | 0.67594 | 0.63217 | 0.69298 | 0.69427 | 0.75753 | 0.55318 | 0.58534 | 0.44848 | 0.47942 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):08/28/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):08/28/2020 1: 0.61333; Date (DD/MM/YY):08/28/2020 2: 0.61121; Date (DD/MM/YY):08/28/2020 3: 0.61735; Date (DD/MM/YY):08/28/2020 4: 0.66387; Date (DD/MM/YY):08/28/2020 5: 0.67503; Date (DD/MM/YY):08/28/2020 6: 0.65863; Initial: 7: 0.6593 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):08/28/2020 1: 0.61565; Date (DD/MM/YY):08/28/2020 2: 0.62629; Date (DD/MM/YY):08/28/2020 3: 0.65399; Date (DD/MM/YY):08/28/2020 4: 0.65235; Date (DD/MM/YY):08/28/2020 5: 0.66117; Date (DD/MM/YY):08/28/2020 6: 0.67617; Initial: 7: 0.691 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):08/28/2020 1: 0.60724; Date (DD/MM/YY):08/28/2020 2: 0.67268; Date (DD/MM/YY):08/28/2020 3: 0.61222; Date (DD/MM/YY):08/28/2020 4: 0.62704; Date (DD/MM/YY):08/28/2020 5: 0.63957; Date (DD/MM/YY):08/28/2020 6: 0.65689; Initial: 7: 0.70001 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):08/28/2020 1: 0.72636; Date (DD/MM/YY):08/28/2020 2: 0.65458; Date (DD/MM/YY):08/28/2020 3: 0.69256; Date (DD/MM/YY):08/28/2020 4: 0.66354; Date (DD/MM/YY):08/28/2020 5: 0.63086; Date (DD/MM/YY):08/28/2020 6: 0.70788; Initial: 7: 0.79652 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):08/28/2020 1: 0.13802; Date (DD/MM/YY):08/28/2020 2: 0.14844; Date (DD/MM/YY):08/28/2020 3: 0.07928; Date (DD/MM/YY):08/28/2020 4: 0.20905; Date (DD/MM/YY):08/28/2020 5: 0.06565; Date (DD/MM/YY):08/28/2020 6: 0.0745; Initial: 7: 0.09929 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):08/28/2020 1: 0.11441; Date (DD/MM/YY):08/28/2020 2: 0.13973; Date (DD/MM/YY):08/28/2020 3: 0.0697; Date (DD/MM/YY):08/28/2020 4: 0.20692; Date (DD/MM/YY):08/28/2020 5: 0.04945; Date (DD/MM/YY):08/28/2020 6: 0.0687; Initial: 7: 0.0803 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/28/2020 1: 12.613; Date (DD/MM/YY):08/28/2020 2: 12.875; Date (DD/MM/YY):08/28/2020 3: 12.387; Date (DD/MM/YY):08/28/2020 4: 12.932; Date (DD/MM/YY):08/28/2020 5: 12.715; Date (DD/MM/YY):08/28/2020 6: 13.059; Initial: 7: 12.924
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/28/2020 1: 12.625; Date (DD/MM/YY):08/28/2020 2: 12.771; Date (DD/MM/YY):08/28/2020 3: 12.386; Date (DD/MM/YY):08/28/2020 4: 12.855; Date (DD/MM/YY):08/28/2020 5: 12.668; Date (DD/MM/YY):08/28/2020 6: 13.012; Initial: 7: 12.829
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/28/2020 1: 12.026; Date (DD/MM/YY):08/28/2020 2: 12.146; Date (DD/MM/YY):08/28/2020 3: 11.931; Date (DD/MM/YY):08/28/2020 4: 12.183; Date (DD/MM/YY):08/28/2020 5: 12.358; Date (DD/MM/YY):08/28/2020 6: 12.591; Initial: 7: 12.422
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/28/2020 1: 12.105; Date (DD/MM/YY):08/28/2020 2: 12.183; Date (DD/MM/YY):08/28/2020 3: 11.946; Date (DD/MM/YY):08/28/2020 4: 12.14; Date (DD/MM/YY):08/28/2020 5: 12.335; Date (DD/MM/YY):08/28/2020 6: 12.627; Initial: 7: 12.449
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/28/2020 1: 12.3233; Date (DD/MM/YY):08/28/2020 2: 12.4585; Date (DD/MM/YY):08/28/2020 3: 12.146; Date (DD/MM/YY):08/28/2020 4: 12.5008; Date (DD/MM/YY):08/28/2020 5: 12.5375; Date (DD/MM/YY):08/28/2020 6: 12.8199; Initial: 7: 12.6622
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/28/2020 1: 12.3362; Date (DD/MM/YY):08/28/2020 2: 12.4588; Date (DD/MM/YY):08/28/2020 3: 12.1418; Date (DD/MM/YY):08/28/2020 4: 12.4954; Date (DD/MM/YY):08/28/2020 5: 12.5307; Date (DD/MM/YY):08/28/2020 6: 12.8338; Initial: 7: 12.6476
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):08/28/2020 1: 49.3539; Date (DD/MM/YY):08/28/2020 2: 49.858; Date (DD/MM/YY):08/28/2020 3: 48.567; Date (DD/MM/YY):08/28/2020 4: 50.0675; Date (DD/MM/YY):08/28/2020 5: 50.1759; Date (DD/MM/YY):08/28/2020 6: 51.3637; Initial: 7: 50.6387 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):08/28/2020 1: 49.3304; Date (DD/MM/YY):08/28/2020 2: 49.8321; Date (DD/MM/YY):08/28/2020 3: 48.6058; Date (DD/MM/YY):08/28/2020 4: 50.0578; Date (DD/MM/YY):08/28/2020 5: 50.1896; Date (DD/MM/YY):08/28/2020 6: 51.3113; Initial: 7: 50.6881 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):08/28/2020 1: 49.3569; Date (DD/MM/YY):08/28/2020 2: 49.8378; Date (DD/MM/YY):08/28/2020 3: 48.5862; Date (DD/MM/YY):08/28/2020 4: 49.9971; Date (DD/MM/YY):08/28/2020 5: 50.1299; Date (DD/MM/YY):08/28/2020 6: 51.3503; Initial: 7: 50.5976 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/28/2020 1: 1.1001; Date (DD/MM/YY):08/28/2020 2: 1.1011; Date (DD/MM/YY):08/28/2020 3: 1.105; Date (DD/MM/YY):08/28/2020 4: 1.0945; Date (DD/MM/YY):08/28/2020 5: 1.0884; Date (DD/MM/YY):08/28/2020 6: 1.0798; Initial: 7: 1.0726 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/28/2020 1: 1.0932; Date (DD/MM/YY):08/28/2020 2: 1.0942; Date (DD/MM/YY):08/28/2020 3: 1.0989; Date (DD/MM/YY):08/28/2020 4: 1.0881; Date (DD/MM/YY):08/28/2020 5: 1.0837; Date (DD/MM/YY):08/28/2020 6: 1.0759; Initial: 7: 1.069 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/28/2020 1: 1.0416; Date (DD/MM/YY):08/28/2020 2: 1.0417; Date (DD/MM/YY):08/28/2020 3: 1.0213; Date (DD/MM/YY):08/28/2020 4: 1.0074; Date (DD/MM/YY):08/28/2020 5: 1.0175; Date (DD/MM/YY):08/28/2020 6: 1.0138; Initial: 7: 1.05 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/28/2020 1: 1.04; Date (DD/MM/YY):08/28/2020 2: 1.0262; Date (DD/MM/YY):08/28/2020 3: 1.026; Date (DD/MM/YY):08/28/2020 4: 1.0177; Date (DD/MM/YY):08/28/2020 5: 1.0136; Date (DD/MM/YY):08/28/2020 6: 1.0218; Initial: 7: 1.0475 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/28/2020 1: 0.41149; Date (DD/MM/YY):08/28/2020 2: 0.41013; Date (DD/MM/YY):08/28/2020 3: 0.41231; Date (DD/MM/YY):08/28/2020 4: 0.40635; Date (DD/MM/YY):08/28/2020 5: 0.39894; Date (DD/MM/YY):08/28/2020 6: 0.39501; Initial: 7: 0.3924 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/28/2020 1: 0.38819; Date (DD/MM/YY):08/28/2020 2: 0.38916; Date (DD/MM/YY):08/28/2020 3: 0.39376; Date (DD/MM/YY):08/28/2020 4: 0.38769; Date (DD/MM/YY):08/28/2020 5: 0.39005; Date (DD/MM/YY):08/28/2020 6: 0.38705; Initial: 7: 0.38494 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/28/2020 1: 0.36592; Date (DD/MM/YY):08/28/2020 2: 0.37335; Date (DD/MM/YY):08/28/2020 3: 0.35799; Date (DD/MM/YY):08/28/2020 4: 0.33818; Date (DD/MM/YY):08/28/2020 5: 0.35174; Date (DD/MM/YY):08/28/2020 6: 0.34877; Initial: 7: 0.38967 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/28/2020 1: 0.37706; Date (DD/MM/YY):08/28/2020 2: 0.3508; Date (DD/MM/YY):08/28/2020 3: 0.37059; Date (DD/MM/YY):08/28/2020 4: 0.35483; Date (DD/MM/YY):08/28/2020 5: 0.33755; Date (DD/MM/YY):08/28/2020 6: 0.36025; Initial: 7: 0.3801 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/28/2020 1: 0; Date (DD/MM/YY):08/28/2020 2: 0; Date (DD/MM/YY):08/28/2020 3: 0; Date (DD/MM/YY):08/28/2020 4: 0; Date (DD/MM/YY):08/28/2020 5: 0; Date (DD/MM/YY):08/28/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/28/2020 1: 0; Date (DD/MM/YY):08/28/2020 2: 0; Date (DD/MM/YY):08/28/2020 3: 0; Date (DD/MM/YY):08/28/2020 4: 0; Date (DD/MM/YY):08/28/2020 5: 0; Date (DD/MM/YY):08/28/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/28/2020 1: 0; Date (DD/MM/YY):08/28/2020 2: 0; Date (DD/MM/YY):08/28/2020 3: 0; Date (DD/MM/YY):08/28/2020 4: 0; Date (DD/MM/YY):08/28/2020 5: 0; Date (DD/MM/YY):08/28/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/28/2020 1: 0; Date (DD/MM/YY):08/28/2020 2: 0; Date (DD/MM/YY):08/28/2020 3: 0; Date (DD/MM/YY):08/28/2020 4: 0; Date (DD/MM/YY):08/28/2020 5: 0; Date (DD/MM/YY):08/28/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass