## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2028.8752 | 2023.8338 | 1929.8143 | 1977.7856 | 1974.9961 | 2061.2196 | 1991.0547 | -- | -- | --
Post Opto-pack Burn-in |  | 1879.5977 | 1850.794 | 1820.8712 | 1828.9244 | 1797.8191 | 1887.9694 | 1839.134 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1277.0063 | 968.9396 | 1310.998 | 1009.0244 | 1212.7338 | 1050.2486 | 1202.8777 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1368.0485 | 1067.855 | 1321.7668 | 978.4528 | 1189.774 | 1079.3764 | 1263.9279 | -- | -- | --
Change (%) |  | 7.1293 | 10.2086 | 0.82142 | -3.0298 | -1.8932 | 2.7734 | 5.0753 | -- | -- | --
Opto-board at 0C |  | 1098.3167 | 1053.57 | 1303.4389 | 987.2989 | 1210.7697 | 1046.0398 | 1320.5061 | -- | -- | --
Change (%) |  | -13.9929 | 8.7343 | -0.57659 | -2.1531 | -0.16196 | -0.40074 | 9.7789 | -- | -- | --
Opto-board at 50C |  | 988.182 | 937.2208 | 1124.0493 | 882.7941 | 1060.1137 | 931.2685 | 1160.68 | -- | -- | --
Change (%) |  | -22.6173 | -3.2736 | -14.26 | -12.5101 | -12.5848 | -11.3288 | -3.5081 | -- | -- | --
Opto-board QA (10C) |  | 1090.0955 | 1044.6429 | 1281.1914 | 989.6471 | 1199.1011 | 1049.9499 | 1313.2646 | -- | -- | --
Change (%) |  | -14.6366 | 7.813 | -2.2736 | -1.9204 | -1.1241 | -0.028445 | 9.1769 | -- | -- | --
Reception Test |  | 1384.32 | 1122.215 | 1330.503 | 1072.431 | 996.3512 | 923.1259 | 1218.048
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2264.1882 | 2182.1594 | 2110.0241 | 2015.7514 | 2043.1522 | 2084.4168 | 2046.867 | -- | -- | --
Post Opto-pack Burn-in |  | 2110.3646 | 2022.3816 | 1942.2579 | 1880.5269 | 1869.144 | 1909.1358 | 1838.4269 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 940.3564 | 1180.7395 | 1260.5204 | 1090.5626 | 980.4965 | 1266.0876 | 1126.7379 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 976.6423 | 1158.1326 | 1184.0783 | 1114.0752 | 1038.7215 | 1239.1299 | 1198.3271 | -- | -- | --
Change (%) |  | 3.8587 | -1.9146 | -6.0643 | 2.156 | 5.9383 | -2.1292 | 6.3537 | -- | -- | --
Opto-board at 0C |  | 1082.8681 | 1300.1094 | 1390.144 | 1199.4097 | 1123.3899 | 1361.0545 | 1186.3374 | -- | -- | --
Change (%) |  | 15.1551 | 10.1098 | 10.2833 | 9.9808 | 14.5736 | 7.5008 | 5.2896 | -- | -- | --
Opto-board at 50C |  | 921.0869 | 1144.2378 | 1228.8165 | 1073.7363 | 963.2454 | 1185.947 | 1065.3488 | -- | -- | --
Change (%) |  | -2.0492 | -3.0914 | -2.5151 | -1.5429 | -1.7594 | -6.3298 | -5.4484 | -- | -- | --
Opto-board QA (10C) |  | 1068.79 | 1283.9718 | 1392.0562 | 1243.7347 | 1114.3015 | 1354.1813 | 1178.1058 | -- | -- | --
Change (%) |  | 13.658 | 8.743 | 10.435 | 14.0452 | 13.6466 | 6.9579 | 4.559 | -- | -- | --
Reception Test |  | 893.1055 | 1055.328 | 1012.329 | 1027.837 | 868.5583 | 833.0675 | 950.6749

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 360.2295 |  |  |  | 2020-08-31 |  |  |  | Pass
QA | mA | 342 | 378 | 339.1113 |  |  |  | 2020-08-31 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.70108 |  | 2020-08-31 |  |  |  | Pass
QA | uA | 1 | 0.60194 |  | 2020-08-31 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.48708 | 0.45413 | 0.55078 | 0.28466 | 0.59805 | 0.54323 | 0.38595 | 0.48612 | 0.66939 | 0.6735 | 0.47145 | 0.66439 | 0.46411 | 0.30995 |  |  | Pass
Fall | ns | 1 | 0.60601 | 0.61808 | 0.69953 | 0.89081 | 0.62221 | 0.54745 | 0.55936 | 0.60873 | 0.73029 | 0.71901 | 0.5553 | 0.54314 | 0.54456 | 0.75406 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):08/31/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):08/31/2020 1: 0.63433; Date (DD/MM/YY):08/31/2020 2: 0.62012; Date (DD/MM/YY):08/31/2020 3: 0.63204; Date (DD/MM/YY):08/31/2020 4: 0.68829; Date (DD/MM/YY):08/31/2020 5: 0.71352; Date (DD/MM/YY):08/31/2020 6: 0.69648; Initial: 7: 0.7102 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):08/31/2020 1: 0.6228; Date (DD/MM/YY):08/31/2020 2: 0.62451; Date (DD/MM/YY):08/31/2020 3: 0.6563; Date (DD/MM/YY):08/31/2020 4: 0.65292; Date (DD/MM/YY):08/31/2020 5: 0.68267; Date (DD/MM/YY):08/31/2020 6: 0.70085; Initial: 7: 0.68107 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):08/31/2020 1: 0.60167; Date (DD/MM/YY):08/31/2020 2: 0.68845; Date (DD/MM/YY):08/31/2020 3: 0.62426; Date (DD/MM/YY):08/31/2020 4: 0.6213; Date (DD/MM/YY):08/31/2020 5: 0.66264; Date (DD/MM/YY):08/31/2020 6: 0.66409; Initial: 7: 0.77602 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):08/31/2020 1: 0.64778; Date (DD/MM/YY):08/31/2020 2: 0.67053; Date (DD/MM/YY):08/31/2020 3: 0.70779; Date (DD/MM/YY):08/31/2020 4: 0.67191; Date (DD/MM/YY):08/31/2020 5: 0.65267; Date (DD/MM/YY):08/31/2020 6: 0.75131; Initial: 7: 0.83341 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):08/31/2020 1: 0.13741; Date (DD/MM/YY):08/31/2020 2: 0.07121; Date (DD/MM/YY):08/31/2020 3: 0.09545; Date (DD/MM/YY):08/31/2020 4: 0.13693; Date (DD/MM/YY):08/31/2020 5: 0.08023; Date (DD/MM/YY):08/31/2020 6: 0.09934; Initial: 7: 0.11465 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):08/31/2020 1: 0.12236; Date (DD/MM/YY):08/31/2020 2: 0.06573; Date (DD/MM/YY):08/31/2020 3: 0.07495; Date (DD/MM/YY):08/31/2020 4: 0.10901; Date (DD/MM/YY):08/31/2020 5: 0.08481; Date (DD/MM/YY):08/31/2020 6: 0.09703; Initial: 7: 0.10998 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/31/2020 1: 12.175; Date (DD/MM/YY):08/31/2020 2: 12.601; Date (DD/MM/YY):08/31/2020 3: 12.24; Date (DD/MM/YY):08/31/2020 4: 12.725; Date (DD/MM/YY):08/31/2020 5: 12.885; Date (DD/MM/YY):08/31/2020 6: 12.856; Initial: 7: 12.4
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/31/2020 1: 12.223; Date (DD/MM/YY):08/31/2020 2: 12.592; Date (DD/MM/YY):08/31/2020 3: 12.206; Date (DD/MM/YY):08/31/2020 4: 12.712; Date (DD/MM/YY):08/31/2020 5: 12.896; Date (DD/MM/YY):08/31/2020 6: 12.803; Initial: 7: 12.311
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/31/2020 1: 11.631; Date (DD/MM/YY):08/31/2020 2: 12.186; Date (DD/MM/YY):08/31/2020 3: 11.702; Date (DD/MM/YY):08/31/2020 4: 12.233; Date (DD/MM/YY):08/31/2020 5: 12.445; Date (DD/MM/YY):08/31/2020 6: 12.343; Initial: 7: 11.845
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/31/2020 1: 11.658; Date (DD/MM/YY):08/31/2020 2: 12.213; Date (DD/MM/YY):08/31/2020 3: 11.808; Date (DD/MM/YY):08/31/2020 4: 12.254; Date (DD/MM/YY):08/31/2020 5: 12.477; Date (DD/MM/YY):08/31/2020 6: 12.364; Initial: 7: 11.841
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):08/31/2020 1: 11.89; Date (DD/MM/YY):08/31/2020 2: 12.3947; Date (DD/MM/YY):08/31/2020 3: 11.995; Date (DD/MM/YY):08/31/2020 4: 12.5016; Date (DD/MM/YY):08/31/2020 5: 12.6856; Date (DD/MM/YY):08/31/2020 6: 12.5851; Initial: 7: 12.1046
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):08/31/2020 1: 11.9217; Date (DD/MM/YY):08/31/2020 2: 12.3977; Date (DD/MM/YY):08/31/2020 3: 11.9931; Date (DD/MM/YY):08/31/2020 4: 12.4839; Date (DD/MM/YY):08/31/2020 5: 12.6784; Date (DD/MM/YY):08/31/2020 6: 12.5916; Initial: 7: 12.0976
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):08/31/2020 1: 47.6307; Date (DD/MM/YY):08/31/2020 2: 49.6913; Date (DD/MM/YY):08/31/2020 3: 48.0547; Date (DD/MM/YY):08/31/2020 4: 50.0085; Date (DD/MM/YY):08/31/2020 5: 50.7568; Date (DD/MM/YY):08/31/2020 6: 50.4053; Initial: 7: 48.4938 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):08/31/2020 1: 47.6018; Date (DD/MM/YY):08/31/2020 2: 49.6244; Date (DD/MM/YY):08/31/2020 3: 47.9701; Date (DD/MM/YY):08/31/2020 4: 49.8844; Date (DD/MM/YY):08/31/2020 5: 50.8033; Date (DD/MM/YY):08/31/2020 6: 50.3622; Initial: 7: 48.4928 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):08/31/2020 1: 47.7019; Date (DD/MM/YY):08/31/2020 2: 49.6123; Date (DD/MM/YY):08/31/2020 3: 47.9761; Date (DD/MM/YY):08/31/2020 4: 49.9663; Date (DD/MM/YY):08/31/2020 5: 50.7204; Date (DD/MM/YY):08/31/2020 6: 50.3702; Initial: 7: 48.4094 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/31/2020 1: 1.1728; Date (DD/MM/YY):08/31/2020 2: 1.179; Date (DD/MM/YY):08/31/2020 3: 1.1807; Date (DD/MM/YY):08/31/2020 4: 1.2211; Date (DD/MM/YY):08/31/2020 5: 1.1847; Date (DD/MM/YY):08/31/2020 6: 1.1911; Initial: 7: 1.203 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/31/2020 1: 1.1693; Date (DD/MM/YY):08/31/2020 2: 1.1761; Date (DD/MM/YY):08/31/2020 3: 1.1776; Date (DD/MM/YY):08/31/2020 4: 1.2186; Date (DD/MM/YY):08/31/2020 5: 1.182; Date (DD/MM/YY):08/31/2020 6: 1.1886; Initial: 7: 1.199 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/31/2020 1: 1.093; Date (DD/MM/YY):08/31/2020 2: 1.1254; Date (DD/MM/YY):08/31/2020 3: 1.1188; Date (DD/MM/YY):08/31/2020 4: 1.0975; Date (DD/MM/YY):08/31/2020 5: 1.1051; Date (DD/MM/YY):08/31/2020 6: 1.1207; Initial: 7: 1.1634 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):08/31/2020 1: 1.0894; Date (DD/MM/YY):08/31/2020 2: 1.1064; Date (DD/MM/YY):08/31/2020 3: 1.1217; Date (DD/MM/YY):08/31/2020 4: 1.1102; Date (DD/MM/YY):08/31/2020 5: 1.0981; Date (DD/MM/YY):08/31/2020 6: 1.1245; Initial: 7: 1.1571 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/31/2020 1: 0.45947; Date (DD/MM/YY):08/31/2020 2: 0.4608; Date (DD/MM/YY):08/31/2020 3: 0.46354; Date (DD/MM/YY):08/31/2020 4: 0.47748; Date (DD/MM/YY):08/31/2020 5: 0.45617; Date (DD/MM/YY):08/31/2020 6: 0.46123; Initial: 7: 0.47112 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/31/2020 1: 0.44449; Date (DD/MM/YY):08/31/2020 2: 0.4478; Date (DD/MM/YY):08/31/2020 3: 0.45157; Date (DD/MM/YY):08/31/2020 4: 0.47087; Date (DD/MM/YY):08/31/2020 5: 0.45675; Date (DD/MM/YY):08/31/2020 6: 0.45853; Initial: 7: 0.46516 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/31/2020 1: 0.40327; Date (DD/MM/YY):08/31/2020 2: 0.42934; Date (DD/MM/YY):08/31/2020 3: 0.42424; Date (DD/MM/YY):08/31/2020 4: 0.39297; Date (DD/MM/YY):08/31/2020 5: 0.41057; Date (DD/MM/YY):08/31/2020 6: 0.41785; Initial: 7: 0.46186 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):08/31/2020 1: 0.42128; Date (DD/MM/YY):08/31/2020 2: 0.41341; Date (DD/MM/YY):08/31/2020 3: 0.44327; Date (DD/MM/YY):08/31/2020 4: 0.42026; Date (DD/MM/YY):08/31/2020 5: 0.3981; Date (DD/MM/YY):08/31/2020 6: 0.43056; Initial: 7: 0.45665 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/31/2020 1: 0; Date (DD/MM/YY):08/31/2020 2: 0; Date (DD/MM/YY):08/31/2020 3: 0; Date (DD/MM/YY):08/31/2020 4: 0; Date (DD/MM/YY):08/31/2020 5: 0; Date (DD/MM/YY):08/31/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):08/31/2020 1: 0; Date (DD/MM/YY):08/31/2020 2: 0; Date (DD/MM/YY):08/31/2020 3: 0; Date (DD/MM/YY):08/31/2020 4: 0; Date (DD/MM/YY):08/31/2020 5: 0; Date (DD/MM/YY):08/31/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/31/2020 1: 0; Date (DD/MM/YY):08/31/2020 2: 0; Date (DD/MM/YY):08/31/2020 3: 0; Date (DD/MM/YY):08/31/2020 4: 0; Date (DD/MM/YY):08/31/2020 5: 0; Date (DD/MM/YY):08/31/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):08/31/2020 1: 0; Date (DD/MM/YY):08/31/2020 2: 0; Date (DD/MM/YY):08/31/2020 3: 0; Date (DD/MM/YY):08/31/2020 4: 0; Date (DD/MM/YY):08/31/2020 5: 0; Date (DD/MM/YY):08/31/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass