## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1841.3075 | 1808.6678 | 1792.8456 | 1665.1828 | 1729.5559 | 1758.9469 | 1719.4318 | -- | -- | --
Post Opto-pack Burn-in |  | 1837.6804 | 1822.5606 | 1830.1781 | 1697.6963 | 1779.4172 | 1787.7852 | 1770.8498 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1037.6928 | 909.6316 | 1058.5267 | 891.3445 | 998.1233 | 824.7919 | 1063.9966 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1298.8649 | 1071.4077 | 1331.3857 | 1133.041 | 1310.504 | 1153.7554 | 1338.8868 | -- | -- | --
Change (%) |  | 25.1685 | 17.7848 | 25.7772 | 27.1159 | 31.2968 | 39.8844 | 25.8356 | -- | -- | --
Opto-board at 0C |  | 1357.6898 | 1104.1157 | 1409.3668 | 1174.8519 | 1374.8068 | 1181.3016 | 1361.9653 | -- | -- | --
Change (%) |  | 30.8374 | 21.3805 | 33.1442 | 31.8067 | 37.7392 | 43.2242 | 28.0047 | -- | -- | --
Opto-board at 50C |  | 1230.1262 | 991.4181 | 1282.7612 | 1055.2539 | 1241.4601 | 1109.9891 | 1225.5869 | -- | -- | --
Change (%) |  | 18.5444 | 8.9912 | 21.1836 | 18.389 | 24.3794 | 34.5781 | 15.1871 | -- | -- | --
Opto-board QA (10C) |  | 1369.7701 | 1095.0485 | 1409.6268 | 1151.4414 | 1363.622 | 1202.0293 | 1387.6183 | -- | -- | --
Change (%) |  | 32.0015 | 20.3837 | 33.1687 | 29.1803 | 36.6186 | 45.7373 | 30.4157 | -- | -- | --
Reception Test |  | 1296.905 | 1117.724 | 1321.188 | 1098.573 | 1077.207 | 991.3794 | 1299.994
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1918.5757 | 1993.1795 | 1949.6741 | 1910.044 | 1952.8825 | 1935.6542 | 1988.451 | -- | -- | --
Post Opto-pack Burn-in |  | 1872.0191 | 1916.98 | 1928.8249 | 1864.0017 | 1882.7835 | 1902.2601 | 1938.0172 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 819.2413 | 1107.9149 | 1124.3657 | 1082.2505 | 926.1356 | 807.9387 | 1211.315 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 998.6157 | 1187.048 | 1272.437 | 1319.756 | 1060.0917 | 811.2814 | 1004.1293 | -- | -- | --
Change (%) |  | 21.8952 | 7.1425 | 13.1693 | 21.9455 | 14.464 | 0.41373 | -17.1042 | -- | -- | --
Opto-board at 0C |  | 1047.7269 | 1333.1888 | 1345.6459 | 1309.5886 | 1151.4018 | 824.6992 | 1055.3653 | -- | -- | --
Change (%) |  | 27.8899 | 20.3331 | 19.6804 | 21.0061 | 24.3232 | 2.0745 | -12.8744 | -- | -- | --
Opto-board at 50C |  | 962.2938 | 1204.1953 | 1232.0312 | 1185.5593 | 1016.0475 | 745.7699 | 951.5935 | -- | -- | --
Change (%) |  | 17.4616 | 8.6902 | 9.5757 | 9.5457 | 9.7083 | -7.6947 | -21.4413 | -- | -- | --
Opto-board QA (10C) |  | 1002.9148 | 1268.9869 | 1337.3042 | 1334.9841 | 1149.5123 | 837.6569 | 1029.8792 | -- | -- | --
Change (%) |  | 22.42 | 14.5383 | 18.9386 | 23.3526 | 24.1192 | 3.6783 | -14.9784 | -- | -- | --
Reception Test |  | 989.92 | 1135.765 | 1071.77 | 1164.741 | 995.6866 | 1037.584 | 1145.931

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 345.3369 |  |  |  | 2020-09-08 |  |  |  | Pass
QA | mA | 342 | 378 | 332.666 |  |  |  | 2020-09-08 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.58649 |  | 2020-09-08 |  |  |  | Pass
QA | uA | 1 | 0.515 |  | 2020-09-08 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.40784 | 0.38779 | 0.45239 | 0.35414 | 0.44437 | 0.48396 | 0.36968 | 0.40201 | 0.70492 | 0.61258 | 0.43316 | 0.56262 | 0.28593 | 0.42546 |  |  | Pass
Fall | ns | 1 | 0.65054 | 0.80714 | 0.87792 | 0.81231 | 0.6971 | 0.72371 | 0.5881 | 0.64392 | 0.77244 | 0.69772 | 0.71048 | 0.56752 | 0.68723 | 0.63674 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):09/08/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):09/08/2020 1: 0.6546; Date (DD/MM/YY):09/08/2020 2: 0.64577; Date (DD/MM/YY):09/08/2020 3: 0.6696; Date (DD/MM/YY):09/08/2020 4: 0.68913; Date (DD/MM/YY):09/08/2020 5: 0.68048; Date (DD/MM/YY):09/08/2020 6: 0.71557; Initial: 7: 0.73039 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):09/08/2020 1: 0.63396; Date (DD/MM/YY):09/08/2020 2: 0.6489; Date (DD/MM/YY):09/08/2020 3: 0.67597; Date (DD/MM/YY):09/08/2020 4: 0.66457; Date (DD/MM/YY):09/08/2020 5: 0.68837; Date (DD/MM/YY):09/08/2020 6: 0.6932; Initial: 7: 0.69909 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):09/08/2020 1: 0.6656; Date (DD/MM/YY):09/08/2020 2: 0.69562; Date (DD/MM/YY):09/08/2020 3: 0.6577; Date (DD/MM/YY):09/08/2020 4: 0.60074; Date (DD/MM/YY):09/08/2020 5: 0.67233; Date (DD/MM/YY):09/08/2020 6: 0.63141; Initial: 7: 0.72562 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):09/08/2020 1: 0.73323; Date (DD/MM/YY):09/08/2020 2: 0.66685; Date (DD/MM/YY):09/08/2020 3: 0.71826; Date (DD/MM/YY):09/08/2020 4: 0.66466; Date (DD/MM/YY):09/08/2020 5: 0.6468; Date (DD/MM/YY):09/08/2020 6: 0.71533; Initial: 7: 0.8125 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):09/08/2020 1: 0.18518; Date (DD/MM/YY):09/08/2020 2: 0.12241; Date (DD/MM/YY):09/08/2020 3: 0.08481; Date (DD/MM/YY):09/08/2020 4: 0.15216; Date (DD/MM/YY):09/08/2020 5: 0.11766; Date (DD/MM/YY):09/08/2020 6: 0.07874; Initial: 7: 0.07425 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):09/08/2020 1: 0.18621; Date (DD/MM/YY):09/08/2020 2: 0.07653; Date (DD/MM/YY):09/08/2020 3: 0.06082; Date (DD/MM/YY):09/08/2020 4: 0.11699; Date (DD/MM/YY):09/08/2020 5: 0.11337; Date (DD/MM/YY):09/08/2020 6: 0.06511; Initial: 7: 0.06522 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/08/2020 1: 12.485; Date (DD/MM/YY):09/08/2020 2: 12.802; Date (DD/MM/YY):09/08/2020 3: 12.54; Date (DD/MM/YY):09/08/2020 4: 12.872; Date (DD/MM/YY):09/08/2020 5: 12.069; Date (DD/MM/YY):09/08/2020 6: 12.544; Initial: 7: 12.217
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/08/2020 1: 12.453; Date (DD/MM/YY):09/08/2020 2: 12.686; Date (DD/MM/YY):09/08/2020 3: 12.413; Date (DD/MM/YY):09/08/2020 4: 12.749; Date (DD/MM/YY):09/08/2020 5: 12.027; Date (DD/MM/YY):09/08/2020 6: 12.517; Initial: 7: 12.126
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/08/2020 1: 11.75; Date (DD/MM/YY):09/08/2020 2: 12.166; Date (DD/MM/YY):09/08/2020 3: 12.051; Date (DD/MM/YY):09/08/2020 4: 12.185; Date (DD/MM/YY):09/08/2020 5: 11.567; Date (DD/MM/YY):09/08/2020 6: 12.171; Initial: 7: 11.802
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/08/2020 1: 11.79; Date (DD/MM/YY):09/08/2020 2: 12.195; Date (DD/MM/YY):09/08/2020 3: 12.059; Date (DD/MM/YY):09/08/2020 4: 12.269; Date (DD/MM/YY):09/08/2020 5: 11.575; Date (DD/MM/YY):09/08/2020 6: 12.159; Initial: 7: 11.791
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/08/2020 1: 12.0861; Date (DD/MM/YY):09/08/2020 2: 12.4529; Date (DD/MM/YY):09/08/2020 3: 12.3172; Date (DD/MM/YY):09/08/2020 4: 12.5028; Date (DD/MM/YY):09/08/2020 5: 11.8081; Date (DD/MM/YY):09/08/2020 6: 12.3436; Initial: 7: 11.9949
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/08/2020 1: 12.1154; Date (DD/MM/YY):09/08/2020 2: 12.4363; Date (DD/MM/YY):09/08/2020 3: 12.2639; Date (DD/MM/YY):09/08/2020 4: 12.4912; Date (DD/MM/YY):09/08/2020 5: 11.7989; Date (DD/MM/YY):09/08/2020 6: 12.3286; Initial: 7: 11.9737
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):09/08/2020 1: 48.4974; Date (DD/MM/YY):09/08/2020 2: 49.758; Date (DD/MM/YY):09/08/2020 3: 49.1483; Date (DD/MM/YY):09/08/2020 4: 50.0637; Date (DD/MM/YY):09/08/2020 5: 47.2539; Date (DD/MM/YY):09/08/2020 6: 49.355; Initial: 7: 48.1097 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):09/08/2020 1: 48.2966; Date (DD/MM/YY):09/08/2020 2: 49.9616; Date (DD/MM/YY):09/08/2020 3: 49.8716; Date (DD/MM/YY):09/08/2020 4: 50.0794; Date (DD/MM/YY):09/08/2020 5: 47.2633; Date (DD/MM/YY):09/08/2020 6: 49.4417; Initial: 7: 48.0084 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):09/08/2020 1: 48.4633; Date (DD/MM/YY):09/08/2020 2: 49.7734; Date (DD/MM/YY):09/08/2020 3: 49.1089; Date (DD/MM/YY):09/08/2020 4: 49.9604; Date (DD/MM/YY):09/08/2020 5: 47.2043; Date (DD/MM/YY):09/08/2020 6: 49.3141; Initial: 7: 47.9067 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/08/2020 1: 1.2235; Date (DD/MM/YY):09/08/2020 2: 1.2198; Date (DD/MM/YY):09/08/2020 3: 1.2513; Date (DD/MM/YY):09/08/2020 4: 1.1248; Date (DD/MM/YY):09/08/2020 5: 1.113; Date (DD/MM/YY):09/08/2020 6: 1.0998; Initial: 7: 1.1173 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/08/2020 1: 1.2197; Date (DD/MM/YY):09/08/2020 2: 1.2165; Date (DD/MM/YY):09/08/2020 3: 1.2474; Date (DD/MM/YY):09/08/2020 4: 1.1197; Date (DD/MM/YY):09/08/2020 5: 1.1074; Date (DD/MM/YY):09/08/2020 6: 1.0943; Initial: 7: 1.1123 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/08/2020 1: 1.1426; Date (DD/MM/YY):09/08/2020 2: 1.1885; Date (DD/MM/YY):09/08/2020 3: 1.1666; Date (DD/MM/YY):09/08/2020 4: 1.0187; Date (DD/MM/YY):09/08/2020 5: 1.0289; Date (DD/MM/YY):09/08/2020 6: 1.0531; Initial: 7: 1.0735 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/08/2020 1: 1.1378; Date (DD/MM/YY):09/08/2020 2: 1.1735; Date (DD/MM/YY):09/08/2020 3: 1.1676; Date (DD/MM/YY):09/08/2020 4: 1.0317; Date (DD/MM/YY):09/08/2020 5: 1.0264; Date (DD/MM/YY):09/08/2020 6: 1.0602; Initial: 7: 1.0679 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/08/2020 1: 0.4871; Date (DD/MM/YY):09/08/2020 2: 0.4816; Date (DD/MM/YY):09/08/2020 3: 0.49682; Date (DD/MM/YY):09/08/2020 4: 0.43245; Date (DD/MM/YY):09/08/2020 5: 0.42875; Date (DD/MM/YY):09/08/2020 6: 0.41911; Initial: 7: 0.43273 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/08/2020 1: 0.46895; Date (DD/MM/YY):09/08/2020 2: 0.46869; Date (DD/MM/YY):09/08/2020 3: 0.48984; Date (DD/MM/YY):09/08/2020 4: 0.42193; Date (DD/MM/YY):09/08/2020 5: 0.41041; Date (DD/MM/YY):09/08/2020 6: 0.40541; Initial: 7: 0.4198 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/08/2020 1: 0.43488; Date (DD/MM/YY):09/08/2020 2: 0.46696; Date (DD/MM/YY):09/08/2020 3: 0.44997; Date (DD/MM/YY):09/08/2020 4: 0.35051; Date (DD/MM/YY):09/08/2020 5: 0.37072; Date (DD/MM/YY):09/08/2020 6: 0.3808; Initial: 7: 0.42099 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/08/2020 1: 0.46187; Date (DD/MM/YY):09/08/2020 2: 0.4768; Date (DD/MM/YY):09/08/2020 3: 0.47295; Date (DD/MM/YY):09/08/2020 4: 0.37637; Date (DD/MM/YY):09/08/2020 5: 0.35901; Date (DD/MM/YY):09/08/2020 6: 0.39402; Initial: 7: 0.40504 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):09/08/2020 1: 0; Date (DD/MM/YY):09/08/2020 2: 0; Date (DD/MM/YY):09/08/2020 3: 0; Date (DD/MM/YY):09/08/2020 4: 0; Date (DD/MM/YY):09/08/2020 5: 0; Date (DD/MM/YY):09/08/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):09/08/2020 1: 0; Date (DD/MM/YY):09/08/2020 2: 0; Date (DD/MM/YY):09/08/2020 3: 0; Date (DD/MM/YY):09/08/2020 4: 0; Date (DD/MM/YY):09/08/2020 5: 0; Date (DD/MM/YY):09/08/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):09/08/2020 1: 0; Date (DD/MM/YY):09/08/2020 2: 0; Date (DD/MM/YY):09/08/2020 3: 0; Date (DD/MM/YY):09/08/2020 4: 0; Date (DD/MM/YY):09/08/2020 5: 0; Date (DD/MM/YY):09/08/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):09/08/2020 1: 0; Date (DD/MM/YY):09/08/2020 2: 0; Date (DD/MM/YY):09/08/2020 3: 0; Date (DD/MM/YY):09/08/2020 4: 0; Date (DD/MM/YY):09/08/2020 5: 0; Date (DD/MM/YY):09/08/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass