## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1894.836 | 1928.5128 | 1903.5639 | 1936.675 | 1935.3055 | 1969.0051 | 1918.821 | -- | -- | --
Post Opto-pack Burn-in |  | 1806.2147 | 1810.6621 | 1751.9099 | 1810.4823 | 1820.0088 | 1824.93 | 1762.4108 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1317.0579 | 1210.1365 | 1428.3347 | 1338.8778 | 1389.8037 | 1165.9689 | 1440.2474 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1263.6686 | 1091.1331 | 1342.2745 | 1232.1503 | 1368.6629 | 1123.5293 | 1259.7122 | -- | -- | --
Change (%) |  | -4.0537 | -9.8339 | -6.0252 | -7.9714 | -1.5211 | -3.6399 | -12.535 | -- | -- | --
Opto-board at 0C |  | 1348.5788 | 1185.8281 | 1432.3342 | 1324.8154 | 1481.9524 | 1205.5703 | 1350.7645 | -- | -- | --
Change (%) |  | 2.3933 | -2.0087 | 0.28001 | -1.0503 | 6.6303 | 3.3964 | -6.213 | -- | -- | --
Opto-board at 50C |  | 1192.9762 | 1066.0416 | 1297.7295 | 1203.0933 | 1336.1632 | 1069.1399 | 1226.0997 | -- | -- | --
Change (%) |  | -9.4211 | -11.9073 | -9.1439 | -10.1417 | -3.8596 | -8.3046 | -14.8688 | -- | -- | --
Opto-board QA (10C) |  | 1326.1592 | 1185.6138 | 1444.9828 | 1315.297 | 1459.7667 | 1187.0129 | 1336.5995 | -- | -- | --
Change (%) |  | 0.69103 | -2.0264 | 1.1656 | -1.7612 | 5.034 | 1.8049 | -7.1965 | -- | -- | --
Reception Test |  | 1245.065 | -3.7319 | 1238.23 | -2.5046 | 1071.111 | 851.5278 | -1.9211
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1872.5786 | 1912.4744 | 1849.2247 | 1841.2441 | 1828.8478 | 1879.5962 | 1840.6876 | -- | -- | --
Post Opto-pack Burn-in |  | 1751.1525 | 1747.021 | 1703.0498 | 1674.8703 | 1649.9259 | 1753.1373 | 1720.5076 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 999.0213 | 1238.1593 | 1223.006 | 1200.42 | 1031.9004 | 777.0468 | 892.8134 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 954.3985 | 1222.0128 | 1143.6633 | 1190.868 | 1008.9807 | 713.9296 | 840.871 | -- | -- | --
Change (%) |  | -4.4666 | -1.3041 | -6.4875 | -0.79572 | -2.2211 | -8.1227 | -5.8178 | -- | -- | --
Opto-board at 0C |  | 1076.8926 | 1262.8035 | 1304.6766 | 1262.1959 | 1065.9019 | 799.8166 | 889.338 | -- | -- | --
Change (%) |  | 7.7948 | 1.9904 | 6.6779 | 5.1462 | 3.295 | 2.9303 | -0.38926 | -- | -- | --
Opto-board at 50C |  | 942.5105 | 1170.1956 | 1162.813 | 1125.0417 | 961.5354 | 724.6619 | 859.5571 | -- | -- | --
Change (%) |  | -5.6566 | -5.4891 | -4.9217 | -6.2793 | -6.819 | -6.7415 | -3.7249 | -- | -- | --
Opto-board QA (10C) |  | 1031.9183 | 1258.5055 | 1276.9358 | 1258.9996 | 1067.5552 | 788.3143 | 923.668 | -- | -- | --
Change (%) |  | 3.2929 | 1.6433 | 4.4096 | 4.8799 | 3.4553 | 1.4501 | 3.4559 | -- | -- | --
Reception Test |  | 905.7986 | 1030.679 | 866.4638 | 884.1445 | 766.2425 | 833.8199 | 837.3252

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 338.8672 |  |  |  | 2020-09-11 |  |  |  | Fail
QA | mA | 342 | 378 | 319.7266 |  |  |  | 2020-09-11 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.74156 |  | 2020-09-11 |  |  |  | Pass
QA | uA | 1 | 0.53212 |  | 2020-09-11 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.49805 | 0.60779 | 0.54301 | 0.50814 | 0.59838 | 0.38311 | 0.42514 | 0.47206 | 0.53564 | 0.52018 | 0.43129 | 0.59004 | 0.43493 | 0.37914 |  |  | Pass
Fall | ns | 1 | 0.59579 | 0.66839 | 0.55134 | 0.48865 | 0.68079 | 0.95615 | 0.57149 | 0.58689 | 0.64138 | 0.84399 | 0.73954 | 0.61208 | 0.70732 | 0.69379 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):09/11/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):09/11/2020 1: 0.62147; Date (DD/MM/YY):09/11/2020 2: 0.61552; Date (DD/MM/YY):09/11/2020 3: 0.62563; Date (DD/MM/YY):09/11/2020 4: 0.64119; Date (DD/MM/YY):09/11/2020 5: 0.65414; Date (DD/MM/YY):09/11/2020 6: 0.66426; Initial: 7: 0.65562 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):09/11/2020 1: 0.60576; Date (DD/MM/YY):09/11/2020 2: 0.6005; Date (DD/MM/YY):09/11/2020 3: 0.65167; Date (DD/MM/YY):09/11/2020 4: 0.65546; Date (DD/MM/YY):09/11/2020 5: 0.66319; Date (DD/MM/YY):09/11/2020 6: 0.66562; Initial: 7: 0.675 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):09/11/2020 1: 0.5823; Date (DD/MM/YY):09/11/2020 2: 0.58325; Date (DD/MM/YY):09/11/2020 3: 0.57123; Date (DD/MM/YY):09/11/2020 4: 0.59533; Date (DD/MM/YY):09/11/2020 5: 0.58957; Date (DD/MM/YY):09/11/2020 6: 0.59352; Initial: 7: 0.61691 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):09/11/2020 1: 0.65194; Date (DD/MM/YY):09/11/2020 2: 0.65656; Date (DD/MM/YY):09/11/2020 3: 0.65811; Date (DD/MM/YY):09/11/2020 4: 0.67532; Date (DD/MM/YY):09/11/2020 5: 0.68492; Date (DD/MM/YY):09/11/2020 6: 0.68494; Initial: 7: 0.71614 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):09/11/2020 1: 0.10525; Date (DD/MM/YY):09/11/2020 2: 0.09759; Date (DD/MM/YY):09/11/2020 3: 0.07175; Date (DD/MM/YY):09/11/2020 4: 0.13581; Date (DD/MM/YY):09/11/2020 5: 0.06112; Date (DD/MM/YY):09/11/2020 6: 0.07508; Initial: 7: 0.10237 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):09/11/2020 1: 0.08216; Date (DD/MM/YY):09/11/2020 2: 0.06814; Date (DD/MM/YY):09/11/2020 3: 0.07038; Date (DD/MM/YY):09/11/2020 4: 0.11611; Date (DD/MM/YY):09/11/2020 5: 0.04173; Date (DD/MM/YY):09/11/2020 6: 0.0584; Initial: 7: 0.0824 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/11/2020 1: 12.232; Date (DD/MM/YY):09/11/2020 2: 13.103; Date (DD/MM/YY):09/11/2020 3: 12.364; Date (DD/MM/YY):09/11/2020 4: 12.507; Date (DD/MM/YY):09/11/2020 5: 12.186; Date (DD/MM/YY):09/11/2020 6: 12.813; Initial: 7: 13.089
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/11/2020 1: 12.126; Date (DD/MM/YY):09/11/2020 2: 12.949; Date (DD/MM/YY):09/11/2020 3: 12.354; Date (DD/MM/YY):09/11/2020 4: 12.422; Date (DD/MM/YY):09/11/2020 5: 12.057; Date (DD/MM/YY):09/11/2020 6: 12.729; Initial: 7: 12.972
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/11/2020 1: 11.587; Date (DD/MM/YY):09/11/2020 2: 12.465; Date (DD/MM/YY):09/11/2020 3: 11.911; Date (DD/MM/YY):09/11/2020 4: 11.845; Date (DD/MM/YY):09/11/2020 5: 11.735; Date (DD/MM/YY):09/11/2020 6: 12.353; Initial: 7: 12.507
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/11/2020 1: 11.649; Date (DD/MM/YY):09/11/2020 2: 12.567; Date (DD/MM/YY):09/11/2020 3: 11.892; Date (DD/MM/YY):09/11/2020 4: 11.917; Date (DD/MM/YY):09/11/2020 5: 11.783; Date (DD/MM/YY):09/11/2020 6: 12.356; Initial: 7: 12.538
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/11/2020 1: 11.8897; Date (DD/MM/YY):09/11/2020 2: 12.7466; Date (DD/MM/YY):09/11/2020 3: 12.1231; Date (DD/MM/YY):09/11/2020 4: 12.1504; Date (DD/MM/YY):09/11/2020 5: 11.939; Date (DD/MM/YY):09/11/2020 6: 12.5632; Initial: 7: 12.7896
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/11/2020 1: 11.884; Date (DD/MM/YY):09/11/2020 2: 12.7326; Date (DD/MM/YY):09/11/2020 3: 12.108; Date (DD/MM/YY):09/11/2020 4: 12.1378; Date (DD/MM/YY):09/11/2020 5: 11.9153; Date (DD/MM/YY):09/11/2020 6: 12.556; Initial: 7: 12.779
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):09/11/2020 1: 47.5946; Date (DD/MM/YY):09/11/2020 2: 50.8876; Date (DD/MM/YY):09/11/2020 3: 48.5787; Date (DD/MM/YY):09/11/2020 4: 48.5401; Date (DD/MM/YY):09/11/2020 5: 47.6525; Date (DD/MM/YY):09/11/2020 6: 50.3517; Initial: 7: 51.1337 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):09/11/2020 1: 47.6138; Date (DD/MM/YY):09/11/2020 2: 51.0163; Date (DD/MM/YY):09/11/2020 3: 48.5127; Date (DD/MM/YY):09/11/2020 4: 48.6221; Date (DD/MM/YY):09/11/2020 5: 47.7791; Date (DD/MM/YY):09/11/2020 6: 50.2543; Initial: 7: 51.1755 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):09/11/2020 1: 47.5508; Date (DD/MM/YY):09/11/2020 2: 50.9498; Date (DD/MM/YY):09/11/2020 3: 48.4308; Date (DD/MM/YY):09/11/2020 4: 48.5435; Date (DD/MM/YY):09/11/2020 5: 47.672; Date (DD/MM/YY):09/11/2020 6: 50.2324; Initial: 7: 51.1204 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/11/2020 1: 1.1069; Date (DD/MM/YY):09/11/2020 2: 1.118; Date (DD/MM/YY):09/11/2020 3: 1.1293; Date (DD/MM/YY):09/11/2020 4: 1.1298; Date (DD/MM/YY):09/11/2020 5: 1.1217; Date (DD/MM/YY):09/11/2020 6: 1.1156; Initial: 7: 1.1205 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/11/2020 1: 1.0991; Date (DD/MM/YY):09/11/2020 2: 1.1101; Date (DD/MM/YY):09/11/2020 3: 1.1229; Date (DD/MM/YY):09/11/2020 4: 1.1237; Date (DD/MM/YY):09/11/2020 5: 1.1155; Date (DD/MM/YY):09/11/2020 6: 1.1098; Initial: 7: 1.115 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/11/2020 1: 1.003; Date (DD/MM/YY):09/11/2020 2: 1.0207; Date (DD/MM/YY):09/11/2020 3: 1.0156; Date (DD/MM/YY):09/11/2020 4: 1.015; Date (DD/MM/YY):09/11/2020 5: 1.0021; Date (DD/MM/YY):09/11/2020 6: 1.0151; Initial: 7: 1.021 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/11/2020 1: 1.0263; Date (DD/MM/YY):09/11/2020 2: 1.0435; Date (DD/MM/YY):09/11/2020 3: 1.0384; Date (DD/MM/YY):09/11/2020 4: 1.0363; Date (DD/MM/YY):09/11/2020 5: 1.0246; Date (DD/MM/YY):09/11/2020 6: 1.0384; Initial: 7: 1.0438 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/11/2020 1: 0.4184; Date (DD/MM/YY):09/11/2020 2: 0.42201; Date (DD/MM/YY):09/11/2020 3: 0.43215; Date (DD/MM/YY):09/11/2020 4: 0.4255; Date (DD/MM/YY):09/11/2020 5: 0.42032; Date (DD/MM/YY):09/11/2020 6: 0.41874; Initial: 7: 0.42229 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/11/2020 1: 0.39422; Date (DD/MM/YY):09/11/2020 2: 0.40323; Date (DD/MM/YY):09/11/2020 3: 0.41293; Date (DD/MM/YY):09/11/2020 4: 0.41243; Date (DD/MM/YY):09/11/2020 5: 0.40744; Date (DD/MM/YY):09/11/2020 6: 0.40773; Initial: 7: 0.41289 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/11/2020 1: 0.32864; Date (DD/MM/YY):09/11/2020 2: 0.34245; Date (DD/MM/YY):09/11/2020 3: 0.34304; Date (DD/MM/YY):09/11/2020 4: 0.33721; Date (DD/MM/YY):09/11/2020 5: 0.32505; Date (DD/MM/YY):09/11/2020 6: 0.33561; Initial: 7: 0.34098 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/11/2020 1: 0.36598; Date (DD/MM/YY):09/11/2020 2: 0.37568; Date (DD/MM/YY):09/11/2020 3: 0.37652; Date (DD/MM/YY):09/11/2020 4: 0.36936; Date (DD/MM/YY):09/11/2020 5: 0.36289; Date (DD/MM/YY):09/11/2020 6: 0.37185; Initial: 7: 0.3746 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):09/11/2020 1: 0; Date (DD/MM/YY):09/11/2020 2: 0; Date (DD/MM/YY):09/11/2020 3: 0; Date (DD/MM/YY):09/11/2020 4: 0; Date (DD/MM/YY):09/11/2020 5: 0; Date (DD/MM/YY):09/11/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):09/11/2020 1: 0; Date (DD/MM/YY):09/11/2020 2: 0; Date (DD/MM/YY):09/11/2020 3: 0; Date (DD/MM/YY):09/11/2020 4: 0; Date (DD/MM/YY):09/11/2020 5: 0; Date (DD/MM/YY):09/11/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):09/11/2020 1: 0; Date (DD/MM/YY):09/11/2020 2: 0; Date (DD/MM/YY):09/11/2020 3: 0; Date (DD/MM/YY):09/11/2020 4: 0; Date (DD/MM/YY):09/11/2020 5: 0; Date (DD/MM/YY):09/11/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):09/11/2020 1: 0; Date (DD/MM/YY):09/11/2020 2: 0; Date (DD/MM/YY):09/11/2020 3: 0; Date (DD/MM/YY):09/11/2020 4: 0; Date (DD/MM/YY):09/11/2020 5: 0; Date (DD/MM/YY):09/11/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass