## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1866.7431 | 1831.8639 | 1858.061 | 1841.3707 | 1804.0311 | 1838.8647 | 1796.4448 | -- | -- | --
Post Opto-pack Burn-in |  | 1753.4381 | 1726.8321 | 1787.8518 | 1721.4083 | 1717.7416 | 1715.3208 | 1733.4685 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1526.9589 | 1180.1817 | 1512.3952 | 1352.0261 | 1443.512 | 1246.7094 | 1307.1308 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1401.2233 | 1202.9981 | 1579.7475 | 1379.6311 | 1486.1806 | 1273.5966 | 1349.4516 | -- | -- | --
Change (%) |  | -8.2344 | 1.9333 | 4.4534 | 2.0418 | 2.9559 | 2.1567 | 3.2377 | -- | -- | --
Opto-board at 0C |  | 1506.8896 | 1264.7296 | 1623.2826 | 1424.2563 | 1512.2462 | 1211.062 | 1413.3636 | -- | -- | --
Change (%) |  | -1.3143 | 7.164 | 7.3319 | 5.3424 | 4.7616 | -2.8593 | 8.1272 | -- | -- | --
Opto-board at 50C |  | 1352.0124 | 1130.5921 | 1476.9792 | 1280.961 | 1371.6139 | 1128.0457 | 1274.6671 | -- | -- | --
Change (%) |  | -11.4572 | -4.2019 | -2.3417 | -5.2562 | -4.9808 | -9.5182 | -2.4836 | -- | -- | --
Opto-board QA (10C) |  | 1492.7492 | 1274.8519 | 1618.7931 | 1393.3082 | 1508.8017 | 1227.3788 | 1378.3766 | -- | -- | --
Change (%) |  | -2.2404 | 8.0217 | 7.0351 | 3.0534 | 4.523 | -1.5505 | 5.4505 | -- | -- | --
Reception Test |  | 1312.609 | 1180.425 | 1285.393 | 1151.972 | 1124.027 | 954.5991 | 1003.308
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1838.6266 | 1793.0327 | 1800.8793 | 1758.772 | 1829.139 | 1793.748 | 1734.2207 | -- | -- | --
Post Opto-pack Burn-in |  | 1632.9459 | 1618.6972 | 1611.9383 | 1585.8629 | 1712.4241 | 1605.1813 | 1541.983 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1082.5346 | 1336.4949 | 1208.8169 | 1375.0842 | 1242.1734 | 1018.0132 | 1288.122 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1246.2987 | 1204.1238 | 1350.0985 | 1317.9466 | 1139.8947 | 1249.421 | 1187.9009 | -- | -- | --
Change (%) |  | 15.1278 | -9.9043 | 11.6876 | -4.1552 | -8.2338 | 22.7313 | -7.7804 | -- | -- | --
Opto-board at 0C |  | 1279.394 | 1298.644 | 1402.2916 | 1426.261 | 1213.3774 | 1363.0639 | 1313.2126 | -- | -- | --
Change (%) |  | 18.185 | -2.8321 | 16.0053 | 3.7217 | -2.3182 | 33.8945 | 1.9478 | -- | -- | --
Opto-board at 50C |  | 1133.16 | 1148.0891 | 1285.8409 | 1265.4013 | 1087.9051 | 1219.1863 | 1120.6253 | -- | -- | --
Change (%) |  | 4.6766 | -14.097 | 6.3719 | -7.9765 | -12.4192 | 19.7613 | -13.0032 | -- | -- | --
Opto-board QA (10C) |  | 1289.9931 | 1296.3744 | 1405.4232 | 1390.0093 | 1187.2267 | 1375.5521 | 1282.0659 | -- | -- | --
Change (%) |  | 19.1641 | -3.0019 | 16.2644 | 1.0854 | -4.4234 | 35.1212 | -0.47014 | -- | -- | --
Reception Test |  | 963.8386 | 1090.396 | 1000.179 | 989.5106 | 1128.966 | 1028.263 | 1133.157

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 348.6328 |  |  |  | 2020-09-21 |  |  |  | Pass
QA | mA | 342 | 378 | 328.5278 |  |  |  | 2020-09-21 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.50342 |  | 2020-09-21 |  |  |  | Pass
QA | uA | 1 | 0.50916 |  | 2020-09-21 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.44904 | 0.53854 | 0.54646 | 0.44668 | 0.57618 | 0.52544 | 0.27375 | 0.44404 | 0.62792 | 0.40514 | 0.56653 | 0.66325 | 0.45564 | 0.56227 |  |  | Pass
Fall | ns | 1 | 0.60032 | 0.59961 | 0.48237 | 0.41134 | 0.51196 | 0.46174 | 0.7712 | 0.57597 | 0.70665 | 0.57354 | 0.63602 | 0.57923 | 0.50894 | 0.54284 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):09/21/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):09/21/2020 1: 0.614; Date (DD/MM/YY):09/21/2020 2: 0.64537; Date (DD/MM/YY):09/21/2020 3: 0.64631; Date (DD/MM/YY):09/21/2020 4: 0.70289; Date (DD/MM/YY):09/21/2020 5: 0.67391; Date (DD/MM/YY):09/21/2020 6: 0.68865; Initial: 7: 0.67935 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):09/21/2020 1: 0.6263; Date (DD/MM/YY):09/21/2020 2: 0.6416; Date (DD/MM/YY):09/21/2020 3: 0.65567; Date (DD/MM/YY):09/21/2020 4: 0.63863; Date (DD/MM/YY):09/21/2020 5: 0.6685; Date (DD/MM/YY):09/21/2020 6: 0.67767; Initial: 7: 0.68398 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):09/21/2020 1: 0.67169; Date (DD/MM/YY):09/21/2020 2: 0.69349; Date (DD/MM/YY):09/21/2020 3: 0.643; Date (DD/MM/YY):09/21/2020 4: 0.60595; Date (DD/MM/YY):09/21/2020 5: 0.63185; Date (DD/MM/YY):09/21/2020 6: 0.62701; Initial: 7: 0.731 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):09/21/2020 1: 0.68144; Date (DD/MM/YY):09/21/2020 2: 0.63803; Date (DD/MM/YY):09/21/2020 3: 0.69013; Date (DD/MM/YY):09/21/2020 4: 0.6846; Date (DD/MM/YY):09/21/2020 5: 0.6487; Date (DD/MM/YY):09/21/2020 6: 0.70503; Initial: 7: 0.80038 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):09/21/2020 1: 0.25955; Date (DD/MM/YY):09/21/2020 2: 0.07603; Date (DD/MM/YY):09/21/2020 3: 0.06848; Date (DD/MM/YY):09/21/2020 4: 0.21946; Date (DD/MM/YY):09/21/2020 5: 0.14695; Date (DD/MM/YY):09/21/2020 6: 0.16862; Initial: 7: 0.10134 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):09/21/2020 1: 0.25055; Date (DD/MM/YY):09/21/2020 2: 0.07658; Date (DD/MM/YY):09/21/2020 3: 0.05861; Date (DD/MM/YY):09/21/2020 4: 0.18929; Date (DD/MM/YY):09/21/2020 5: 0.13883; Date (DD/MM/YY):09/21/2020 6: 0.17959; Initial: 7: 0.10277 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/21/2020 1: 12.807; Date (DD/MM/YY):09/21/2020 2: 12.152; Date (DD/MM/YY):09/21/2020 3: 12.617; Date (DD/MM/YY):09/21/2020 4: 13.345; Date (DD/MM/YY):09/21/2020 5: 12.164; Date (DD/MM/YY):09/21/2020 6: 12.784; Initial: 7: 12.324
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/21/2020 1: 12.721; Date (DD/MM/YY):09/21/2020 2: 12.107; Date (DD/MM/YY):09/21/2020 3: 12.636; Date (DD/MM/YY):09/21/2020 4: 13.283; Date (DD/MM/YY):09/21/2020 5: 12.068; Date (DD/MM/YY):09/21/2020 6: 12.725; Initial: 7: 12.197
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/21/2020 1: 11.902; Date (DD/MM/YY):09/21/2020 2: 11.642; Date (DD/MM/YY):09/21/2020 3: 12.202; Date (DD/MM/YY):09/21/2020 4: 12.566; Date (DD/MM/YY):09/21/2020 5: 11.533; Date (DD/MM/YY):09/21/2020 6: 12.033; Initial: 7: 11.733
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/21/2020 1: 11.89; Date (DD/MM/YY):09/21/2020 2: 11.694; Date (DD/MM/YY):09/21/2020 3: 12.26; Date (DD/MM/YY):09/21/2020 4: 12.66; Date (DD/MM/YY):09/21/2020 5: 11.57; Date (DD/MM/YY):09/21/2020 6: 12.111; Initial: 7: 11.772
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/21/2020 1: 12.3473; Date (DD/MM/YY):09/21/2020 2: 11.9083; Date (DD/MM/YY):09/21/2020 3: 12.4275; Date (DD/MM/YY):09/21/2020 4: 12.9601; Date (DD/MM/YY):09/21/2020 5: 11.8396; Date (DD/MM/YY):09/21/2020 6: 12.439; Initial: 7: 11.9943
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/21/2020 1: 12.3549; Date (DD/MM/YY):09/21/2020 2: 11.9112; Date (DD/MM/YY):09/21/2020 3: 12.4319; Date (DD/MM/YY):09/21/2020 4: 12.9719; Date (DD/MM/YY):09/21/2020 5: 11.8205; Date (DD/MM/YY):09/21/2020 6: 12.4325; Initial: 7: 11.9897
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):09/21/2020 1: 49.4088; Date (DD/MM/YY):09/21/2020 2: 47.6422; Date (DD/MM/YY):09/21/2020 3: 49.8113; Date (DD/MM/YY):09/21/2020 4: 51.9709; Date (DD/MM/YY):09/21/2020 5: 47.4682; Date (DD/MM/YY):09/21/2020 6: 49.7389; Initial: 7: 48.0494 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):09/21/2020 1: 49.4159; Date (DD/MM/YY):09/21/2020 2: 47.6811; Date (DD/MM/YY):09/21/2020 3: 49.7108; Date (DD/MM/YY):09/21/2020 4: 51.8734; Date (DD/MM/YY):09/21/2020 5: 47.4108; Date (DD/MM/YY):09/21/2020 6: 49.8746; Initial: 7: 47.9949 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):09/21/2020 1: 49.4295; Date (DD/MM/YY):09/21/2020 2: 47.6417; Date (DD/MM/YY):09/21/2020 3: 49.7156; Date (DD/MM/YY):09/21/2020 4: 51.8894; Date (DD/MM/YY):09/21/2020 5: 47.2933; Date (DD/MM/YY):09/21/2020 6: 49.7452; Initial: 7: 47.9792 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/21/2020 1: 1.1393; Date (DD/MM/YY):09/21/2020 2: 1.1342; Date (DD/MM/YY):09/21/2020 3: 1.159; Date (DD/MM/YY):09/21/2020 4: 1.1638; Date (DD/MM/YY):09/21/2020 5: 1.1317; Date (DD/MM/YY):09/21/2020 6: 1.1256; Initial: 7: 1.1425 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/21/2020 1: 1.1335; Date (DD/MM/YY):09/21/2020 2: 1.1284; Date (DD/MM/YY):09/21/2020 3: 1.1529; Date (DD/MM/YY):09/21/2020 4: 1.1571; Date (DD/MM/YY):09/21/2020 5: 1.1264; Date (DD/MM/YY):09/21/2020 6: 1.1206; Initial: 7: 1.136 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/21/2020 1: 1.0799; Date (DD/MM/YY):09/21/2020 2: 1.0921; Date (DD/MM/YY):09/21/2020 3: 1.0897; Date (DD/MM/YY):09/21/2020 4: 1.0591; Date (DD/MM/YY):09/21/2020 5: 1.0619; Date (DD/MM/YY):09/21/2020 6: 1.0851; Initial: 7: 1.0976 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/21/2020 1: 1.0726; Date (DD/MM/YY):09/21/2020 2: 1.0722; Date (DD/MM/YY):09/21/2020 3: 1.089; Date (DD/MM/YY):09/21/2020 4: 1.0694; Date (DD/MM/YY):09/21/2020 5: 1.0556; Date (DD/MM/YY):09/21/2020 6: 1.0854; Initial: 7: 1.0905 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/21/2020 1: 0.43989; Date (DD/MM/YY):09/21/2020 2: 0.43575; Date (DD/MM/YY):09/21/2020 3: 0.44517; Date (DD/MM/YY):09/21/2020 4: 0.44453; Date (DD/MM/YY):09/21/2020 5: 0.43155; Date (DD/MM/YY):09/21/2020 6: 0.42734; Initial: 7: 0.43867 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/21/2020 1: 0.42229; Date (DD/MM/YY):09/21/2020 2: 0.4196; Date (DD/MM/YY):09/21/2020 3: 0.43635; Date (DD/MM/YY):09/21/2020 4: 0.44083; Date (DD/MM/YY):09/21/2020 5: 0.42051; Date (DD/MM/YY):09/21/2020 6: 0.42054; Initial: 7: 0.42958 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/21/2020 1: 0.39704; Date (DD/MM/YY):09/21/2020 2: 0.41407; Date (DD/MM/YY):09/21/2020 3: 0.4021; Date (DD/MM/YY):09/21/2020 4: 0.37145; Date (DD/MM/YY):09/21/2020 5: 0.38444; Date (DD/MM/YY):09/21/2020 6: 0.39549; Initial: 7: 0.42574 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/21/2020 1: 0.41385; Date (DD/MM/YY):09/21/2020 2: 0.39492; Date (DD/MM/YY):09/21/2020 3: 0.41644; Date (DD/MM/YY):09/21/2020 4: 0.39285; Date (DD/MM/YY):09/21/2020 5: 0.37052; Date (DD/MM/YY):09/21/2020 6: 0.40183; Initial: 7: 0.41031 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):09/21/2020 1: 0; Date (DD/MM/YY):09/21/2020 2: 0; Date (DD/MM/YY):09/21/2020 3: 0; Date (DD/MM/YY):09/21/2020 4: 0; Date (DD/MM/YY):09/21/2020 5: 0; Date (DD/MM/YY):09/21/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):09/21/2020 1: 0; Date (DD/MM/YY):09/21/2020 2: 0; Date (DD/MM/YY):09/21/2020 3: 0; Date (DD/MM/YY):09/21/2020 4: 0; Date (DD/MM/YY):09/21/2020 5: 0; Date (DD/MM/YY):09/21/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):09/21/2020 1: 0; Date (DD/MM/YY):09/21/2020 2: 0; Date (DD/MM/YY):09/21/2020 3: 0; Date (DD/MM/YY):09/21/2020 4: 0; Date (DD/MM/YY):09/21/2020 5: 0; Date (DD/MM/YY):09/21/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):09/21/2020 1: 0; Date (DD/MM/YY):09/21/2020 2: 0; Date (DD/MM/YY):09/21/2020 3: 0; Date (DD/MM/YY):09/21/2020 4: 0; Date (DD/MM/YY):09/21/2020 5: 0; Date (DD/MM/YY):09/21/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass