## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2010.2492 | 2030.6489 | 1967.1806 | 1915.1644 | 1936.4809 | 1948.3242 | 1963.0188 | -- | -- | --
Post Opto-pack Burn-in |  | 1978.4994 | 2005.988 | 1945.6571 | 1887.8299 | 1922.1913 | 1891.5734 | 1962.1423 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1725.3891 | 1421.7495 | 1712.4025 | 1465.7087 | 1619.5853 | 1389.3608 | 1557.5681 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1492.1495 | 1293.4728 | 1593.036 | 1350.4038 | 1524.6211 | 1140.4788 | 1620.6493 | -- | -- | --
Change (%) |  | -13.5181 | -9.0225 | -6.9707 | -7.8668 | -5.8635 | -17.9134 | 4.05 | -- | -- | --
Opto-board at 0C |  | 1568.2292 | 1369.0276 | 1681.496 | 1438.5339 | 1600.7666 | 1228.196 | 1665.637 | -- | -- | --
Change (%) |  | -9.1087 | -3.7082 | -1.8049 | -1.854 | -1.1619 | -11.5999 | 6.9383 | -- | -- | --
Opto-board at 50C |  | 1436.3519 | 1255.2502 | 1548.3111 | 1305.94 | 1474.0573 | 1110.7623 | 1540.9106 | -- | -- | --
Change (%) |  | -16.752 | -11.7109 | -9.5825 | -10.9004 | -8.9855 | -20.0523 | -1.0695 | -- | -- | --
Opto-board QA (10C) |  | 1575.8024 | 1375.0285 | 1684.5956 | 1445.4082 | 1599.9636 | 1233.8809 | 1689.4437 | -- | -- | --
Change (%) |  | -8.6697 | -3.2862 | -1.6238 | -1.385 | -1.2115 | -11.1907 | 8.4668 | -- | -- | --
Reception Test |  | 1374.07 | 1293.293 | 1448.515 | 1273.77 | 1207.8 | 1054.863 | 1433.537
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1838.4451 | 1813.4465 | 1735.6786 | 1797.702 | 1833.4435 | 1806.7353 | 1748.0126 | -- | -- | --
Post Opto-pack Burn-in |  | 1812.5459 | 1769.0864 | 1686.8348 | 1775.5129 | 1794.6498 | 1785.2127 | 1728.9191 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1317.9601 | 1254.1003 | 1134.287 | 1406.7253 | 1072.9025 | 961.4124 | 1234.1263 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1290.8313 | 1246.7285 | 1319.0136 | 1421.7698 | 1166.0926 | 1222.961 | 1173.4908 | -- | -- | --
Change (%) |  | -2.0584 | -0.58782 | 16.2857 | 1.0695 | 8.6858 | 27.2046 | -4.9132 | -- | -- | --
Opto-board at 0C |  | 1351.5511 | 1307.4276 | 1383.7515 | 1441.2779 | 1177.8926 | 1287.3833 | 1241.5386 | -- | -- | --
Change (%) |  | 2.5487 | 4.2522 | 21.9931 | 2.4562 | 9.7856 | 33.9054 | 0.60061 | -- | -- | --
Opto-board at 50C |  | 1246.6592 | 1164.6466 | 1243.5784 | 1318.4518 | 1073.5449 | 1139.4588 | 1125.7395 | -- | -- | --
Change (%) |  | -5.4099 | -7.1329 | 9.6353 | -6.2751 | 0.059878 | 18.5193 | -8.7825 | -- | -- | --
Opto-board QA (10C) |  | 1360.0413 | 1259.3097 | 1386.7075 | 1477.1256 | 1166.9524 | 1256.6322 | 1267.4298 | -- | -- | --
Change (%) |  | 3.1929 | 0.41539 | 22.2537 | 5.0045 | 8.7659 | 30.7069 | 2.6985 | -- | -- | --
Reception Test |  | 947.2996 | 1124.255 | 935.8523 | 1055.06 | 931.9143 | 948.5072 | 996.5053

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 342 | 378 | 352.2949 |  |  |  | 2020-09-22 |  |  |  | Pass
QA | mA | 342 | 378 | 328.3081 |  |  |  | 2020-09-22 |  |  |  | Fail
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.6098 |  | 2020-09-22 |  |  |  | Pass
QA | uA | 1 | 0.63996 |  | 2020-09-22 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.47989 | 0.60147 | 0.5214 | 0.48344 | 0.53466 | 0.51701 | 0.28062 | 0.46754 | 0.71452 | 0.80132 | 0.58094 | 0.49549 | 0.48607 | 0.50512 |  |  | Pass
Fall | ns | 1 | 0.62616 | 0.6087 | 0.50695 | 0.41582 | 0.48644 | 0.53911 | 0.75853 | 0.59252 | 0.7119 | 0.77998 | 0.51875 | 0.529 | 0.37267 | 0.46887 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):09/22/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):09/22/2020 1: 0.59655; Date (DD/MM/YY):09/22/2020 2: 0.61971; Date (DD/MM/YY):09/22/2020 3: 0.63324; Date (DD/MM/YY):09/22/2020 4: 0.64629; Date (DD/MM/YY):09/22/2020 5: 0.70426; Date (DD/MM/YY):09/22/2020 6: 0.67945; Initial: 7: 0.69169 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):09/22/2020 1: 0.62645; Date (DD/MM/YY):09/22/2020 2: 0.63448; Date (DD/MM/YY):09/22/2020 3: 0.64562; Date (DD/MM/YY):09/22/2020 4: 0.64242; Date (DD/MM/YY):09/22/2020 5: 0.68021; Date (DD/MM/YY):09/22/2020 6: 0.67453; Initial: 7: 0.67482 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):09/22/2020 1: 0.6278; Date (DD/MM/YY):09/22/2020 2: 0.69966; Date (DD/MM/YY):09/22/2020 3: 0.61786; Date (DD/MM/YY):09/22/2020 4: 0.59113; Date (DD/MM/YY):09/22/2020 5: 0.6469; Date (DD/MM/YY):09/22/2020 6: 0.63027; Initial: 7: 0.7336 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):09/22/2020 1: 0.6597; Date (DD/MM/YY):09/22/2020 2: 0.65791; Date (DD/MM/YY):09/22/2020 3: 0.70429; Date (DD/MM/YY):09/22/2020 4: 0.65314; Date (DD/MM/YY):09/22/2020 5: 0.64948; Date (DD/MM/YY):09/22/2020 6: 0.70562; Initial: 7: 0.80288 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):09/22/2020 1: 0.1268; Date (DD/MM/YY):09/22/2020 2: 0.10803; Date (DD/MM/YY):09/22/2020 3: 0.15214; Date (DD/MM/YY):09/22/2020 4: 0.21758; Date (DD/MM/YY):09/22/2020 5: 0.20215; Date (DD/MM/YY):09/22/2020 6: 0.18699; Initial: 7: 0.1162 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):09/22/2020 1: 0.12361; Date (DD/MM/YY):09/22/2020 2: 0.10921; Date (DD/MM/YY):09/22/2020 3: 0.1273; Date (DD/MM/YY):09/22/2020 4: 0.20847; Date (DD/MM/YY):09/22/2020 5: 0.2035; Date (DD/MM/YY):09/22/2020 6: 0.17733; Initial: 7: 0.09365 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/22/2020 1: 13.016; Date (DD/MM/YY):09/22/2020 2: 13.121; Date (DD/MM/YY):09/22/2020 3: 12.704; Date (DD/MM/YY):09/22/2020 4: 12.429; Date (DD/MM/YY):09/22/2020 5: 12.699; Date (DD/MM/YY):09/22/2020 6: 12.208; Initial: 7: 12.454
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/22/2020 1: 12.974; Date (DD/MM/YY):09/22/2020 2: 13.002; Date (DD/MM/YY):09/22/2020 3: 12.671; Date (DD/MM/YY):09/22/2020 4: 12.327; Date (DD/MM/YY):09/22/2020 5: 12.685; Date (DD/MM/YY):09/22/2020 6: 12.135; Initial: 7: 12.305
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/22/2020 1: 12.425; Date (DD/MM/YY):09/22/2020 2: 12.463; Date (DD/MM/YY):09/22/2020 3: 12.088; Date (DD/MM/YY):09/22/2020 4: 11.638; Date (DD/MM/YY):09/22/2020 5: 11.999; Date (DD/MM/YY):09/22/2020 6: 11.444; Initial: 7: 11.831
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/22/2020 1: 12.426; Date (DD/MM/YY):09/22/2020 2: 12.499; Date (DD/MM/YY):09/22/2020 3: 12.081; Date (DD/MM/YY):09/22/2020 4: 11.663; Date (DD/MM/YY):09/22/2020 5: 12.002; Date (DD/MM/YY):09/22/2020 6: 11.53; Initial: 7: 11.87
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/22/2020 1: 12.7054; Date (DD/MM/YY):09/22/2020 2: 12.785; Date (DD/MM/YY):09/22/2020 3: 12.3795; Date (DD/MM/YY):09/22/2020 4: 11.9872; Date (DD/MM/YY):09/22/2020 5: 12.3568; Date (DD/MM/YY):09/22/2020 6: 11.8428; Initial: 7: 12.134
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/22/2020 1: 12.7023; Date (DD/MM/YY):09/22/2020 2: 12.7624; Date (DD/MM/YY):09/22/2020 3: 12.3937; Date (DD/MM/YY):09/22/2020 4: 11.9801; Date (DD/MM/YY):09/22/2020 5: 12.3612; Date (DD/MM/YY):09/22/2020 6: 11.8192; Initial: 7: 12.1147
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):09/22/2020 1: 50.8054; Date (DD/MM/YY):09/22/2020 2: 51.0266; Date (DD/MM/YY):09/22/2020 3: 49.5558; Date (DD/MM/YY):09/22/2020 4: 47.8867; Date (DD/MM/YY):09/22/2020 5: 49.5048; Date (DD/MM/YY):09/22/2020 6: 47.3416; Initial: 7: 48.6186 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):09/22/2020 1: 50.8465; Date (DD/MM/YY):09/22/2020 2: 51.1888; Date (DD/MM/YY):09/22/2020 3: 49.5283; Date (DD/MM/YY):09/22/2020 4: 47.9661; Date (DD/MM/YY):09/22/2020 5: 49.4102; Date (DD/MM/YY):09/22/2020 6: 47.4026; Initial: 7: 48.5397 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):09/22/2020 1: 50.8086; Date (DD/MM/YY):09/22/2020 2: 51.0573; Date (DD/MM/YY):09/22/2020 3: 49.5845; Date (DD/MM/YY):09/22/2020 4: 47.9412; Date (DD/MM/YY):09/22/2020 5: 49.4431; Date (DD/MM/YY):09/22/2020 6: 47.2891; Initial: 7: 48.4815 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/22/2020 1: 1.1559; Date (DD/MM/YY):09/22/2020 2: 1.1568; Date (DD/MM/YY):09/22/2020 3: 1.1511; Date (DD/MM/YY):09/22/2020 4: 1.1824; Date (DD/MM/YY):09/22/2020 5: 1.1561; Date (DD/MM/YY):09/22/2020 6: 1.162; Initial: 7: 1.1866 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/22/2020 1: 1.1506; Date (DD/MM/YY):09/22/2020 2: 1.1519; Date (DD/MM/YY):09/22/2020 3: 1.1468; Date (DD/MM/YY):09/22/2020 4: 1.1802; Date (DD/MM/YY):09/22/2020 5: 1.1525; Date (DD/MM/YY):09/22/2020 6: 1.1583; Initial: 7: 1.1835 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/22/2020 1: 1.0817; Date (DD/MM/YY):09/22/2020 2: 1.1172; Date (DD/MM/YY):09/22/2020 3: 1.0905; Date (DD/MM/YY):09/22/2020 4: 1.0833; Date (DD/MM/YY):09/22/2020 5: 1.1002; Date (DD/MM/YY):09/22/2020 6: 1.0925; Initial: 7: 1.1233 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/22/2020 1: 1.0787; Date (DD/MM/YY):09/22/2020 2: 1.0972; Date (DD/MM/YY):09/22/2020 3: 1.091; Date (DD/MM/YY):09/22/2020 4: 1.0942; Date (DD/MM/YY):09/22/2020 5: 1.096; Date (DD/MM/YY):09/22/2020 6: 1.0965; Initial: 7: 1.1176 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/22/2020 1: 0.43793; Date (DD/MM/YY):09/22/2020 2: 0.43776; Date (DD/MM/YY):09/22/2020 3: 0.43537; Date (DD/MM/YY):09/22/2020 4: 0.45844; Date (DD/MM/YY):09/22/2020 5: 0.44629; Date (DD/MM/YY):09/22/2020 6: 0.44986; Initial: 7: 0.46068 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/22/2020 1: 0.41987; Date (DD/MM/YY):09/22/2020 2: 0.42249; Date (DD/MM/YY):09/22/2020 3: 0.42087; Date (DD/MM/YY):09/22/2020 4: 0.45009; Date (DD/MM/YY):09/22/2020 5: 0.43991; Date (DD/MM/YY):09/22/2020 6: 0.44234; Initial: 7: 0.45557 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/22/2020 1: 0.38669; Date (DD/MM/YY):09/22/2020 2: 0.41188; Date (DD/MM/YY):09/22/2020 3: 0.39771; Date (DD/MM/YY):09/22/2020 4: 0.38317; Date (DD/MM/YY):09/22/2020 5: 0.40859; Date (DD/MM/YY):09/22/2020 6: 0.40183; Initial: 7: 0.43998 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/22/2020 1: 0.40674; Date (DD/MM/YY):09/22/2020 2: 0.39184; Date (DD/MM/YY):09/22/2020 3: 0.41044; Date (DD/MM/YY):09/22/2020 4: 0.40819; Date (DD/MM/YY):09/22/2020 5: 0.39802; Date (DD/MM/YY):09/22/2020 6: 0.41123; Initial: 7: 0.43024 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):09/22/2020 1: 0; Date (DD/MM/YY):09/22/2020 2: 0; Date (DD/MM/YY):09/22/2020 3: 0; Date (DD/MM/YY):09/22/2020 4: 0; Date (DD/MM/YY):09/22/2020 5: 0; Date (DD/MM/YY):09/22/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):09/22/2020 1: 0; Date (DD/MM/YY):09/22/2020 2: 0; Date (DD/MM/YY):09/22/2020 3: 0; Date (DD/MM/YY):09/22/2020 4: 0; Date (DD/MM/YY):09/22/2020 5: 0; Date (DD/MM/YY):09/22/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):09/22/2020 1: 0; Date (DD/MM/YY):09/22/2020 2: 0; Date (DD/MM/YY):09/22/2020 3: 0; Date (DD/MM/YY):09/22/2020 4: 0; Date (DD/MM/YY):09/22/2020 5: 0; Date (DD/MM/YY):09/22/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):09/22/2020 1: 0; Date (DD/MM/YY):09/22/2020 2: 0; Date (DD/MM/YY):09/22/2020 3: 0; Date (DD/MM/YY):09/22/2020 4: 0; Date (DD/MM/YY):09/22/2020 5: 0; Date (DD/MM/YY):09/22/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass