## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1699.625 | 1727.1389 | 1730.3801 | 1681.6254 | 1719.2524 | 1750.1224 | 1628.7641 | -- | -- | --
Post Opto-pack Burn-in |  | 1656.6817 | 1711.8275 | 1689.1604 | 1644.4169 | 1683.8786 | 1727.4169 | 1603.0152 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1422.7531 | 1261.96 | 1482.8385 | 1293.2489 | 1483.7327 | 1170.0371 | 1324.8756 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1523.1192 | 1363.9582 | 1555.6202 | 1380.9845 | 1607.5878 | 1272.3928 | 1499.2565 | -- | -- | --
Change (%) |  | 7.0544 | 8.0825 | 4.9083 | 6.7841 | 8.3475 | 8.7481 | 13.1621 | -- | -- | --
Opto-board at 0C |  | 1607.0622 | 1358.1222 | 1631.6516 | 1500.1344 | 1688.7066 | 1519.377 | 1689.2796 | -- | -- | --
Change (%) |  | 12.9544 | 7.6201 | 10.0357 | 15.9973 | 13.8147 | 29.8572 | 27.5048 | -- | -- | --
Opto-board at 50C |  | 1415.5088 | 1196.7665 | 1437.5436 | 1303.6814 | 1504.0898 | 1318.8479 | 1474.4856 | -- | -- | --
Change (%) |  | -0.50918 | -5.1661 | -3.0546 | 0.80669 | 1.372 | 12.7185 | 11.2924 | -- | -- | --
Opto-board QA (10C) |  | 1622.2762 | 1360.8918 | 1604.5747 | 1485.9285 | 1676.6026 | 1498.8865 | 1661.7085 | -- | -- | --
Change (%) |  | 14.0237 | 7.8395 | 8.2097 | 14.8989 | 12.999 | 28.1059 | 25.4237 | -- | -- | --
Reception Test |  | 1382.615 | 1248.005 | 1313.196 | 1161.712 | 1104.595 | 1025.229 | 1251.613
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1718.2254 | 1726.7984 | 1715.0606 | 1742.8775 | 1788.1042 | 1803.0233 | 1754.0471 | -- | -- | --
Post Opto-pack Burn-in |  | 1732.33 | 1721.1433 | 1657.5905 | 1735.1138 | 1784.5024 | 1803.7334 | 1749.5448 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1191.96 | 1180.7127 | 1245.0749 | 1289.4742 | 1049.246 | 1158.379 | 1109.9826 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1062.3818 | 1123.7933 | 1084.08 | 1115.2784 | 972.9102 | 1097.3745 | 1064.5859 | -- | -- | --
Change (%) |  | -10.871 | -4.8208 | -12.9305 | -13.5091 | -7.2753 | -5.2664 | -4.0899 | -- | -- | --
Opto-board at 0C |  | 1161.0188 | 1198.5838 | 1220.0407 | 1220.617 | 1130.8724 | 1240.3318 | 1151.8567 | -- | -- | --
Change (%) |  | -2.5958 | 1.5136 | -2.0107 | -5.3399 | 7.7795 | 7.0748 | 3.7725 | -- | -- | --
Opto-board at 50C |  | 1048.4569 | 1057.2861 | 1073.1887 | 1105.9468 | 1001.3944 | 1090.0505 | 1005.09 | -- | -- | --
Change (%) |  | -12.0393 | -10.4536 | -13.8053 | -14.2327 | -4.5606 | -5.8986 | -9.4499 | -- | -- | --
Opto-board QA (10C) |  | 1166.6158 | 1223.8803 | 1225.3154 | 1210.6884 | 1126.2809 | 1252.8858 | 1152.5066 | -- | -- | --
Change (%) |  | -2.1263 | 3.6561 | -1.587 | -6.1099 | 7.3419 | 8.1585 | 3.8311 | -- | -- | --
Reception Test |  | 895.2541 | 1104.135 | 978.7864 | 1079.807 | 948.683 | 940.1365 | 934.5144

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 353.5156 |  |  |  | 2020-09-28 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 333.6548 |  |  |  | 2020-09-28 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.74357 |  | 2020-09-28 |  |  |  | Pass
QA | uA | 1 | 0.5969 |  | 2020-09-28 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.46337 | 0.5372 | 0.4575 | 0.46635 | 0.44035 | 0.49357 | 0.38055 | 0.47439 | 0.63158 | 0.52589 | 0.4757 | 0.56761 | 0.43806 | 0.35992 |  |  | Pass
Fall | ns | 1 | 0.60698 | 0.60152 | 0.88547 | 0.66357 | 0.89709 | 0.60168 | 0.55806 | 0.62447 | 0.64859 | 0.81673 | 0.69571 | 0.58573 | 0.65847 | 0.66961 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):09/28/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):09/28/2020 1: 0.63677; Date (DD/MM/YY):09/28/2020 2: 0.63; Date (DD/MM/YY):09/28/2020 3: 0.64386; Date (DD/MM/YY):09/28/2020 4: 0.67817; Date (DD/MM/YY):09/28/2020 5: 0.66447; Date (DD/MM/YY):09/28/2020 6: 0.69514; Initial: 7: 0.67809 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):09/28/2020 1: 0.63379; Date (DD/MM/YY):09/28/2020 2: 0.64268; Date (DD/MM/YY):09/28/2020 3: 0.65384; Date (DD/MM/YY):09/28/2020 4: 0.6567; Date (DD/MM/YY):09/28/2020 5: 0.68258; Date (DD/MM/YY):09/28/2020 6: 0.69224; Initial: 7: 0.68277 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):09/28/2020 1: 0.66657; Date (DD/MM/YY):09/28/2020 2: 0.67103; Date (DD/MM/YY):09/28/2020 3: 0.63836; Date (DD/MM/YY):09/28/2020 4: 0.61281; Date (DD/MM/YY):09/28/2020 5: 0.65352; Date (DD/MM/YY):09/28/2020 6: 0.63851; Initial: 7: 0.76695 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):09/28/2020 1: 0.746; Date (DD/MM/YY):09/28/2020 2: 0.64991; Date (DD/MM/YY):09/28/2020 3: 0.70387; Date (DD/MM/YY):09/28/2020 4: 0.68115; Date (DD/MM/YY):09/28/2020 5: 0.64686; Date (DD/MM/YY):09/28/2020 6: 0.7301; Initial: 7: 0.81008 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):09/28/2020 1: 0.23759; Date (DD/MM/YY):09/28/2020 2: 0.08246; Date (DD/MM/YY):09/28/2020 3: 0.07374; Date (DD/MM/YY):09/28/2020 4: 0.11528; Date (DD/MM/YY):09/28/2020 5: 0.06769; Date (DD/MM/YY):09/28/2020 6: 0.13813; Initial: 7: 0.14482 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):09/28/2020 1: 0.20523; Date (DD/MM/YY):09/28/2020 2: 0.06041; Date (DD/MM/YY):09/28/2020 3: 0.06175; Date (DD/MM/YY):09/28/2020 4: 0.11245; Date (DD/MM/YY):09/28/2020 5: 0.05459; Date (DD/MM/YY):09/28/2020 6: 0.14394; Initial: 7: 0.10195 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/28/2020 1: 12.292; Date (DD/MM/YY):09/28/2020 2: 12.385; Date (DD/MM/YY):09/28/2020 3: 12.412; Date (DD/MM/YY):09/28/2020 4: 12.938; Date (DD/MM/YY):09/28/2020 5: 12.132; Date (DD/MM/YY):09/28/2020 6: 12.539; Initial: 7: 12.892
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/28/2020 1: 12.183; Date (DD/MM/YY):09/28/2020 2: 12.276; Date (DD/MM/YY):09/28/2020 3: 12.43; Date (DD/MM/YY):09/28/2020 4: 12.904; Date (DD/MM/YY):09/28/2020 5: 12.062; Date (DD/MM/YY):09/28/2020 6: 12.494; Initial: 7: 12.705
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/28/2020 1: 11.358; Date (DD/MM/YY):09/28/2020 2: 11.814; Date (DD/MM/YY):09/28/2020 3: 12.001; Date (DD/MM/YY):09/28/2020 4: 12.416; Date (DD/MM/YY):09/28/2020 5: 11.693; Date (DD/MM/YY):09/28/2020 6: 11.895; Initial: 7: 12.205
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/28/2020 1: 11.392; Date (DD/MM/YY):09/28/2020 2: 11.899; Date (DD/MM/YY):09/28/2020 3: 12.031; Date (DD/MM/YY):09/28/2020 4: 12.449; Date (DD/MM/YY):09/28/2020 5: 11.716; Date (DD/MM/YY):09/28/2020 6: 11.982; Initial: 7: 12.266
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):09/28/2020 1: 11.7903; Date (DD/MM/YY):09/28/2020 2: 12.0995; Date (DD/MM/YY):09/28/2020 3: 12.2078; Date (DD/MM/YY):09/28/2020 4: 12.6892; Date (DD/MM/YY):09/28/2020 5: 11.8956; Date (DD/MM/YY):09/28/2020 6: 12.2243; Initial: 7: 12.5016
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):09/28/2020 1: 11.7925; Date (DD/MM/YY):09/28/2020 2: 12.1006; Date (DD/MM/YY):09/28/2020 3: 12.2038; Date (DD/MM/YY):09/28/2020 4: 12.6866; Date (DD/MM/YY):09/28/2020 5: 11.8826; Date (DD/MM/YY):09/28/2020 6: 12.2253; Initial: 7: 12.5055
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):09/28/2020 1: 47.277; Date (DD/MM/YY):09/28/2020 2: 48.4663; Date (DD/MM/YY):09/28/2020 3: 49.046; Date (DD/MM/YY):09/28/2020 4: 50.9348; Date (DD/MM/YY):09/28/2020 5: 47.62; Date (DD/MM/YY):09/28/2020 6: 49.0355; Initial: 7: 50.0554 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):09/28/2020 1: 47.2149; Date (DD/MM/YY):09/28/2020 2: 48.4609; Date (DD/MM/YY):09/28/2020 3: 48.8406; Date (DD/MM/YY):09/28/2020 4: 50.7949; Date (DD/MM/YY):09/28/2020 5: 47.6636; Date (DD/MM/YY):09/28/2020 6: 48.9434; Initial: 7: 50.0488 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):09/28/2020 1: 47.1865; Date (DD/MM/YY):09/28/2020 2: 48.4276; Date (DD/MM/YY):09/28/2020 3: 48.8328; Date (DD/MM/YY):09/28/2020 4: 50.7482; Date (DD/MM/YY):09/28/2020 5: 47.5564; Date (DD/MM/YY):09/28/2020 6: 48.9213; Initial: 7: 50.0126 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/28/2020 1: 1.1717; Date (DD/MM/YY):09/28/2020 2: 1.1686; Date (DD/MM/YY):09/28/2020 3: 1.1648; Date (DD/MM/YY):09/28/2020 4: 1.1743; Date (DD/MM/YY):09/28/2020 5: 1.1739; Date (DD/MM/YY):09/28/2020 6: 1.1526; Initial: 7: 1.1421 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/28/2020 1: 1.1685; Date (DD/MM/YY):09/28/2020 2: 1.1658; Date (DD/MM/YY):09/28/2020 3: 1.1613; Date (DD/MM/YY):09/28/2020 4: 1.1713; Date (DD/MM/YY):09/28/2020 5: 1.171; Date (DD/MM/YY):09/28/2020 6: 1.1493; Initial: 7: 1.1388 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/28/2020 1: 1.1045; Date (DD/MM/YY):09/28/2020 2: 1.1125; Date (DD/MM/YY):09/28/2020 3: 1.0985; Date (DD/MM/YY):09/28/2020 4: 1.0683; Date (DD/MM/YY):09/28/2020 5: 1.0821; Date (DD/MM/YY):09/28/2020 6: 1.098; Initial: 7: 1.1084 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):09/28/2020 1: 1.0978; Date (DD/MM/YY):09/28/2020 2: 1.0927; Date (DD/MM/YY):09/28/2020 3: 1.0987; Date (DD/MM/YY):09/28/2020 4: 1.0796; Date (DD/MM/YY):09/28/2020 5: 1.0754; Date (DD/MM/YY):09/28/2020 6: 1.1046; Initial: 7: 1.1026 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/28/2020 1: 0.45561; Date (DD/MM/YY):09/28/2020 2: 0.45522; Date (DD/MM/YY):09/28/2020 3: 0.45005; Date (DD/MM/YY):09/28/2020 4: 0.46598; Date (DD/MM/YY):09/28/2020 5: 0.46685; Date (DD/MM/YY):09/28/2020 6: 0.45952; Initial: 7: 0.45392 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/28/2020 1: 0.44009; Date (DD/MM/YY):09/28/2020 2: 0.43977; Date (DD/MM/YY):09/28/2020 3: 0.44096; Date (DD/MM/YY):09/28/2020 4: 0.45773; Date (DD/MM/YY):09/28/2020 5: 0.46039; Date (DD/MM/YY):09/28/2020 6: 0.44996; Initial: 7: 0.44586 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/28/2020 1: 0.41926; Date (DD/MM/YY):09/28/2020 2: 0.42339; Date (DD/MM/YY):09/28/2020 3: 0.40907; Date (DD/MM/YY):09/28/2020 4: 0.3875; Date (DD/MM/YY):09/28/2020 5: 0.40977; Date (DD/MM/YY):09/28/2020 6: 0.41581; Initial: 7: 0.44708 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):09/28/2020 1: 0.42958; Date (DD/MM/YY):09/28/2020 2: 0.4036; Date (DD/MM/YY):09/28/2020 3: 0.42334; Date (DD/MM/YY):09/28/2020 4: 0.41094; Date (DD/MM/YY):09/28/2020 5: 0.39598; Date (DD/MM/YY):09/28/2020 6: 0.42837; Initial: 7: 0.43185 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):09/28/2020 1: 0; Date (DD/MM/YY):09/28/2020 2: 0; Date (DD/MM/YY):09/28/2020 3: 0; Date (DD/MM/YY):09/28/2020 4: 0; Date (DD/MM/YY):09/28/2020 5: 0; Date (DD/MM/YY):09/28/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):09/28/2020 1: 0; Date (DD/MM/YY):09/28/2020 2: 0; Date (DD/MM/YY):09/28/2020 3: 0; Date (DD/MM/YY):09/28/2020 4: 0; Date (DD/MM/YY):09/28/2020 5: 0; Date (DD/MM/YY):09/28/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):09/28/2020 1: 0; Date (DD/MM/YY):09/28/2020 2: 0; Date (DD/MM/YY):09/28/2020 3: 0; Date (DD/MM/YY):09/28/2020 4: 0; Date (DD/MM/YY):09/28/2020 5: 0; Date (DD/MM/YY):09/28/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):09/28/2020 1: 0; Date (DD/MM/YY):09/28/2020 2: 0; Date (DD/MM/YY):09/28/2020 3: 0; Date (DD/MM/YY):09/28/2020 4: 0; Date (DD/MM/YY):09/28/2020 5: 0; Date (DD/MM/YY):09/28/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass