## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1804.5017 | 1738.2136 | 1817.1443 | 1764.3468 | 1842.0886 | 1735.7277 | 1817.364 | -- | -- | --
Post Opto-pack Burn-in |  | 1772.9933 | 1697.8317 | 1768.2358 | 1729.6718 | 1794.9873 | 1709.9839 | 1747.8947 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1475.1752 | 1159.3188 | 1432.0543 | 1325.1829 | 1577.6617 | 1254.6438 | 1530.8484 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1333.2101 | 1005.6867 | 1261.6336 | 1157.545 | 1458.3541 | 1080.7295 | 1420.2666 | -- | -- | --
Change (%) |  | -9.6236 | -13.2519 | -11.9004 | -12.6502 | -7.5623 | -13.8616 | -7.2236 | -- | -- | --
Opto-board at 0C |  | 1419.1648 | 1133.9799 | 1345.9641 | 1209.3044 | 1446.8307 | 1207.477 | 1525.8635 | -- | -- | --
Change (%) |  | -3.7969 | -2.1857 | -6.0117 | -8.7443 | -8.2927 | -3.7594 | -0.32563 | -- | -- | --
Opto-board at 50C |  | 1283.6606 | 1018.3231 | 1159.6152 | 1099.8074 | 1350.2699 | 1088.989 | 1369.9658 | -- | -- | --
Change (%) |  | -12.9825 | -12.1619 | -19.0244 | -17.0071 | -14.4132 | -13.2033 | -10.5094 | -- | -- | --
Opto-board QA (10C) |  | 1419.0391 | 1126.8251 | 1365.3618 | 1229.8379 | 1481.5654 | 1185.3434 | 1526.3353 | -- | -- | --
Change (%) |  | -3.8054 | -2.8028 | -4.6571 | -7.1949 | -6.0911 | -5.5235 | -0.29481 | -- | -- | --
Reception Test |  | 1311.892 | 1095.373 | 1322.891 | 1175.062 | 1176.487 | 968.1002 | 1295.895
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1545.5874 | 1562.4069 | 1564.3612 | 1453.7167 | 1484.3217 | 1565.4835 | 1473.0888 | -- | -- | --
Post Opto-pack Burn-in |  | 1421.3505 | 1444.8277 | 1448.0559 | 1362.9994 | 1377.0988 | 1450.5255 | 1359.5412 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1225.506 | 1301.9591 | 1246.3405 | 1276.7535 | 1140.3766 | 1318.0969 | 1198.3553 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1101.7861 | 1122.0777 | 1186.4431 | 1205.7287 | 1046.185 | 1173.1771 | 1204.4302 | -- | -- | --
Change (%) |  | -10.0954 | -13.8162 | -4.8059 | -5.5629 | -8.2597 | -10.9946 | 0.50693 | -- | -- | --
Opto-board at 0C |  | 1216.6012 | 1271.9356 | 1246.8208 | 1243.1837 | 1097.5132 | 1211.2051 | 1254.2158 | -- | -- | --
Change (%) |  | -0.72662 | -2.306 | 0.038542 | -2.6293 | -3.7587 | -8.1096 | 4.6614 | -- | -- | --
Opto-board at 50C |  | 1053.3058 | 1102.7323 | 1092.9759 | 1125.0325 | 963.5383 | 1087.5623 | 1123.1777 | -- | -- | --
Change (%) |  | -14.0513 | -15.3021 | -12.3052 | -11.8833 | -15.507 | -17.49 | -6.2734 | -- | -- | --
Opto-board QA (10C) |  | 1197.3137 | 1287.4746 | 1230.7472 | 1226.7615 | 1067.1773 | 1230.745 | 1246.1442 | -- | -- | --
Change (%) |  | -2.3005 | -1.1125 | -1.2511 | -3.9156 | -6.4189 | -6.6271 | 3.9879 | -- | -- | --
Reception Test |  | 921.6876 | 1030.026 | 901.4865 | 1048.629 | 880.4819 | 1000.894 | 1036.666

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 352.2949 |  |  |  | 2020-10-12 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 333.728 |  |  |  | 2020-10-12 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.44543 |  | 2020-10-12 |  |  |  | Pass
QA | uA | 1 | 0.53467 |  | 2020-10-12 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.46401 | 0.33316 | 0.54792 | 0.45632 | 0.56186 | 0.5142 | 0.36959 | 0.46009 | 0.77697 | 0.547 | 0.40813 | 0.58211 | 0.4594 | 0.40302 |  |  | Pass
Fall | ns | 1 | 0.66818 | 0.80382 | 0.69086 | 0.61497 | 0.78236 | 0.83777 | 0.75419 | 0.67823 | 0.74303 | 0.87318 | 0.83308 | 0.68808 | 0.65532 | 0.84737 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):10/12/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):10/12/2020 1: 0.53191; Date (DD/MM/YY):10/12/2020 2: 0.53567; Date (DD/MM/YY):10/12/2020 3: 0.54712; Date (DD/MM/YY):10/12/2020 4: 0.57998; Date (DD/MM/YY):10/12/2020 5: 0.59341; Date (DD/MM/YY):10/12/2020 6: 0.59307; Initial: 7: 0.60609 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):10/12/2020 1: 0.50812; Date (DD/MM/YY):10/12/2020 2: 0.52957; Date (DD/MM/YY):10/12/2020 3: 0.53826; Date (DD/MM/YY):10/12/2020 4: 0.5635; Date (DD/MM/YY):10/12/2020 5: 0.58048; Date (DD/MM/YY):10/12/2020 6: 0.57707; Initial: 7: 0.59853 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):10/12/2020 1: 0.66737; Date (DD/MM/YY):10/12/2020 2: 0.68884; Date (DD/MM/YY):10/12/2020 3: 0.66052; Date (DD/MM/YY):10/12/2020 4: 0.65161; Date (DD/MM/YY):10/12/2020 5: 0.67645; Date (DD/MM/YY):10/12/2020 6: 0.67665; Initial: 7: 0.69958 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):10/12/2020 1: 0.65561; Date (DD/MM/YY):10/12/2020 2: 0.63954; Date (DD/MM/YY):10/12/2020 3: 0.66096; Date (DD/MM/YY):10/12/2020 4: 0.65308; Date (DD/MM/YY):10/12/2020 5: 0.64405; Date (DD/MM/YY):10/12/2020 6: 0.66525; Initial: 7: 0.67622 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):10/12/2020 1: 0.14065; Date (DD/MM/YY):10/12/2020 2: 0.11245; Date (DD/MM/YY):10/12/2020 3: 0.1096; Date (DD/MM/YY):10/12/2020 4: 0.06985; Date (DD/MM/YY):10/12/2020 5: 0.11273; Date (DD/MM/YY):10/12/2020 6: 0.11498; Initial: 7: 0.0501 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):10/12/2020 1: 0.1451; Date (DD/MM/YY):10/12/2020 2: 0.09818; Date (DD/MM/YY):10/12/2020 3: 0.12387; Date (DD/MM/YY):10/12/2020 4: 0.04735; Date (DD/MM/YY):10/12/2020 5: 0.10801; Date (DD/MM/YY):10/12/2020 6: 0.11607; Initial: 7: 0.04582 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/12/2020 1: 12.1; Date (DD/MM/YY):10/12/2020 2: 12.409; Date (DD/MM/YY):10/12/2020 3: 12.631; Date (DD/MM/YY):10/12/2020 4: 12.497; Date (DD/MM/YY):10/12/2020 5: 12.392; Date (DD/MM/YY):10/12/2020 6: 13.341; Initial: 7: 12.779
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/12/2020 1: 12.119; Date (DD/MM/YY):10/12/2020 2: 12.378; Date (DD/MM/YY):10/12/2020 3: 12.68; Date (DD/MM/YY):10/12/2020 4: 12.439; Date (DD/MM/YY):10/12/2020 5: 12.403; Date (DD/MM/YY):10/12/2020 6: 13.312; Initial: 7: 12.708
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/12/2020 1: 11.579; Date (DD/MM/YY):10/12/2020 2: 11.829; Date (DD/MM/YY):10/12/2020 3: 12.134; Date (DD/MM/YY):10/12/2020 4: 12.033; Date (DD/MM/YY):10/12/2020 5: 11.93; Date (DD/MM/YY):10/12/2020 6: 12.837; Initial: 7: 12.435
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/12/2020 1: 11.557; Date (DD/MM/YY):10/12/2020 2: 11.867; Date (DD/MM/YY):10/12/2020 3: 12.143; Date (DD/MM/YY):10/12/2020 4: 12.108; Date (DD/MM/YY):10/12/2020 5: 11.934; Date (DD/MM/YY):10/12/2020 6: 12.826; Initial: 7: 12.445
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/12/2020 1: 11.8387; Date (DD/MM/YY):10/12/2020 2: 12.123; Date (DD/MM/YY):10/12/2020 3: 12.3725; Date (DD/MM/YY):10/12/2020 4: 12.2801; Date (DD/MM/YY):10/12/2020 5: 12.1619; Date (DD/MM/YY):10/12/2020 6: 13.0777; Initial: 7: 12.5941
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/12/2020 1: 11.8292; Date (DD/MM/YY):10/12/2020 2: 12.1045; Date (DD/MM/YY):10/12/2020 3: 12.3779; Date (DD/MM/YY):10/12/2020 4: 12.2774; Date (DD/MM/YY):10/12/2020 5: 12.1517; Date (DD/MM/YY):10/12/2020 6: 13.0785; Initial: 7: 12.5769
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):10/12/2020 1: 47.5099; Date (DD/MM/YY):10/12/2020 2: 48.5006; Date (DD/MM/YY):10/12/2020 3: 49.6274; Date (DD/MM/YY):10/12/2020 4: 49.0678; Date (DD/MM/YY):10/12/2020 5: 48.8893; Date (DD/MM/YY):10/12/2020 6: 52.3038; Initial: 7: 50.396 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):10/12/2020 1: 47.386; Date (DD/MM/YY):10/12/2020 2: 48.5275; Date (DD/MM/YY):10/12/2020 3: 49.5499; Date (DD/MM/YY):10/12/2020 4: 49.1756; Date (DD/MM/YY):10/12/2020 5: 48.6656; Date (DD/MM/YY):10/12/2020 6: 52.3747; Initial: 7: 50.3943 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):10/12/2020 1: 47.3272; Date (DD/MM/YY):10/12/2020 2: 48.4278; Date (DD/MM/YY):10/12/2020 3: 49.5303; Date (DD/MM/YY):10/12/2020 4: 49.1081; Date (DD/MM/YY):10/12/2020 5: 48.6123; Date (DD/MM/YY):10/12/2020 6: 52.34; Initial: 7: 50.3154 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/12/2020 1: 1.0702; Date (DD/MM/YY):10/12/2020 2: 1.0665; Date (DD/MM/YY):10/12/2020 3: 1.0712; Date (DD/MM/YY):10/12/2020 4: 1.11; Date (DD/MM/YY):10/12/2020 5: 1.1058; Date (DD/MM/YY):10/12/2020 6: 1.1184; Initial: 7: 1.1178 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/12/2020 1: 1.0613; Date (DD/MM/YY):10/12/2020 2: 1.0553; Date (DD/MM/YY):10/12/2020 3: 1.0581; Date (DD/MM/YY):10/12/2020 4: 1.1008; Date (DD/MM/YY):10/12/2020 5: 1.0968; Date (DD/MM/YY):10/12/2020 6: 1.1115; Initial: 7: 1.1109 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/12/2020 1: 1.0977; Date (DD/MM/YY):10/12/2020 2: 1.1005; Date (DD/MM/YY):10/12/2020 3: 1.0917; Date (DD/MM/YY):10/12/2020 4: 1.1201; Date (DD/MM/YY):10/12/2020 5: 1.1434; Date (DD/MM/YY):10/12/2020 6: 1.146; Initial: 7: 1.152 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/12/2020 1: 1.0843; Date (DD/MM/YY):10/12/2020 2: 1.0785; Date (DD/MM/YY):10/12/2020 3: 1.0827; Date (DD/MM/YY):10/12/2020 4: 1.1198; Date (DD/MM/YY):10/12/2020 5: 1.1279; Date (DD/MM/YY):10/12/2020 6: 1.1404; Initial: 7: 1.1422 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/12/2020 1: 0.36759; Date (DD/MM/YY):10/12/2020 2: 0.36471; Date (DD/MM/YY):10/12/2020 3: 0.36856; Date (DD/MM/YY):10/12/2020 4: 0.37601; Date (DD/MM/YY):10/12/2020 5: 0.3718; Date (DD/MM/YY):10/12/2020 6: 0.37254; Initial: 7: 0.37728 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/12/2020 1: 0.32421; Date (DD/MM/YY):10/12/2020 2: 0.32544; Date (DD/MM/YY):10/12/2020 3: 0.32857; Date (DD/MM/YY):10/12/2020 4: 0.34158; Date (DD/MM/YY):10/12/2020 5: 0.34442; Date (DD/MM/YY):10/12/2020 6: 0.35256; Initial: 7: 0.35274 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/12/2020 1: 0.4028; Date (DD/MM/YY):10/12/2020 2: 0.40286; Date (DD/MM/YY):10/12/2020 3: 0.40025; Date (DD/MM/YY):10/12/2020 4: 0.3946; Date (DD/MM/YY):10/12/2020 5: 0.41124; Date (DD/MM/YY):10/12/2020 6: 0.40651; Initial: 7: 0.41246 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/12/2020 1: 0.38309; Date (DD/MM/YY):10/12/2020 2: 0.37362; Date (DD/MM/YY):10/12/2020 3: 0.37994; Date (DD/MM/YY):10/12/2020 4: 0.39492; Date (DD/MM/YY):10/12/2020 5: 0.39382; Date (DD/MM/YY):10/12/2020 6: 0.39733; Initial: 7: 0.3977 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/12/2020 1: 0; Date (DD/MM/YY):10/12/2020 2: 0; Date (DD/MM/YY):10/12/2020 3: 0; Date (DD/MM/YY):10/12/2020 4: 0; Date (DD/MM/YY):10/12/2020 5: 0; Date (DD/MM/YY):10/12/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/12/2020 1: 0; Date (DD/MM/YY):10/12/2020 2: 0; Date (DD/MM/YY):10/12/2020 3: 0; Date (DD/MM/YY):10/12/2020 4: 0; Date (DD/MM/YY):10/12/2020 5: 0; Date (DD/MM/YY):10/12/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/12/2020 1: 0; Date (DD/MM/YY):10/12/2020 2: 0; Date (DD/MM/YY):10/12/2020 3: 0; Date (DD/MM/YY):10/12/2020 4: 0; Date (DD/MM/YY):10/12/2020 5: 0; Date (DD/MM/YY):10/12/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/12/2020 1: 0; Date (DD/MM/YY):10/12/2020 2: 0; Date (DD/MM/YY):10/12/2020 3: 0; Date (DD/MM/YY):10/12/2020 4: 0; Date (DD/MM/YY):10/12/2020 5: 0; Date (DD/MM/YY):10/12/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass