## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1871.957 | 1954.1362 | 1908.5955 | 1962.9079 | 1949.8777 | 1980.5228 | 2010.0581 | -- | -- | --
Post Opto-pack Burn-in |  | 1800.1335 | 1853.7108 | 1799.9423 | 1869.2218 | 1841.8775 | 1840.9019 | 1909.9963 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1242.1001 | 1076.1062 | 1221.6282 | 1177.1643 | 1311.8875 | 1071.1257 | 1324.4961 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1281.1652 | 1114.1392 | 1312.8778 | 1242.6097 | 1354.8658 | 1124.4168 | 1473.2548 | -- | -- | --
Change (%) |  | 3.1451 | 3.5343 | 7.4695 | 5.5596 | 3.2761 | 4.9752 | 11.2313 | -- | -- | --
Opto-board at 0C |  | 1415.4992 | 1220.7782 | 1440.0934 | 1340.7421 | 1473.1381 | 1366.7879 | 1563.7737 | -- | -- | --
Change (%) |  | 13.9601 | 13.444 | 17.8831 | 13.8959 | 12.2915 | 27.6029 | 18.0656 | -- | -- | --
Opto-board at 50C |  | 1250.3987 | 1090.1192 | 1277.5618 | 1182.2013 | 1310.5136 | 1185.0974 | 1356.6008 | -- | -- | --
Change (%) |  | 0.66811 | 1.3022 | 4.5786 | 0.42789 | -0.10473 | 10.6404 | 2.4239 | -- | -- | --
Opto-board QA (10C) |  | 1387.7987 | 1230.6945 | 1418.8558 | 1347.3207 | 1454.242 | 1358.6602 | 1518.4578 | -- | -- | --
Change (%) |  | 11.73 | 14.3655 | 16.1446 | 14.4548 | 10.8511 | 26.8441 | 14.6442 | -- | -- | --
Reception Test |  | 1173.722 | 1131.033 | 1275.958 | 1210.398 | 1039.633 | 971.4006 | 1111.628
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1859.7797 | 1884.5164 | 1843.7834 | 1838.0367 | 1846.9522 | 1875.539 | 1955.9064 | -- | -- | --
Post Opto-pack Burn-in |  | 1808.6648 | 1828.5183 | 1789.1521 | 1777.9154 | 1818.3334 | 1843.4333 | 1876.8282 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1322.043 | 1346.1185 | 1354.1446 | 1422.5964 | 993.1562 | 1309.665 | 1334.7618 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1285.3605 | 1341.6507 | 1247.4767 | 1294.8105 | 1135.3883 | 1197.853 | 1304.1521 | -- | -- | --
Change (%) |  | -2.7747 | -0.3319 | -7.8771 | -8.9826 | 14.3212 | -8.5374 | -2.2933 | -- | -- | --
Opto-board at 0C |  | 1484.6985 | 1454.1671 | 1499.6201 | 1486.8796 | 1257.5728 | 1474.134 | 1472.9673 | -- | -- | --
Change (%) |  | 12.3033 | 8.0267 | 10.743 | 4.5187 | 26.6239 | 12.5581 | 10.3543 | -- | -- | --
Opto-board at 50C |  | 1314.9228 | 1290.1999 | 1314.8935 | 1295.481 | 1104.8351 | 1290.4162 | 1278.7036 | -- | -- | --
Change (%) |  | -0.53857 | -4.1541 | -2.8986 | -8.9354 | 11.2448 | -1.4697 | -4.1999 | -- | -- | --
Opto-board QA (10C) |  | 1473.3873 | 1424.3581 | 1463.3991 | 1445.8059 | 1216.2022 | 1431.6552 | 1458.7173 | -- | -- | --
Change (%) |  | 11.4478 | 5.8122 | 8.0682 | 1.6315 | 22.4583 | 9.3146 | 9.2867 | -- | -- | --
Reception Test |  | 945.3767 | 1059.607 | 965.6379 | 1053.707 | 955.4965 | 968.6532 | 1112.43

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 351.5625 |  |  |  | 2020-10-13 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 329.3335 |  |  |  | 2020-10-13 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.55569 |  | 2020-10-13 |  |  |  | Pass
QA | uA | 1 | 0.61642 |  | 2020-10-13 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.41477 | 0.41823 | 0.45881 | 0.42173 | 0.52189 | 0.52082 | 0.45189 | 0.42208 | 0.77094 | 0.63498 | 0.44403 | 0.6491 | 0.39432 | 0.39454 |  |  | Pass
Fall | ns | 1 | 0.79283 | 0.70895 | 0.876 | 0.77584 | 0.67578 | 0.76799 | 0.70083 | 0.78077 | 0.78168 | 0.64019 | 0.66433 | 0.57946 | 0.61576 | 0.60064 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):10/13/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):10/13/2020 1: 0.52598; Date (DD/MM/YY):10/13/2020 2: 0.54449; Date (DD/MM/YY):10/13/2020 3: 0.56332; Date (DD/MM/YY):10/13/2020 4: 0.57583; Date (DD/MM/YY):10/13/2020 5: 0.58524; Date (DD/MM/YY):10/13/2020 6: 0.59274; Initial: 7: 0.59779 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):10/13/2020 1: 0.51792; Date (DD/MM/YY):10/13/2020 2: 0.51725; Date (DD/MM/YY):10/13/2020 3: 0.55089; Date (DD/MM/YY):10/13/2020 4: 0.57033; Date (DD/MM/YY):10/13/2020 5: 0.57143; Date (DD/MM/YY):10/13/2020 6: 0.59349; Initial: 7: 0.60823 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):10/13/2020 1: 0.65483; Date (DD/MM/YY):10/13/2020 2: 0.66523; Date (DD/MM/YY):10/13/2020 3: 0.64602; Date (DD/MM/YY):10/13/2020 4: 0.64344; Date (DD/MM/YY):10/13/2020 5: 0.66862; Date (DD/MM/YY):10/13/2020 6: 0.64776; Initial: 7: 0.64218 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):10/13/2020 1: 0.66669; Date (DD/MM/YY):10/13/2020 2: 0.61678; Date (DD/MM/YY):10/13/2020 3: 0.6566; Date (DD/MM/YY):10/13/2020 4: 0.64824; Date (DD/MM/YY):10/13/2020 5: 0.59538; Date (DD/MM/YY):10/13/2020 6: 0.64538; Initial: 7: 0.6583 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):10/13/2020 1: 0.09713; Date (DD/MM/YY):10/13/2020 2: 0.07739; Date (DD/MM/YY):10/13/2020 3: 0.07783; Date (DD/MM/YY):10/13/2020 4: 0.13512; Date (DD/MM/YY):10/13/2020 5: 0.07609; Date (DD/MM/YY):10/13/2020 6: 0.07264; Initial: 7: 0.21015 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):10/13/2020 1: 0.08113; Date (DD/MM/YY):10/13/2020 2: 0.06275; Date (DD/MM/YY):10/13/2020 3: 0.06708; Date (DD/MM/YY):10/13/2020 4: 0.13612; Date (DD/MM/YY):10/13/2020 5: 0.05756; Date (DD/MM/YY):10/13/2020 6: 0.05485; Initial: 7: 0.19788 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/13/2020 1: 12.649; Date (DD/MM/YY):10/13/2020 2: 13.1; Date (DD/MM/YY):10/13/2020 3: 12.114; Date (DD/MM/YY):10/13/2020 4: 12.773; Date (DD/MM/YY):10/13/2020 5: 13.122; Date (DD/MM/YY):10/13/2020 6: 12.03; Initial: 7: 12.368
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/13/2020 1: 12.567; Date (DD/MM/YY):10/13/2020 2: 13.021; Date (DD/MM/YY):10/13/2020 3: 12.08; Date (DD/MM/YY):10/13/2020 4: 12.626; Date (DD/MM/YY):10/13/2020 5: 13.062; Date (DD/MM/YY):10/13/2020 6: 11.901; Initial: 7: 12.257
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/13/2020 1: 12.027; Date (DD/MM/YY):10/13/2020 2: 12.605; Date (DD/MM/YY):10/13/2020 3: 11.62; Date (DD/MM/YY):10/13/2020 4: 12.055; Date (DD/MM/YY):10/13/2020 5: 12.686; Date (DD/MM/YY):10/13/2020 6: 11.524; Initial: 7: 11.586
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/13/2020 1: 12.104; Date (DD/MM/YY):10/13/2020 2: 12.6; Date (DD/MM/YY):10/13/2020 3: 11.666; Date (DD/MM/YY):10/13/2020 4: 12.085; Date (DD/MM/YY):10/13/2020 5: 12.704; Date (DD/MM/YY):10/13/2020 6: 11.541; Initial: 7: 11.615
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/13/2020 1: 12.3368; Date (DD/MM/YY):10/13/2020 2: 12.8359; Date (DD/MM/YY):10/13/2020 3: 11.8744; Date (DD/MM/YY):10/13/2020 4: 12.3661; Date (DD/MM/YY):10/13/2020 5: 12.8813; Date (DD/MM/YY):10/13/2020 6: 11.7246; Initial: 7: 11.952
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/13/2020 1: 12.3441; Date (DD/MM/YY):10/13/2020 2: 12.8438; Date (DD/MM/YY):10/13/2020 3: 11.8724; Date (DD/MM/YY):10/13/2020 4: 12.3593; Date (DD/MM/YY):10/13/2020 5: 12.8811; Date (DD/MM/YY):10/13/2020 6: 11.7273; Initial: 7: 11.9411
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):10/13/2020 1: 49.5272; Date (DD/MM/YY):10/13/2020 2: 51.4117; Date (DD/MM/YY):10/13/2020 3: 47.6225; Date (DD/MM/YY):10/13/2020 4: 49.4751; Date (DD/MM/YY):10/13/2020 5: 51.5951; Date (DD/MM/YY):10/13/2020 6: 47.0324; Initial: 7: 47.9223 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):10/13/2020 1: 49.3774; Date (DD/MM/YY):10/13/2020 2: 51.3568; Date (DD/MM/YY):10/13/2020 3: 47.5187; Date (DD/MM/YY):10/13/2020 4: 49.4883; Date (DD/MM/YY):10/13/2020 5: 51.6035; Date (DD/MM/YY):10/13/2020 6: 46.932; Initial: 7: 47.8309 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):10/13/2020 1: 49.3884; Date (DD/MM/YY):10/13/2020 2: 51.3712; Date (DD/MM/YY):10/13/2020 3: 47.4983; Date (DD/MM/YY):10/13/2020 4: 49.4414; Date (DD/MM/YY):10/13/2020 5: 51.5357; Date (DD/MM/YY):10/13/2020 6: 46.9167; Initial: 7: 47.7707 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/13/2020 1: 1.0925; Date (DD/MM/YY):10/13/2020 2: 1.0902; Date (DD/MM/YY):10/13/2020 3: 1.0842; Date (DD/MM/YY):10/13/2020 4: 1.0191; Date (DD/MM/YY):10/13/2020 5: 1.0185; Date (DD/MM/YY):10/13/2020 6: 1.02; Initial: 7: 1.0148 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/13/2020 1: 1.0853; Date (DD/MM/YY):10/13/2020 2: 1.079; Date (DD/MM/YY):10/13/2020 3: 1.074; Date (DD/MM/YY):10/13/2020 4: 1.015; Date (DD/MM/YY):10/13/2020 5: 1.0174; Date (DD/MM/YY):10/13/2020 6: 1.0168; Initial: 7: 1.0117 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/13/2020 1: 1.1011; Date (DD/MM/YY):10/13/2020 2: 1.1226; Date (DD/MM/YY):10/13/2020 3: 1.1027; Date (DD/MM/YY):10/13/2020 4: 1.0231; Date (DD/MM/YY):10/13/2020 5: 1.0522; Date (DD/MM/YY):10/13/2020 6: 1.0371; Initial: 7: 1.0442 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/13/2020 1: 1.088; Date (DD/MM/YY):10/13/2020 2: 1.1; Date (DD/MM/YY):10/13/2020 3: 1.0935; Date (DD/MM/YY):10/13/2020 4: 1.0272; Date (DD/MM/YY):10/13/2020 5: 1.0413; Date (DD/MM/YY):10/13/2020 6: 1.0355; Initial: 7: 1.0392 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/13/2020 1: 0.3747; Date (DD/MM/YY):10/13/2020 2: 0.37198; Date (DD/MM/YY):10/13/2020 3: 0.37093; Date (DD/MM/YY):10/13/2020 4: 0.34307; Date (DD/MM/YY):10/13/2020 5: 0.33837; Date (DD/MM/YY):10/13/2020 6: 0.34273; Initial: 7: 0.34094 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/13/2020 1: 0.33298; Date (DD/MM/YY):10/13/2020 2: 0.33617; Date (DD/MM/YY):10/13/2020 3: 0.32831; Date (DD/MM/YY):10/13/2020 4: 0.30952; Date (DD/MM/YY):10/13/2020 5: 0.3145; Date (DD/MM/YY):10/13/2020 6: 0.31266; Initial: 7: 0.31289 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/13/2020 1: 0.40226; Date (DD/MM/YY):10/13/2020 2: 0.4134; Date (DD/MM/YY):10/13/2020 3: 0.40519; Date (DD/MM/YY):10/13/2020 4: 0.35417; Date (DD/MM/YY):10/13/2020 5: 0.38178; Date (DD/MM/YY):10/13/2020 6: 0.36645; Initial: 7: 0.375 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/13/2020 1: 0.3773; Date (DD/MM/YY):10/13/2020 2: 0.37839; Date (DD/MM/YY):10/13/2020 3: 0.38004; Date (DD/MM/YY):10/13/2020 4: 0.35348; Date (DD/MM/YY):10/13/2020 5: 0.35519; Date (DD/MM/YY):10/13/2020 6: 0.35325; Initial: 7: 0.35517 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/13/2020 1: 0; Date (DD/MM/YY):10/13/2020 2: 0; Date (DD/MM/YY):10/13/2020 3: 0; Date (DD/MM/YY):10/13/2020 4: 0; Date (DD/MM/YY):10/13/2020 5: 0; Date (DD/MM/YY):10/13/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/13/2020 1: 0; Date (DD/MM/YY):10/13/2020 2: 0; Date (DD/MM/YY):10/13/2020 3: 0; Date (DD/MM/YY):10/13/2020 4: 0; Date (DD/MM/YY):10/13/2020 5: 0; Date (DD/MM/YY):10/13/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/13/2020 1: 0; Date (DD/MM/YY):10/13/2020 2: 0; Date (DD/MM/YY):10/13/2020 3: 0; Date (DD/MM/YY):10/13/2020 4: 0; Date (DD/MM/YY):10/13/2020 5: 0; Date (DD/MM/YY):10/13/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/13/2020 1: 0; Date (DD/MM/YY):10/13/2020 2: 0; Date (DD/MM/YY):10/13/2020 3: 0; Date (DD/MM/YY):10/13/2020 4: 0; Date (DD/MM/YY):10/13/2020 5: 0; Date (DD/MM/YY):10/13/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass