## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1944.7995 | 1978.57 | 1962.3612 | 1869.1905 | 1937.3185 | 1952.7721 | 1854.8416 | -- | -- | --
Post Opto-pack Burn-in |  | 1984.7024 | 1985.0322 | 1973.5421 | 1856.0451 | 1926.1772 | 1929.1972 | 1888.7986 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1695.1545 | 1448.4237 | 1656.5888 | 1436.1767 | 1689.2968 | 1454.8126 | 1651.0206 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1548.3437 | 1290.9092 | 1593.056 | 1531.3424 | 1641.7034 | 1559.2772 | 1680.3149 | -- | -- | --
Change (%) |  | -8.6606 | -10.8749 | -3.8352 | 6.6263 | -2.8174 | 7.1806 | 1.7743 | -- | -- | --
Opto-board at 0C |  | 1633.7568 | 1355.9131 | 1655.2389 | 1596.994 | 1703.2971 | 1620.608 | 1698.5622 | -- | -- | --
Change (%) |  | -3.622 | -6.387 | -0.081484 | 11.1976 | 0.82877 | 11.3963 | 2.8795 | -- | -- | --
Opto-board at 50C |  | 1409.4155 | 1185.3912 | 1453.4818 | 1396.8753 | 1542.3658 | 1437.0987 | 1535.382 | -- | -- | --
Change (%) |  | -16.8562 | -18.1599 | -12.2606 | -2.7365 | -8.6978 | -1.2176 | -7.0041 | -- | -- | --
Opto-board QA (10C) |  | 1595.3204 | 1358.6333 | 1635.2812 | 1570.3301 | 1720.9354 | 1608.0167 | 1702.6548 | -- | -- | --
Change (%) |  | -5.8894 | -6.1992 | -1.2862 | 9.341 | 1.8729 | 10.5309 | 3.1274 | -- | -- | --
Reception Test |  | 1483.554 | 1316.519 | 1520.676 | 1264.469 | 1170.013 | 1048.323 | 1286.093
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1803.8545 | 1762.4101 | 1803.8016 | 1775.3946 | 1843.9054 | 1838.9811 | 1804.7529 | -- | -- | --
Post Opto-pack Burn-in |  | 1683.1755 | 1662.7933 | 1691.0868 | 1656.7387 | 1746.5758 | 1757.1146 | 1704.7421 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1246.6592 | 1244.2176 | 1362.1629 | 1386.6201 | 973.1464 | 1338.9513 | 1308.9931 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1318.2936 | 1167.3898 | 1268.5479 | 1329.1886 | 1231.3843 | 1281.543 | 1455.223 | -- | -- | --
Change (%) |  | 5.7461 | -6.1748 | -6.8725 | -4.1418 | 26.5364 | -4.2876 | 11.1712 | -- | -- | --
Opto-board at 0C |  | 1395.7143 | 1238.1861 | 1337.3227 | 1411.4278 | 1331.953 | 1352.0123 | 1525.7103 | -- | -- | --
Change (%) |  | 11.9564 | -0.48476 | -1.8236 | 1.7891 | 36.8708 | 0.97546 | 16.556 | -- | -- | --
Opto-board at 50C |  | 1224.4875 | 1083.2617 | 1156.3189 | 1222.0498 | 1152.0726 | 1173.1301 | 1326.37 | -- | -- | --
Change (%) |  | -1.7785 | -12.9363 | -15.1116 | -11.8685 | 18.3864 | -12.3844 | 1.3275 | -- | -- | --
Opto-board QA (10C) |  | 1377.0306 | 1217.1161 | 1319.5955 | 1396.7784 | 1312.8312 | 1339.3362 | 1517.149 | -- | -- | --
Change (%) |  | 10.4577 | -2.1782 | -3.125 | 0.73259 | 34.9058 | 0.028752 | 15.902 | -- | -- | --
Reception Test |  | 935.0849 | 1140.043 | 979.0548 | 1032.796 | 1042.87 | 1021.802 | 1091.883

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 356.5674 |  |  |  | 2020-10-14 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 337.207 |  |  |  | 2020-10-14 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.79661 |  | 2020-10-14 |  |  |  | Pass
QA | uA | 1 | 0.54525 |  | 2020-10-14 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.46984 | 0.51849 | 0.6345 | 0.64812 | 0.50242 | 0.62643 | 0.32013 | 0.47934 | 0.71612 | 0.54128 | 0.44623 | 0.68235 | 0.40483 | 0.41886 |  |  | Pass
Fall | ns | 1 | 0.50954 | 0.51878 | 0.66878 | 0.70106 | 0.80662 | 0.77517 | 0.82675 | 0.51648 | 0.727 | 0.76156 | 0.74274 | 0.53844 | 0.50276 | 0.65849 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):10/14/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):10/14/2020 1: 0.53895; Date (DD/MM/YY):10/14/2020 2: 0.55671; Date (DD/MM/YY):10/14/2020 3: 0.56888; Date (DD/MM/YY):10/14/2020 4: 0.58919; Date (DD/MM/YY):10/14/2020 5: 0.58038; Date (DD/MM/YY):10/14/2020 6: 0.60639; Initial: 7: 0.62015 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):10/14/2020 1: 0.51472; Date (DD/MM/YY):10/14/2020 2: 0.54133; Date (DD/MM/YY):10/14/2020 3: 0.54938; Date (DD/MM/YY):10/14/2020 4: 0.57157; Date (DD/MM/YY):10/14/2020 5: 0.58495; Date (DD/MM/YY):10/14/2020 6: 0.59445; Initial: 7: 0.60702 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):10/14/2020 1: 0.62104; Date (DD/MM/YY):10/14/2020 2: 0.66488; Date (DD/MM/YY):10/14/2020 3: 0.6325; Date (DD/MM/YY):10/14/2020 4: 0.6211; Date (DD/MM/YY):10/14/2020 5: 0.66023; Date (DD/MM/YY):10/14/2020 6: 0.64137; Initial: 7: 0.66234 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):10/14/2020 1: 0.60776; Date (DD/MM/YY):10/14/2020 2: 0.63198; Date (DD/MM/YY):10/14/2020 3: 0.64916; Date (DD/MM/YY):10/14/2020 4: 0.64707; Date (DD/MM/YY):10/14/2020 5: 0.62402; Date (DD/MM/YY):10/14/2020 6: 0.65104; Initial: 7: 0.67642 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):10/14/2020 1: 0.06477; Date (DD/MM/YY):10/14/2020 2: 0.26453; Date (DD/MM/YY):10/14/2020 3: 0.07022; Date (DD/MM/YY):10/14/2020 4: 0.0609; Date (DD/MM/YY):10/14/2020 5: 0.05813; Date (DD/MM/YY):10/14/2020 6: 0.17369; Initial: 7: 0.09605 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):10/14/2020 1: 0.05472; Date (DD/MM/YY):10/14/2020 2: 0.24943; Date (DD/MM/YY):10/14/2020 3: 0.05874; Date (DD/MM/YY):10/14/2020 4: 0.04422; Date (DD/MM/YY):10/14/2020 5: 0.04492; Date (DD/MM/YY):10/14/2020 6: 0.16671; Initial: 7: 0.104 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/14/2020 1: 12.176; Date (DD/MM/YY):10/14/2020 2: 12.129; Date (DD/MM/YY):10/14/2020 3: 12.589; Date (DD/MM/YY):10/14/2020 4: 12.652; Date (DD/MM/YY):10/14/2020 5: 11.943; Date (DD/MM/YY):10/14/2020 6: 12.539; Initial: 7: 11.948
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/14/2020 1: 12.126; Date (DD/MM/YY):10/14/2020 2: 12.095; Date (DD/MM/YY):10/14/2020 3: 12.559; Date (DD/MM/YY):10/14/2020 4: 12.606; Date (DD/MM/YY):10/14/2020 5: 11.872; Date (DD/MM/YY):10/14/2020 6: 12.516; Initial: 7: 11.923
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/14/2020 1: 11.737; Date (DD/MM/YY):10/14/2020 2: 11.202; Date (DD/MM/YY):10/14/2020 3: 12.148; Date (DD/MM/YY):10/14/2020 4: 12.301; Date (DD/MM/YY):10/14/2020 5: 11.546; Date (DD/MM/YY):10/14/2020 6: 11.876; Initial: 7: 11.432
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/14/2020 1: 11.774; Date (DD/MM/YY):10/14/2020 2: 11.273; Date (DD/MM/YY):10/14/2020 3: 12.168; Date (DD/MM/YY):10/14/2020 4: 12.313; Date (DD/MM/YY):10/14/2020 5: 11.558; Date (DD/MM/YY):10/14/2020 6: 11.894; Initial: 7: 11.461
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/14/2020 1: 11.9534; Date (DD/MM/YY):10/14/2020 2: 11.6979; Date (DD/MM/YY):10/14/2020 3: 12.3665; Date (DD/MM/YY):10/14/2020 4: 12.4644; Date (DD/MM/YY):10/14/2020 5: 11.728; Date (DD/MM/YY):10/14/2020 6: 12.2093; Initial: 7: 11.687
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/14/2020 1: 11.961; Date (DD/MM/YY):10/14/2020 2: 11.6878; Date (DD/MM/YY):10/14/2020 3: 12.358; Date (DD/MM/YY):10/14/2020 4: 12.4598; Date (DD/MM/YY):10/14/2020 5: 11.7111; Date (DD/MM/YY):10/14/2020 6: 12.2081; Initial: 7: 11.6816
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):10/14/2020 1: 47.9297; Date (DD/MM/YY):10/14/2020 2: 46.83; Date (DD/MM/YY):10/14/2020 3: 49.5331; Date (DD/MM/YY):10/14/2020 4: 49.9266; Date (DD/MM/YY):10/14/2020 5: 46.9325; Date (DD/MM/YY):10/14/2020 6: 48.9082; Initial: 7: 46.8117 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):10/14/2020 1: 47.8741; Date (DD/MM/YY):10/14/2020 2: 46.8631; Date (DD/MM/YY):10/14/2020 3: 49.5371; Date (DD/MM/YY):10/14/2020 4: 49.925; Date (DD/MM/YY):10/14/2020 5: 46.9522; Date (DD/MM/YY):10/14/2020 6: 48.9036; Initial: 7: 46.7704 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):10/14/2020 1: 47.8459; Date (DD/MM/YY):10/14/2020 2: 46.7601; Date (DD/MM/YY):10/14/2020 3: 49.4431; Date (DD/MM/YY):10/14/2020 4: 49.8593; Date (DD/MM/YY):10/14/2020 5: 46.8538; Date (DD/MM/YY):10/14/2020 6: 48.8335; Initial: 7: 46.7714 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/14/2020 1: 1.0884; Date (DD/MM/YY):10/14/2020 2: 1.0853; Date (DD/MM/YY):10/14/2020 3: 1.0746; Date (DD/MM/YY):10/14/2020 4: 1.0593; Date (DD/MM/YY):10/14/2020 5: 1.0702; Date (DD/MM/YY):10/14/2020 6: 1.0609; Initial: 7: 1.0623 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/14/2020 1: 1.0784; Date (DD/MM/YY):10/14/2020 2: 1.0751; Date (DD/MM/YY):10/14/2020 3: 1.0639; Date (DD/MM/YY):10/14/2020 4: 1.0523; Date (DD/MM/YY):10/14/2020 5: 1.0593; Date (DD/MM/YY):10/14/2020 6: 1.055; Initial: 7: 1.0552 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/14/2020 1: 1.1015; Date (DD/MM/YY):10/14/2020 2: 1.1155; Date (DD/MM/YY):10/14/2020 3: 1.1165; Date (DD/MM/YY):10/14/2020 4: 1.0803; Date (DD/MM/YY):10/14/2020 5: 1.0952; Date (DD/MM/YY):10/14/2020 6: 1.0837; Initial: 7: 1.09 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/14/2020 1: 1.088; Date (DD/MM/YY):10/14/2020 2: 1.0949; Date (DD/MM/YY):10/14/2020 3: 1.1073; Date (DD/MM/YY):10/14/2020 4: 1.0799; Date (DD/MM/YY):10/14/2020 5: 1.0799; Date (DD/MM/YY):10/14/2020 6: 1.0783; Initial: 7: 1.0809 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/14/2020 1: 0.37609; Date (DD/MM/YY):10/14/2020 2: 0.37388; Date (DD/MM/YY):10/14/2020 3: 0.36839; Date (DD/MM/YY):10/14/2020 4: 0.36117; Date (DD/MM/YY):10/14/2020 5: 0.369; Date (DD/MM/YY):10/14/2020 6: 0.35816; Initial: 7: 0.36261 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/14/2020 1: 0.33109; Date (DD/MM/YY):10/14/2020 2: 0.3275; Date (DD/MM/YY):10/14/2020 3: 0.33025; Date (DD/MM/YY):10/14/2020 4: 0.32545; Date (DD/MM/YY):10/14/2020 5: 0.33186; Date (DD/MM/YY):10/14/2020 6: 0.33018; Initial: 7: 0.33022 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/14/2020 1: 0.40402; Date (DD/MM/YY):10/14/2020 2: 0.40997; Date (DD/MM/YY):10/14/2020 3: 0.41283; Date (DD/MM/YY):10/14/2020 4: 0.3835; Date (DD/MM/YY):10/14/2020 5: 0.39899; Date (DD/MM/YY):10/14/2020 6: 0.38737; Initial: 7: 0.3933 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/14/2020 1: 0.38298; Date (DD/MM/YY):10/14/2020 2: 0.38096; Date (DD/MM/YY):10/14/2020 3: 0.39291; Date (DD/MM/YY):10/14/2020 4: 0.38189; Date (DD/MM/YY):10/14/2020 5: 0.37596; Date (DD/MM/YY):10/14/2020 6: 0.37438; Initial: 7: 0.37532 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/14/2020 1: 0; Date (DD/MM/YY):10/14/2020 2: 0; Date (DD/MM/YY):10/14/2020 3: 0; Date (DD/MM/YY):10/14/2020 4: 0; Date (DD/MM/YY):10/14/2020 5: 0; Date (DD/MM/YY):10/14/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/14/2020 1: 0; Date (DD/MM/YY):10/14/2020 2: 0; Date (DD/MM/YY):10/14/2020 3: 0; Date (DD/MM/YY):10/14/2020 4: 0; Date (DD/MM/YY):10/14/2020 5: 0; Date (DD/MM/YY):10/14/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/14/2020 1: 0; Date (DD/MM/YY):10/14/2020 2: 0; Date (DD/MM/YY):10/14/2020 3: 0; Date (DD/MM/YY):10/14/2020 4: 0; Date (DD/MM/YY):10/14/2020 5: 0; Date (DD/MM/YY):10/14/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/14/2020 1: 0; Date (DD/MM/YY):10/14/2020 2: 0; Date (DD/MM/YY):10/14/2020 3: 0; Date (DD/MM/YY):10/14/2020 4: 0; Date (DD/MM/YY):10/14/2020 5: 0; Date (DD/MM/YY):10/14/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass