## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2074.0588 | 2096.7933 | 1937.1233 | 2029.9571 | 1963.1015 | 2041.4582 | 2096.9221 | -- | -- | --
Post Opto-pack Burn-in |  | 2065.2237 | 2089.2365 | 1982.4667 | 2033.5567 | 1961.0211 | 2043.8385 | 2071.8622 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1607.8553 | 1339.5014 | 1467.3903 | 1375.3201 | 1444.8956 | 1380.0206 | 1568.2766 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1559.0312 | 1325.1092 | 1365.1319 | 1431.5161 | 1413.6149 | 1385.3453 | 1653.3182 | -- | -- | --
Change (%) |  | -3.0366 | -1.0744 | -6.9687 | 4.086 | -2.1649 | 0.38584 | 5.4226 | -- | -- | --
Opto-board at 0C |  | 1632.3834 | 1404.3322 | 1603.7548 | 1439.6183 | 1513.0976 | 1428.3472 | 1675.2786 | -- | -- | --
Change (%) |  | 1.5255 | 4.8399 | 9.293 | 4.6751 | 4.7202 | 3.5019 | 6.8229 | -- | -- | --
Opto-board at 50C |  | 1481.0654 | 1269.2632 | 1445.7627 | 1275.8702 | 1345.6451 | 1250.1626 | 1557.7425 | -- | -- | --
Change (%) |  | -7.8857 | -5.2436 | -1.4739 | -7.231 | -6.869 | -9.4099 | -0.6717 | -- | -- | --
Opto-board QA (10C) |  | 1554.35 | 1375.5396 | 1596.5856 | 1423.7813 | 1472.8962 | 1394.334 | 1666.0062 | -- | -- | --
Change (%) |  | -3.3277 | 2.6904 | 8.8044 | 3.5236 | 1.9379 | 1.0372 | 6.2317 | -- | -- | --
Reception Test |  | 1486.054 | 1289.296 | 1406.39 | 1322.725 | 1146.249 | 1083.616 | 1449.082
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1967.8771 | 1915.4185 | 1990.263 | 1938.5029 | 1988.9479 | 2068.011 | 2055.4475 | -- | -- | --
Post Opto-pack Burn-in |  | 1826.8358 | 1801.2012 | 1846.4411 | 1814.8454 | 1853.3838 | 1961.9439 | 1905.5005 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1466.3573 | 1446.5451 | 1563.8223 | 1469.9064 | 1003.5295 | 1484.3969 | 1344.9996 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1564.6157 | 1553.6286 | 1665.4556 | 1510.7322 | 1314.0783 | 1527.2606 | 1495.6562 | -- | -- | --
Change (%) |  | 6.7009 | 7.4027 | 6.499 | 2.7774 | 30.9457 | 2.8876 | 11.2012 | -- | -- | --
Opto-board at 0C |  | 1429.7199 | 1276.1622 | 1412.4808 | 1489.3503 | 1377.556 | 1568.1431 | 1535.2229 | -- | -- | --
Change (%) |  | -2.4985 | -11.7786 | -9.6777 | 1.3228 | 37.2711 | 5.6418 | 14.143 | -- | -- | --
Opto-board at 50C |  | 1262.4768 | 1097.7194 | 1237.5369 | 1283.6236 | 1171.8178 | 1353.6367 | 1308.9554 | -- | -- | --
Change (%) |  | -13.9039 | -24.1144 | -20.8646 | -12.6731 | 16.7696 | -8.809 | -2.6799 | -- | -- | --
Opto-board QA (10C) |  | 1461.4002 | 1302.7096 | 1341.6829 | 1472.9282 | 1290.469 | 1525.1761 | 1506.9017 | -- | -- | --
Change (%) |  | -0.33805 | -9.9434 | -14.2049 | 0.20557 | 28.593 | 2.7472 | 12.0373 | -- | -- | --
Reception Test |  | 1162.893 | 1250.697 | 1170.87 | 1168.071 | 1130.849 | 1183.732 | 1178.987

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 360.7178 |  |  |  | 2020-10-13 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 341.1621 |  |  |  | 2020-10-13 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.71138 |  | 2020-10-13 |  |  |  | Pass
QA | uA | 1 | 0.56962 |  | 2020-10-13 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.57358 | 0.26078 | 0.60156 | 0.5258 | 0.58429 | 0.59375 | 0.47094 | 0.34981 | 0.67356 | 0.40807 | 0.59306 | 0.74339 | 0.58279 | 0.58943 |  |  | Pass
Fall | ns | 1 | 0.59932 | 0.72591 | 0.45014 | 0.41522 | 0.42637 | 0.45271 | 0.38122 | 0.72875 | 0.64303 | 0.36833 | 0.67763 | 0.61223 | 0.4987 | 0.54518 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):10/13/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):10/13/2020 1: 0.533; Date (DD/MM/YY):10/13/2020 2: 0.55356; Date (DD/MM/YY):10/13/2020 3: 0.56405; Date (DD/MM/YY):10/13/2020 4: 0.59862; Date (DD/MM/YY):10/13/2020 5: 0.60847; Date (DD/MM/YY):10/13/2020 6: 0.6175; Initial: 7: 0.62943 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):10/13/2020 1: 0.51604; Date (DD/MM/YY):10/13/2020 2: 0.53739; Date (DD/MM/YY):10/13/2020 3: 0.55273; Date (DD/MM/YY):10/13/2020 4: 0.57697; Date (DD/MM/YY):10/13/2020 5: 0.58757; Date (DD/MM/YY):10/13/2020 6: 0.608; Initial: 7: 0.62186 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):10/13/2020 1: 0.69242; Date (DD/MM/YY):10/13/2020 2: 0.71875; Date (DD/MM/YY):10/13/2020 3: 0.68023; Date (DD/MM/YY):10/13/2020 4: 0.65929; Date (DD/MM/YY):10/13/2020 5: 0.70251; Date (DD/MM/YY):10/13/2020 6: 0.69969; Initial: 7: 0.7104 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):10/13/2020 1: 0.67918; Date (DD/MM/YY):10/13/2020 2: 0.65537; Date (DD/MM/YY):10/13/2020 3: 0.68311; Date (DD/MM/YY):10/13/2020 4: 0.67523; Date (DD/MM/YY):10/13/2020 5: 0.6563; Date (DD/MM/YY):10/13/2020 6: 0.6723; Initial: 7: 0.70554 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):10/13/2020 1: 0.08633; Date (DD/MM/YY):10/13/2020 2: 0.20024; Date (DD/MM/YY):10/13/2020 3: 0.07576; Date (DD/MM/YY):10/13/2020 4: 0.22893; Date (DD/MM/YY):10/13/2020 5: 0.13958; Date (DD/MM/YY):10/13/2020 6: 0.05915; Initial: 7: 0.22714 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):10/13/2020 1: 0.06408; Date (DD/MM/YY):10/13/2020 2: 0.1813; Date (DD/MM/YY):10/13/2020 3: 0.0667; Date (DD/MM/YY):10/13/2020 4: 0.20099; Date (DD/MM/YY):10/13/2020 5: 0.152; Date (DD/MM/YY):10/13/2020 6: 0.051; Initial: 7: 0.2235 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/13/2020 1: 12.709; Date (DD/MM/YY):10/13/2020 2: 12.65; Date (DD/MM/YY):10/13/2020 3: 12.402; Date (DD/MM/YY):10/13/2020 4: 12.701; Date (DD/MM/YY):10/13/2020 5: 13.094; Date (DD/MM/YY):10/13/2020 6: 12.774; Initial: 7: 12.982
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/13/2020 1: 12.625; Date (DD/MM/YY):10/13/2020 2: 12.637; Date (DD/MM/YY):10/13/2020 3: 12.379; Date (DD/MM/YY):10/13/2020 4: 12.513; Date (DD/MM/YY):10/13/2020 5: 13.101; Date (DD/MM/YY):10/13/2020 6: 12.716; Initial: 7: 12.954
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/13/2020 1: 12.2; Date (DD/MM/YY):10/13/2020 2: 11.921; Date (DD/MM/YY):10/13/2020 3: 11.968; Date (DD/MM/YY):10/13/2020 4: 11.701; Date (DD/MM/YY):10/13/2020 5: 12.51; Date (DD/MM/YY):10/13/2020 6: 12.412; Initial: 7: 12.207
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/13/2020 1: 12.254; Date (DD/MM/YY):10/13/2020 2: 11.912; Date (DD/MM/YY):10/13/2020 3: 11.955; Date (DD/MM/YY):10/13/2020 4: 11.847; Date (DD/MM/YY):10/13/2020 5: 12.512; Date (DD/MM/YY):10/13/2020 6: 12.379; Initial: 7: 12.212
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/13/2020 1: 12.428; Date (DD/MM/YY):10/13/2020 2: 12.2792; Date (DD/MM/YY):10/13/2020 3: 12.1762; Date (DD/MM/YY):10/13/2020 4: 12.1882; Date (DD/MM/YY):10/13/2020 5: 12.7885; Date (DD/MM/YY):10/13/2020 6: 12.5743; Initial: 7: 12.577
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/13/2020 1: 12.4159; Date (DD/MM/YY):10/13/2020 2: 12.2762; Date (DD/MM/YY):10/13/2020 3: 12.162; Date (DD/MM/YY):10/13/2020 4: 12.1901; Date (DD/MM/YY):10/13/2020 5: 12.7948; Date (DD/MM/YY):10/13/2020 6: 12.5693; Initial: 7: 12.5796
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):10/13/2020 1: 49.5479; Date (DD/MM/YY):10/13/2020 2: 49.1483; Date (DD/MM/YY):10/13/2020 3: 48.7569; Date (DD/MM/YY):10/13/2020 4: 48.9064; Date (DD/MM/YY):10/13/2020 5: 51.1109; Date (DD/MM/YY):10/13/2020 6: 50.306; Initial: 7: 50.4197 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):10/13/2020 1: 49.7792; Date (DD/MM/YY):10/13/2020 2: 49.1568; Date (DD/MM/YY):10/13/2020 3: 48.7324; Date (DD/MM/YY):10/13/2020 4: 48.8635; Date (DD/MM/YY):10/13/2020 5: 51.2043; Date (DD/MM/YY):10/13/2020 6: 50.331; Initial: 7: 50.3394 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):10/13/2020 1: 49.684; Date (DD/MM/YY):10/13/2020 2: 49.1204; Date (DD/MM/YY):10/13/2020 3: 48.6553; Date (DD/MM/YY):10/13/2020 4: 48.8065; Date (DD/MM/YY):10/13/2020 5: 51.1896; Date (DD/MM/YY):10/13/2020 6: 50.2916; Initial: 7: 50.3356 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/13/2020 1: 1.0102; Date (DD/MM/YY):10/13/2020 2: 1.0223; Date (DD/MM/YY):10/13/2020 3: 1.0177; Date (DD/MM/YY):10/13/2020 4: 1.0271; Date (DD/MM/YY):10/13/2020 5: 1.0284; Date (DD/MM/YY):10/13/2020 6: 1.0348; Initial: 7: 1.0452 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/13/2020 1: 1.004; Date (DD/MM/YY):10/13/2020 2: 1.0193; Date (DD/MM/YY):10/13/2020 3: 1.0125; Date (DD/MM/YY):10/13/2020 4: 1.0244; Date (DD/MM/YY):10/13/2020 5: 1.0281; Date (DD/MM/YY):10/13/2020 6: 1.0343; Initial: 7: 1.0432 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/13/2020 1: 1.0373; Date (DD/MM/YY):10/13/2020 2: 1.0542; Date (DD/MM/YY):10/13/2020 3: 1.0526; Date (DD/MM/YY):10/13/2020 4: 1.0535; Date (DD/MM/YY):10/13/2020 5: 1.0761; Date (DD/MM/YY):10/13/2020 6: 1.0817; Initial: 7: 1.0615 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/13/2020 1: 1.0284; Date (DD/MM/YY):10/13/2020 2: 1.0373; Date (DD/MM/YY):10/13/2020 3: 1.0463; Date (DD/MM/YY):10/13/2020 4: 1.0571; Date (DD/MM/YY):10/13/2020 5: 1.0626; Date (DD/MM/YY):10/13/2020 6: 1.0748; Initial: 7: 1.0558 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/13/2020 1: 0.34837; Date (DD/MM/YY):10/13/2020 2: 0.35302; Date (DD/MM/YY):10/13/2020 3: 0.35039; Date (DD/MM/YY):10/13/2020 4: 0.3583; Date (DD/MM/YY):10/13/2020 5: 0.35346; Date (DD/MM/YY):10/13/2020 6: 0.35634; Initial: 7: 0.36455 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/13/2020 1: 0.30425; Date (DD/MM/YY):10/13/2020 2: 0.31005; Date (DD/MM/YY):10/13/2020 3: 0.30861; Date (DD/MM/YY):10/13/2020 4: 0.31835; Date (DD/MM/YY):10/13/2020 5: 0.32596; Date (DD/MM/YY):10/13/2020 6: 0.3295; Initial: 7: 0.33443 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/13/2020 1: 0.38108; Date (DD/MM/YY):10/13/2020 2: 0.39201; Date (DD/MM/YY):10/13/2020 3: 0.39218; Date (DD/MM/YY):10/13/2020 4: 0.38055; Date (DD/MM/YY):10/13/2020 5: 0.40427; Date (DD/MM/YY):10/13/2020 6: 0.40182; Initial: 7: 0.39332 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/13/2020 1: 0.35774; Date (DD/MM/YY):10/13/2020 2: 0.35682; Date (DD/MM/YY):10/13/2020 3: 0.36755; Date (DD/MM/YY):10/13/2020 4: 0.37873; Date (DD/MM/YY):10/13/2020 5: 0.37702; Date (DD/MM/YY):10/13/2020 6: 0.3811; Initial: 7: 0.37188 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/13/2020 1: 0; Date (DD/MM/YY):10/13/2020 2: 0; Date (DD/MM/YY):10/13/2020 3: 0; Date (DD/MM/YY):10/13/2020 4: 0; Date (DD/MM/YY):10/13/2020 5: 0; Date (DD/MM/YY):10/13/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/13/2020 1: 0; Date (DD/MM/YY):10/13/2020 2: 0; Date (DD/MM/YY):10/13/2020 3: 0; Date (DD/MM/YY):10/13/2020 4: 0; Date (DD/MM/YY):10/13/2020 5: 0; Date (DD/MM/YY):10/13/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/13/2020 1: 0; Date (DD/MM/YY):10/13/2020 2: 0; Date (DD/MM/YY):10/13/2020 3: 0; Date (DD/MM/YY):10/13/2020 4: 0; Date (DD/MM/YY):10/13/2020 5: 0; Date (DD/MM/YY):10/13/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/13/2020 1: 0; Date (DD/MM/YY):10/13/2020 2: 0; Date (DD/MM/YY):10/13/2020 3: 0; Date (DD/MM/YY):10/13/2020 4: 0; Date (DD/MM/YY):10/13/2020 5: 0; Date (DD/MM/YY):10/13/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass