## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2171.004 | 2200.9235 | 2206.48 | 2093.0701 | 2183.5336 | 2236.1708 | 2108.9267 | -- | -- | --
Post Opto-pack Burn-in |  | 2049.4878 | 2105.5923 | 2128.5789 | 1987.041 | 2043.7683 | 2127.3392 | 2025.8858 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1385.0131 | 1085.8411 | 1450.5622 | 1201.3456 | 1388.6814 | 1271.3472 | 1441.3655 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1359.16 | 1149.3695 | 1508.9955 | 1221.8074 | 1475.4312 | 1235.8843 | 1526.8071 | -- | -- | --
Change (%) |  | -1.8666 | 5.8506 | 4.0283 | 1.7032 | 6.2469 | -2.7894 | 5.9278 | -- | -- | --
Opto-board at 0C |  | 1388.1565 | 1249.8263 | 1528.4433 | 1294.414 | 1462.5048 | 1267.4372 | 1588.2574 | -- | -- | --
Change (%) |  | 0.22696 | 15.1021 | 5.369 | 7.747 | 5.3161 | -0.30755 | 10.1912 | -- | -- | --
Opto-board at 50C |  | 1252.2267 | 1112.6472 | 1317.3073 | 1127.7709 | 1284.3706 | 1111.6849 | 1401.6602 | -- | -- | --
Change (%) |  | -9.5874 | 2.4687 | -9.1864 | -6.1244 | -7.5115 | -12.5585 | -2.7547 | -- | -- | --
Opto-board QA (10C) |  | 1371.453 | 1238.9456 | 1515.9747 | 1262.3814 | 1455.4515 | 1272.5422 | 1558.7067 | -- | -- | --
Change (%) |  | -0.97906 | 14.1001 | 4.5095 | 5.0806 | 4.8082 | 0.093994 | 8.141 | -- | -- | --
Reception Test |  | 1419.013 | 1173.778 | 1398.127 | 1235.939 | 1165.37 | 1076.276 | 1457.568
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1797.8652 | 1835.7662 | 1807.7072 | 1763.4006 | 1750.528 | 1807.8941 | 1692.8681 | -- | -- | --
Post Opto-pack Burn-in |  | 1628.382 | 1658.2813 | 1654.0296 | 1588.0548 | 1607.9333 | 1610.3772 | 1518.992 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1098.8209 | 1126.2953 | 1143.9681 | 1110.5024 | 790.5262 | 1089.4965 | 964.0164 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1101.3445 | 1067.7318 | 1141.9543 | 1082.2413 | 926.7592 | 1045.1023 | 950.6046 | -- | -- | --
Change (%) |  | 0.22966 | -5.1997 | -0.17604 | -2.5449 | 17.2332 | -4.0747 | -1.3912 | -- | -- | --
Opto-board at 0C |  | 1055.9106 | 1110.6223 | 1196.3275 | 1118.1532 | 1018.1637 | 1151.1959 | 1124.9484 | -- | -- | --
Change (%) |  | -3.9051 | -1.3915 | 4.577 | 0.68895 | 28.7957 | 5.6631 | 16.6939 | -- | -- | --
Opto-board at 50C |  | 935.4895 | 970.808 | 1039.2494 | 953.1237 | 877.5944 | 1011.8911 | 936.3828 | -- | -- | --
Change (%) |  | -14.8642 | -13.8052 | -9.154 | -14.1718 | 11.0139 | -7.1231 | -2.8665 | -- | -- | --
Opto-board QA (10C) |  | 1043.0312 | 1077.3017 | 1207.1448 | 1104.5232 | 984.2472 | 1146.0692 | 1090.2134 | -- | -- | --
Change (%) |  | -5.0772 | -4.35 | 5.5226 | -0.53842 | 24.5053 | 5.1925 | 13.0907 | -- | -- | --
Reception Test |  | 864.7762 | 1017.88 | 912.7938 | 883.4177 | 860.9026 | 944.905 | 907.7501

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 352.2949 |  |  |  | 2020-10-15 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 343.2983 |  |  |  | 2020-10-15 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.66394 |  | 2020-10-15 |  |  |  | Pass
QA | uA | 1 | 0.5618 |  | 2020-10-15 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.50548 | 0.52133 | 0.62314 | 0.37493 | 0.5746 | 0.51074 | 0.33877 | 0.49522 | 0.57344 | 0.78783 | 0.65382 | 0.63763 | 0.49086 | 0.48769 |  |  | Pass
Fall | ns | 1 | 0.5159 | 0.51033 | 0.73965 | 0.7635 | 0.79952 | 0.78575 | 0.6575 | 0.51571 | 0.67911 | 0.77347 | 0.56671 | 0.6378 | 0.42862 | 0.44759 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):10/15/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):10/15/2020 1: 0.54265; Date (DD/MM/YY):10/15/2020 2: 0.56255; Date (DD/MM/YY):10/15/2020 3: 0.58552; Date (DD/MM/YY):10/15/2020 4: 0.59442; Date (DD/MM/YY):10/15/2020 5: 0.61025; Date (DD/MM/YY):10/15/2020 6: 0.61585; Initial: 7: 0.62588 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):10/15/2020 1: 0.52113; Date (DD/MM/YY):10/15/2020 2: 0.55077; Date (DD/MM/YY):10/15/2020 3: 0.5718; Date (DD/MM/YY):10/15/2020 4: 0.57418; Date (DD/MM/YY):10/15/2020 5: 0.59997; Date (DD/MM/YY):10/15/2020 6: 0.60104; Initial: 7: 0.61833 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):10/15/2020 1: 0.69888; Date (DD/MM/YY):10/15/2020 2: 0.73142; Date (DD/MM/YY):10/15/2020 3: 0.70479; Date (DD/MM/YY):10/15/2020 4: 0.67736; Date (DD/MM/YY):10/15/2020 5: 0.71741; Date (DD/MM/YY):10/15/2020 6: 0.70226; Initial: 7: 0.7272 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):10/15/2020 1: 0.6781; Date (DD/MM/YY):10/15/2020 2: 0.64123; Date (DD/MM/YY):10/15/2020 3: 0.6903; Date (DD/MM/YY):10/15/2020 4: 0.66844; Date (DD/MM/YY):10/15/2020 5: 0.66164; Date (DD/MM/YY):10/15/2020 6: 0.68653; Initial: 7: 0.72339 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):10/15/2020 1: 0.07397; Date (DD/MM/YY):10/15/2020 2: 0.18198; Date (DD/MM/YY):10/15/2020 3: 0.35535; Date (DD/MM/YY):10/15/2020 4: 0.22631; Date (DD/MM/YY):10/15/2020 5: 0.12087; Date (DD/MM/YY):10/15/2020 6: 0.1843; Initial: 7: 0.14446 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):10/15/2020 1: 0.06919; Date (DD/MM/YY):10/15/2020 2: 0.19748; Date (DD/MM/YY):10/15/2020 3: 0.34367; Date (DD/MM/YY):10/15/2020 4: 0.2373; Date (DD/MM/YY):10/15/2020 5: 0.12768; Date (DD/MM/YY):10/15/2020 6: 0.19466; Initial: 7: 0.12271 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/15/2020 1: 12.557; Date (DD/MM/YY):10/15/2020 2: 12.453; Date (DD/MM/YY):10/15/2020 3: 12.773; Date (DD/MM/YY):10/15/2020 4: 12.752; Date (DD/MM/YY):10/15/2020 5: 12.653; Date (DD/MM/YY):10/15/2020 6: 13.211; Initial: 7: 12.739
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/15/2020 1: 12.535; Date (DD/MM/YY):10/15/2020 2: 12.364; Date (DD/MM/YY):10/15/2020 3: 12.7; Date (DD/MM/YY):10/15/2020 4: 12.671; Date (DD/MM/YY):10/15/2020 5: 12.655; Date (DD/MM/YY):10/15/2020 6: 13.078; Initial: 7: 12.721
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/15/2020 1: 12.11; Date (DD/MM/YY):10/15/2020 2: 11.652; Date (DD/MM/YY):10/15/2020 3: 11.609; Date (DD/MM/YY):10/15/2020 4: 11.869; Date (DD/MM/YY):10/15/2020 5: 12.072; Date (DD/MM/YY):10/15/2020 6: 12.417; Initial: 7: 12.087
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/15/2020 1: 12.145; Date (DD/MM/YY):10/15/2020 2: 11.686; Date (DD/MM/YY):10/15/2020 3: 11.66; Date (DD/MM/YY):10/15/2020 4: 11.919; Date (DD/MM/YY):10/15/2020 5: 12.115; Date (DD/MM/YY):10/15/2020 6: 12.434; Initial: 7: 12.165
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/15/2020 1: 12.3368; Date (DD/MM/YY):10/15/2020 2: 12.0307; Date (DD/MM/YY):10/15/2020 3: 12.1554; Date (DD/MM/YY):10/15/2020 4: 12.2968; Date (DD/MM/YY):10/15/2020 5: 12.381; Date (DD/MM/YY):10/15/2020 6: 12.7442; Initial: 7: 12.4239
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/15/2020 1: 12.3412; Date (DD/MM/YY):10/15/2020 2: 12.0338; Date (DD/MM/YY):10/15/2020 3: 12.1717; Date (DD/MM/YY):10/15/2020 4: 12.3027; Date (DD/MM/YY):10/15/2020 5: 12.375; Date (DD/MM/YY):10/15/2020 6: 12.7601; Initial: 7: 12.4033
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):10/15/2020 1: 49.44; Date (DD/MM/YY):10/15/2020 2: 48.1535; Date (DD/MM/YY):10/15/2020 3: 48.847; Date (DD/MM/YY):10/15/2020 4: 49.1657; Date (DD/MM/YY):10/15/2020 5: 49.4997; Date (DD/MM/YY):10/15/2020 6: 51.0836; Initial: 7: 49.761 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):10/15/2020 1: 49.4136; Date (DD/MM/YY):10/15/2020 2: 48.1794; Date (DD/MM/YY):10/15/2020 3: 48.6267; Date (DD/MM/YY):10/15/2020 4: 49.2591; Date (DD/MM/YY):10/15/2020 5: 49.5494; Date (DD/MM/YY):10/15/2020 6: 51.0189; Initial: 7: 49.8507 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):10/15/2020 1: 49.3785; Date (DD/MM/YY):10/15/2020 2: 48.1305; Date (DD/MM/YY):10/15/2020 3: 48.6993; Date (DD/MM/YY):10/15/2020 4: 49.2558; Date (DD/MM/YY):10/15/2020 5: 49.5037; Date (DD/MM/YY):10/15/2020 6: 51.0465; Initial: 7: 49.6377 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/15/2020 1: 1.0431; Date (DD/MM/YY):10/15/2020 2: 1.0642; Date (DD/MM/YY):10/15/2020 3: 1.0733; Date (DD/MM/YY):10/15/2020 4: 1.072; Date (DD/MM/YY):10/15/2020 5: 1.0497; Date (DD/MM/YY):10/15/2020 6: 1.062; Initial: 7: 1.0738 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/15/2020 1: 1.034; Date (DD/MM/YY):10/15/2020 2: 1.055; Date (DD/MM/YY):10/15/2020 3: 1.0623; Date (DD/MM/YY):10/15/2020 4: 1.0588; Date (DD/MM/YY):10/15/2020 5: 1.0424; Date (DD/MM/YY):10/15/2020 6: 1.0557; Initial: 7: 1.0667 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/15/2020 1: 1.0677; Date (DD/MM/YY):10/15/2020 2: 1.0852; Date (DD/MM/YY):10/15/2020 3: 1.0849; Date (DD/MM/YY):10/15/2020 4: 1.0711; Date (DD/MM/YY):10/15/2020 5: 1.0756; Date (DD/MM/YY):10/15/2020 6: 1.095; Initial: 7: 1.105 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/15/2020 1: 1.0563; Date (DD/MM/YY):10/15/2020 2: 1.0636; Date (DD/MM/YY):10/15/2020 3: 1.0757; Date (DD/MM/YY):10/15/2020 4: 1.0703; Date (DD/MM/YY):10/15/2020 5: 1.0609; Date (DD/MM/YY):10/15/2020 6: 1.0878; Initial: 7: 1.0949 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/15/2020 1: 0.35558; Date (DD/MM/YY):10/15/2020 2: 0.36379; Date (DD/MM/YY):10/15/2020 3: 0.36936; Date (DD/MM/YY):10/15/2020 4: 0.3739; Date (DD/MM/YY):10/15/2020 5: 0.35556; Date (DD/MM/YY):10/15/2020 6: 0.35823; Initial: 7: 0.3664 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/15/2020 1: 0.31324; Date (DD/MM/YY):10/15/2020 2: 0.32128; Date (DD/MM/YY):10/15/2020 3: 0.32844; Date (DD/MM/YY):10/15/2020 4: 0.33469; Date (DD/MM/YY):10/15/2020 5: 0.32644; Date (DD/MM/YY):10/15/2020 6: 0.33328; Initial: 7: 0.33732 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/15/2020 1: 0.38705; Date (DD/MM/YY):10/15/2020 2: 0.39694; Date (DD/MM/YY):10/15/2020 3: 0.39817; Date (DD/MM/YY):10/15/2020 4: 0.37999; Date (DD/MM/YY):10/15/2020 5: 0.38973; Date (DD/MM/YY):10/15/2020 6: 0.39367; Initial: 7: 0.40145 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/15/2020 1: 0.37251; Date (DD/MM/YY):10/15/2020 2: 0.36751; Date (DD/MM/YY):10/15/2020 3: 0.3797; Date (DD/MM/YY):10/15/2020 4: 0.37965; Date (DD/MM/YY):10/15/2020 5: 0.36949; Date (DD/MM/YY):10/15/2020 6: 0.38055; Initial: 7: 0.38351 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/15/2020 1: 0; Date (DD/MM/YY):10/15/2020 2: 0; Date (DD/MM/YY):10/15/2020 3: 0; Date (DD/MM/YY):10/15/2020 4: 0; Date (DD/MM/YY):10/15/2020 5: 0; Date (DD/MM/YY):10/15/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/15/2020 1: 0; Date (DD/MM/YY):10/15/2020 2: 0; Date (DD/MM/YY):10/15/2020 3: 0; Date (DD/MM/YY):10/15/2020 4: 0; Date (DD/MM/YY):10/15/2020 5: 0; Date (DD/MM/YY):10/15/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/15/2020 1: 0; Date (DD/MM/YY):10/15/2020 2: 0; Date (DD/MM/YY):10/15/2020 3: 0; Date (DD/MM/YY):10/15/2020 4: 0; Date (DD/MM/YY):10/15/2020 5: 0; Date (DD/MM/YY):10/15/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/15/2020 1: 0; Date (DD/MM/YY):10/15/2020 2: 0; Date (DD/MM/YY):10/15/2020 3: 0; Date (DD/MM/YY):10/15/2020 4: 0; Date (DD/MM/YY):10/15/2020 5: 0; Date (DD/MM/YY):10/15/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass