## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1965.9652 | 2005.0907 | 2006.1645 | 1878.5185 | 1872.786 | 2065.9695 | 1907.9649 | -- | -- | --
Post Opto-pack Burn-in |  | 1934.2711 | 1986.8625 | 1990.1264 | 1838.4703 | 1869.0639 | 2041.197 | 1868.6635 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1597.2064 | 1343.5075 | 1605.2646 | 1380.2675 | 1429.3085 | 1365.1799 | 1450.4122 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1544.6586 | 1413.4489 | 1664.8679 | 1317.3674 | 1419.6814 | 1455.0059 | 1543.5569 | -- | -- | --
Change (%) |  | -3.29 | 5.2059 | 3.713 | -4.5571 | -0.67355 | 6.5798 | 6.4219 | -- | -- | --
Opto-board at 0C |  | 1704.2268 | 1496.8923 | 1658.2986 | 1405.9993 | 1536.2412 | 1513.2966 | 1667.0935 | -- | -- | --
Change (%) |  | 6.7005 | 11.4167 | 3.3038 | 1.8643 | 7.4814 | 10.8496 | 14.9393 | -- | -- | --
Opto-board at 50C |  | 1479.4502 | 1343.4498 | 1481.5087 | 1242.0989 | 1334.1604 | 1349.0564 | 1458.4333 | -- | -- | --
Change (%) |  | -7.3726 | -0.0042948 | -7.7094 | -10.0103 | -6.6569 | -1.1811 | 0.55302 | -- | -- | --
Opto-board QA (10C) |  | 1626.6092 | 1457.219 | 1670.3872 | 1393.6308 | 1543.8074 | 1528.7787 | 1651.3078 | -- | -- | --
Change (%) |  | 1.8409 | 8.4638 | 4.0568 | 0.96817 | 8.0108 | 11.9837 | 13.8509 | -- | -- | --
Reception Test |  | 1444.008 | 1299.741 | 1506.684 | 1182.1 | 1108.559 | 1132.041 | 1236.664
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1731.5931 | 1755.5949 | 1741.6765 | 1688.4825 | 1675.7337 | 1813.8525 | 1669.5382 | -- | -- | --
Post Opto-pack Burn-in |  | 1668.5025 | 1678.3526 | 1630.7947 | 1599.1434 | 1580.2666 | 1703.0953 | 1547.4423 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1449.1066 | 1496.6913 | 1495.8142 | 1433.7281 | 936.0366 | 1511.7489 | 1311.1876 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1273.067 | 1109.2016 | 1176.4202 | 1363.6861 | 1122.1334 | 1433.2515 | 1325.4847 | -- | -- | --
Change (%) |  | -12.1482 | -25.8898 | -21.3525 | -4.8853 | 19.8814 | -5.1925 | 1.0904 | -- | -- | --
Opto-board at 0C |  | 1592.3303 | 1483.2791 | 1602.8609 | 1541.3446 | 1216.5045 | 1589.4201 | 1468.4088 | -- | -- | --
Change (%) |  | 9.8836 | -0.89613 | 7.1564 | 7.5061 | 29.9633 | 5.1378 | 11.9907 | -- | -- | --
Opto-board at 50C |  | 1361.2941 | 1265.4753 | 1376.6569 | 1339.1907 | 1059.6855 | 1388.0403 | 1254.7809 | -- | -- | --
Change (%) |  | -6.0598 | -15.4485 | -7.966 | -6.5938 | 13.2098 | -8.1831 | -4.302 | -- | -- | --
Opto-board QA (10C) |  | 1569.8432 | 1478.847 | 1587.5263 | 1498.9942 | 1174.671 | 1570.0492 | 1481.5474 | -- | -- | --
Change (%) |  | 8.3318 | -1.1922 | 6.1312 | 4.5522 | 25.4941 | 3.8565 | 12.9928 | -- | -- | --
Reception Test |  | 1059.642 | 1159.904 | 1125.123 | 1145.071 | 1003.55 | 1174.891 | 1115.346

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 360.5957 |  |  |  | 2020-10-14 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 342.7734 |  |  |  | 2020-10-14 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.42639 |  | 2020-10-14 |  |  |  | Pass
QA | uA | 1 | 0.56018 |  | 2020-10-14 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.48388 | 0.36601 | 0.57445 | 0.37655 | 0.47893 | 0.62628 | 0.50033 | 0.48658 | 0.63978 | 0.53715 | 0.34895 | 0.71186 | 0.47568 | 0.45439 |  |  | Pass
Fall | ns | 1 | 0.60879 | 0.70474 | 0.81335 | 0.82143 | 0.71351 | 0.61871 | 0.5689 | 0.59715 | 0.52223 | 0.53088 | 0.59267 | 0.56191 | 0.56441 | 0.5483 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):10/14/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):10/14/2020 1: 0.55138; Date (DD/MM/YY):10/14/2020 2: 0.56036; Date (DD/MM/YY):10/14/2020 3: 0.58762; Date (DD/MM/YY):10/14/2020 4: 0.58766; Date (DD/MM/YY):10/14/2020 5: 0.6097; Date (DD/MM/YY):10/14/2020 6: 0.60914; Initial: 7: 0.62086 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):10/14/2020 1: 0.52877; Date (DD/MM/YY):10/14/2020 2: 0.54745; Date (DD/MM/YY):10/14/2020 3: 0.57004; Date (DD/MM/YY):10/14/2020 4: 0.57619; Date (DD/MM/YY):10/14/2020 5: 0.59513; Date (DD/MM/YY):10/14/2020 6: 0.60264; Initial: 7: 0.61357 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):10/14/2020 1: 0.63963; Date (DD/MM/YY):10/14/2020 2: 0.69586; Date (DD/MM/YY):10/14/2020 3: 0.6696; Date (DD/MM/YY):10/14/2020 4: 0.63202; Date (DD/MM/YY):10/14/2020 5: 0.68873; Date (DD/MM/YY):10/14/2020 6: 0.65891; Initial: 7: 0.6818 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):10/14/2020 1: 0.65995; Date (DD/MM/YY):10/14/2020 2: 0.64282; Date (DD/MM/YY):10/14/2020 3: 0.6872; Date (DD/MM/YY):10/14/2020 4: 0.65059; Date (DD/MM/YY):10/14/2020 5: 0.63518; Date (DD/MM/YY):10/14/2020 6: 0.6558; Initial: 7: 0.67877 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):10/14/2020 1: 0.08829; Date (DD/MM/YY):10/14/2020 2: 0.09003; Date (DD/MM/YY):10/14/2020 3: 0.10951; Date (DD/MM/YY):10/14/2020 4: 0.17723; Date (DD/MM/YY):10/14/2020 5: 0.12012; Date (DD/MM/YY):10/14/2020 6: 0.06377; Initial: 7: 0.07008 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):10/14/2020 1: 0.06747; Date (DD/MM/YY):10/14/2020 2: 0.092; Date (DD/MM/YY):10/14/2020 3: 0.10308; Date (DD/MM/YY):10/14/2020 4: 0.17781; Date (DD/MM/YY):10/14/2020 5: 0.11135; Date (DD/MM/YY):10/14/2020 6: 0.05093; Initial: 7: 0.06576 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/14/2020 1: 12.267; Date (DD/MM/YY):10/14/2020 2: 12.917; Date (DD/MM/YY):10/14/2020 3: 12.494; Date (DD/MM/YY):10/14/2020 4: 12.158; Date (DD/MM/YY):10/14/2020 5: 12.726; Date (DD/MM/YY):10/14/2020 6: 12.795; Initial: 7: 12.26
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/14/2020 1: 12.239; Date (DD/MM/YY):10/14/2020 2: 12.824; Date (DD/MM/YY):10/14/2020 3: 12.457; Date (DD/MM/YY):10/14/2020 4: 12.161; Date (DD/MM/YY):10/14/2020 5: 12.649; Date (DD/MM/YY):10/14/2020 6: 12.711; Initial: 7: 12.22
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/14/2020 1: 11.737; Date (DD/MM/YY):10/14/2020 2: 12.282; Date (DD/MM/YY):10/14/2020 3: 11.87; Date (DD/MM/YY):10/14/2020 4: 11.52; Date (DD/MM/YY):10/14/2020 5: 12.181; Date (DD/MM/YY):10/14/2020 6: 12.391; Initial: 7: 11.835
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/14/2020 1: 11.813; Date (DD/MM/YY):10/14/2020 2: 12.316; Date (DD/MM/YY):10/14/2020 3: 11.862; Date (DD/MM/YY):10/14/2020 4: 11.535; Date (DD/MM/YY):10/14/2020 5: 12.175; Date (DD/MM/YY):10/14/2020 6: 12.415; Initial: 7: 11.858
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/14/2020 1: 12.013; Date (DD/MM/YY):10/14/2020 2: 12.564; Date (DD/MM/YY):10/14/2020 3: 12.1501; Date (DD/MM/YY):10/14/2020 4: 11.8436; Date (DD/MM/YY):10/14/2020 5: 12.4451; Date (DD/MM/YY):10/14/2020 6: 12.5915; Initial: 7: 12.0395
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/14/2020 1: 12.031; Date (DD/MM/YY):10/14/2020 2: 12.5629; Date (DD/MM/YY):10/14/2020 3: 12.1669; Date (DD/MM/YY):10/14/2020 4: 11.8378; Date (DD/MM/YY):10/14/2020 5: 12.434; Date (DD/MM/YY):10/14/2020 6: 12.5662; Initial: 7: 12.033
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):10/14/2020 1: 48.255; Date (DD/MM/YY):10/14/2020 2: 50.4375; Date (DD/MM/YY):10/14/2020 3: 48.758; Date (DD/MM/YY):10/14/2020 4: 47.4276; Date (DD/MM/YY):10/14/2020 5: 49.8372; Date (DD/MM/YY):10/14/2020 6: 50.4137; Initial: 7: 48.291 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):10/14/2020 1: 48.1398; Date (DD/MM/YY):10/14/2020 2: 50.3167; Date (DD/MM/YY):10/14/2020 3: 48.6819; Date (DD/MM/YY):10/14/2020 4: 47.4171; Date (DD/MM/YY):10/14/2020 5: 49.8612; Date (DD/MM/YY):10/14/2020 6: 50.4477; Initial: 7: 48.2373 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):10/14/2020 1: 48.14; Date (DD/MM/YY):10/14/2020 2: 50.2569; Date (DD/MM/YY):10/14/2020 3: 48.6665; Date (DD/MM/YY):10/14/2020 4: 47.3391; Date (DD/MM/YY):10/14/2020 5: 49.7643; Date (DD/MM/YY):10/14/2020 6: 50.2802; Initial: 7: 48.1487 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/14/2020 1: 1.0489; Date (DD/MM/YY):10/14/2020 2: 1.035; Date (DD/MM/YY):10/14/2020 3: 1.0578; Date (DD/MM/YY):10/14/2020 4: 1.0656; Date (DD/MM/YY):10/14/2020 5: 1.0576; Date (DD/MM/YY):10/14/2020 6: 1.0651; Initial: 7: 1.0695 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/14/2020 1: 1.0409; Date (DD/MM/YY):10/14/2020 2: 1.0307; Date (DD/MM/YY):10/14/2020 3: 1.0486; Date (DD/MM/YY):10/14/2020 4: 1.0556; Date (DD/MM/YY):10/14/2020 5: 1.0519; Date (DD/MM/YY):10/14/2020 6: 1.0611; Initial: 7: 1.0641 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/14/2020 1: 1.06; Date (DD/MM/YY):10/14/2020 2: 1.0655; Date (DD/MM/YY):10/14/2020 3: 1.0912; Date (DD/MM/YY):10/14/2020 4: 1.0816; Date (DD/MM/YY):10/14/2020 5: 1.0957; Date (DD/MM/YY):10/14/2020 6: 1.1033; Initial: 7: 1.1113 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/14/2020 1: 1.051; Date (DD/MM/YY):10/14/2020 2: 1.0475; Date (DD/MM/YY):10/14/2020 3: 1.0833; Date (DD/MM/YY):10/14/2020 4: 1.0831; Date (DD/MM/YY):10/14/2020 5: 1.0823; Date (DD/MM/YY):10/14/2020 6: 1.0976; Initial: 7: 1.1025 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/14/2020 1: 0.35945; Date (DD/MM/YY):10/14/2020 2: 0.35068; Date (DD/MM/YY):10/14/2020 3: 0.3666; Date (DD/MM/YY):10/14/2020 4: 0.36773; Date (DD/MM/YY):10/14/2020 5: 0.35697; Date (DD/MM/YY):10/14/2020 6: 0.35824; Initial: 7: 0.36383 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/14/2020 1: 0.31411; Date (DD/MM/YY):10/14/2020 2: 0.3129; Date (DD/MM/YY):10/14/2020 3: 0.32283; Date (DD/MM/YY):10/14/2020 4: 0.32345; Date (DD/MM/YY):10/14/2020 5: 0.32468; Date (DD/MM/YY):10/14/2020 6: 0.33098; Initial: 7: 0.33211 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/14/2020 1: 0.38374; Date (DD/MM/YY):10/14/2020 2: 0.38946; Date (DD/MM/YY):10/14/2020 3: 0.40577; Date (DD/MM/YY):10/14/2020 4: 0.38334; Date (DD/MM/YY):10/14/2020 5: 0.39636; Date (DD/MM/YY):10/14/2020 6: 0.39662; Initial: 7: 0.4046 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/14/2020 1: 0.366; Date (DD/MM/YY):10/14/2020 2: 0.35798; Date (DD/MM/YY):10/14/2020 3: 0.38173; Date (DD/MM/YY):10/14/2020 4: 0.37888; Date (DD/MM/YY):10/14/2020 5: 0.37288; Date (DD/MM/YY):10/14/2020 6: 0.38002; Initial: 7: 0.3828 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/14/2020 1: 0; Date (DD/MM/YY):10/14/2020 2: 0; Date (DD/MM/YY):10/14/2020 3: 0; Date (DD/MM/YY):10/14/2020 4: 0; Date (DD/MM/YY):10/14/2020 5: 0; Date (DD/MM/YY):10/14/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/14/2020 1: 0; Date (DD/MM/YY):10/14/2020 2: 0; Date (DD/MM/YY):10/14/2020 3: 0; Date (DD/MM/YY):10/14/2020 4: 0; Date (DD/MM/YY):10/14/2020 5: 0; Date (DD/MM/YY):10/14/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/14/2020 1: 0; Date (DD/MM/YY):10/14/2020 2: 0; Date (DD/MM/YY):10/14/2020 3: 0; Date (DD/MM/YY):10/14/2020 4: 0; Date (DD/MM/YY):10/14/2020 5: 0; Date (DD/MM/YY):10/14/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/14/2020 1: 0; Date (DD/MM/YY):10/14/2020 2: 0; Date (DD/MM/YY):10/14/2020 3: 0; Date (DD/MM/YY):10/14/2020 4: 0; Date (DD/MM/YY):10/14/2020 5: 0; Date (DD/MM/YY):10/14/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass