## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2057.2906 | 1957.8706 | 2030.9359 | 1913.5295 | 1892.4076 | 1971.2668 | 1944.0432 | -- | -- | --
Post Opto-pack Burn-in |  | 1884.8993 | 1813.6798 | 1829.2516 | 1757.0333 | 1760.2703 | 1813.49 | 1810.5239 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1561.0816 | 1226.54 | 1411.3466 | 1157.6973 | 1340.1107 | 1182.7689 | 1455.2433 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1385.0421 | 1063.1648 | 1335.1953 | 1063.7954 | 1254.5413 | 1098.3556 | 1307.3975 | -- | -- | --
Change (%) |  | -11.2768 | -13.32 | -5.3957 | -8.1111 | -6.3853 | -7.1369 | -10.1595 | -- | -- | --
Opto-board at 0C |  | 1513.4956 | 1158.1235 | 1505.096 | 1151.6744 | 1353.5209 | 1169.7735 | 1452.0739 | -- | -- | --
Change (%) |  | -3.0483 | -5.578 | 6.6425 | -0.52025 | 1.0007 | -1.0987 | -0.21779 | -- | -- | --
Opto-board at 50C |  | 1296.65 | 1011.9266 | 1361.3023 | 1033.627 | 1205.245 | 1043.975 | 1271.7541 | -- | -- | --
Change (%) |  | -16.939 | -17.4975 | -3.5459 | -10.717 | -10.0638 | -11.7347 | -12.6088 | -- | -- | --
Opto-board QA (10C) |  | 1522.1036 | 1223.8363 | 1438.9735 | 1184.3075 | 1367.7534 | 1187.8125 | 1408.2863 | -- | -- | --
Change (%) |  | -2.4969 | -0.22043 | 1.9575 | 2.2985 | 2.0627 | 0.42642 | -3.2267 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1875.9344 | 1904.1778 | 1925.3941 | 1838.7482 | 1985.8145 | 1982.3462 | 1979.7892 | -- | -- | --
Post Opto-pack Burn-in |  | 1756.3752 | 1752.4953 | 1797.8561 | 1710.0056 | 1850.8981 | 1831.1905 | 1862.1856 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1138.9012 | 1194.0803 | 1198.9233 | 1240.4466 | 1146.149 | 1268.6885 | 1301.7881 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1201.5858 | 1144.4702 | 1251.4951 | 1195.1021 | 1158.6953 | 1222.3788 | 1179.17 | -- | -- | --
Change (%) |  | 5.504 | -4.1547 | 4.3849 | -3.6555 | 1.0946 | -3.6502 | -9.4192 | -- | -- | --
Opto-board at 0C |  | 1345.7108 | 1317.212 | 1433.8568 | 1339.4019 | 1329.6005 | 1434.4909 | 1504.858 | -- | -- | --
Change (%) |  | 18.1587 | 10.3118 | 19.5954 | 7.9774 | 16.0059 | 13.0688 | 15.5993 | -- | -- | --
Opto-board at 50C |  | 1127.2115 | 1117.1006 | 1216.1239 | 1111.6505 | 1143.5698 | 1191.6089 | 1259.151 | -- | -- | --
Change (%) |  | -1.0264 | -6.4468 | 1.4347 | -10.383 | -0.22503 | -6.0755 | -3.2753 | -- | -- | --
Opto-board QA (10C) |  | 1317.4554 | 1302.1467 | 1408.1298 | 1315.6045 | 1299.7464 | 1402.1905 | 1447.1421 | -- | -- | --
Change (%) |  | 15.6778 | 9.0502 | 17.4495 | 6.0589 | 13.4012 | 10.5228 | 11.1657 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 345.459 |  |  |  | 2020-10-23 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 330.3467 |  |  |  | 2020-10-23 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.61687 |  | 2020-10-23 |  |  |  | Pass
QA | uA | 1 | 0.61794 |  | 2020-10-23 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.41179 | 0.45741 | 0.50814 | 0.5081 | 0.54957 | 0.52506 | 0.43241 | 0.50972 | 0.64849 | 0.58008 | 0.50273 | 0.62375 | 0.42189 | 0.38413 |  |  | Pass
Fall | ns | 1 | 0.71169 | 0.69117 | 0.7509 | 0.73084 | 0.7521 | 0.76291 | 0.68579 | 0.67903 | 0.59555 | 0.65444 | 0.58423 | 0.57934 | 0.60994 | 0.66204 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):10/23/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):10/23/2020 1: 0.4959; Date (DD/MM/YY):10/23/2020 2: 0.51288; Date (DD/MM/YY):10/23/2020 3: 0.52313; Date (DD/MM/YY):10/23/2020 4: 0.53529; Date (DD/MM/YY):10/23/2020 5: 0.55912; Date (DD/MM/YY):10/23/2020 6: 0.56466; Initial: 7: 0.56723 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):10/23/2020 1: 0.48198; Date (DD/MM/YY):10/23/2020 2: 0.49643; Date (DD/MM/YY):10/23/2020 3: 0.51892; Date (DD/MM/YY):10/23/2020 4: 0.53949; Date (DD/MM/YY):10/23/2020 5: 0.54826; Date (DD/MM/YY):10/23/2020 6: 0.56118; Initial: 7: 0.58896 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):10/23/2020 1: 0.64811; Date (DD/MM/YY):10/23/2020 2: 0.6467; Date (DD/MM/YY):10/23/2020 3: 0.62588; Date (DD/MM/YY):10/23/2020 4: 0.60567; Date (DD/MM/YY):10/23/2020 5: 0.6173; Date (DD/MM/YY):10/23/2020 6: 0.62515; Initial: 7: 0.62095 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):10/23/2020 1: 0.6321; Date (DD/MM/YY):10/23/2020 2: 0.6103; Date (DD/MM/YY):10/23/2020 3: 0.63856; Date (DD/MM/YY):10/23/2020 4: 0.61634; Date (DD/MM/YY):10/23/2020 5: 0.59324; Date (DD/MM/YY):10/23/2020 6: 0.62253; Initial: 7: 0.64671 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):10/23/2020 1: 0.1758; Date (DD/MM/YY):10/23/2020 2: 0.14465; Date (DD/MM/YY):10/23/2020 3: 0.2118; Date (DD/MM/YY):10/23/2020 4: 0.06689; Date (DD/MM/YY):10/23/2020 5: 0.07911; Date (DD/MM/YY):10/23/2020 6: 0.08269; Initial: 7: 0.09662 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):10/23/2020 1: 0.1598; Date (DD/MM/YY):10/23/2020 2: 0.12491; Date (DD/MM/YY):10/23/2020 3: 0.21285; Date (DD/MM/YY):10/23/2020 4: 0.05871; Date (DD/MM/YY):10/23/2020 5: 0.06569; Date (DD/MM/YY):10/23/2020 6: 0.08855; Initial: 7: 0.09161 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/23/2020 1: 13.032; Date (DD/MM/YY):10/23/2020 2: 13.168; Date (DD/MM/YY):10/23/2020 3: 12.787; Date (DD/MM/YY):10/23/2020 4: 12.379; Date (DD/MM/YY):10/23/2020 5: 13.252; Date (DD/MM/YY):10/23/2020 6: 11.463; Initial: 7: 12.739
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/23/2020 1: 12.963; Date (DD/MM/YY):10/23/2020 2: 13.119; Date (DD/MM/YY):10/23/2020 3: 12.674; Date (DD/MM/YY):10/23/2020 4: 12.339; Date (DD/MM/YY):10/23/2020 5: 13.237; Date (DD/MM/YY):10/23/2020 6: 11.46; Initial: 7: 12.728
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/23/2020 1: 12.343; Date (DD/MM/YY):10/23/2020 2: 12.495; Date (DD/MM/YY):10/23/2020 3: 11.936; Date (DD/MM/YY):10/23/2020 4: 11.979; Date (DD/MM/YY):10/23/2020 5: 12.826; Date (DD/MM/YY):10/23/2020 6: 11.018; Initial: 7: 12.265
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/23/2020 1: 12.37; Date (DD/MM/YY):10/23/2020 2: 12.54; Date (DD/MM/YY):10/23/2020 3: 11.937; Date (DD/MM/YY):10/23/2020 4: 11.956; Date (DD/MM/YY):10/23/2020 5: 12.838; Date (DD/MM/YY):10/23/2020 6: 11.01; Initial: 7: 12.298
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/23/2020 1: 12.6654; Date (DD/MM/YY):10/23/2020 2: 12.821; Date (DD/MM/YY):10/23/2020 3: 12.3295; Date (DD/MM/YY):10/23/2020 4: 12.1865; Date (DD/MM/YY):10/23/2020 5: 13.0384; Date (DD/MM/YY):10/23/2020 6: 11.2499; Initial: 7: 12.5126
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/23/2020 1: 12.6541; Date (DD/MM/YY):10/23/2020 2: 12.8065; Date (DD/MM/YY):10/23/2020 3: 12.3108; Date (DD/MM/YY):10/23/2020 4: 12.1752; Date (DD/MM/YY):10/23/2020 5: 13.0324; Date (DD/MM/YY):10/23/2020 6: 11.2505; Initial: 7: 12.5095
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):10/23/2020 1: 50.6754; Date (DD/MM/YY):10/23/2020 2: 51.1602; Date (DD/MM/YY):10/23/2020 3: 49.3478; Date (DD/MM/YY):10/23/2020 4: 48.7907; Date (DD/MM/YY):10/23/2020 5: 52.2306; Date (DD/MM/YY):10/23/2020 6: 45.0861; Initial: 7: 50.1943 | Fail
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):10/23/2020 1: 50.7209; Date (DD/MM/YY):10/23/2020 2: 51.3679; Date (DD/MM/YY):10/23/2020 3: 49.3918; Date (DD/MM/YY):10/23/2020 4: 48.7555; Date (DD/MM/YY):10/23/2020 5: 52.1823; Date (DD/MM/YY):10/23/2020 6: 45.0123; Initial: 7: 50.0533 | Fail
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):10/23/2020 1: 50.6242; Date (DD/MM/YY):10/23/2020 2: 51.2353; Date (DD/MM/YY):10/23/2020 3: 49.2963; Date (DD/MM/YY):10/23/2020 4: 48.7253; Date (DD/MM/YY):10/23/2020 5: 52.1294; Date (DD/MM/YY):10/23/2020 6: 45.0196; Initial: 7: 50.024 | Fail
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/23/2020 1: 1.0557; Date (DD/MM/YY):10/23/2020 2: 1.0573; Date (DD/MM/YY):10/23/2020 3: 1.0582; Date (DD/MM/YY):10/23/2020 4: 1.0247; Date (DD/MM/YY):10/23/2020 5: 1.033; Date (DD/MM/YY):10/23/2020 6: 1.0195; Initial: 7: 1.0203 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/23/2020 1: 1.0521; Date (DD/MM/YY):10/23/2020 2: 1.0531; Date (DD/MM/YY):10/23/2020 3: 1.051; Date (DD/MM/YY):10/23/2020 4: 1.0242; Date (DD/MM/YY):10/23/2020 5: 1.0348; Date (DD/MM/YY):10/23/2020 6: 1.0196; Initial: 7: 1.0201 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/23/2020 1: 1.0752; Date (DD/MM/YY):10/23/2020 2: 1.0875; Date (DD/MM/YY):10/23/2020 3: 1.0874; Date (DD/MM/YY):10/23/2020 4: 1.0396; Date (DD/MM/YY):10/23/2020 5: 1.0689; Date (DD/MM/YY):10/23/2020 6: 1.0614; Initial: 7: 1.0587 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/23/2020 1: 1.0642; Date (DD/MM/YY):10/23/2020 2: 1.0671; Date (DD/MM/YY):10/23/2020 3: 1.0796; Date (DD/MM/YY):10/23/2020 4: 1.0428; Date (DD/MM/YY):10/23/2020 5: 1.0572; Date (DD/MM/YY):10/23/2020 6: 1.058; Initial: 7: 1.0534 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/23/2020 1: 0.3491; Date (DD/MM/YY):10/23/2020 2: 0.35107; Date (DD/MM/YY):10/23/2020 3: 0.35534; Date (DD/MM/YY):10/23/2020 4: 0.33952; Date (DD/MM/YY):10/23/2020 5: 0.33797; Date (DD/MM/YY):10/23/2020 6: 0.33555; Initial: 7: 0.33551 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/23/2020 1: 0.33352; Date (DD/MM/YY):10/23/2020 2: 0.33311; Date (DD/MM/YY):10/23/2020 3: 0.33404; Date (DD/MM/YY):10/23/2020 4: 0.31638; Date (DD/MM/YY):10/23/2020 5: 0.32716; Date (DD/MM/YY):10/23/2020 6: 0.31064; Initial: 7: 0.31936 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/23/2020 1: 0.39269; Date (DD/MM/YY):10/23/2020 2: 0.40042; Date (DD/MM/YY):10/23/2020 3: 0.40393; Date (DD/MM/YY):10/23/2020 4: 0.36781; Date (DD/MM/YY):10/23/2020 5: 0.38696; Date (DD/MM/YY):10/23/2020 6: 0.37589; Initial: 7: 0.38003 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/23/2020 1: 0.37194; Date (DD/MM/YY):10/23/2020 2: 0.3706; Date (DD/MM/YY):10/23/2020 3: 0.38178; Date (DD/MM/YY):10/23/2020 4: 0.36246; Date (DD/MM/YY):10/23/2020 5: 0.36482; Date (DD/MM/YY):10/23/2020 6: 0.36223; Initial: 7: 0.36136 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/23/2020 1: 0; Date (DD/MM/YY):10/23/2020 2: 0; Date (DD/MM/YY):10/23/2020 3: 0; Date (DD/MM/YY):10/23/2020 4: 0; Date (DD/MM/YY):10/23/2020 5: 0; Date (DD/MM/YY):10/23/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/23/2020 1: 0; Date (DD/MM/YY):10/23/2020 2: 0; Date (DD/MM/YY):10/23/2020 3: 0; Date (DD/MM/YY):10/23/2020 4: 0; Date (DD/MM/YY):10/23/2020 5: 0; Date (DD/MM/YY):10/23/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/23/2020 1: 0; Date (DD/MM/YY):10/23/2020 2: 0; Date (DD/MM/YY):10/23/2020 3: 0; Date (DD/MM/YY):10/23/2020 4: 0; Date (DD/MM/YY):10/23/2020 5: 0; Date (DD/MM/YY):10/23/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/23/2020 1: 0; Date (DD/MM/YY):10/23/2020 2: 0; Date (DD/MM/YY):10/23/2020 3: 0; Date (DD/MM/YY):10/23/2020 4: 0; Date (DD/MM/YY):10/23/2020 5: 0; Date (DD/MM/YY):10/23/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass