## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2055.6438 | 1980.1062 | 1970.1807 | 1952.1421 | 1993.0584 | 1982.2837 | 2018.9705 | -- | -- | --
Post Opto-pack Burn-in |  | 1971.8691 | 1916.9211 | 1903.0051 | 1896.0728 | 1939.1606 | 1917.2566 | 1937.038 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1309.3977 | 1069.5695 | 1127.9188 | 1049.7419 | 1177.4089 | 958.0591 | 1152.8025 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1345.8707 | 1079.0242 | 1255.3144 | 1062.8812 | 1328.8292 | 997.1509 | 1207.6575 | -- | -- | --
Change (%) |  | 2.7855 | 0.88397 | 11.2947 | 1.2517 | 12.8605 | 4.0803 | 4.7584 | -- | -- | --
Opto-board at 0C |  | 1484.2475 | 1219.1626 | 1294.3599 | 1182.1117 | 1129.6026 | 1152.3671 | 1306.1872 | -- | -- | --
Change (%) |  | 13.3535 | 13.9863 | 14.7565 | 12.6097 | -4.0603 | 20.2814 | 13.3054 | -- | -- | --
Opto-board at 50C |  | 1314.7366 | 1123.5856 | 1151.3562 | 1075.2586 | 1072.8756 | 1020.3564 | 1183.4302 | -- | -- | --
Change (%) |  | 0.40774 | 5.0503 | 2.0779 | 2.4308 | -8.8782 | 6.5025 | 2.6568 | -- | -- | --
Opto-board QA (10C) |  | 1474.798 | 1221.2645 | 1315.0676 | 1163.4962 | 1128.3448 | 1147.675 | 1296.6583 | -- | -- | --
Change (%) |  | 12.6318 | 14.1828 | 16.5924 | 10.8364 | -4.1671 | 19.7917 | 12.4788 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2144.5516 | 2097.6781 | 2134.8395 | 2037.4426 | 2139.5448 | 2112.1658 | 2130.5916 | -- | -- | --
Post Opto-pack Burn-in |  | 2012.509 | 1956.8429 | 2038.4891 | 1908.1145 | 1993.8623 | 1952.8109 | 2000.0141 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1436.9302 | 1155.9702 | 1552.7832 | 1407.5795 | 1209.4567 | 1437.7116 | 1535.5242 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1337.1125 | 1303.1028 | 1491.0475 | 1344.3708 | 1274.7767 | 1453.8524 | 1502.9649 | -- | -- | --
Change (%) |  | -6.9466 | 12.7281 | -3.9758 | -4.4906 | 5.4008 | 1.1227 | -2.1204 | -- | -- | --
Opto-board at 0C |  | 1485.1491 | 1455.9899 | 1495.3061 | 1435.3538 | 1385.5014 | 1531.5329 | 1585.8279 | -- | -- | --
Change (%) |  | 3.3557 | 25.9539 | -3.7016 | 1.9732 | 14.5557 | 6.5257 | 3.276 | -- | -- | --
Opto-board at 50C |  | 1291.8678 | 1267.8789 | 1349.3964 | 1265.236 | 1212.3571 | 1346.3785 | 1405.1078 | -- | -- | --
Change (%) |  | -10.0953 | 9.6809 | -13.0982 | -10.1126 | 0.23981 | -6.3527 | -8.4933 | -- | -- | --
Opto-board QA (10C) |  | 1494.9822 | 1451.2541 | 1515.352 | 1431.3861 | 1311.4519 | 1543.2136 | 1627.8339 | -- | -- | --
Change (%) |  | 4.04 | 25.5442 | -2.4106 | 1.6913 | 8.4331 | 7.3382 | 6.0116 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 359.7412 |  |  |  | 2020-10-19 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 341.2598 |  |  |  | 2020-10-19 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.48874 |  | 2020-10-19 |  |  |  | Pass
QA | uA | 1 | 0.52081 |  | 2020-10-19 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.51785 | 0.6117 | 0.48617 | 0.3677 | 0.54388 | 0.45016 | 0.40432 | 0.54732 | 0.68092 | 0.69889 | 0.55587 | 0.71729 | 0.28566 | 0.46945 |  |  | Pass
Fall | ns | 1 | 0.62408 | 0.65121 | 0.71764 | 0.7994 | 0.76374 | 0.84023 | 0.68468 | 0.65315 | 0.49382 | 0.67043 | 0.56927 | 0.57064 | 0.67765 | 0.50918 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):10/19/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):10/19/2020 1: 0.49981; Date (DD/MM/YY):10/19/2020 2: 0.52002; Date (DD/MM/YY):10/19/2020 3: 0.55401; Date (DD/MM/YY):10/19/2020 4: 0.54961; Date (DD/MM/YY):10/19/2020 5: 0.55996; Date (DD/MM/YY):10/19/2020 6: 0.56875; Initial: 7: 0.58938 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):10/19/2020 1: 0.46553; Date (DD/MM/YY):10/19/2020 2: 0.49071; Date (DD/MM/YY):10/19/2020 3: 0.51299; Date (DD/MM/YY):10/19/2020 4: 0.5262; Date (DD/MM/YY):10/19/2020 5: 0.552; Date (DD/MM/YY):10/19/2020 6: 0.55726; Initial: 7: 0.5825 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):10/19/2020 1: 0.58079; Date (DD/MM/YY):10/19/2020 2: 0.64286; Date (DD/MM/YY):10/19/2020 3: 0.60158; Date (DD/MM/YY):10/19/2020 4: 0.58105; Date (DD/MM/YY):10/19/2020 5: 0.62407; Date (DD/MM/YY):10/19/2020 6: 0.61296; Initial: 7: 0.64117 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):10/19/2020 1: 0.60783; Date (DD/MM/YY):10/19/2020 2: 0.55282; Date (DD/MM/YY):10/19/2020 3: 0.58809; Date (DD/MM/YY):10/19/2020 4: 0.61567; Date (DD/MM/YY):10/19/2020 5: 0.57716; Date (DD/MM/YY):10/19/2020 6: 0.63351; Initial: 7: 0.64623 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):10/19/2020 1: 0.09448; Date (DD/MM/YY):10/19/2020 2: 0.09237; Date (DD/MM/YY):10/19/2020 3: 0.0639; Date (DD/MM/YY):10/19/2020 4: 0.18972; Date (DD/MM/YY):10/19/2020 5: 0.1285; Date (DD/MM/YY):10/19/2020 6: 0.06127; Initial: 7: 0.17419 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):10/19/2020 1: 0.09167; Date (DD/MM/YY):10/19/2020 2: 0.06278; Date (DD/MM/YY):10/19/2020 3: 0.06486; Date (DD/MM/YY):10/19/2020 4: 0.17745; Date (DD/MM/YY):10/19/2020 5: 0.12403; Date (DD/MM/YY):10/19/2020 6: 0.04544; Initial: 7: 0.16873 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/19/2020 1: 12.832; Date (DD/MM/YY):10/19/2020 2: 12.541; Date (DD/MM/YY):10/19/2020 3: 12.847; Date (DD/MM/YY):10/19/2020 4: 13.181; Date (DD/MM/YY):10/19/2020 5: 12.649; Date (DD/MM/YY):10/19/2020 6: 12.845; Initial: 7: 12.255
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/19/2020 1: 12.823; Date (DD/MM/YY):10/19/2020 2: 12.423; Date (DD/MM/YY):10/19/2020 3: 12.818; Date (DD/MM/YY):10/19/2020 4: 13.142; Date (DD/MM/YY):10/19/2020 5: 12.589; Date (DD/MM/YY):10/19/2020 6: 12.794; Initial: 7: 12.234
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/19/2020 1: 12.27; Date (DD/MM/YY):10/19/2020 2: 11.973; Date (DD/MM/YY):10/19/2020 3: 12.378; Date (DD/MM/YY):10/19/2020 4: 12.481; Date (DD/MM/YY):10/19/2020 5: 12.047; Date (DD/MM/YY):10/19/2020 6: 12.449; Initial: 7: 11.595
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/19/2020 1: 12.338; Date (DD/MM/YY):10/19/2020 2: 12.039; Date (DD/MM/YY):10/19/2020 3: 12.432; Date (DD/MM/YY):10/19/2020 4: 12.54; Date (DD/MM/YY):10/19/2020 5: 12.057; Date (DD/MM/YY):10/19/2020 6: 12.517; Initial: 7: 11.639
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/19/2020 1: 12.5334; Date (DD/MM/YY):10/19/2020 2: 12.2322; Date (DD/MM/YY):10/19/2020 3: 12.6081; Date (DD/MM/YY):10/19/2020 4: 12.8148; Date (DD/MM/YY):10/19/2020 5: 12.3255; Date (DD/MM/YY):10/19/2020 6: 12.6575; Initial: 7: 11.9332
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/19/2020 1: 12.5699; Date (DD/MM/YY):10/19/2020 2: 12.2318; Date (DD/MM/YY):10/19/2020 3: 12.6171; Date (DD/MM/YY):10/19/2020 4: 12.8188; Date (DD/MM/YY):10/19/2020 5: 12.3138; Date (DD/MM/YY):10/19/2020 6: 12.6498; Initial: 7: 11.9292
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):10/19/2020 1: 50.3429; Date (DD/MM/YY):10/19/2020 2: 49.088; Date (DD/MM/YY):10/19/2020 3: 50.4225; Date (DD/MM/YY):10/19/2020 4: 51.3734; Date (DD/MM/YY):10/19/2020 5: 49.3493; Date (DD/MM/YY):10/19/2020 6: 50.6137; Initial: 7: 47.8999 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):10/19/2020 1: 49.7832; Date (DD/MM/YY):10/19/2020 2: 48.8857; Date (DD/MM/YY):10/19/2020 3: 50.3254; Date (DD/MM/YY):10/19/2020 4: 51.2975; Date (DD/MM/YY):10/19/2020 5: 49.3257; Date (DD/MM/YY):10/19/2020 6: 50.6587; Initial: 7: 47.6633 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):10/19/2020 1: 50.2901; Date (DD/MM/YY):10/19/2020 2: 48.8713; Date (DD/MM/YY):10/19/2020 3: 50.9244; Date (DD/MM/YY):10/19/2020 4: 51.2823; Date (DD/MM/YY):10/19/2020 5: 49.2592; Date (DD/MM/YY):10/19/2020 6: 50.6059; Initial: 7: 47.7412 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/19/2020 1: 1.1117; Date (DD/MM/YY):10/19/2020 2: 1.1091; Date (DD/MM/YY):10/19/2020 3: 1.1024; Date (DD/MM/YY):10/19/2020 4: 1.0575; Date (DD/MM/YY):10/19/2020 5: 1.0599; Date (DD/MM/YY):10/19/2020 6: 1.0637; Initial: 7: 1.0685 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/19/2020 1: 1.1058; Date (DD/MM/YY):10/19/2020 2: 1.1054; Date (DD/MM/YY):10/19/2020 3: 1.0973; Date (DD/MM/YY):10/19/2020 4: 1.052; Date (DD/MM/YY):10/19/2020 5: 1.0557; Date (DD/MM/YY):10/19/2020 6: 1.0606; Initial: 7: 1.0637 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/19/2020 1: 1.1105; Date (DD/MM/YY):10/19/2020 2: 1.1288; Date (DD/MM/YY):10/19/2020 3: 1.1157; Date (DD/MM/YY):10/19/2020 4: 1.0669; Date (DD/MM/YY):10/19/2020 5: 1.0802; Date (DD/MM/YY):10/19/2020 6: 1.0784; Initial: 7: 1.0862 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/19/2020 1: 1.1121; Date (DD/MM/YY):10/19/2020 2: 1.098; Date (DD/MM/YY):10/19/2020 3: 1.1075; Date (DD/MM/YY):10/19/2020 4: 1.0726; Date (DD/MM/YY):10/19/2020 5: 1.0687; Date (DD/MM/YY):10/19/2020 6: 1.0827; Initial: 7: 1.0823 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/19/2020 1: 0.3745; Date (DD/MM/YY):10/19/2020 2: 0.36423; Date (DD/MM/YY):10/19/2020 3: 0.365; Date (DD/MM/YY):10/19/2020 4: 0.35812; Date (DD/MM/YY):10/19/2020 5: 0.35516; Date (DD/MM/YY):10/19/2020 6: 0.3531; Initial: 7: 0.3601 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/19/2020 1: 0.3474; Date (DD/MM/YY):10/19/2020 2: 0.34041; Date (DD/MM/YY):10/19/2020 3: 0.34219; Date (DD/MM/YY):10/19/2020 4: 0.33371; Date (DD/MM/YY):10/19/2020 5: 0.33428; Date (DD/MM/YY):10/19/2020 6: 0.33641; Initial: 7: 0.33736 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/19/2020 1: 0.40107; Date (DD/MM/YY):10/19/2020 2: 0.40717; Date (DD/MM/YY):10/19/2020 3: 0.39707; Date (DD/MM/YY):10/19/2020 4: 0.37679; Date (DD/MM/YY):10/19/2020 5: 0.38945; Date (DD/MM/YY):10/19/2020 6: 0.37857; Initial: 7: 0.3824 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/19/2020 1: 0.40264; Date (DD/MM/YY):10/19/2020 2: 0.38581; Date (DD/MM/YY):10/19/2020 3: 0.3753; Date (DD/MM/YY):10/19/2020 4: 0.38225; Date (DD/MM/YY):10/19/2020 5: 0.37298; Date (DD/MM/YY):10/19/2020 6: 0.37562; Initial: 7: 0.37482 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/19/2020 1: 0; Date (DD/MM/YY):10/19/2020 2: 0; Date (DD/MM/YY):10/19/2020 3: 0; Date (DD/MM/YY):10/19/2020 4: 0; Date (DD/MM/YY):10/19/2020 5: 0; Date (DD/MM/YY):10/19/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/19/2020 1: 0; Date (DD/MM/YY):10/19/2020 2: 0; Date (DD/MM/YY):10/19/2020 3: 0; Date (DD/MM/YY):10/19/2020 4: 0; Date (DD/MM/YY):10/19/2020 5: 0; Date (DD/MM/YY):10/19/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/19/2020 1: 0; Date (DD/MM/YY):10/19/2020 2: 0; Date (DD/MM/YY):10/19/2020 3: 0; Date (DD/MM/YY):10/19/2020 4: 0; Date (DD/MM/YY):10/19/2020 5: 0; Date (DD/MM/YY):10/19/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/19/2020 1: 0; Date (DD/MM/YY):10/19/2020 2: 0; Date (DD/MM/YY):10/19/2020 3: 0; Date (DD/MM/YY):10/19/2020 4: 0; Date (DD/MM/YY):10/19/2020 5: 0; Date (DD/MM/YY):10/19/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass