## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2159.9693 | 2218.6648 | 2114.5681 | 2077.632 | 2169.6451 | 2138.6734 | 2199.7996 | -- | -- | --
Post Opto-pack Burn-in |  | 2081.3149 | 2083.9071 | 2029.1713 | 1992.9477 | 2135.5567 | 2022.3181 | 2084.0732 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1283.0609 | 1057.8068 | 1278.0118 | 1080.932 | 1346.7674 | 1061.9437 | 1260.4713 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1498.3589 | 1225.9465 | 1486.0681 | 1239.1143 | 1604.4239 | 1079.7542 | 1543.6493 | -- | -- | --
Change (%) |  | 16.78 | 15.8951 | 16.2797 | 14.6339 | 19.1315 | 1.6772 | 22.466 | -- | -- | --
Opto-board at 0C |  | 1572.2334 | 1346.0793 | 1624.7524 | 1314.7145 | 1599.8571 | 1119.9971 | 1637.3992 | -- | -- | --
Change (%) |  | 22.5377 | 27.2519 | 27.1313 | 21.6279 | 18.7924 | 5.4667 | 29.9037 | -- | -- | --
Opto-board at 50C |  | 1349.8652 | 1191.9114 | 1390.209 | 1153.2249 | 1433.5173 | 993.0563 | 1417.8459 | -- | -- | --
Change (%) |  | 5.2066 | 12.6776 | 8.779 | 6.688 | 6.4413 | -6.4869 | 12.4854 | -- | -- | --
Opto-board QA (10C) |  | 1585.6098 | 1324.8537 | 1572.7883 | 1322.7988 | 1628.7867 | 1134.416 | 1610.8128 | -- | -- | --
Change (%) |  | 23.5802 | 25.2453 | 23.0652 | 22.3758 | 20.9405 | 6.8245 | 27.7945 | -- | -- | --
Reception Test |  | 1572.936 | 1420.255 | 1524.893 | 1309.115 | 1389.796 | 1105.725 | 1541.867
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1803.1282 | 1779.3585 | 1705.4512 | 1793.6417 | 1713.8422 | 1770.9176 | 1670.2988 | -- | -- | --
Post Opto-pack Burn-in |  | 1737.8816 | 1738.1359 | 1670.7546 | 1705.1113 | 1675.6683 | 1719.8636 | 1641.3842 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1398.1207 | 1049.2709 | 1284.4276 | 1290.9713 | 1142.2661 | 1416.8102 | 1259.2734 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1266.109 | 1228.7591 | 1242.4699 | 1311.7286 | 1081.3202 | 1363.1484 | 1333.3114 | -- | -- | --
Change (%) |  | -9.4421 | 17.106 | -3.2666 | 1.6079 | -5.3355 | -3.7875 | 5.8794 | -- | -- | --
Opto-board at 0C |  | 1340.6636 | 1236.2828 | 1262.8021 | 1291.1275 | 1140.7072 | 1286.6603 | 1256.9754 | -- | -- | --
Change (%) |  | -4.1096 | 17.823 | -1.6837 | 0.012095 | -0.13647 | -9.1861 | -0.18249 | -- | -- | --
Opto-board at 50C |  | 1160.6493 | 1072.1727 | 1064.1727 | 1125.8775 | 986.6469 | 1146.6607 | 1122.7445 | -- | -- | --
Change (%) |  | -16.985 | 2.1826 | -17.1481 | -12.7883 | -13.6237 | -19.0674 | -10.8419 | -- | -- | --
Opto-board QA (10C) |  | 1362.9975 | 1228.4196 | 1266.9498 | 1246.3799 | 1080.0259 | 1312.9232 | 1226.5445 | -- | -- | --
Change (%) |  | -2.5122 | 17.0736 | -1.3607 | -3.4541 | -5.4488 | -7.3325 | -2.599 | -- | -- | --
Reception Test |  | 886.9214 | 1085.965 | 911.8685 | 1004.957 | 1072.651 | 1044.14 | 1059.647

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 358.2764 |  |  |  | 2020-10-20 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 346.5454 |  |  |  | 2020-10-21 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.75184 |  | 2020-10-20 |  |  |  | Pass
QA | uA | 1 | 0.45441 |  | 2020-10-21 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.52202 | 0.36361 | 0.5604 | 0.35054 | 0.45784 | 0.61389 | 0.45023 | 0.53002 | 0.70352 | 0.51884 | 0.65122 | 0.70413 | 0.56671 | 0.36059 |  |  | Pass
Fall | ns | 1 | 0.66413 | 0.64213 | 0.73959 | 0.74639 | 0.64631 | 0.60677 | 0.52052 | 0.63194 | 0.61006 | 0.46487 | 0.70496 | 0.58841 | 0.67904 | 0.71545 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):10/21/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):10/21/2020 1: 0.49382; Date (DD/MM/YY):10/21/2020 2: 0.51064; Date (DD/MM/YY):10/21/2020 3: 0.53156; Date (DD/MM/YY):10/21/2020 4: 0.54752; Date (DD/MM/YY):10/21/2020 5: 0.55968; Date (DD/MM/YY):10/21/2020 6: 0.56252; Initial: 7: 0.57475 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):10/21/2020 1: 0.48038; Date (DD/MM/YY):10/21/2020 2: 0.50073; Date (DD/MM/YY):10/21/2020 3: 0.51821; Date (DD/MM/YY):10/21/2020 4: 0.53649; Date (DD/MM/YY):10/21/2020 5: 0.54907; Date (DD/MM/YY):10/21/2020 6: 0.56037; Initial: 7: 0.57998 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):10/21/2020 1: 0.60179; Date (DD/MM/YY):10/21/2020 2: 0.65375; Date (DD/MM/YY):10/21/2020 3: 0.61932; Date (DD/MM/YY):10/21/2020 4: 0.59362; Date (DD/MM/YY):10/21/2020 5: 0.64706; Date (DD/MM/YY):10/21/2020 6: 0.63324; Initial: 7: 0.65783 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):10/21/2020 1: 0.62999; Date (DD/MM/YY):10/21/2020 2: 0.59767; Date (DD/MM/YY):10/21/2020 3: 0.64118; Date (DD/MM/YY):10/21/2020 4: 0.62064; Date (DD/MM/YY):10/21/2020 5: 0.5995; Date (DD/MM/YY):10/21/2020 6: 0.62109; Initial: 7: 0.66329 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):10/21/2020 1: 0.0739; Date (DD/MM/YY):10/21/2020 2: 0.07635; Date (DD/MM/YY):10/21/2020 3: 0.11143; Date (DD/MM/YY):10/21/2020 4: 0.15742; Date (DD/MM/YY):10/21/2020 5: 0.12874; Date (DD/MM/YY):10/21/2020 6: 0.07736; Initial: 7: 0.09308 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):10/21/2020 1: 0.06969; Date (DD/MM/YY):10/21/2020 2: 0.06054; Date (DD/MM/YY):10/21/2020 3: 0.10862; Date (DD/MM/YY):10/21/2020 4: 0.13835; Date (DD/MM/YY):10/21/2020 5: 0.11919; Date (DD/MM/YY):10/21/2020 6: 0.04727; Initial: 7: 0.07291 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/21/2020 1: 12.659; Date (DD/MM/YY):10/21/2020 2: 12.504; Date (DD/MM/YY):10/21/2020 3: 12.498; Date (DD/MM/YY):10/21/2020 4: 12.193; Date (DD/MM/YY):10/21/2020 5: 12.568; Date (DD/MM/YY):10/21/2020 6: 12.511; Initial: 7: 12.834
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/21/2020 1: 12.649; Date (DD/MM/YY):10/21/2020 2: 12.409; Date (DD/MM/YY):10/21/2020 3: 12.425; Date (DD/MM/YY):10/21/2020 4: 12.145; Date (DD/MM/YY):10/21/2020 5: 12.581; Date (DD/MM/YY):10/21/2020 6: 12.45; Initial: 7: 12.746
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/21/2020 1: 12.216; Date (DD/MM/YY):10/21/2020 2: 12.021; Date (DD/MM/YY):10/21/2020 3: 11.851; Date (DD/MM/YY):10/21/2020 4: 11.509; Date (DD/MM/YY):10/21/2020 5: 12.007; Date (DD/MM/YY):10/21/2020 6: 12.084; Initial: 7: 12.349
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/21/2020 1: 12.246; Date (DD/MM/YY):10/21/2020 2: 12.01; Date (DD/MM/YY):10/21/2020 3: 11.867; Date (DD/MM/YY):10/21/2020 4: 11.628; Date (DD/MM/YY):10/21/2020 5: 12.018; Date (DD/MM/YY):10/21/2020 6: 12.139; Initial: 7: 12.334
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/21/2020 1: 12.4526; Date (DD/MM/YY):10/21/2020 2: 12.2506; Date (DD/MM/YY):10/21/2020 3: 12.1453; Date (DD/MM/YY):10/21/2020 4: 11.8664; Date (DD/MM/YY):10/21/2020 5: 12.2916; Date (DD/MM/YY):10/21/2020 6: 12.3049; Initial: 7: 12.5616
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/21/2020 1: 12.4556; Date (DD/MM/YY):10/21/2020 2: 12.245; Date (DD/MM/YY):10/21/2020 3: 12.1397; Date (DD/MM/YY):10/21/2020 4: 11.8694; Date (DD/MM/YY):10/21/2020 5: 12.2907; Date (DD/MM/YY):10/21/2020 6: 12.2995; Initial: 7: 12.5598
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):10/21/2020 1: 49.9031; Date (DD/MM/YY):10/21/2020 2: 49.0376; Date (DD/MM/YY):10/21/2020 3: 48.6887; Date (DD/MM/YY):10/21/2020 4: 47.5734; Date (DD/MM/YY):10/21/2020 5: 49.2639; Date (DD/MM/YY):10/21/2020 6: 49.2573; Initial: 7: 50.2666 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):10/21/2020 1: 49.8769; Date (DD/MM/YY):10/21/2020 2: 49.0393; Date (DD/MM/YY):10/21/2020 3: 48.5962; Date (DD/MM/YY):10/21/2020 4: 47.5302; Date (DD/MM/YY):10/21/2020 5: 49.1779; Date (DD/MM/YY):10/21/2020 6: 49.2941; Initial: 7: 50.2826 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):10/21/2020 1: 49.8187; Date (DD/MM/YY):10/21/2020 2: 48.9901; Date (DD/MM/YY):10/21/2020 3: 48.5879; Date (DD/MM/YY):10/21/2020 4: 47.4734; Date (DD/MM/YY):10/21/2020 5: 49.1952; Date (DD/MM/YY):10/21/2020 6: 49.2119; Initial: 7: 50.2469 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/21/2020 1: 1.0695; Date (DD/MM/YY):10/21/2020 2: 1.0588; Date (DD/MM/YY):10/21/2020 3: 1.0655; Date (DD/MM/YY):10/21/2020 4: 1.0614; Date (DD/MM/YY):10/21/2020 5: 1.0654; Date (DD/MM/YY):10/21/2020 6: 1.0433; Initial: 7: 1.0549 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/21/2020 1: 1.0586; Date (DD/MM/YY):10/21/2020 2: 1.0524; Date (DD/MM/YY):10/21/2020 3: 1.0527; Date (DD/MM/YY):10/21/2020 4: 1.0526; Date (DD/MM/YY):10/21/2020 5: 1.0589; Date (DD/MM/YY):10/21/2020 6: 1.0395; Initial: 7: 1.0503 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/21/2020 1: 1.082; Date (DD/MM/YY):10/21/2020 2: 1.1028; Date (DD/MM/YY):10/21/2020 3: 1.0939; Date (DD/MM/YY):10/21/2020 4: 1.0675; Date (DD/MM/YY):10/21/2020 5: 1.082; Date (DD/MM/YY):10/21/2020 6: 1.0834; Initial: 7: 1.083 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/21/2020 1: 1.0713; Date (DD/MM/YY):10/21/2020 2: 1.081; Date (DD/MM/YY):10/21/2020 3: 1.0847; Date (DD/MM/YY):10/21/2020 4: 1.0697; Date (DD/MM/YY):10/21/2020 5: 1.0679; Date (DD/MM/YY):10/21/2020 6: 1.079; Initial: 7: 1.074 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/21/2020 1: 0.37048; Date (DD/MM/YY):10/21/2020 2: 0.35914; Date (DD/MM/YY):10/21/2020 3: 0.36684; Date (DD/MM/YY):10/21/2020 4: 0.36359; Date (DD/MM/YY):10/21/2020 5: 0.35987; Date (DD/MM/YY):10/21/2020 6: 0.34617; Initial: 7: 0.35431 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/21/2020 1: 0.32829; Date (DD/MM/YY):10/21/2020 2: 0.32461; Date (DD/MM/YY):10/21/2020 3: 0.32875; Date (DD/MM/YY):10/21/2020 4: 0.3259; Date (DD/MM/YY):10/21/2020 5: 0.33288; Date (DD/MM/YY):10/21/2020 6: 0.32479; Initial: 7: 0.3305 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/21/2020 1: 0.4004; Date (DD/MM/YY):10/21/2020 2: 0.41053; Date (DD/MM/YY):10/21/2020 3: 0.40795; Date (DD/MM/YY):10/21/2020 4: 0.38235; Date (DD/MM/YY):10/21/2020 5: 0.39647; Date (DD/MM/YY):10/21/2020 6: 0.39045; Initial: 7: 0.3932 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/21/2020 1: 0.37834; Date (DD/MM/YY):10/21/2020 2: 0.37389; Date (DD/MM/YY):10/21/2020 3: 0.37874; Date (DD/MM/YY):10/21/2020 4: 0.37419; Date (DD/MM/YY):10/21/2020 5: 0.36467; Date (DD/MM/YY):10/21/2020 6: 0.37077; Initial: 7: 0.36731 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/21/2020 1: 0; Date (DD/MM/YY):10/21/2020 2: 0; Date (DD/MM/YY):10/21/2020 3: 0; Date (DD/MM/YY):10/21/2020 4: 0; Date (DD/MM/YY):10/21/2020 5: 0; Date (DD/MM/YY):10/21/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/21/2020 1: 0; Date (DD/MM/YY):10/21/2020 2: 0; Date (DD/MM/YY):10/21/2020 3: 0; Date (DD/MM/YY):10/21/2020 4: 0; Date (DD/MM/YY):10/21/2020 5: 0; Date (DD/MM/YY):10/21/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/21/2020 1: 0; Date (DD/MM/YY):10/21/2020 2: 0; Date (DD/MM/YY):10/21/2020 3: 0; Date (DD/MM/YY):10/21/2020 4: 0; Date (DD/MM/YY):10/21/2020 5: 0; Date (DD/MM/YY):10/21/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/21/2020 1: 0; Date (DD/MM/YY):10/21/2020 2: 0; Date (DD/MM/YY):10/21/2020 3: 0; Date (DD/MM/YY):10/21/2020 4: 0; Date (DD/MM/YY):10/21/2020 5: 0; Date (DD/MM/YY):10/21/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass