## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1715.0492 | 1636.8586 | 1624.754 | 1641.0352 | 1673.0264 | 1690.6043 | 1671.2455 | -- | -- | --
Post Opto-pack Burn-in |  | 1602.4784 | 1518.3056 | 1526.3064 | 1511.7448 | 1551.6185 | 1580.3854 | 1560.4684 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1436.6131 | 1096.3426 | 1448.9224 | 1194.1127 | 1442.0123 | 1220.9645 | 1430.8314 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1273.9596 | 1035.081 | 1070.6853 | 1091.7589 | 1250.9711 | 1039.3356 | 1250.5321 | -- | -- | --
Change (%) |  | -11.322 | -5.5878 | -26.1047 | -8.5715 | -13.2482 | -14.8759 | -12.601 | -- | -- | --
Opto-board at 0C |  | 1277.2577 | 1083.1045 | 1143.3671 | 1179.4139 | 1286.1799 | 1133.8888 | 1354.8673 | -- | -- | --
Change (%) |  | -11.0924 | -1.2075 | -21.0885 | -1.2309 | -10.8066 | -7.1317 | -5.3091 | -- | -- | --
Opto-board at 50C |  | 1120.5719 | 952.5114 | 968.417 | 1031.2877 | 1132.6117 | 973.0579 | 1186.0047 | -- | -- | --
Change (%) |  | -21.999 | -13.1192 | -33.1629 | -13.6356 | -21.4562 | -20.3042 | -17.1108 | -- | -- | --
Opto-board QA (10C) |  | 1318.6924 | 1025.206 | 1141.0673 | 1166.3194 | 1305.9565 | 1108.8117 | 1343.4307 | -- | -- | --
Change (%) |  | -8.2082 | -6.4885 | -21.2472 | -2.3275 | -9.4351 | -9.1856 | -6.1084 | -- | -- | --
Reception Test |  | 1314.15 | 1053.801 | 1194.463 | 1084.64 | 1040.079 | 949.8992 | 1203.489
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1875.992 | 1714.1034 | 1696.558 | 1734.0184 | 1645.6706 | 1697.4692 | 1671.9453 | -- | -- | --
Post Opto-pack Burn-in |  | 1774.6723 | 1638.3497 | 1604.2148 | 1637.1927 | 1566.2508 | 1601.4787 | 1590.2865 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1409.4229 | 1301.3961 | 1288.7139 | 1311.3796 | 1081.5375 | 1267.8998 | 1249.5537 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1229.4716 | 1094.1542 | 1054.39 | 1125.7122 | 926.0884 | 1164.0315 | 1085.8432 | -- | -- | --
Change (%) |  | -12.7677 | -15.9246 | -18.1828 | -14.1582 | -14.373 | -8.1922 | -13.1015 | -- | -- | --
Opto-board at 0C |  | 1394.9752 | 1291.0398 | 1267.4486 | 1247.4362 | 907.8358 | 1116.98 | 1202.1415 | -- | -- | --
Change (%) |  | -1.0251 | -0.79578 | -1.6501 | -4.876 | -16.0606 | -11.9031 | -3.7943 | -- | -- | --
Opto-board at 50C |  | 1192.7351 | 1130.1465 | 1113.7146 | 1102.4659 | 800.5028 | 1005.0461 | 1046.7004 | -- | -- | --
Change (%) |  | -15.3742 | -13.1589 | -13.5794 | -15.9308 | -25.9847 | -20.7314 | -16.2341 | -- | -- | --
Opto-board QA (10C) |  | 1375.5074 | 1277.02 | 1270.6818 | 1226.633 | 872.2849 | 1117.4871 | 1206.3892 | -- | -- | --
Change (%) |  | -2.4063 | -1.8731 | -1.3992 | -6.4624 | -19.3477 | -11.8631 | -3.4544 | -- | -- | --
Reception Test |  | 867.1866 | 924.3755 | 902.6617 | 876.2418 | 816.9935 | 868.2712 | 860.4008

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 363.4033 |  |  |  | 2020-10-22 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 345.9595 |  |  |  | 2020-10-22 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.62277 |  | 2020-10-22 |  |  |  | Pass
QA | uA | 1 | 0.61468 |  | 2020-10-22 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.71871 | 0.27807 | 0.58062 | 0.58848 | 0.4223 | 0.67201 | 0.49873 | 0.70784 | 0.6253 | 0.65911 | 0.64979 | 0.60131 | 0.49216 | 0.48363 |  |  | Pass
Fall | ns | 1 | 0.71652 | 0.73536 | 0.59498 | 0.53795 | 0.63687 | 0.5327 | 0.44286 | 0.70798 | 0.63946 | 0.73822 | 0.61389 | 0.61413 | 0.44391 | 0.46751 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):10/22/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):10/22/2020 1: 0.48998; Date (DD/MM/YY):10/22/2020 2: 0.5059; Date (DD/MM/YY):10/22/2020 3: 0.53007; Date (DD/MM/YY):10/22/2020 4: 0.5373; Date (DD/MM/YY):10/22/2020 5: 0.55592; Date (DD/MM/YY):10/22/2020 6: 0.55814; Initial: 7: 0.56841 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):10/22/2020 1: 0.47786; Date (DD/MM/YY):10/22/2020 2: 0.4944; Date (DD/MM/YY):10/22/2020 3: 0.50561; Date (DD/MM/YY):10/22/2020 4: 0.53302; Date (DD/MM/YY):10/22/2020 5: 0.54891; Date (DD/MM/YY):10/22/2020 6: 0.55502; Initial: 7: 0.56862 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):10/22/2020 1: 0.59703; Date (DD/MM/YY):10/22/2020 2: 0.63078; Date (DD/MM/YY):10/22/2020 3: 0.62412; Date (DD/MM/YY):10/22/2020 4: 0.60477; Date (DD/MM/YY):10/22/2020 5: 0.63548; Date (DD/MM/YY):10/22/2020 6: 0.62679; Initial: 7: 0.62757 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):10/22/2020 1: 0.58881; Date (DD/MM/YY):10/22/2020 2: 0.62094; Date (DD/MM/YY):10/22/2020 3: 0.6248; Date (DD/MM/YY):10/22/2020 4: 0.61311; Date (DD/MM/YY):10/22/2020 5: 0.57101; Date (DD/MM/YY):10/22/2020 6: 0.61651; Initial: 7: 0.64064 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):10/22/2020 1: 0.21156; Date (DD/MM/YY):10/22/2020 2: 0.16036; Date (DD/MM/YY):10/22/2020 3: 0.13417; Date (DD/MM/YY):10/22/2020 4: 0.12377; Date (DD/MM/YY):10/22/2020 5: 0.13769; Date (DD/MM/YY):10/22/2020 6: 0.16174; Initial: 7: 0.20794 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):10/22/2020 1: 0.23076; Date (DD/MM/YY):10/22/2020 2: 0.16507; Date (DD/MM/YY):10/22/2020 3: 0.12524; Date (DD/MM/YY):10/22/2020 4: 0.11061; Date (DD/MM/YY):10/22/2020 5: 0.14171; Date (DD/MM/YY):10/22/2020 6: 0.16479; Initial: 7: 0.21652 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/22/2020 1: 13.253; Date (DD/MM/YY):10/22/2020 2: 13.038; Date (DD/MM/YY):10/22/2020 3: 12.581; Date (DD/MM/YY):10/22/2020 4: 12.359; Date (DD/MM/YY):10/22/2020 5: 12.093; Date (DD/MM/YY):10/22/2020 6: 12.132; Initial: 7: 12.219
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/22/2020 1: 13.288; Date (DD/MM/YY):10/22/2020 2: 13.062; Date (DD/MM/YY):10/22/2020 3: 12.556; Date (DD/MM/YY):10/22/2020 4: 12.355; Date (DD/MM/YY):10/22/2020 5: 11.993; Date (DD/MM/YY):10/22/2020 6: 12.101; Initial: 7: 12.219
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/22/2020 1: 12.426; Date (DD/MM/YY):10/22/2020 2: 12.382; Date (DD/MM/YY):10/22/2020 3: 11.968; Date (DD/MM/YY):10/22/2020 4: 11.811; Date (DD/MM/YY):10/22/2020 5: 11.458; Date (DD/MM/YY):10/22/2020 6: 11.497; Initial: 7: 11.502
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/22/2020 1: 12.475; Date (DD/MM/YY):10/22/2020 2: 12.388; Date (DD/MM/YY):10/22/2020 3: 11.965; Date (DD/MM/YY):10/22/2020 4: 11.895; Date (DD/MM/YY):10/22/2020 5: 11.445; Date (DD/MM/YY):10/22/2020 6: 11.538; Initial: 7: 11.543
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/22/2020 1: 12.8545; Date (DD/MM/YY):10/22/2020 2: 12.7025; Date (DD/MM/YY):10/22/2020 3: 12.2589; Date (DD/MM/YY):10/22/2020 4: 12.1138; Date (DD/MM/YY):10/22/2020 5: 11.7078; Date (DD/MM/YY):10/22/2020 6: 11.8089; Initial: 7: 11.8736
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/22/2020 1: 12.8534; Date (DD/MM/YY):10/22/2020 2: 12.7055; Date (DD/MM/YY):10/22/2020 3: 12.2585; Date (DD/MM/YY):10/22/2020 4: 12.1097; Date (DD/MM/YY):10/22/2020 5: 11.7097; Date (DD/MM/YY):10/22/2020 6: 11.8069; Initial: 7: 11.8719
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):10/22/2020 1: 51.3592; Date (DD/MM/YY):10/22/2020 2: 50.8791; Date (DD/MM/YY):10/22/2020 3: 49.1574; Date (DD/MM/YY):10/22/2020 4: 48.4577; Date (DD/MM/YY):10/22/2020 5: 46.8996; Date (DD/MM/YY):10/22/2020 6: 47.1945; Initial: 7: 47.5005 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):10/22/2020 1: 51.5118; Date (DD/MM/YY):10/22/2020 2: 50.9066; Date (DD/MM/YY):10/22/2020 3: 49.0589; Date (DD/MM/YY):10/22/2020 4: 48.5295; Date (DD/MM/YY):10/22/2020 5: 46.884; Date (DD/MM/YY):10/22/2020 6: 47.2924; Initial: 7: 47.5604 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):10/22/2020 1: 51.4152; Date (DD/MM/YY):10/22/2020 2: 50.8369; Date (DD/MM/YY):10/22/2020 3: 49.0349; Date (DD/MM/YY):10/22/2020 4: 48.4498; Date (DD/MM/YY):10/22/2020 5: 46.8379; Date (DD/MM/YY):10/22/2020 6: 47.2411; Initial: 7: 47.4832 | Pass
Clock+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/22/2020 1: 1.0663; Date (DD/MM/YY):10/22/2020 2: 1.0556; Date (DD/MM/YY):10/22/2020 3: 1.0579; Date (DD/MM/YY):10/22/2020 4: 1.0589; Date (DD/MM/YY):10/22/2020 5: 1.0595; Date (DD/MM/YY):10/22/2020 6: 1.0498; Initial: 7: 1.057 | Pass
Clock- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/22/2020 1: 1.0595; Date (DD/MM/YY):10/22/2020 2: 1.0528; Date (DD/MM/YY):10/22/2020 3: 1.0531; Date (DD/MM/YY):10/22/2020 4: 1.0545; Date (DD/MM/YY):10/22/2020 5: 1.0552; Date (DD/MM/YY):10/22/2020 6: 1.0488; Initial: 7: 1.0547 | Pass
Data+ common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/22/2020 1: 1.0864; Date (DD/MM/YY):10/22/2020 2: 1.0875; Date (DD/MM/YY):10/22/2020 3: 1.1052; Date (DD/MM/YY):10/22/2020 4: 1.0689; Date (DD/MM/YY):10/22/2020 5: 1.0977; Date (DD/MM/YY):10/22/2020 6: 1.0789; Initial: 7: 1.0828 | Pass
Data- common mode | V | 1 | 1.5 | Date (DD/MM/YY):10/22/2020 1: 1.078; Date (DD/MM/YY):10/22/2020 2: 1.0694; Date (DD/MM/YY):10/22/2020 3: 1.0982; Date (DD/MM/YY):10/22/2020 4: 1.0742; Date (DD/MM/YY):10/22/2020 5: 1.0847; Date (DD/MM/YY):10/22/2020 6: 1.0756; Initial: 7: 1.0747 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/22/2020 1: 0.36549; Date (DD/MM/YY):10/22/2020 2: 0.36272; Date (DD/MM/YY):10/22/2020 3: 0.36566; Date (DD/MM/YY):10/22/2020 4: 0.36238; Date (DD/MM/YY):10/22/2020 5: 0.36083; Date (DD/MM/YY):10/22/2020 6: 0.35108; Initial: 7: 0.35785 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/22/2020 1: 0.34151; Date (DD/MM/YY):10/22/2020 2: 0.33723; Date (DD/MM/YY):10/22/2020 3: 0.33645; Date (DD/MM/YY):10/22/2020 4: 0.33231; Date (DD/MM/YY):10/22/2020 5: 0.33347; Date (DD/MM/YY):10/22/2020 6: 0.33034; Initial: 7: 0.33585 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/22/2020 1: 0.41032; Date (DD/MM/YY):10/22/2020 2: 0.41073; Date (DD/MM/YY):10/22/2020 3: 0.42039; Date (DD/MM/YY):10/22/2020 4: 0.38328; Date (DD/MM/YY):10/22/2020 5: 0.40316; Date (DD/MM/YY):10/22/2020 6: 0.38849; Initial: 7: 0.39418 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/22/2020 1: 0.39072; Date (DD/MM/YY):10/22/2020 2: 0.37794; Date (DD/MM/YY):10/22/2020 3: 0.39841; Date (DD/MM/YY):10/22/2020 4: 0.38238; Date (DD/MM/YY):10/22/2020 5: 0.37971; Date (DD/MM/YY):10/22/2020 6: 0.37329; Initial: 7: 0.37185 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/22/2020 1: 0; Date (DD/MM/YY):10/22/2020 2: 0; Date (DD/MM/YY):10/22/2020 3: 0; Date (DD/MM/YY):10/22/2020 4: 0; Date (DD/MM/YY):10/22/2020 5: 0; Date (DD/MM/YY):10/22/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/22/2020 1: 0; Date (DD/MM/YY):10/22/2020 2: 0; Date (DD/MM/YY):10/22/2020 3: 0; Date (DD/MM/YY):10/22/2020 4: 0; Date (DD/MM/YY):10/22/2020 5: 0; Date (DD/MM/YY):10/22/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/22/2020 1: 0; Date (DD/MM/YY):10/22/2020 2: 0; Date (DD/MM/YY):10/22/2020 3: 0; Date (DD/MM/YY):10/22/2020 4: 0; Date (DD/MM/YY):10/22/2020 5: 0; Date (DD/MM/YY):10/22/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/22/2020 1: 0; Date (DD/MM/YY):10/22/2020 2: 0; Date (DD/MM/YY):10/22/2020 3: 0; Date (DD/MM/YY):10/22/2020 4: 0; Date (DD/MM/YY):10/22/2020 5: 0; Date (DD/MM/YY):10/22/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass