## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1804.5722 | 1627.4394 | 1730.9474 | 1665.5273 | 1796.2217 | 1628.9678 | 1660.1741 | -- | -- | --
Post Opto-pack Burn-in |  | 1622.5793 | 1483.0597 | 1540.0931 | 1469.6944 | 1565.4582 | 1456.276 | 1431.2777 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1410.2763 | 1123.6598 | 1304.9887 | 1231.8276 | 1547.0197 | 1310.3688 | 1548.6855 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1380.7381 | 1031.7179 | 1311.198 | 1230.6356 | 1471.7449 | 1209.7616 | 1431.016 | -- | -- | --
Change (%) |  | -2.0945 | -8.1824 | 0.47581 | -0.09677 | -4.8658 | -7.6778 | -7.598 | -- | -- | --
Opto-board at 0C |  | 1379.8676 | 1132.4138 | 1400.9978 | 1155.0981 | 1492.131 | 1265.425 | 1512.0266 | -- | -- | --
Change (%) |  | -2.1562 | 0.77906 | 7.3571 | -6.2289 | -3.548 | -3.4299 | -2.3671 | -- | -- | --
Opto-board at 50C |  | 1278.96 | 992.9843 | 1244.3656 | 1061.6712 | 1341.6298 | 1134.3545 | 1335.8609 | -- | -- | --
Change (%) |  | -9.3114 | -11.6295 | -4.6455 | -13.8133 | -13.2765 | -13.4324 | -13.7423 | -- | -- | --
Opto-board QA (10C) |  | 1389.4235 | 1115.6229 | 1409.0769 | 1137.9615 | 1468.8713 | 1275.7493 | 1495.164 | -- | -- | --
Change (%) |  | -1.4786 | -0.71524 | 7.9762 | -7.6201 | -5.0515 | -2.642 | -3.4559 | -- | -- | --
Reception Test |  | 1364.682 | 1064.014 | 1334.549 | 1117.677 | 1072.982 | 843.1051 | 1146.704
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1809.7328 | 1812.5829 | 1818.2011 | 1735.8337 | 1775.8152 | 1732.6998 | 1806.1008 | -- | -- | --
Post Opto-pack Burn-in |  | 1773.6727 | 1729.0302 | 1783.6541 | 1675.8349 | 1707.5351 | 1697.2933 | 1700.9771 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1319.5554 | 1240.831 | 1331.8909 | 1266.1269 | 1049.2365 | 1224.8107 | 1299.9891 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1177.5034 | 1115.6977 | 1215.662 | 1126.8878 | 1105.4491 | 1242.9233 | 1210.2319 | -- | -- | --
Change (%) |  | -10.7651 | -10.0846 | -8.7266 | -10.9972 | 5.3575 | 1.4788 | -6.9045 | -- | -- | --
Opto-board at 0C |  | 1254.4734 | 1159.2138 | 1272.6772 | 1157.4818 | 1099.6578 | 1356.6038 | 1292.737 | -- | -- | --
Change (%) |  | -4.9321 | -6.5776 | -4.4458 | -8.5809 | 4.8055 | 10.7603 | -0.55786 | -- | -- | --
Opto-board at 50C |  | 1167.0033 | 1075.1751 | 1140.3931 | 1023.827 | 1008.0832 | 1227.1487 | 1170.9949 | -- | -- | --
Change (%) |  | -11.5609 | -13.3504 | -14.3779 | -19.1371 | -3.9222 | 0.19089 | -9.9227 | -- | -- | --
Opto-board QA (10C) |  | 1256.0687 | 1147.0347 | 1250.5529 | 1160.2556 | 1122.3507 | 1360.247 | 1312.1012 | -- | -- | --
Change (%) |  | -4.8112 | -7.5592 | -6.107 | -8.3618 | 6.9683 | 11.0577 | 0.9317 | -- | -- | --
Reception Test |  | 949.6198 | 1086.458 | 978.2498 | 1013.964 | 931.2613 | 935.4057 | 1038.062

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 364.1357 |  |  |  | 2020-10-27 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 345.9229 |  |  |  | 2020-10-27 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.71439 |  | 2020-10-27 |  |  |  | Pass
QA | uA | 1 | 0.59428 |  | 2020-10-27 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.52248 | 0.46294 | 0.45289 | 0.36751 | 0.47146 | 0.42859 | 0.32933 | 0.5092 | 0.46827 | 0.47296 | 0.53292 | 0.55769 | 0.42891 | 0.47611 |  |  | Pass
Fall | ns | 1 | 0.60361 | 0.49928 | 0.69808 | 0.66049 | 0.67411 | 0.74056 | 0.55961 | 0.61512 | 0.5394 | 0.48187 | 0.56951 | 0.58305 | 0.46691 | 0.52778 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):10/27/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):10/27/2020 1: 0.49764; Date (DD/MM/YY):10/27/2020 2: 0.50922; Date (DD/MM/YY):10/27/2020 3: 0.52966; Date (DD/MM/YY):10/27/2020 4: 0.52884; Date (DD/MM/YY):10/27/2020 5: 0.53933; Date (DD/MM/YY):10/27/2020 6: 0.55572; Initial: 7: 0.56781 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):10/27/2020 1: 0.47743; Date (DD/MM/YY):10/27/2020 2: 0.50148; Date (DD/MM/YY):10/27/2020 3: 0.52086; Date (DD/MM/YY):10/27/2020 4: 0.52137; Date (DD/MM/YY):10/27/2020 5: 0.5439; Date (DD/MM/YY):10/27/2020 6: 0.55446; Initial: 7: 0.56745 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):10/27/2020 1: 0.64839; Date (DD/MM/YY):10/27/2020 2: 0.64669; Date (DD/MM/YY):10/27/2020 3: 0.62176; Date (DD/MM/YY):10/27/2020 4: 0.59176; Date (DD/MM/YY):10/27/2020 5: 0.62463; Date (DD/MM/YY):10/27/2020 6: 0.61695; Initial: 7: 0.63886 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):10/27/2020 1: 0.60538; Date (DD/MM/YY):10/27/2020 2: 0.59024; Date (DD/MM/YY):10/27/2020 3: 0.63828; Date (DD/MM/YY):10/27/2020 4: 0.61615; Date (DD/MM/YY):10/27/2020 5: 0.59696; Date (DD/MM/YY):10/27/2020 6: 0.61502; Initial: 7: 0.63981 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):10/27/2020 1: 0.11384; Date (DD/MM/YY):10/27/2020 2: 0.23016; Date (DD/MM/YY):10/27/2020 3: 0.10958; Date (DD/MM/YY):10/27/2020 4: 0.05668; Date (DD/MM/YY):10/27/2020 5: 0.12315; Date (DD/MM/YY):10/27/2020 6: 0.06947; Initial: 7: 0.09724 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):10/27/2020 1: 0.11431; Date (DD/MM/YY):10/27/2020 2: 0.2138; Date (DD/MM/YY):10/27/2020 3: 0.09113; Date (DD/MM/YY):10/27/2020 4: 0.04714; Date (DD/MM/YY):10/27/2020 5: 0.10913; Date (DD/MM/YY):10/27/2020 6: 0.06206; Initial: 7: 0.05329 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/27/2020 1: 12.537; Date (DD/MM/YY):10/27/2020 2: 13.099; Date (DD/MM/YY):10/27/2020 3: 12.841; Date (DD/MM/YY):10/27/2020 4: 12.865; Date (DD/MM/YY):10/27/2020 5: 12.437; Date (DD/MM/YY):10/27/2020 6: 12.733; Initial: 7: 12.949
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/27/2020 1: 12.487; Date (DD/MM/YY):10/27/2020 2: 13.041; Date (DD/MM/YY):10/27/2020 3: 12.72; Date (DD/MM/YY):10/27/2020 4: 12.853; Date (DD/MM/YY):10/27/2020 5: 12.35; Date (DD/MM/YY):10/27/2020 6: 12.668; Initial: 7: 12.784
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/27/2020 1: 11.87; Date (DD/MM/YY):10/27/2020 2: 12.271; Date (DD/MM/YY):10/27/2020 3: 12.167; Date (DD/MM/YY):10/27/2020 4: 12.483; Date (DD/MM/YY):10/27/2020 5: 11.844; Date (DD/MM/YY):10/27/2020 6: 12.285; Initial: 7: 12.345
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/27/2020 1: 11.944; Date (DD/MM/YY):10/27/2020 2: 12.284; Date (DD/MM/YY):10/27/2020 3: 12.239; Date (DD/MM/YY):10/27/2020 4: 12.551; Date (DD/MM/YY):10/27/2020 5: 11.84; Date (DD/MM/YY):10/27/2020 6: 12.322; Initial: 7: 12.439
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):10/27/2020 1: 12.2197; Date (DD/MM/YY):10/27/2020 2: 12.6738; Date (DD/MM/YY):10/27/2020 3: 12.4773; Date (DD/MM/YY):10/27/2020 4: 12.6981; Date (DD/MM/YY):10/27/2020 5: 12.1276; Date (DD/MM/YY):10/27/2020 6: 12.4878; Initial: 7: 12.6221
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):10/27/2020 1: 12.2282; Date (DD/MM/YY):10/27/2020 2: 12.6624; Date (DD/MM/YY):10/27/2020 3: 12.4746; Date (DD/MM/YY):10/27/2020 4: 12.7062; Date (DD/MM/YY):10/27/2020 5: 12.1228; Date (DD/MM/YY):10/27/2020 6: 12.4927; Initial: 7: 12.6209
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):10/27/2020 1: 48.8869; Date (DD/MM/YY):10/27/2020 2: 50.5946; Date (DD/MM/YY):10/27/2020 3: 49.9859; Date (DD/MM/YY):10/27/2020 4: 50.9287; Date (DD/MM/YY):10/27/2020 5: 48.6088; Date (DD/MM/YY):10/27/2020 6: 50.0536; Initial: 7: 50.5362 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):10/27/2020 1: 48.9238; Date (DD/MM/YY):10/27/2020 2: 50.7584; Date (DD/MM/YY):10/27/2020 3: 49.9437; Date (DD/MM/YY):10/27/2020 4: 50.8153; Date (DD/MM/YY):10/27/2020 5: 48.5526; Date (DD/MM/YY):10/27/2020 6: 49.9724; Initial: 7: 50.5925 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):10/27/2020 1: 48.9373; Date (DD/MM/YY):10/27/2020 2: 50.6444; Date (DD/MM/YY):10/27/2020 3: 49.9178; Date (DD/MM/YY):10/27/2020 4: 50.8263; Date (DD/MM/YY):10/27/2020 5: 48.5043; Date (DD/MM/YY):10/27/2020 6: 49.984; Initial: 7: 50.4698 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):10/27/2020 1: 1.0316; Date (DD/MM/YY):10/27/2020 2: 1.027; Date (DD/MM/YY):10/27/2020 3: 1.0586; Date (DD/MM/YY):10/27/2020 4: 1.0558; Date (DD/MM/YY):10/27/2020 5: 1.0509; Date (DD/MM/YY):10/27/2020 6: 1.0562; Initial: 7: 1.0546 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):10/27/2020 1: 1.0299; Date (DD/MM/YY):10/27/2020 2: 1.025; Date (DD/MM/YY):10/27/2020 3: 1.0512; Date (DD/MM/YY):10/27/2020 4: 1.051; Date (DD/MM/YY):10/27/2020 5: 1.0452; Date (DD/MM/YY):10/27/2020 6: 1.0526; Initial: 7: 1.0511 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):10/27/2020 1: 1.0547; Date (DD/MM/YY):10/27/2020 2: 1.0769; Date (DD/MM/YY):10/27/2020 3: 1.0926; Date (DD/MM/YY):10/27/2020 4: 1.0693; Date (DD/MM/YY):10/27/2020 5: 1.0847; Date (DD/MM/YY):10/27/2020 6: 1.0874; Initial: 7: 1.1044 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):10/27/2020 1: 1.0439; Date (DD/MM/YY):10/27/2020 2: 1.0552; Date (DD/MM/YY):10/27/2020 3: 1.083; Date (DD/MM/YY):10/27/2020 4: 1.0722; Date (DD/MM/YY):10/27/2020 5: 1.0702; Date (DD/MM/YY):10/27/2020 6: 1.0817; Initial: 7: 1.0953 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/27/2020 1: 0.34162; Date (DD/MM/YY):10/27/2020 2: 0.34219; Date (DD/MM/YY):10/27/2020 3: 0.36015; Date (DD/MM/YY):10/27/2020 4: 0.3529; Date (DD/MM/YY):10/27/2020 5: 0.34957; Date (DD/MM/YY):10/27/2020 6: 0.34859; Initial: 7: 0.3524 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/27/2020 1: 0.32334; Date (DD/MM/YY):10/27/2020 2: 0.31899; Date (DD/MM/YY):10/27/2020 3: 0.33213; Date (DD/MM/YY):10/27/2020 4: 0.32803; Date (DD/MM/YY):10/27/2020 5: 0.32761; Date (DD/MM/YY):10/27/2020 6: 0.33035; Initial: 7: 0.33351 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/27/2020 1: 0.38381; Date (DD/MM/YY):10/27/2020 2: 0.39659; Date (DD/MM/YY):10/27/2020 3: 0.41008; Date (DD/MM/YY):10/27/2020 4: 0.37937; Date (DD/MM/YY):10/27/2020 5: 0.39308; Date (DD/MM/YY):10/27/2020 6: 0.39008; Initial: 7: 0.40411 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):10/27/2020 1: 0.36212; Date (DD/MM/YY):10/27/2020 2: 0.36197; Date (DD/MM/YY):10/27/2020 3: 0.3832; Date (DD/MM/YY):10/27/2020 4: 0.3748; Date (DD/MM/YY):10/27/2020 5: 0.36704; Date (DD/MM/YY):10/27/2020 6: 0.37154; Initial: 7: 0.38093 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/27/2020 1: 0; Date (DD/MM/YY):10/27/2020 2: 0; Date (DD/MM/YY):10/27/2020 3: 0; Date (DD/MM/YY):10/27/2020 4: 0; Date (DD/MM/YY):10/27/2020 5: 0; Date (DD/MM/YY):10/27/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):10/27/2020 1: 0; Date (DD/MM/YY):10/27/2020 2: 0; Date (DD/MM/YY):10/27/2020 3: 0; Date (DD/MM/YY):10/27/2020 4: 0; Date (DD/MM/YY):10/27/2020 5: 0; Date (DD/MM/YY):10/27/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/27/2020 1: 0; Date (DD/MM/YY):10/27/2020 2: 0; Date (DD/MM/YY):10/27/2020 3: 0; Date (DD/MM/YY):10/27/2020 4: 0; Date (DD/MM/YY):10/27/2020 5: 0; Date (DD/MM/YY):10/27/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):10/27/2020 1: 0; Date (DD/MM/YY):10/27/2020 2: 0; Date (DD/MM/YY):10/27/2020 3: 0; Date (DD/MM/YY):10/27/2020 4: 0; Date (DD/MM/YY):10/27/2020 5: 0; Date (DD/MM/YY):10/27/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass