## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2167.9794 | 2147.7814 | 2153.1235 | 2065.9077 | 2133.2905 | 2097.6871 | 2054.963 | -- | -- | --
Post Opto-pack Burn-in |  | 2018.8188 | 2003.0439 | 1996.0447 | 1916.0897 | 1980.1066 | 1956.1904 | 1928.8712 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1579.1586 | 1212.9062 | 1346.144 | 1242.2781 | 1462.2436 | 1321.3169 | 1300.8637 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1430.8679 | 1185.4654 | 1495.4171 | 1327.8896 | 1412.8699 | 1219.7344 | 1361.1857 | -- | -- | --
Change (%) |  | -9.3905 | -2.2624 | 11.0889 | 6.8915 | -3.3766 | -7.688 | 4.6371 | -- | -- | --
Opto-board at 0C |  | 1557.503 | 972.1049 | 1480.6388 | 1339.0392 | 1505.2412 | 1346.8773 | 1437.5088 | -- | -- | --
Change (%) |  | -1.3713 | -19.8532 | 9.9911 | 7.789 | 2.9405 | 1.9345 | 10.5042 | -- | -- | --
Opto-board at 50C |  | 1385.9997 | 852.3267 | 1319.737 | 1216.4118 | 1322.8691 | 1191.2832 | 1313.5518 | -- | -- | --
Change (%) |  | -12.2318 | -29.7286 | -1.9617 | -2.0822 | -9.5315 | -9.8412 | 0.97535 | -- | -- | --
Opto-board QA (10C) |  | 1545.8483 | 965.7331 | 1483.1485 | 1355.5484 | 1496.9106 | 1305.0616 | 1438.2063 | -- | -- | --
Change (%) |  | -2.1094 | -20.3786 | 10.1775 | 9.118 | 2.3708 | -1.2302 | 10.5578 | -- | -- | --
Reception Test |  | 1209.878 | 1094.944 | 1260.925 | 1081.39 | 1105.719 | 982.2261 | 1226.863
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2055.1204 | 2091.277 | 2122.2469 | 2128.612 | 2124.0505 | 2123.4352 | 2161.3641 | -- | -- | --
Post Opto-pack Burn-in |  | 1927.7391 | 1962.912 | 1983.7775 | 1982.0575 | 1973.4452 | 1987.9336 | 2030.0194 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1360.1134 | 1409.3017 | 1474.7615 | 1056.7539 | 1200.9161 | 1446.3313 | 1565.7761 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1261.936 | 1249.0249 | 1265.2316 | 1079.5869 | 1172.9326 | 1266.8576 | 1443.6573 | -- | -- | --
Change (%) |  | -7.2183 | -11.3728 | -14.2077 | 2.1607 | -2.3302 | -12.4089 | -7.7993 | -- | -- | --
Opto-board at 0C |  | 1225.4879 | 1246.9072 | 1353.9968 | 1278.8109 | 1283.185 | 1432.6975 | 1423.8033 | -- | -- | --
Change (%) |  | -9.8981 | -11.523 | -8.1888 | 21.0131 | 6.8505 | -0.94264 | -9.0672 | -- | -- | --
Opto-board at 50C |  | 1058.0737 | 1080.5989 | 1127.6543 | 1062.476 | 1086.0723 | 1257.0735 | 1253.7543 | -- | -- | --
Change (%) |  | -22.207 | -23.3238 | -23.5365 | 0.54147 | -9.563 | -13.0854 | -19.9276 | -- | -- | --
Opto-board QA (10C) |  | 1246.2176 | 1203.3464 | 1309.2401 | 1240.2262 | 1258.2813 | 1405.383 | 1430.3208 | -- | -- | --
Change (%) |  | -8.374 | -14.614 | -11.2236 | 17.3619 | 4.7768 | -2.8312 | -8.651 | -- | -- | --
Reception Test |  | 941.6753 | 1135.318 | 1119.571 | 1040.874 | 956.528 | 1084.356 | 1116.063

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 354.9805 |  |  |  | 2020-11-10 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 333.2642 |  |  |  | 2020-11-10 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.78864 |  | 2020-11-10 |  |  |  | Pass
QA | uA | 1 | 0.58605 |  | 2020-11-10 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.35925 | 0.41921 | 0.44336 | 0.39938 | 0.52942 | 0.47349 | 0.40277 | 0.76776 | 0.63242 | 0.42222 | 0.63361 | 0.62101 | 0.48429 | 0.44768 |  |  | Pass
Fall | ns | 1 | 0.65075 | 0.60016 | 0.7538 | 0.65361 | 0.51623 | 0.66524 | 0.63164 | 0.56562 | 0.56866 | 0.36349 | 0.61823 | 0.55633 | 0.47354 | 0.51402 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):11/10/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):11/10/2020 1: 0.50145; Date (DD/MM/YY):11/10/2020 2: 0.51229; Date (DD/MM/YY):11/10/2020 3: 0.5288; Date (DD/MM/YY):11/10/2020 4: 0.53826; Date (DD/MM/YY):11/10/2020 5: 0.54982; Date (DD/MM/YY):11/10/2020 6: 0.55728; Initial: 7: 0.57823 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):11/10/2020 1: 0.48252; Date (DD/MM/YY):11/10/2020 2: 0.49765; Date (DD/MM/YY):11/10/2020 3: 0.5152; Date (DD/MM/YY):11/10/2020 4: 0.52137; Date (DD/MM/YY):11/10/2020 5: 0.53987; Date (DD/MM/YY):11/10/2020 6: 0.55612; Initial: 7: 0.58373 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):11/10/2020 1: 0.60379; Date (DD/MM/YY):11/10/2020 2: 0.65506; Date (DD/MM/YY):11/10/2020 3: 0.62586; Date (DD/MM/YY):11/10/2020 4: 0.59695; Date (DD/MM/YY):11/10/2020 5: 0.64554; Date (DD/MM/YY):11/10/2020 6: 0.6272; Initial: 7: 0.64096 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):11/10/2020 1: 0.62463; Date (DD/MM/YY):11/10/2020 2: 0.62402; Date (DD/MM/YY):11/10/2020 3: 0.64399; Date (DD/MM/YY):11/10/2020 4: 0.63155; Date (DD/MM/YY):11/10/2020 5: 0.58337; Date (DD/MM/YY):11/10/2020 6: 0.62713; Initial: 7: 0.64646 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):11/10/2020 1: 0.05287; Date (DD/MM/YY):11/10/2020 2: 0.17276; Date (DD/MM/YY):11/10/2020 3: 0.19252; Date (DD/MM/YY):11/10/2020 4: 0.11784; Date (DD/MM/YY):11/10/2020 5: 0.16018; Date (DD/MM/YY):11/10/2020 6: 0.33477; Initial: 7: 0.12406 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):11/10/2020 1: 0.04699; Date (DD/MM/YY):11/10/2020 2: 0.16418; Date (DD/MM/YY):11/10/2020 3: 0.15742; Date (DD/MM/YY):11/10/2020 4: 0.12178; Date (DD/MM/YY):11/10/2020 5: 0.15212; Date (DD/MM/YY):11/10/2020 6: 0.32897; Initial: 7: 0.12754 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/10/2020 1: 12.72; Date (DD/MM/YY):11/10/2020 2: 13.191; Date (DD/MM/YY):11/10/2020 3: 12.923; Date (DD/MM/YY):11/10/2020 4: 12.728; Date (DD/MM/YY):11/10/2020 5: 12.936; Date (DD/MM/YY):11/10/2020 6: 12.981; Initial: 7: 12.101
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/10/2020 1: 12.717; Date (DD/MM/YY):11/10/2020 2: 13.194; Date (DD/MM/YY):11/10/2020 3: 12.881; Date (DD/MM/YY):11/10/2020 4: 12.721; Date (DD/MM/YY):11/10/2020 5: 12.839; Date (DD/MM/YY):11/10/2020 6: 12.91; Initial: 7: 12.055
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/10/2020 1: 12.411; Date (DD/MM/YY):11/10/2020 2: 12.5; Date (DD/MM/YY):11/10/2020 3: 12.231; Date (DD/MM/YY):11/10/2020 4: 12.19; Date (DD/MM/YY):11/10/2020 5: 12.238; Date (DD/MM/YY):11/10/2020 6: 11.936; Initial: 7: 11.56
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/10/2020 1: 12.418; Date (DD/MM/YY):11/10/2020 2: 12.559; Date (DD/MM/YY):11/10/2020 3: 12.275; Date (DD/MM/YY):11/10/2020 4: 12.221; Date (DD/MM/YY):11/10/2020 5: 12.29; Date (DD/MM/YY):11/10/2020 6: 11.96; Initial: 7: 11.566
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/10/2020 1: 12.5427; Date (DD/MM/YY):11/10/2020 2: 12.8599; Date (DD/MM/YY):11/10/2020 3: 12.5643; Date (DD/MM/YY):11/10/2020 4: 12.4722; Date (DD/MM/YY):11/10/2020 5: 12.5706; Date (DD/MM/YY):11/10/2020 6: 12.438; Initial: 7: 11.8116
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/10/2020 1: 12.5543; Date (DD/MM/YY):11/10/2020 2: 12.8834; Date (DD/MM/YY):11/10/2020 3: 12.5807; Date (DD/MM/YY):11/10/2020 4: 12.4628; Date (DD/MM/YY):11/10/2020 5: 12.5678; Date (DD/MM/YY):11/10/2020 6: 12.4394; Initial: 7: 11.808
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):11/10/2020 1: 50.2117; Date (DD/MM/YY):11/10/2020 2: 51.6079; Date (DD/MM/YY):11/10/2020 3: 50.3633; Date (DD/MM/YY):11/10/2020 4: 49.8778; Date (DD/MM/YY):11/10/2020 5: 50.2885; Date (DD/MM/YY):11/10/2020 6: 49.7301; Initial: 7: 47.2579 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):11/10/2020 1: 50.2589; Date (DD/MM/YY):11/10/2020 2: 51.4766; Date (DD/MM/YY):11/10/2020 3: 50.327; Date (DD/MM/YY):11/10/2020 4: 49.9015; Date (DD/MM/YY):11/10/2020 5: 50.3037; Date (DD/MM/YY):11/10/2020 6: 49.7943; Initial: 7: 47.2673 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):11/10/2020 1: 50.2332; Date (DD/MM/YY):11/10/2020 2: 51.5439; Date (DD/MM/YY):11/10/2020 3: 50.3558; Date (DD/MM/YY):11/10/2020 4: 49.8556; Date (DD/MM/YY):11/10/2020 5: 50.2752; Date (DD/MM/YY):11/10/2020 6: 49.7463; Initial: 7: 47.2617 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/10/2020 1: 1.0769; Date (DD/MM/YY):11/10/2020 2: 1.0449; Date (DD/MM/YY):11/10/2020 3: 1.0779; Date (DD/MM/YY):11/10/2020 4: 1.0894; Date (DD/MM/YY):11/10/2020 5: 1.0809; Date (DD/MM/YY):11/10/2020 6: 1.0934; Initial: 7: 1.0983 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/10/2020 1: 1.0676; Date (DD/MM/YY):11/10/2020 2: 1.0379; Date (DD/MM/YY):11/10/2020 3: 1.0683; Date (DD/MM/YY):11/10/2020 4: 1.0813; Date (DD/MM/YY):11/10/2020 5: 1.0732; Date (DD/MM/YY):11/10/2020 6: 1.0869; Initial: 7: 1.0914 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/10/2020 1: 1.0861; Date (DD/MM/YY):11/10/2020 2: 1.1018; Date (DD/MM/YY):11/10/2020 3: 1.1034; Date (DD/MM/YY):11/10/2020 4: 1.0934; Date (DD/MM/YY):11/10/2020 5: 1.1188; Date (DD/MM/YY):11/10/2020 6: 1.1327; Initial: 7: 1.1263 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/10/2020 1: 1.074; Date (DD/MM/YY):11/10/2020 2: 1.0782; Date (DD/MM/YY):11/10/2020 3: 1.0928; Date (DD/MM/YY):11/10/2020 4: 1.0938; Date (DD/MM/YY):11/10/2020 5: 1.1015; Date (DD/MM/YY):11/10/2020 6: 1.1243; Initial: 7: 1.116 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/10/2020 1: 0.33999; Date (DD/MM/YY):11/10/2020 2: 0.34779; Date (DD/MM/YY):11/10/2020 3: 0.36493; Date (DD/MM/YY):11/10/2020 4: 0.3682; Date (DD/MM/YY):11/10/2020 5: 0.36063; Date (DD/MM/YY):11/10/2020 6: 0.3647; Initial: 7: 0.37116 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/10/2020 1: 0.34368; Date (DD/MM/YY):11/10/2020 2: 0.31999; Date (DD/MM/YY):11/10/2020 3: 0.33411; Date (DD/MM/YY):11/10/2020 4: 0.34034; Date (DD/MM/YY):11/10/2020 5: 0.33887; Date (DD/MM/YY):11/10/2020 6: 0.34682; Initial: 7: 0.34891 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/10/2020 1: 0.3965; Date (DD/MM/YY):11/10/2020 2: 0.40479; Date (DD/MM/YY):11/10/2020 3: 0.40981; Date (DD/MM/YY):11/10/2020 4: 0.38825; Date (DD/MM/YY):11/10/2020 5: 0.40716; Date (DD/MM/YY):11/10/2020 6: 0.40688; Initial: 7: 0.40927 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/10/2020 1: 0.37789; Date (DD/MM/YY):11/10/2020 2: 0.37027; Date (DD/MM/YY):11/10/2020 3: 0.3832; Date (DD/MM/YY):11/10/2020 4: 0.38282; Date (DD/MM/YY):11/10/2020 5: 0.38052; Date (DD/MM/YY):11/10/2020 6: 0.39105; Initial: 7: 0.38762 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/10/2020 1: 0; Date (DD/MM/YY):11/10/2020 2: 0; Date (DD/MM/YY):11/10/2020 3: 0; Date (DD/MM/YY):11/10/2020 4: 0; Date (DD/MM/YY):11/10/2020 5: 0; Date (DD/MM/YY):11/10/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/10/2020 1: 0; Date (DD/MM/YY):11/10/2020 2: 0; Date (DD/MM/YY):11/10/2020 3: 0; Date (DD/MM/YY):11/10/2020 4: 0; Date (DD/MM/YY):11/10/2020 5: 0; Date (DD/MM/YY):11/10/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/10/2020 1: 0; Date (DD/MM/YY):11/10/2020 2: 0; Date (DD/MM/YY):11/10/2020 3: 0; Date (DD/MM/YY):11/10/2020 4: 0; Date (DD/MM/YY):11/10/2020 5: 0; Date (DD/MM/YY):11/10/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/10/2020 1: 0; Date (DD/MM/YY):11/10/2020 2: 0; Date (DD/MM/YY):11/10/2020 3: 0; Date (DD/MM/YY):11/10/2020 4: 0; Date (DD/MM/YY):11/10/2020 5: 0; Date (DD/MM/YY):11/10/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass