## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2183.0725 | 2138.4677 | 2092.6204 | 2010.8966 | 2041.1328 | 2082.2975 | 2036.446 | -- | -- | --
Post Opto-pack Burn-in |  | 2072.2154 | 2062.7662 | 2028.5052 | 1961.9182 | 1980.6595 | 2021.1248 | 1992.5869 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1404.8503 | 1167.0589 | 1256.6142 | 1179.4049 | 702.3651 | 1299.649 | 1231.9258 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1336.4985 | 1206.9877 | 1342.7844 | 1269.2199 | 1339.0561 | 1259.5028 | 1448.8531 | -- | -- | --
Change (%) |  | -4.8654 | 3.4213 | 6.8573 | 7.6153 | 90.6496 | -3.089 | 17.6088 | -- | -- | --
Opto-board at 0C |  | 1469.8653 | 1183.9487 | 1451.2421 | 1354.446 | 1408.3031 | 1354.1351 | 1583.1391 | -- | -- | --
Change (%) |  | 4.6279 | 1.4472 | 15.4883 | 14.8415 | 100.5087 | 4.1924 | 28.5093 | -- | -- | --
Opto-board at 50C |  | 1261.4828 | 1031.1986 | 1296.1697 | 1154.3542 | 1198.7915 | 1209.4101 | 1356.8675 | -- | -- | --
Change (%) |  | -10.2052 | -11.6413 | 3.1478 | -2.124 | 70.6793 | -6.9433 | 10.142 | -- | -- | --
Opto-board QA (10C) |  | 1418.5168 | 1185.3335 | 1421.6155 | 1343.7625 | 1369.4466 | 1338.5827 | 1555.5167 | -- | -- | --
Change (%) |  | 0.97281 | 1.5659 | 13.1306 | 13.9356 | 94.9765 | 2.9957 | 26.2671 | -- | -- | --
Reception Test |  | 1445.209 | 1247.576 | 1424.698 | 1229.376 | 1176.835 | 1069.508 | 1367.567
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2033.8052 | 2060.7467 | 2148.218 | 2006.3219 | 1964.9057 | 2044.3499 | 2000.6935 | -- | -- | --
Post Opto-pack Burn-in |  | 1977.6771 | 1956.8009 | 2073.8153 | 1944.507 | 1916.2516 | 1986.7661 | 1955.4563 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1354.5705 | 1321.2152 | 1460.4153 | 1360.8481 | 1147.1599 | 1484.6504 | 1506.9865 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1309.1996 | 1254.6543 | 1405.7742 | 1263.9226 | 1161.8696 | 1414.1529 | 1387.3635 | -- | -- | --
Change (%) |  | -3.3495 | -5.0379 | -3.7415 | -7.1224 | 1.2823 | -4.7484 | -7.9379 | -- | -- | --
Opto-board at 0C |  | 1428.0976 | 1243.601 | 1443.6488 | 1414.6608 | 1268.9287 | 1578.9882 | 1492.0301 | -- | -- | --
Change (%) |  | 5.4281 | -5.8744 | -1.1481 | 3.9544 | 10.6148 | 6.3542 | -0.99247 | -- | -- | --
Opto-board at 50C |  | 1200.9278 | 1026.2619 | 1259.1809 | 1252.3775 | 1107.1308 | 1377.7962 | 1321.7174 | -- | -- | --
Change (%) |  | -11.3425 | -22.3244 | -13.7793 | -7.9708 | -3.4894 | -7.1973 | -12.294 | -- | -- | --
Opto-board QA (10C) |  | 1404.1954 | 1229.1076 | 1417.4507 | 1386.2252 | 1209.8818 | 1556.3685 | 1477.959 | -- | -- | --
Change (%) |  | 3.6635 | -6.9714 | -2.9419 | 1.8648 | 5.4676 | 4.8306 | -1.9262 | -- | -- | --
Reception Test |  | 939.328 | 1115.761 | 1081.403 | 1110.379 | 981.2174 | 977.8515 | 1034.609

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 364.624 |  |  |  | 2020-11-10 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 341.4795 |  |  |  | 2020-11-10 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.56741 |  | 2020-11-10 |  |  |  | Pass
QA | uA | 1 | 0.58936 |  | 2020-11-10 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.45294 | 0.27428 | 0.59451 | 0.64976 | 0.42658 | 0.66292 | 0.47285 | 0.58576 | 0.70432 | 0.81073 | 0.67829 | 0.55232 | 0.49703 | 0.53566 |  |  | Pass
Fall | ns | 1 | 0.46788 | 0.71727 | 0.57431 | 0.59008 | 0.94509 | 0.5544 | 0.43673 | 0.45353 | 0.62207 | 0.74429 | 0.51904 | 0.51444 | 0.38322 | 0.46192 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):11/10/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):11/10/2020 1: 0.4923; Date (DD/MM/YY):11/10/2020 2: 0.50899; Date (DD/MM/YY):11/10/2020 3: 0.53232; Date (DD/MM/YY):11/10/2020 4: 0.541; Date (DD/MM/YY):11/10/2020 5: 0.55205; Date (DD/MM/YY):11/10/2020 6: 0.56955; Initial: 7: 0.57562 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):11/10/2020 1: 0.47844; Date (DD/MM/YY):11/10/2020 2: 0.50569; Date (DD/MM/YY):11/10/2020 3: 0.51423; Date (DD/MM/YY):11/10/2020 4: 0.52731; Date (DD/MM/YY):11/10/2020 5: 0.54642; Date (DD/MM/YY):11/10/2020 6: 0.55924; Initial: 7: 0.57458 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):11/10/2020 1: 0.63036; Date (DD/MM/YY):11/10/2020 2: 0.64233; Date (DD/MM/YY):11/10/2020 3: 0.63824; Date (DD/MM/YY):11/10/2020 4: 0.58548; Date (DD/MM/YY):11/10/2020 5: 0.63738; Date (DD/MM/YY):11/10/2020 6: 0.62145; Initial: 7: 0.63936 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):11/10/2020 1: 0.60685; Date (DD/MM/YY):11/10/2020 2: 0.59941; Date (DD/MM/YY):11/10/2020 3: 0.63012; Date (DD/MM/YY):11/10/2020 4: 0.61076; Date (DD/MM/YY):11/10/2020 5: 0.59109; Date (DD/MM/YY):11/10/2020 6: 0.60509; Initial: 7: 0.64412 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):11/10/2020 1: 0.06277; Date (DD/MM/YY):11/10/2020 2: 0.06305; Date (DD/MM/YY):11/10/2020 3: 0.10691; Date (DD/MM/YY):11/10/2020 4: 0.13632; Date (DD/MM/YY):11/10/2020 5: 0.06425; Date (DD/MM/YY):11/10/2020 6: 0.09869; Initial: 7: 0.16391 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):11/10/2020 1: 0.05347; Date (DD/MM/YY):11/10/2020 2: 0.06205; Date (DD/MM/YY):11/10/2020 3: 0.10682; Date (DD/MM/YY):11/10/2020 4: 0.11788; Date (DD/MM/YY):11/10/2020 5: 0.04923; Date (DD/MM/YY):11/10/2020 6: 0.09619; Initial: 7: 0.17119 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/10/2020 1: 12.215; Date (DD/MM/YY):11/10/2020 2: 12.562; Date (DD/MM/YY):11/10/2020 3: 12.024; Date (DD/MM/YY):11/10/2020 4: 12.634; Date (DD/MM/YY):11/10/2020 5: 12.565; Date (DD/MM/YY):11/10/2020 6: 12.562; Initial: 7: 12.898
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/10/2020 1: 12.148; Date (DD/MM/YY):11/10/2020 2: 12.609; Date (DD/MM/YY):11/10/2020 3: 11.992; Date (DD/MM/YY):11/10/2020 4: 12.646; Date (DD/MM/YY):11/10/2020 5: 12.575; Date (DD/MM/YY):11/10/2020 6: 12.569; Initial: 7: 12.88
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/10/2020 1: 11.779; Date (DD/MM/YY):11/10/2020 2: 12.121; Date (DD/MM/YY):11/10/2020 3: 11.504; Date (DD/MM/YY):11/10/2020 4: 12.061; Date (DD/MM/YY):11/10/2020 5: 12.199; Date (DD/MM/YY):11/10/2020 6: 12.071; Initial: 7: 12.282
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/10/2020 1: 11.781; Date (DD/MM/YY):11/10/2020 2: 12.123; Date (DD/MM/YY):11/10/2020 3: 11.494; Date (DD/MM/YY):11/10/2020 4: 12.104; Date (DD/MM/YY):11/10/2020 5: 12.205; Date (DD/MM/YY):11/10/2020 6: 12.052; Initial: 7: 12.255
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/10/2020 1: 11.9548; Date (DD/MM/YY):11/10/2020 2: 12.3183; Date (DD/MM/YY):11/10/2020 3: 11.7424; Date (DD/MM/YY):11/10/2020 4: 12.3626; Date (DD/MM/YY):11/10/2020 5: 12.3652; Date (DD/MM/YY):11/10/2020 6: 12.3131; Initial: 7: 12.5933
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/10/2020 1: 11.9355; Date (DD/MM/YY):11/10/2020 2: 12.3268; Date (DD/MM/YY):11/10/2020 3: 11.7282; Date (DD/MM/YY):11/10/2020 4: 12.3638; Date (DD/MM/YY):11/10/2020 5: 12.3567; Date (DD/MM/YY):11/10/2020 6: 12.3056; Initial: 7: 12.5769
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):11/10/2020 1: 47.7661; Date (DD/MM/YY):11/10/2020 2: 49.3168; Date (DD/MM/YY):11/10/2020 3: 46.9597; Date (DD/MM/YY):11/10/2020 4: 49.531; Date (DD/MM/YY):11/10/2020 5: 49.4906; Date (DD/MM/YY):11/10/2020 6: 49.2447; Initial: 7: 50.2877 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):11/10/2020 1: 47.8684; Date (DD/MM/YY):11/10/2020 2: 49.283; Date (DD/MM/YY):11/10/2020 3: 47.0308; Date (DD/MM/YY):11/10/2020 4: 49.4379; Date (DD/MM/YY):11/10/2020 5: 49.4836; Date (DD/MM/YY):11/10/2020 6: 49.2905; Initial: 7: 50.4744 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):11/10/2020 1: 47.7494; Date (DD/MM/YY):11/10/2020 2: 49.3163; Date (DD/MM/YY):11/10/2020 3: 46.916; Date (DD/MM/YY):11/10/2020 4: 49.4958; Date (DD/MM/YY):11/10/2020 5: 49.4499; Date (DD/MM/YY):11/10/2020 6: 49.2367; Initial: 7: 50.3301 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/10/2020 1: 1.0401; Date (DD/MM/YY):11/10/2020 2: 1.0197; Date (DD/MM/YY):11/10/2020 3: 1.058; Date (DD/MM/YY):11/10/2020 4: 1.1139; Date (DD/MM/YY):11/10/2020 5: 1.1072; Date (DD/MM/YY):11/10/2020 6: 1.0911; Initial: 7: 1.0923 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/10/2020 1: 1.0349; Date (DD/MM/YY):11/10/2020 2: 1.0167; Date (DD/MM/YY):11/10/2020 3: 1.0471; Date (DD/MM/YY):11/10/2020 4: 1.1044; Date (DD/MM/YY):11/10/2020 5: 1.0999; Date (DD/MM/YY):11/10/2020 6: 1.0854; Initial: 7: 1.0875 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/10/2020 1: 1.0484; Date (DD/MM/YY):11/10/2020 2: 1.0608; Date (DD/MM/YY):11/10/2020 3: 1.0852; Date (DD/MM/YY):11/10/2020 4: 1.1335; Date (DD/MM/YY):11/10/2020 5: 1.1062; Date (DD/MM/YY):11/10/2020 6: 1.1273; Initial: 7: 1.1539 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/10/2020 1: 1.039; Date (DD/MM/YY):11/10/2020 2: 1.0408; Date (DD/MM/YY):11/10/2020 3: 1.0766; Date (DD/MM/YY):11/10/2020 4: 1.1354; Date (DD/MM/YY):11/10/2020 5: 1.0907; Date (DD/MM/YY):11/10/2020 6: 1.1215; Initial: 7: 1.1446 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/10/2020 1: 0.34683; Date (DD/MM/YY):11/10/2020 2: 0.34372; Date (DD/MM/YY):11/10/2020 3: 0.36572; Date (DD/MM/YY):11/10/2020 4: 0.38345; Date (DD/MM/YY):11/10/2020 5: 0.37537; Date (DD/MM/YY):11/10/2020 6: 0.36909; Initial: 7: 0.37286 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/10/2020 1: 0.32521; Date (DD/MM/YY):11/10/2020 2: 0.31163; Date (DD/MM/YY):11/10/2020 3: 0.32712; Date (DD/MM/YY):11/10/2020 4: 0.35355; Date (DD/MM/YY):11/10/2020 5: 0.3536; Date (DD/MM/YY):11/10/2020 6: 0.34981; Initial: 7: 0.35338 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/10/2020 1: 0.38373; Date (DD/MM/YY):11/10/2020 2: 0.3924; Date (DD/MM/YY):11/10/2020 3: 0.4082; Date (DD/MM/YY):11/10/2020 4: 0.41015; Date (DD/MM/YY):11/10/2020 5: 0.40627; Date (DD/MM/YY):11/10/2020 6: 0.41103; Initial: 7: 0.42593 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/10/2020 1: 0.35879; Date (DD/MM/YY):11/10/2020 2: 0.35564; Date (DD/MM/YY):11/10/2020 3: 0.38221; Date (DD/MM/YY):11/10/2020 4: 0.40702; Date (DD/MM/YY):11/10/2020 5: 0.37711; Date (DD/MM/YY):11/10/2020 6: 0.394; Initial: 7: 0.40423 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/10/2020 1: 0; Date (DD/MM/YY):11/10/2020 2: 0; Date (DD/MM/YY):11/10/2020 3: 0; Date (DD/MM/YY):11/10/2020 4: 0; Date (DD/MM/YY):11/10/2020 5: 0; Date (DD/MM/YY):11/10/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/10/2020 1: 0; Date (DD/MM/YY):11/10/2020 2: 0; Date (DD/MM/YY):11/10/2020 3: 0; Date (DD/MM/YY):11/10/2020 4: 0; Date (DD/MM/YY):11/10/2020 5: 0; Date (DD/MM/YY):11/10/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/10/2020 1: 0; Date (DD/MM/YY):11/10/2020 2: 0; Date (DD/MM/YY):11/10/2020 3: 0; Date (DD/MM/YY):11/10/2020 4: 0; Date (DD/MM/YY):11/10/2020 5: 0; Date (DD/MM/YY):11/10/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/10/2020 1: 0; Date (DD/MM/YY):11/10/2020 2: 0; Date (DD/MM/YY):11/10/2020 3: 0; Date (DD/MM/YY):11/10/2020 4: 0; Date (DD/MM/YY):11/10/2020 5: 0; Date (DD/MM/YY):11/10/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass