## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2139.8459 | 2205.3539 | 2237.3461 | 2200.2174 | 2277.6288 | 2145.6352 | 2199.069 | -- | -- | --
Post Opto-pack Burn-in |  | 1799.9904 | 1848.8522 | 1931.3901 | 1877.6928 | 1987.4244 | 1954.2891 | 1986.3101 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1375.8634 | 1031.5448 | 1433.1641 | 1282.2875 | 1502.416 | 1434.3485 | 1200.8365 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1374.1708 | 1162.7396 | 1556.7501 | 1367.5943 | 1488.5221 | 1312.1261 | 1590.6883 | -- | -- | --
Change (%) |  | -0.12302 | 12.7183 | 8.6233 | 6.6527 | -0.92477 | -8.5211 | 32.465 | -- | -- | --
Opto-board at 0C |  | 1423.9235 | 1185.7209 | 1427.5048 | 1346.1466 | 1536.4541 | 1350.2777 | 1654.5901 | -- | -- | --
Change (%) |  | 3.4931 | 14.9461 | -0.39489 | 4.9801 | 2.2656 | -5.8612 | 37.7865 | -- | -- | --
Opto-board at 50C |  | 1269.4911 | 1030.8854 | 1242.9558 | 1186.1897 | 1370.0755 | 1231.2274 | 1431.0468 | -- | -- | --
Change (%) |  | -7.7313 | -0.063927 | -13.2719 | -7.4942 | -8.8085 | -14.1612 | 19.1708 | -- | -- | --
Opto-board QA (10C) |  | 1415.2284 | 1150.1196 | 1437.7636 | 1319.6081 | 1525.3951 | 1382.9026 | 1644.097 | -- | -- | --
Change (%) |  | 2.8611 | 11.4949 | 0.32093 | 2.9105 | 1.5295 | -3.5867 | 36.9126 | -- | -- | --
Reception Test |  | 1317.143 | 1190.828 | 1407.341 | 1248.552 | 1228.801 | 975.3348 | 1222.414
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1946.2519 | 1903.7176 | 1965.6008 | 1918.9756 | 1961.5317 | 1944.7246 | 1971.6611 | -- | -- | --
Post Opto-pack Burn-in |  | 1807.5157 | 1742.0993 | 1841.7875 | 1792.9529 | 1881.1123 | 1917.0711 | 1892.9643 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1284.6936 | 1200.4513 | 1339.7707 | 1240.3456 | 1269.8451 | 1329.2142 | 1329.3839 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1199.666 | 1085.7011 | 1206.0548 | 1240.6854 | 1155.3886 | 1259.2613 | 1247.3121 | -- | -- | --
Change (%) |  | -6.6185 | -9.5589 | -9.9805 | 0.027398 | -9.0134 | -5.2627 | -6.1737 | -- | -- | --
Opto-board at 0C |  | 1047.6187 | 1253.1978 | 1268.123 | 1288.3537 | 1299.1134 | 1371.4488 | 1339.7159 | -- | -- | --
Change (%) |  | -18.4538 | 4.3939 | -5.3478 | 3.8705 | 2.3049 | 3.1774 | 0.7772 | -- | -- | --
Opto-board at 50C |  | 899.9427 | 1133.7118 | 1127.2201 | 1108.0134 | 1108.8219 | 1211.8436 | 1158.4402 | -- | -- | --
Change (%) |  | -29.9488 | -5.5595 | -15.8647 | -10.669 | -12.6805 | -8.8301 | -12.8589 | -- | -- | --
Opto-board QA (10C) |  | 1018.6423 | 1249.3823 | 1165.9816 | 1270.2416 | 1241.257 | 1335.402 | 1345.6212 | -- | -- | --
Change (%) |  | -20.7093 | 4.0761 | -12.9716 | 2.4103 | -2.2513 | 0.46552 | 1.2214 | -- | -- | --
Reception Test |  | 956.0656 | 1047.801 | 1044.279 | 1000.155 | 945.333 | 1023.561 | 1029.477

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 365.6006 |  |  |  | 2020-11-17 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 345.3247 |  |  |  | 2020-11-17 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.79313 |  | 2020-11-17 |  |  |  | Pass
QA | uA | 1 | 0.46316 |  | 2020-11-17 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.45194 | 0 | 0.44473 | 0.34073 | 0.51694 | 0.40906 | 0.38613 | 0.47539 | 0.55956 | 0.47737 | 0.44119 | 0.5989 | 0.38444 | 0.39314 |  |  | Pass
Fall | ns | 1 | 0.43213 | 0 | 0.65175 | 0.60729 | 0.79854 | 0.70714 | 0.58559 | 0.6722 | 0.58513 | 0.76303 | 0.72068 | 0.58512 | 0.50171 | 0.53935 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):11/17/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):11/17/2020 1: 0.51044; Date (DD/MM/YY):11/17/2020 2: 0.52771; Date (DD/MM/YY):11/17/2020 3: 0.55216; Date (DD/MM/YY):11/17/2020 4: 0.55179; Date (DD/MM/YY):11/17/2020 5: 0.57461; Date (DD/MM/YY):11/17/2020 6: 0.58485; Initial: 7: 0.58493 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):11/17/2020 1: 0.49266; Date (DD/MM/YY):11/17/2020 2: 0.51517; Date (DD/MM/YY):11/17/2020 3: 0.53899; Date (DD/MM/YY):11/17/2020 4: 0.53526; Date (DD/MM/YY):11/17/2020 5: 0.56204; Date (DD/MM/YY):11/17/2020 6: 0.57674; Initial: 7: 0.5944 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):11/17/2020 1: 0.65118; Date (DD/MM/YY):11/17/2020 2: 0.64586; Date (DD/MM/YY):11/17/2020 3: 0.6363; Date (DD/MM/YY):11/17/2020 4: 0.61321; Date (DD/MM/YY):11/17/2020 5: 0.63113; Date (DD/MM/YY):11/17/2020 6: 0.6002; Initial: 7: 0.65263 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):11/17/2020 1: 0.63056; Date (DD/MM/YY):11/17/2020 2: 0.5973; Date (DD/MM/YY):11/17/2020 3: 0.64578; Date (DD/MM/YY):11/17/2020 4: 0.61241; Date (DD/MM/YY):11/17/2020 5: 0.60798; Date (DD/MM/YY):11/17/2020 6: 0.62475; Initial: 7: 0.65878 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):11/17/2020 1: 0.08288; Date (DD/MM/YY):11/17/2020 2: 0.31016; Date (DD/MM/YY):11/17/2020 3: 0.12997; Date (DD/MM/YY):11/17/2020 4: 0.11907; Date (DD/MM/YY):11/17/2020 5: 0.12346; Date (DD/MM/YY):11/17/2020 6: 0.10971; Initial: 7: 0.08272 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):11/17/2020 1: 0.06882; Date (DD/MM/YY):11/17/2020 2: 0.29253; Date (DD/MM/YY):11/17/2020 3: 0.11116; Date (DD/MM/YY):11/17/2020 4: 0.07486; Date (DD/MM/YY):11/17/2020 5: 0.12384; Date (DD/MM/YY):11/17/2020 6: 0.10309; Initial: 7: 0.07378 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/17/2020 1: 12.929; Date (DD/MM/YY):11/17/2020 2: 12.554; Date (DD/MM/YY):11/17/2020 3: 12.551; Date (DD/MM/YY):11/17/2020 4: 12.645; Date (DD/MM/YY):11/17/2020 5: 12.645; Date (DD/MM/YY):11/17/2020 6: 13.09; Initial: 7: 12.345
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/17/2020 1: 12.809; Date (DD/MM/YY):11/17/2020 2: 12.448; Date (DD/MM/YY):11/17/2020 3: 12.496; Date (DD/MM/YY):11/17/2020 4: 12.57; Date (DD/MM/YY):11/17/2020 5: 12.617; Date (DD/MM/YY):11/17/2020 6: 13.063; Initial: 7: 12.295
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/17/2020 1: 12.352; Date (DD/MM/YY):11/17/2020 2: 11.469; Date (DD/MM/YY):11/17/2020 3: 11.892; Date (DD/MM/YY):11/17/2020 4: 12.061; Date (DD/MM/YY):11/17/2020 5: 12.126; Date (DD/MM/YY):11/17/2020 6: 12.612; Initial: 7: 11.854
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/17/2020 1: 12.364; Date (DD/MM/YY):11/17/2020 2: 11.473; Date (DD/MM/YY):11/17/2020 3: 11.932; Date (DD/MM/YY):11/17/2020 4: 12.183; Date (DD/MM/YY):11/17/2020 5: 12.117; Date (DD/MM/YY):11/17/2020 6: 12.609; Initial: 7: 11.901
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/17/2020 1: 12.5872; Date (DD/MM/YY):11/17/2020 2: 11.9917; Date (DD/MM/YY):11/17/2020 3: 12.2097; Date (DD/MM/YY):11/17/2020 4: 12.3676; Date (DD/MM/YY):11/17/2020 5: 12.3754; Date (DD/MM/YY):11/17/2020 6: 12.8512; Initial: 7: 12.094
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/17/2020 1: 12.5889; Date (DD/MM/YY):11/17/2020 2: 11.9786; Date (DD/MM/YY):11/17/2020 3: 12.2282; Date (DD/MM/YY):11/17/2020 4: 12.3641; Date (DD/MM/YY):11/17/2020 5: 12.377; Date (DD/MM/YY):11/17/2020 6: 12.8459; Initial: 7: 12.0953
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):11/17/2020 1: 50.2699; Date (DD/MM/YY):11/17/2020 2: 47.9208; Date (DD/MM/YY):11/17/2020 3: 48.9805; Date (DD/MM/YY):11/17/2020 4: 49.4125; Date (DD/MM/YY):11/17/2020 5: 49.5758; Date (DD/MM/YY):11/17/2020 6: 51.397; Initial: 7: 48.3942 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):11/17/2020 1: 50.3835; Date (DD/MM/YY):11/17/2020 2: 48.0511; Date (DD/MM/YY):11/17/2020 3: 48.8896; Date (DD/MM/YY):11/17/2020 4: 49.5108; Date (DD/MM/YY):11/17/2020 5: 49.5286; Date (DD/MM/YY):11/17/2020 6: 51.4119; Initial: 7: 48.4438 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):11/17/2020 1: 50.3644; Date (DD/MM/YY):11/17/2020 2: 47.9376; Date (DD/MM/YY):11/17/2020 3: 48.9406; Date (DD/MM/YY):11/17/2020 4: 49.4826; Date (DD/MM/YY):11/17/2020 5: 49.5026; Date (DD/MM/YY):11/17/2020 6: 51.3915; Initial: 7: 48.3872 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/17/2020 1: 1.107; Date (DD/MM/YY):11/17/2020 2: 1.0949; Date (DD/MM/YY):11/17/2020 3: 1.1009; Date (DD/MM/YY):11/17/2020 4: 1.0602; Date (DD/MM/YY):11/17/2020 5: 1.0586; Date (DD/MM/YY):11/17/2020 6: 1.0664; Initial: 7: 1.0542 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/17/2020 1: 1.0981; Date (DD/MM/YY):11/17/2020 2: 1.0845; Date (DD/MM/YY):11/17/2020 3: 1.0936; Date (DD/MM/YY):11/17/2020 4: 1.0525; Date (DD/MM/YY):11/17/2020 5: 1.0549; Date (DD/MM/YY):11/17/2020 6: 1.063; Initial: 7: 1.0509 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/17/2020 1: 1.1143; Date (DD/MM/YY):11/17/2020 2: 1.1238; Date (DD/MM/YY):11/17/2020 3: 1.111; Date (DD/MM/YY):11/17/2020 4: 1.0756; Date (DD/MM/YY):11/17/2020 5: 1.0913; Date (DD/MM/YY):11/17/2020 6: 1.073; Initial: 7: 1.0929 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/17/2020 1: 1.1018; Date (DD/MM/YY):11/17/2020 2: 1.1014; Date (DD/MM/YY):11/17/2020 3: 1.1015; Date (DD/MM/YY):11/17/2020 4: 1.0791; Date (DD/MM/YY):11/17/2020 5: 1.0775; Date (DD/MM/YY):11/17/2020 6: 1.0702; Initial: 7: 1.0849 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/17/2020 1: 0.3853; Date (DD/MM/YY):11/17/2020 2: 0.38104; Date (DD/MM/YY):11/17/2020 3: 0.37704; Date (DD/MM/YY):11/17/2020 4: 0.36617; Date (DD/MM/YY):11/17/2020 5: 0.36066; Date (DD/MM/YY):11/17/2020 6: 0.36003; Initial: 7: 0.35872 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/17/2020 1: 0.33493; Date (DD/MM/YY):11/17/2020 2: 0.32937; Date (DD/MM/YY):11/17/2020 3: 0.33278; Date (DD/MM/YY):11/17/2020 4: 0.32358; Date (DD/MM/YY):11/17/2020 5: 0.32561; Date (DD/MM/YY):11/17/2020 6: 0.33216; Initial: 7: 0.32564 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/17/2020 1: 0.41247; Date (DD/MM/YY):11/17/2020 2: 0.41656; Date (DD/MM/YY):11/17/2020 3: 0.41155; Date (DD/MM/YY):11/17/2020 4: 0.38736; Date (DD/MM/YY):11/17/2020 5: 0.40289; Date (DD/MM/YY):11/17/2020 6: 0.388; Initial: 7: 0.4001 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/17/2020 1: 0.3837; Date (DD/MM/YY):11/17/2020 2: 0.37579; Date (DD/MM/YY):11/17/2020 3: 0.37928; Date (DD/MM/YY):11/17/2020 4: 0.37735; Date (DD/MM/YY):11/17/2020 5: 0.36947; Date (DD/MM/YY):11/17/2020 6: 0.36512; Initial: 7: 0.37103 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/17/2020 1: 0; Date (DD/MM/YY):11/17/2020 2: 0; Date (DD/MM/YY):11/17/2020 3: 0; Date (DD/MM/YY):11/17/2020 4: 0; Date (DD/MM/YY):11/17/2020 5: 0; Date (DD/MM/YY):11/17/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/17/2020 1: 0; Date (DD/MM/YY):11/17/2020 2: 0; Date (DD/MM/YY):11/17/2020 3: 0; Date (DD/MM/YY):11/17/2020 4: 0; Date (DD/MM/YY):11/17/2020 5: 0; Date (DD/MM/YY):11/17/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/17/2020 1: 0; Date (DD/MM/YY):11/17/2020 2: 0; Date (DD/MM/YY):11/17/2020 3: 0; Date (DD/MM/YY):11/17/2020 4: 0; Date (DD/MM/YY):11/17/2020 5: 0; Date (DD/MM/YY):11/17/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/17/2020 1: 0; Date (DD/MM/YY):11/17/2020 2: 0; Date (DD/MM/YY):11/17/2020 3: 0; Date (DD/MM/YY):11/17/2020 4: 0; Date (DD/MM/YY):11/17/2020 5: 0; Date (DD/MM/YY):11/17/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass