## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2222.2151 | 2148.6242 | 2180.1492 | 2155.9527 | 2192.55 | 2056.1071 | 2180.464 | -- | -- | --
Post Opto-pack Burn-in |  | 2062.6456 | 1966.5306 | 2021.2237 | 1908.9776 | 2010.84 | 1882.242 | 1974.7448 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1577.3402 | 1226.4411 | 1522.254 | 1296.7443 | 1459.8731 | 1170.4413 | 1520.1092 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1578.9264 | 1245.6142 | 1477.5591 | 1276.8561 | 1370.7722 | 1245.7605 | 1603.5507 | -- | -- | --
Change (%) |  | 0.10056 | 1.5633 | -2.9361 | -1.5337 | -6.1033 | 6.4351 | 5.4892 | -- | -- | --
Opto-board at 0C |  | 1555.6557 | 1271.3157 | 1674.2668 | 1430.7722 | 1554.4601 | 1407.5667 | 1752.1966 | -- | -- | --
Change (%) |  | -1.3748 | 3.6589 | 9.986 | 10.3357 | 6.4791 | 20.2595 | 15.2678 | -- | -- | --
Opto-board at 50C |  | 1351.9543 | 1149.2294 | 1514.2349 | 1230.7611 | 1409.5029 | 1224.6022 | 1524.4069 | -- | -- | --
Change (%) |  | -14.289 | -6.2956 | -0.52679 | -5.0884 | -3.4503 | 4.6274 | 0.28272 | -- | -- | --
Opto-board QA (10C) |  | 1668.0633 | 1333.245 | 1704.3534 | 1388.6566 | 1563.5259 | 1376.5762 | 1745.5603 | -- | -- | --
Change (%) |  | 5.7516 | 8.7084 | 11.9625 | 7.0879 | 7.1001 | 17.6117 | 14.8312 | -- | -- | --
Reception Test |  | 1571.241 | 1268.415 | 1521.678 | 1273.842 | 1242.272 | 1052.821 | 1445.558
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2160.0271 | 2080.4648 | 2169.4179 | 2110.3982 | 2080.433 | 2114.6129 | 2193.4415 | -- | -- | --
Post Opto-pack Burn-in |  | 2060.8897 | 1993.0051 | 2047.1341 | 2033.3057 | 1965.9734 | 2057.4387 | 2094.8884 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1222.9373 | 989.9747 | 1151.737 | 1187.3778 | 970.9168 | 1120.6326 | 1228.8897 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1231.6798 | 1049.9054 | 1117.7607 | 1172.8477 | 1001.3377 | 1121.2335 | 1266.9212 | -- | -- | --
Change (%) |  | 0.71488 | 6.0538 | -2.95 | -1.2237 | 3.1332 | 0.053625 | 3.0948 | -- | -- | --
Opto-board at 0C |  | 1174.5021 | 1080.3934 | 1212.475 | 1175.9246 | 1164.1087 | 1185.4212 | 1325.7767 | -- | -- | --
Change (%) |  | -3.9606 | 9.1334 | 5.2736 | -0.96458 | 19.8979 | 5.7814 | 7.8841 | -- | -- | --
Opto-board at 50C |  | 1021.5535 | 912.3606 | 1034.3072 | 1000.9573 | 976.179 | 1017.0648 | 1116.274 | -- | -- | --
Change (%) |  | -16.4672 | -7.84 | -10.1959 | -15.7002 | 0.54199 | -9.2419 | -9.164 | -- | -- | --
Opto-board QA (10C) |  | 1185.3536 | 1085.7279 | 1184.2261 | 1151.3649 | 1130.7684 | 1177.9001 | 1349.7747 | -- | -- | --
Change (%) |  | -3.0732 | 9.6723 | 2.8209 | -3.033 | 16.464 | 5.1103 | 9.8369 | -- | -- | --
Reception Test |  | 1054.406 | 1059.454 | 994.202 | 1049.972 | 993.1599 | 1080.763 | 1226.356

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 351.5625 |  |  |  | 2020-11-23 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 338.7817 |  |  |  | 2020-11-23 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.6005 |  | 2020-11-23 |  |  |  | Pass
QA | uA | 1 | 0.58461 |  | 2020-11-23 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.43145 | 0.45332 | 0.40804 | 0.58031 | 0.50311 | 0.5953 | 0.50275 | 0.4747 | 0.63151 | 0.42603 | 0.48251 | 0.62451 | 0.33715 | 0.47625 |  |  | Pass
Fall | ns | 1 | 0.6483 | 0.56544 | 0.66017 | 0.61453 | 0.65509 | 0.59044 | 0.50352 | 0.53888 | 0.62159 | 0.586 | 0.62379 | 0.50831 | 0.71432 | 0.65296 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):11/23/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):11/23/2020 1: 0.49662; Date (DD/MM/YY):11/23/2020 2: 0.50989; Date (DD/MM/YY):11/23/2020 3: 0.53642; Date (DD/MM/YY):11/23/2020 4: 0.54496; Date (DD/MM/YY):11/23/2020 5: 0.54765; Date (DD/MM/YY):11/23/2020 6: 0.55818; Initial: 7: 0.56915 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):11/23/2020 1: 0.48248; Date (DD/MM/YY):11/23/2020 2: 0.50152; Date (DD/MM/YY):11/23/2020 3: 0.52149; Date (DD/MM/YY):11/23/2020 4: 0.53579; Date (DD/MM/YY):11/23/2020 5: 0.53983; Date (DD/MM/YY):11/23/2020 6: 0.5598; Initial: 7: 0.57471 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):11/23/2020 1: 0.64009; Date (DD/MM/YY):11/23/2020 2: 0.64445; Date (DD/MM/YY):11/23/2020 3: 0.63603; Date (DD/MM/YY):11/23/2020 4: 0.61676; Date (DD/MM/YY):11/23/2020 5: 0.63503; Date (DD/MM/YY):11/23/2020 6: 0.60848; Initial: 7: 0.62689 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):11/23/2020 1: 0.59996; Date (DD/MM/YY):11/23/2020 2: 0.58166; Date (DD/MM/YY):11/23/2020 3: 0.63172; Date (DD/MM/YY):11/23/2020 4: 0.6183; Date (DD/MM/YY):11/23/2020 5: 0.57751; Date (DD/MM/YY):11/23/2020 6: 0.61174; Initial: 7: 0.64704 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):11/23/2020 1: 0.06987; Date (DD/MM/YY):11/23/2020 2: 0.10232; Date (DD/MM/YY):11/23/2020 3: 0.10875; Date (DD/MM/YY):11/23/2020 4: 0.05418; Date (DD/MM/YY):11/23/2020 5: 0.08137; Date (DD/MM/YY):11/23/2020 6: 0.16105; Initial: 7: 0.09284 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):11/23/2020 1: 0.06121; Date (DD/MM/YY):11/23/2020 2: 0.0747; Date (DD/MM/YY):11/23/2020 3: 0.09345; Date (DD/MM/YY):11/23/2020 4: 0.05895; Date (DD/MM/YY):11/23/2020 5: 0.07414; Date (DD/MM/YY):11/23/2020 6: 0.15745; Initial: 7: 0.08959 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/23/2020 1: 12.168; Date (DD/MM/YY):11/23/2020 2: 12.98; Date (DD/MM/YY):11/23/2020 3: 12.281; Date (DD/MM/YY):11/23/2020 4: 12.076; Date (DD/MM/YY):11/23/2020 5: 13.198; Date (DD/MM/YY):11/23/2020 6: 13.339; Initial: 7: 12.04
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/23/2020 1: 12.141; Date (DD/MM/YY):11/23/2020 2: 12.891; Date (DD/MM/YY):11/23/2020 3: 12.216; Date (DD/MM/YY):11/23/2020 4: 12.068; Date (DD/MM/YY):11/23/2020 5: 13.162; Date (DD/MM/YY):11/23/2020 6: 13.258; Initial: 7: 12.034
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/23/2020 1: 11.751; Date (DD/MM/YY):11/23/2020 2: 12.421; Date (DD/MM/YY):11/23/2020 3: 11.723; Date (DD/MM/YY):11/23/2020 4: 11.679; Date (DD/MM/YY):11/23/2020 5: 12.739; Date (DD/MM/YY):11/23/2020 6: 12.644; Initial: 7: 11.551
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/23/2020 1: 11.77; Date (DD/MM/YY):11/23/2020 2: 12.452; Date (DD/MM/YY):11/23/2020 3: 11.704; Date (DD/MM/YY):11/23/2020 4: 11.705; Date (DD/MM/YY):11/23/2020 5: 12.762; Date (DD/MM/YY):11/23/2020 6: 12.684; Initial: 7: 11.558
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/23/2020 1: 11.9425; Date (DD/MM/YY):11/23/2020 2: 12.6706; Date (DD/MM/YY):11/23/2020 3: 11.9844; Date (DD/MM/YY):11/23/2020 4: 11.8797; Date (DD/MM/YY):11/23/2020 5: 12.976; Date (DD/MM/YY):11/23/2020 6: 12.99; Initial: 7: 11.8087
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/23/2020 1: 11.9543; Date (DD/MM/YY):11/23/2020 2: 12.6778; Date (DD/MM/YY):11/23/2020 3: 11.9911; Date (DD/MM/YY):11/23/2020 4: 11.8811; Date (DD/MM/YY):11/23/2020 5: 12.9526; Date (DD/MM/YY):11/23/2020 6: 12.9788; Initial: 7: 11.8063
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):11/23/2020 1: 47.8865; Date (DD/MM/YY):11/23/2020 2: 50.7939; Date (DD/MM/YY):11/23/2020 3: 48.0793; Date (DD/MM/YY):11/23/2020 4: 47.6277; Date (DD/MM/YY):11/23/2020 5: 51.8002; Date (DD/MM/YY):11/23/2020 6: 51.9121; Initial: 7: 47.2775 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):11/23/2020 1: 47.8167; Date (DD/MM/YY):11/23/2020 2: 50.7383; Date (DD/MM/YY):11/23/2020 3: 47.9623; Date (DD/MM/YY):11/23/2020 4: 47.524; Date (DD/MM/YY):11/23/2020 5: 51.9581; Date (DD/MM/YY):11/23/2020 6: 51.998; Initial: 7: 47.2764 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):11/23/2020 1: 47.8252; Date (DD/MM/YY):11/23/2020 2: 50.7211; Date (DD/MM/YY):11/23/2020 3: 47.9626; Date (DD/MM/YY):11/23/2020 4: 47.523; Date (DD/MM/YY):11/23/2020 5: 51.8425; Date (DD/MM/YY):11/23/2020 6: 51.916; Initial: 7: 47.2399 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/23/2020 1: 1.0687; Date (DD/MM/YY):11/23/2020 2: 1.0513; Date (DD/MM/YY):11/23/2020 3: 1.0636; Date (DD/MM/YY):11/23/2020 4: 1.0405; Date (DD/MM/YY):11/23/2020 5: 1.0407; Date (DD/MM/YY):11/23/2020 6: 1.0329; Initial: 7: 1.0351 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/23/2020 1: 1.0602; Date (DD/MM/YY):11/23/2020 2: 1.0449; Date (DD/MM/YY):11/23/2020 3: 1.0531; Date (DD/MM/YY):11/23/2020 4: 1.0322; Date (DD/MM/YY):11/23/2020 5: 1.0361; Date (DD/MM/YY):11/23/2020 6: 1.0319; Initial: 7: 1.031 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/23/2020 1: 1.0691; Date (DD/MM/YY):11/23/2020 2: 1.0893; Date (DD/MM/YY):11/23/2020 3: 1.0781; Date (DD/MM/YY):11/23/2020 4: 1.0497; Date (DD/MM/YY):11/23/2020 5: 1.0658; Date (DD/MM/YY):11/23/2020 6: 1.0584; Initial: 7: 1.0656 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/23/2020 1: 1.0563; Date (DD/MM/YY):11/23/2020 2: 1.0671; Date (DD/MM/YY):11/23/2020 3: 1.0696; Date (DD/MM/YY):11/23/2020 4: 1.0509; Date (DD/MM/YY):11/23/2020 5: 1.0526; Date (DD/MM/YY):11/23/2020 6: 1.0542; Initial: 7: 1.0576 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/23/2020 1: 0.35883; Date (DD/MM/YY):11/23/2020 2: 0.34984; Date (DD/MM/YY):11/23/2020 3: 0.35931; Date (DD/MM/YY):11/23/2020 4: 0.35107; Date (DD/MM/YY):11/23/2020 5: 0.3433; Date (DD/MM/YY):11/23/2020 6: 0.33886; Initial: 7: 0.34825 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/23/2020 1: 0.32921; Date (DD/MM/YY):11/23/2020 2: 0.32257; Date (DD/MM/YY):11/23/2020 3: 0.32383; Date (DD/MM/YY):11/23/2020 4: 0.31894; Date (DD/MM/YY):11/23/2020 5: 0.32548; Date (DD/MM/YY):11/23/2020 6: 0.32294; Initial: 7: 0.32121 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/23/2020 1: 0.38971; Date (DD/MM/YY):11/23/2020 2: 0.39908; Date (DD/MM/YY):11/23/2020 3: 0.39597; Date (DD/MM/YY):11/23/2020 4: 0.3701; Date (DD/MM/YY):11/23/2020 5: 0.38728; Date (DD/MM/YY):11/23/2020 6: 0.37885; Initial: 7: 0.38561 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/23/2020 1: 0.36356; Date (DD/MM/YY):11/23/2020 2: 0.36421; Date (DD/MM/YY):11/23/2020 3: 0.36874; Date (DD/MM/YY):11/23/2020 4: 0.36204; Date (DD/MM/YY):11/23/2020 5: 0.35992; Date (DD/MM/YY):11/23/2020 6: 0.3601; Initial: 7: 0.36121 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/23/2020 1: 0; Date (DD/MM/YY):11/23/2020 2: 0; Date (DD/MM/YY):11/23/2020 3: 0; Date (DD/MM/YY):11/23/2020 4: 0; Date (DD/MM/YY):11/23/2020 5: 0; Date (DD/MM/YY):11/23/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/23/2020 1: 0; Date (DD/MM/YY):11/23/2020 2: 0; Date (DD/MM/YY):11/23/2020 3: 0; Date (DD/MM/YY):11/23/2020 4: 0; Date (DD/MM/YY):11/23/2020 5: 0; Date (DD/MM/YY):11/23/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/23/2020 1: 0; Date (DD/MM/YY):11/23/2020 2: 0; Date (DD/MM/YY):11/23/2020 3: 0; Date (DD/MM/YY):11/23/2020 4: 0; Date (DD/MM/YY):11/23/2020 5: 0; Date (DD/MM/YY):11/23/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/23/2020 1: 0; Date (DD/MM/YY):11/23/2020 2: 0; Date (DD/MM/YY):11/23/2020 3: 0; Date (DD/MM/YY):11/23/2020 4: 0; Date (DD/MM/YY):11/23/2020 5: 0; Date (DD/MM/YY):11/23/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass