## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1976.8204 | 2041.9868 | 2089.1287 | 1972.1569 | 2115.6207 | 2067.8061 | 1930.9455 | -- | -- | --
Post Opto-pack Burn-in |  | 1816.9484 | 1931.0242 | 1945.8547 | 1811.8827 | 1977.524 | 1924.5142 | 1803.1586 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1193.2083 | 1227.9413 | 1521.1042 | 1214.1174 | 1503.1706 | 1287.708 | 1374.0071 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1179.2227 | 1242.2181 | 1473.5396 | 1194.8297 | 1468.9777 | 1297.5227 | 1395.3419 | -- | -- | --
Change (%) |  | -1.1721 | 1.1627 | -3.127 | -1.5886 | -2.2747 | 0.76218 | 1.5527 | -- | -- | --
Opto-board at 0C |  | 1239.8562 | 1354.553 | 1512.5851 | 1287.1901 | 1491.7343 | 1261.6731 | 1493.6459 | -- | -- | --
Change (%) |  | 3.9095 | 10.3109 | -0.56006 | 6.0186 | -0.76082 | -2.0218 | 8.7073 | -- | -- | --
Opto-board at 50C |  | 1091.6817 | 1163.6545 | 1322.3967 | 1118.4856 | 1290.3694 | 1122.1147 | 1288.4219 | -- | -- | --
Change (%) |  | -8.5087 | -5.2353 | -13.0634 | -7.8766 | -14.1568 | -12.8595 | -6.2289 | -- | -- | --
Opto-board QA (10C) |  | 1261.4537 | 1318.0944 | 1541.0219 | 1261.3148 | 1530.9681 | 1254.3187 | 1478.65 | -- | -- | --
Change (%) |  | 5.7195 | 7.3418 | 1.3094 | 3.8874 | 1.8493 | -2.5929 | 7.6159 | -- | -- | --
Reception Test |  | 1308.463 | 1277.167 | 1445.941 | 1131.862 | 1224.324 | 1060.504 | 1255.281
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1962.8253 | 1963.4142 | 1946.0038 | 1870.3421 | 2024.2284 | 1990.0117 | 1930.2791 | -- | -- | --
Post Opto-pack Burn-in |  | 1894.0007 | 1862.1545 | 1856.4938 | 1816.9388 | 1972.2466 | 1879.0867 | 1839.8862 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1330.3078 | 1221.986 | 1261.7397 | 1284.9921 | 1244.5163 | 1229.7027 | 1229.4172 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1255.7983 | 1265.3055 | 1332.8979 | 1221.113 | 1355.8268 | 1270.266 | 1303.0219 | -- | -- | --
Change (%) |  | -5.6009 | 3.545 | 5.6397 | -4.9712 | 8.9441 | 3.2986 | 5.987 | -- | -- | --
Opto-board at 0C |  | 1456.407 | 1371.1916 | 1364.2137 | 1332.3389 | 1359.124 | 1353.1672 | 1382.4754 | -- | -- | --
Change (%) |  | 9.479 | 12.2101 | 8.1216 | 3.6846 | 9.209 | 10.0402 | 12.4497 | -- | -- | --
Opto-board at 50C |  | 1300.0695 | 1281.1124 | 1233.2968 | 1186.1379 | 1194.4068 | 1184.4634 | 1219.1229 | -- | -- | --
Change (%) |  | -2.273 | 4.8386 | -2.2543 | -7.693 | -4.0264 | -3.6789 | -0.83733 | -- | -- | --
Opto-board QA (10C) |  | 1478.4616 | 1367.6174 | 1372.9803 | 1326.1209 | 1306.3786 | 1360.2094 | 1366.191 | -- | -- | --
Change (%) |  | 11.1368 | 11.9176 | 8.8164 | 3.2007 | 4.9708 | 10.6129 | 11.1251 | -- | -- | --
Reception Test |  | 974.7081 | 1174.699 | 1005.889 | 1036.448 | 1055.163 | 1016.676 | 1059.072

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 360.5957 |  |  |  | 2020-11-23 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 341.4185 |  |  |  | 2020-11-23 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.57397 |  | 2020-11-23 |  |  |  | Pass
QA | uA | 1 | 0.56481 |  | 2020-11-23 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.44724 | 0.39405 | 0.49438 | 0.4179 | 0.52847 | 0.46739 | 0.37966 | 0.43129 | 0.62213 | 0.46846 | 0.39384 | 0.58215 | 0.39882 | 0.35269 |  |  | Pass
Fall | ns | 1 | 0.56715 | 0.69546 | 0.72999 | 0.72133 | 0.72581 | 0.78983 | 0.65496 | 0.57323 | 0.62478 | 0.6684 | 0.65967 | 0.52068 | 0.49409 | 0.53393 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):11/23/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):11/23/2020 1: 0.51884; Date (DD/MM/YY):11/23/2020 2: 0.53363; Date (DD/MM/YY):11/23/2020 3: 0.54513; Date (DD/MM/YY):11/23/2020 4: 0.56653; Date (DD/MM/YY):11/23/2020 5: 0.5743; Date (DD/MM/YY):11/23/2020 6: 0.59057; Initial: 7: 0.60094 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):11/23/2020 1: 0.49023; Date (DD/MM/YY):11/23/2020 2: 0.51488; Date (DD/MM/YY):11/23/2020 3: 0.52255; Date (DD/MM/YY):11/23/2020 4: 0.55627; Date (DD/MM/YY):11/23/2020 5: 0.55877; Date (DD/MM/YY):11/23/2020 6: 0.58299; Initial: 7: 0.60059 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):11/23/2020 1: 0.61446; Date (DD/MM/YY):11/23/2020 2: 0.65464; Date (DD/MM/YY):11/23/2020 3: 0.59971; Date (DD/MM/YY):11/23/2020 4: 0.62867; Date (DD/MM/YY):11/23/2020 5: 0.65237; Date (DD/MM/YY):11/23/2020 6: 0.64579; Initial: 7: 0.65041 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):11/23/2020 1: 0.64459; Date (DD/MM/YY):11/23/2020 2: 0.64057; Date (DD/MM/YY):11/23/2020 3: 0.64866; Date (DD/MM/YY):11/23/2020 4: 0.63746; Date (DD/MM/YY):11/23/2020 5: 0.60306; Date (DD/MM/YY):11/23/2020 6: 0.65131; Initial: 7: 0.66271 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):11/23/2020 1: 0.18922; Date (DD/MM/YY):11/23/2020 2: 0.12796; Date (DD/MM/YY):11/23/2020 3: 0.09184; Date (DD/MM/YY):11/23/2020 4: 0.06243; Date (DD/MM/YY):11/23/2020 5: 0.242; Date (DD/MM/YY):11/23/2020 6: 0.13078; Initial: 7: 0.20304 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):11/23/2020 1: 0.15826; Date (DD/MM/YY):11/23/2020 2: 0.13194; Date (DD/MM/YY):11/23/2020 3: 0.07712; Date (DD/MM/YY):11/23/2020 4: 0.0484; Date (DD/MM/YY):11/23/2020 5: 0.23826; Date (DD/MM/YY):11/23/2020 6: 0.12443; Initial: 7: 0.18999 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/23/2020 1: 12.276; Date (DD/MM/YY):11/23/2020 2: 12.397; Date (DD/MM/YY):11/23/2020 3: 12.717; Date (DD/MM/YY):11/23/2020 4: 12.323; Date (DD/MM/YY):11/23/2020 5: 13.074; Date (DD/MM/YY):11/23/2020 6: 12.523; Initial: 7: 12.195
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/23/2020 1: 12.216; Date (DD/MM/YY):11/23/2020 2: 12.416; Date (DD/MM/YY):11/23/2020 3: 12.66; Date (DD/MM/YY):11/23/2020 4: 12.257; Date (DD/MM/YY):11/23/2020 5: 13.051; Date (DD/MM/YY):11/23/2020 6: 12.497; Initial: 7: 12.183
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/23/2020 1: 11.561; Date (DD/MM/YY):11/23/2020 2: 11.724; Date (DD/MM/YY):11/23/2020 3: 12.139; Date (DD/MM/YY):11/23/2020 4: 11.927; Date (DD/MM/YY):11/23/2020 5: 12.313; Date (DD/MM/YY):11/23/2020 6: 11.95; Initial: 7: 11.515
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/23/2020 1: 11.588; Date (DD/MM/YY):11/23/2020 2: 11.836; Date (DD/MM/YY):11/23/2020 3: 12.2; Date (DD/MM/YY):11/23/2020 4: 11.967; Date (DD/MM/YY):11/23/2020 5: 12.289; Date (DD/MM/YY):11/23/2020 6: 11.955; Initial: 7: 11.506
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/23/2020 1: 11.9132; Date (DD/MM/YY):11/23/2020 2: 12.1145; Date (DD/MM/YY):11/23/2020 3: 12.4057; Date (DD/MM/YY):11/23/2020 4: 12.121; Date (DD/MM/YY):11/23/2020 5: 12.691; Date (DD/MM/YY):11/23/2020 6: 12.2355; Initial: 7: 11.8471
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/23/2020 1: 11.9062; Date (DD/MM/YY):11/23/2020 2: 12.1079; Date (DD/MM/YY):11/23/2020 3: 12.4162; Date (DD/MM/YY):11/23/2020 4: 12.1142; Date (DD/MM/YY):11/23/2020 5: 12.6833; Date (DD/MM/YY):11/23/2020 6: 12.2355; Initial: 7: 11.842
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):11/23/2020 1: 47.6919; Date (DD/MM/YY):11/23/2020 2: 48.5227; Date (DD/MM/YY):11/23/2020 3: 49.8007; Date (DD/MM/YY):11/23/2020 4: 48.5664; Date (DD/MM/YY):11/23/2020 5: 50.8521; Date (DD/MM/YY):11/23/2020 6: 49.0245; Initial: 7: 47.3965 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):11/23/2020 1: 47.7408; Date (DD/MM/YY):11/23/2020 2: 48.569; Date (DD/MM/YY):11/23/2020 3: 49.6658; Date (DD/MM/YY):11/23/2020 4: 48.5454; Date (DD/MM/YY):11/23/2020 5: 50.7596; Date (DD/MM/YY):11/23/2020 6: 48.9913; Initial: 7: 47.4049 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):11/23/2020 1: 47.6381; Date (DD/MM/YY):11/23/2020 2: 48.4523; Date (DD/MM/YY):11/23/2020 3: 49.6739; Date (DD/MM/YY):11/23/2020 4: 48.4758; Date (DD/MM/YY):11/23/2020 5: 50.7403; Date (DD/MM/YY):11/23/2020 6: 48.9384; Initial: 7: 47.3627 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/23/2020 1: 1.0713; Date (DD/MM/YY):11/23/2020 2: 1.0655; Date (DD/MM/YY):11/23/2020 3: 1.0672; Date (DD/MM/YY):11/23/2020 4: 1.0273; Date (DD/MM/YY):11/23/2020 5: 1.0358; Date (DD/MM/YY):11/23/2020 6: 1.0573; Initial: 7: 1.0399 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/23/2020 1: 1.0611; Date (DD/MM/YY):11/23/2020 2: 1.0553; Date (DD/MM/YY):11/23/2020 3: 1.0566; Date (DD/MM/YY):11/23/2020 4: 1.0244; Date (DD/MM/YY):11/23/2020 5: 1.0333; Date (DD/MM/YY):11/23/2020 6: 1.0526; Initial: 7: 1.0364 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/23/2020 1: 1.0909; Date (DD/MM/YY):11/23/2020 2: 1.1022; Date (DD/MM/YY):11/23/2020 3: 1.1022; Date (DD/MM/YY):11/23/2020 4: 1.0431; Date (DD/MM/YY):11/23/2020 5: 1.0817; Date (DD/MM/YY):11/23/2020 6: 1.0646; Initial: 7: 1.0779 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/23/2020 1: 1.0786; Date (DD/MM/YY):11/23/2020 2: 1.0819; Date (DD/MM/YY):11/23/2020 3: 1.0926; Date (DD/MM/YY):11/23/2020 4: 1.046; Date (DD/MM/YY):11/23/2020 5: 1.0685; Date (DD/MM/YY):11/23/2020 6: 1.0605; Initial: 7: 1.0699 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/23/2020 1: 0.3714; Date (DD/MM/YY):11/23/2020 2: 0.37604; Date (DD/MM/YY):11/23/2020 3: 0.37568; Date (DD/MM/YY):11/23/2020 4: 0.34546; Date (DD/MM/YY):11/23/2020 5: 0.34426; Date (DD/MM/YY):11/23/2020 6: 0.35664; Initial: 7: 0.35074 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/23/2020 1: 0.32631; Date (DD/MM/YY):11/23/2020 2: 0.32113; Date (DD/MM/YY):11/23/2020 3: 0.32603; Date (DD/MM/YY):11/23/2020 4: 0.29856; Date (DD/MM/YY):11/23/2020 5: 0.31131; Date (DD/MM/YY):11/23/2020 6: 0.31895; Initial: 7: 0.31392 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/23/2020 1: 0.41106; Date (DD/MM/YY):11/23/2020 2: 0.41664; Date (DD/MM/YY):11/23/2020 3: 0.41962; Date (DD/MM/YY):11/23/2020 4: 0.36301; Date (DD/MM/YY):11/23/2020 5: 0.39401; Date (DD/MM/YY):11/23/2020 6: 0.37926; Initial: 7: 0.39011 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/23/2020 1: 0.38119; Date (DD/MM/YY):11/23/2020 2: 0.37494; Date (DD/MM/YY):11/23/2020 3: 0.38415; Date (DD/MM/YY):11/23/2020 4: 0.35306; Date (DD/MM/YY):11/23/2020 5: 0.36238; Date (DD/MM/YY):11/23/2020 6: 0.3566; Initial: 7: 0.36112 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/23/2020 1: 0; Date (DD/MM/YY):11/23/2020 2: 0; Date (DD/MM/YY):11/23/2020 3: 0; Date (DD/MM/YY):11/23/2020 4: 0; Date (DD/MM/YY):11/23/2020 5: 0; Date (DD/MM/YY):11/23/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/23/2020 1: 0; Date (DD/MM/YY):11/23/2020 2: 0; Date (DD/MM/YY):11/23/2020 3: 0; Date (DD/MM/YY):11/23/2020 4: 0; Date (DD/MM/YY):11/23/2020 5: 0; Date (DD/MM/YY):11/23/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/23/2020 1: 0; Date (DD/MM/YY):11/23/2020 2: 0; Date (DD/MM/YY):11/23/2020 3: 0; Date (DD/MM/YY):11/23/2020 4: 0; Date (DD/MM/YY):11/23/2020 5: 0; Date (DD/MM/YY):11/23/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/23/2020 1: 0; Date (DD/MM/YY):11/23/2020 2: 0; Date (DD/MM/YY):11/23/2020 3: 0; Date (DD/MM/YY):11/23/2020 4: 0; Date (DD/MM/YY):11/23/2020 5: 0; Date (DD/MM/YY):11/23/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass