## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1950.7781 | 1988.0477 | 1978.1891 | 1985.3044 | 1891.1521 | 2029.8909 | 2083.9574 | -- | -- | --
Post Opto-pack Burn-in |  | 1866.2924 | 1871.6638 | 1875.2714 | 1882.2655 | 1786.3572 | 1927.4255 | 1972.2076 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1433.9243 | 1146.7235 | 1560.8297 | 1229.0402 | 1285.2124 | 1374.731 | 1641.5123 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1503.3593 | 1246.8094 | 1594.4358 | 1416.172 | 1457.493 | 1420.3162 | 1738.6573 | -- | -- | --
Change (%) |  | 4.8423 | 8.728 | 2.1531 | 15.2258 | 13.4048 | 3.3159 | 5.918 | -- | -- | --
Opto-board at 0C |  | 1498.2912 | 1291.8407 | 1665.8777 | 1409.7995 | 1525.6176 | 1472.7725 | 1791.5634 | -- | -- | --
Change (%) |  | 4.4889 | 12.6549 | 6.7303 | 14.7074 | 18.7055 | 7.1317 | 9.141 | -- | -- | --
Opto-board at 50C |  | 1330.028 | 1088.6767 | 1415.7861 | 1215.4528 | 1295.3522 | 1253.6597 | 1530.0586 | -- | -- | --
Change (%) |  | -7.2456 | -5.062 | -9.2927 | -1.1055 | 0.78896 | -8.8069 | -6.7897 | -- | -- | --
Opto-board QA (10C) |  | 1498.3783 | 1286.0459 | 1653.7391 | 1389.1226 | 1498.4974 | 1467.7817 | 1789.6145 | -- | -- | --
Change (%) |  | 4.4949 | 12.1496 | 5.9526 | 13.025 | 16.5953 | 6.7686 | 9.0223 | -- | -- | --
Reception Test |  | 1351.652 | 1194.824 | 1390.305 | 1230.085 | 967.7419 | 1084.426 | 1469.938
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1800.4946 | 1776.3974 | 1786.5764 | 1815.0922 | 1694.889 | 1735.8333 | 1823.0235 | -- | -- | --
Post Opto-pack Burn-in |  | 1638.4942 | 1651.3821 | 1640.573 | 1664.0231 | 1571.9572 | 1587.4138 | 1682.0281 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1204.7042 | 1100.6592 | 1200.5861 | 1246.1595 | 1040.3464 | 1211.5244 | 1303.8695 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1240.1068 | 1137.1788 | 1187.3115 | 1270.9305 | 1057.3803 | 1269.4209 | 1361.1804 | -- | -- | --
Change (%) |  | 2.9387 | 3.318 | -1.1057 | 1.9878 | 1.6373 | 4.7788 | 4.3954 | -- | -- | --
Opto-board at 0C |  | 1265.4871 | 1146.3913 | 1229.0475 | 1280.9693 | 1083.7766 | 1312.8856 | 1365.9744 | -- | -- | --
Change (%) |  | 5.0455 | 4.155 | 2.3706 | 2.7934 | 4.1746 | 8.3664 | 4.7631 | -- | -- | --
Opto-board at 50C |  | 1044.3741 | 982.8173 | 1064.376 | 1088.294 | 916.5748 | 1120.6514 | 1123.1495 | -- | -- | --
Change (%) |  | -13.3087 | -10.7065 | -11.3453 | -12.6682 | -11.8972 | -7.5007 | -13.8603 | -- | -- | --
Opto-board QA (10C) |  | 1241.4678 | 1123.7218 | 1215.1077 | 1265.9891 | 1028.197 | 1288.604 | 1322.8758 | -- | -- | --
Change (%) |  | 3.0517 | 2.0953 | 1.2095 | 1.5913 | -1.1678 | 6.3622 | 1.4577 | -- | -- | --
Reception Test |  | 742.1601 | 830.3162 | 761.1735 | 939.2793 | 760.0252 | 744.3763 | 862.448

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 348.0225 |  |  |  | 2020-11-25 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 340.4175 |  |  |  | 2020-11-25 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.84214 |  | 2020-11-25 |  |  |  | Pass
QA | uA | 1 | 0.59702 |  | 2020-11-25 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.46457 | 0.35916 | 0.43592 | 0.37642 | 0.49377 | 0.47571 | 0.40193 | 0.56389 | 0.60275 | 0.65573 | 0.53748 | 0.5969 | 0.3205 | 0.4556 |  |  | Pass
Fall | ns | 1 | 0.55613 | 0.61735 | 0.6725 | 0.67793 | 0.66304 | 0.51575 | 0.53549 | 0.45232 | 0.61941 | 0.62742 | 0.52002 | 0.47654 | 0.68505 | 0.53495 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):11/25/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):11/25/2020 1: 0.5163; Date (DD/MM/YY):11/25/2020 2: 0.53877; Date (DD/MM/YY):11/25/2020 3: 0.55349; Date (DD/MM/YY):11/25/2020 4: 0.57185; Date (DD/MM/YY):11/25/2020 5: 0.57992; Date (DD/MM/YY):11/25/2020 6: 0.59307; Initial: 7: 0.60206 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):11/25/2020 1: 0.49636; Date (DD/MM/YY):11/25/2020 2: 0.51875; Date (DD/MM/YY):11/25/2020 3: 0.5375; Date (DD/MM/YY):11/25/2020 4: 0.55064; Date (DD/MM/YY):11/25/2020 5: 0.56357; Date (DD/MM/YY):11/25/2020 6: 0.57987; Initial: 7: 0.59875 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):11/25/2020 1: 0.65687; Date (DD/MM/YY):11/25/2020 2: 0.68755; Date (DD/MM/YY):11/25/2020 3: 0.65596; Date (DD/MM/YY):11/25/2020 4: 0.61713; Date (DD/MM/YY):11/25/2020 5: 0.68824; Date (DD/MM/YY):11/25/2020 6: 0.66869; Initial: 7: 0.68841 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):11/25/2020 1: 0.65718; Date (DD/MM/YY):11/25/2020 2: 0.62987; Date (DD/MM/YY):11/25/2020 3: 0.66153; Date (DD/MM/YY):11/25/2020 4: 0.63433; Date (DD/MM/YY):11/25/2020 5: 0.60669; Date (DD/MM/YY):11/25/2020 6: 0.65177; Initial: 7: 0.67745 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):11/25/2020 1: 0.08855; Date (DD/MM/YY):11/25/2020 2: 0.10363; Date (DD/MM/YY):11/25/2020 3: 0.19425; Date (DD/MM/YY):11/25/2020 4: 0.21177; Date (DD/MM/YY):11/25/2020 5: 0.08606; Date (DD/MM/YY):11/25/2020 6: 0.18002; Initial: 7: 0.08517 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):11/25/2020 1: 0.09361; Date (DD/MM/YY):11/25/2020 2: 0.09387; Date (DD/MM/YY):11/25/2020 3: 0.19093; Date (DD/MM/YY):11/25/2020 4: 0.19843; Date (DD/MM/YY):11/25/2020 5: 0.06508; Date (DD/MM/YY):11/25/2020 6: 0.18134; Initial: 7: 0.07452 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/25/2020 1: 12.892; Date (DD/MM/YY):11/25/2020 2: 12.783; Date (DD/MM/YY):11/25/2020 3: 12.657; Date (DD/MM/YY):11/25/2020 4: 13.093; Date (DD/MM/YY):11/25/2020 5: 13.079; Date (DD/MM/YY):11/25/2020 6: 12.773; Initial: 7: 12.758
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/25/2020 1: 12.856; Date (DD/MM/YY):11/25/2020 2: 12.715; Date (DD/MM/YY):11/25/2020 3: 12.616; Date (DD/MM/YY):11/25/2020 4: 12.994; Date (DD/MM/YY):11/25/2020 5: 12.956; Date (DD/MM/YY):11/25/2020 6: 12.708; Initial: 7: 12.75
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/25/2020 1: 12.351; Date (DD/MM/YY):11/25/2020 2: 12.205; Date (DD/MM/YY):11/25/2020 3: 11.878; Date (DD/MM/YY):11/25/2020 4: 12.324; Date (DD/MM/YY):11/25/2020 5: 12.558; Date (DD/MM/YY):11/25/2020 6: 12.107; Initial: 7: 12.268
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/25/2020 1: 12.372; Date (DD/MM/YY):11/25/2020 2: 12.196; Date (DD/MM/YY):11/25/2020 3: 11.89; Date (DD/MM/YY):11/25/2020 4: 12.383; Date (DD/MM/YY):11/25/2020 5: 12.618; Date (DD/MM/YY):11/25/2020 6: 12.082; Initial: 7: 12.313
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/25/2020 1: 12.5811; Date (DD/MM/YY):11/25/2020 2: 12.4517; Date (DD/MM/YY):11/25/2020 3: 12.2547; Date (DD/MM/YY):11/25/2020 4: 12.6956; Date (DD/MM/YY):11/25/2020 5: 12.8096; Date (DD/MM/YY):11/25/2020 6: 12.4111; Initial: 7: 12.537
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/25/2020 1: 12.5788; Date (DD/MM/YY):11/25/2020 2: 12.431; Date (DD/MM/YY):11/25/2020 3: 12.2384; Date (DD/MM/YY):11/25/2020 4: 12.6748; Date (DD/MM/YY):11/25/2020 5: 12.7983; Date (DD/MM/YY):11/25/2020 6: 12.4111; Initial: 7: 12.5238
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):11/25/2020 1: 50.3001; Date (DD/MM/YY):11/25/2020 2: 49.7296; Date (DD/MM/YY):11/25/2020 3: 48.9569; Date (DD/MM/YY):11/25/2020 4: 50.6945; Date (DD/MM/YY):11/25/2020 5: 51.2033; Date (DD/MM/YY):11/25/2020 6: 49.6422; Initial: 7: 50.2305 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):11/25/2020 1: 50.3237; Date (DD/MM/YY):11/25/2020 2: 49.8744; Date (DD/MM/YY):11/25/2020 3: 49.0433; Date (DD/MM/YY):11/25/2020 4: 50.8522; Date (DD/MM/YY):11/25/2020 5: 51.278; Date (DD/MM/YY):11/25/2020 6: 49.6734; Initial: 7: 50.2159 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):11/25/2020 1: 50.322; Date (DD/MM/YY):11/25/2020 2: 49.7253; Date (DD/MM/YY):11/25/2020 3: 48.9833; Date (DD/MM/YY):11/25/2020 4: 50.7065; Date (DD/MM/YY):11/25/2020 5: 51.2202; Date (DD/MM/YY):11/25/2020 6: 49.6568; Initial: 7: 50.1257 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/25/2020 1: 1.0626; Date (DD/MM/YY):11/25/2020 2: 1.0549; Date (DD/MM/YY):11/25/2020 3: 1.0577; Date (DD/MM/YY):11/25/2020 4: 1.0769; Date (DD/MM/YY):11/25/2020 5: 1.0815; Date (DD/MM/YY):11/25/2020 6: 1.0794; Initial: 7: 1.0677 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/25/2020 1: 1.0523; Date (DD/MM/YY):11/25/2020 2: 1.0456; Date (DD/MM/YY):11/25/2020 3: 1.0471; Date (DD/MM/YY):11/25/2020 4: 1.0694; Date (DD/MM/YY):11/25/2020 5: 1.0755; Date (DD/MM/YY):11/25/2020 6: 1.0732; Initial: 7: 1.0623 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/25/2020 1: 1.0954; Date (DD/MM/YY):11/25/2020 2: 1.0746; Date (DD/MM/YY):11/25/2020 3: 1.0929; Date (DD/MM/YY):11/25/2020 4: 1.0831; Date (DD/MM/YY):11/25/2020 5: 1.1123; Date (DD/MM/YY):11/25/2020 6: 1.0862; Initial: 7: 1.1024 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/25/2020 1: 1.0823; Date (DD/MM/YY):11/25/2020 2: 1.0536; Date (DD/MM/YY):11/25/2020 3: 1.0835; Date (DD/MM/YY):11/25/2020 4: 1.0822; Date (DD/MM/YY):11/25/2020 5: 1.0959; Date (DD/MM/YY):11/25/2020 6: 1.081; Initial: 7: 1.0933 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/25/2020 1: 0.38558; Date (DD/MM/YY):11/25/2020 2: 0.38025; Date (DD/MM/YY):11/25/2020 3: 0.3845; Date (DD/MM/YY):11/25/2020 4: 0.38407; Date (DD/MM/YY):11/25/2020 5: 0.38084; Date (DD/MM/YY):11/25/2020 6: 0.37953; Initial: 7: 0.37681 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/25/2020 1: 0.32818; Date (DD/MM/YY):11/25/2020 2: 0.32544; Date (DD/MM/YY):11/25/2020 3: 0.3276; Date (DD/MM/YY):11/25/2020 4: 0.3365; Date (DD/MM/YY):11/25/2020 5: 0.3456; Date (DD/MM/YY):11/25/2020 6: 0.34308; Initial: 7: 0.33966 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/25/2020 1: 0.4213; Date (DD/MM/YY):11/25/2020 2: 0.41188; Date (DD/MM/YY):11/25/2020 3: 0.42357; Date (DD/MM/YY):11/25/2020 4: 0.40266; Date (DD/MM/YY):11/25/2020 5: 0.42286; Date (DD/MM/YY):11/25/2020 6: 0.40369; Initial: 7: 0.41702 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/25/2020 1: 0.39057; Date (DD/MM/YY):11/25/2020 2: 0.36727; Date (DD/MM/YY):11/25/2020 3: 0.38873; Date (DD/MM/YY):11/25/2020 4: 0.38609; Date (DD/MM/YY):11/25/2020 5: 0.38486; Date (DD/MM/YY):11/25/2020 6: 0.37827; Initial: 7: 0.38679 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/25/2020 1: 0; Date (DD/MM/YY):11/25/2020 2: 0; Date (DD/MM/YY):11/25/2020 3: 0; Date (DD/MM/YY):11/25/2020 4: 0; Date (DD/MM/YY):11/25/2020 5: 0; Date (DD/MM/YY):11/25/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/25/2020 1: 0; Date (DD/MM/YY):11/25/2020 2: 0; Date (DD/MM/YY):11/25/2020 3: 0; Date (DD/MM/YY):11/25/2020 4: 0; Date (DD/MM/YY):11/25/2020 5: 0; Date (DD/MM/YY):11/25/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/25/2020 1: 0; Date (DD/MM/YY):11/25/2020 2: 0; Date (DD/MM/YY):11/25/2020 3: 0; Date (DD/MM/YY):11/25/2020 4: 0; Date (DD/MM/YY):11/25/2020 5: 0; Date (DD/MM/YY):11/25/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/25/2020 1: 0; Date (DD/MM/YY):11/25/2020 2: 0; Date (DD/MM/YY):11/25/2020 3: 0; Date (DD/MM/YY):11/25/2020 4: 0; Date (DD/MM/YY):11/25/2020 5: 0; Date (DD/MM/YY):11/25/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass