## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2212.7097 | 2121.5256 | 2108.2173 | 2102.6241 | 2250.5734 | 2157.4702 | 2272.9381 | -- | -- | --
Post Opto-pack Burn-in |  | 2089.9401 | 2022.2072 | 2016.5513 | 1996.1407 | 2123.1811 | 2055.8676 | 2124.3258 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1538.8264 | 1253.5769 | 1578.5976 | 1259.2086 | 1577.3521 | 1470.3035 | 1813.1136 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1538.101 | 1255.1266 | 1571.4185 | 1394.0162 | 1676.0318 | 1455.6385 | 1764.8231 | -- | -- | --
Change (%) |  | -0.04714 | 0.12362 | -0.45478 | 10.7057 | 6.256 | -0.99741 | -2.6634 | -- | -- | --
Opto-board at 0C |  | 1551.5644 | 1346.1947 | 1581.5273 | 1408.733 | 1837.0599 | 1442.8364 | 1922.1363 | -- | -- | --
Change (%) |  | 0.82777 | 7.3883 | 0.18559 | 11.8745 | 16.4648 | -1.8681 | 6.013 | -- | -- | --
Opto-board at 50C |  | 1401.5038 | 1120.1318 | 1337.185 | 1193.1895 | 1617.5245 | 1221.0348 | 1670.1911 | -- | -- | --
Change (%) |  | -8.9239 | -10.6451 | -15.2929 | -5.2429 | 2.5468 | -16.9536 | -7.8827 | -- | -- | --
Opto-board QA (10C) |  | 1575.725 | 1326.4528 | 1535.6525 | 1374.1639 | 1810.1138 | 1379.098 | 1911.8279 | -- | -- | --
Change (%) |  | 2.3978 | 5.8134 | -2.7205 | 9.1292 | 14.7565 | -6.2032 | 5.4445 | -- | -- | --
Reception Test |  | 1537.488 | 1254.784 | 1451.579 | 1266.884 | 1172.125 | 1121.03 | 1556.693
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1425.0129 | 1468.1849 | 1474.6902 | 1463.9267 | 1415.5707 | 1426.2422 | 1457.1676 | -- | -- | --
Post Opto-pack Burn-in |  | 1356.672 | 1406.1729 | 1405.7824 | 1415.0287 | 1363.6202 | 1394.7201 | 1406.5595 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 975.5607 | 926.863 | 1015.2868 | 1015.818 | 861.2786 | 983.91 | 1044.8921 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 919.3294 | 885.9204 | 960.0914 | 945.7209 | 818.5948 | 985.2997 | 978.5584 | -- | -- | --
Change (%) |  | -5.764 | -4.4173 | -5.4364 | -6.9006 | -4.9559 | 0.14124 | -6.3484 | -- | -- | --
Opto-board at 0C |  | 929.9465 | 959.8709 | 886.3837 | 947.3006 | 879.3989 | 1022.7174 | 1037.4327 | -- | -- | --
Change (%) |  | -4.6757 | 3.5612 | -12.6962 | -6.745 | 2.1039 | 3.9442 | -0.71389 | -- | -- | --
Opto-board at 50C |  | 785.1636 | 811.6482 | 778.9122 | 813.4438 | 748.2109 | 911.3656 | 891.297 | -- | -- | --
Change (%) |  | -19.5167 | -12.4306 | -23.2816 | -19.9223 | -13.1279 | -7.3731 | -14.6996 | -- | -- | --
Opto-board QA (10C) |  | 918.8517 | 962.7839 | 853.673 | 933.34 | 868.3358 | 971.5063 | 1067.5716 | -- | -- | --
Change (%) |  | -5.813 | 3.8755 | -15.918 | -8.1194 | 0.8194 | -1.2607 | 2.1705 | -- | -- | --
Reception Test |  | 631.9664 | 764.5399 | 747.4512 | 670.5511 | 607.829 | 665.2031 | 727.8152

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 355.2246 |  |  |  | 2020-11-25 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 339.8438 |  |  |  | 2020-11-25 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.69269 |  | 2020-11-25 |  |  |  | Pass
QA | uA | 1 | 0.64434 |  | 2020-11-25 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.4961 | 0.47391 | 0.55362 | 0.45217 | 0.54937 | 0.3611 | 0.43097 | 0.45643 | 0.69399 | 0.58076 | 0.47411 | 0.51407 | 0.34967 | 0.38092 |  |  | Pass
Fall | ns | 1 | 0.6305 | 0.58349 | 0.51942 | 0.4577 | 0.57715 | 0.91465 | 0.53087 | 0.61914 | 0.61135 | 0.59995 | 0.55579 | 0.52541 | 0.72564 | 0.57189 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):11/25/2020 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):11/25/2020 1: 0.51393; Date (DD/MM/YY):11/25/2020 2: 0.53094; Date (DD/MM/YY):11/25/2020 3: 0.5549; Date (DD/MM/YY):11/25/2020 4: 0.56439; Date (DD/MM/YY):11/25/2020 5: 0.57973; Date (DD/MM/YY):11/25/2020 6: 0.58107; Initial: 7: 0.59858 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):11/25/2020 1: 0.49688; Date (DD/MM/YY):11/25/2020 2: 0.51893; Date (DD/MM/YY):11/25/2020 3: 0.53092; Date (DD/MM/YY):11/25/2020 4: 0.55086; Date (DD/MM/YY):11/25/2020 5: 0.57103; Date (DD/MM/YY):11/25/2020 6: 0.57419; Initial: 7: 0.60028 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):11/25/2020 1: 0.65898; Date (DD/MM/YY):11/25/2020 2: 0.66451; Date (DD/MM/YY):11/25/2020 3: 0.64507; Date (DD/MM/YY):11/25/2020 4: 0.62473; Date (DD/MM/YY):11/25/2020 5: 0.67935; Date (DD/MM/YY):11/25/2020 6: 0.6703; Initial: 7: 0.67708 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):11/25/2020 1: 0.65251; Date (DD/MM/YY):11/25/2020 2: 0.62024; Date (DD/MM/YY):11/25/2020 3: 0.6573; Date (DD/MM/YY):11/25/2020 4: 0.65286; Date (DD/MM/YY):11/25/2020 5: 0.63732; Date (DD/MM/YY):11/25/2020 6: 0.6497; Initial: 7: 0.67802 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):11/25/2020 1: 0.06619; Date (DD/MM/YY):11/25/2020 2: 0.09117; Date (DD/MM/YY):11/25/2020 3: 0.09883; Date (DD/MM/YY):11/25/2020 4: 0.11971; Date (DD/MM/YY):11/25/2020 5: 0.0721; Date (DD/MM/YY):11/25/2020 6: 0.10739; Initial: 7: 0.07009 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):11/25/2020 1: 0.06376; Date (DD/MM/YY):11/25/2020 2: 0.07488; Date (DD/MM/YY):11/25/2020 3: 0.10423; Date (DD/MM/YY):11/25/2020 4: 0.1154; Date (DD/MM/YY):11/25/2020 5: 0.07628; Date (DD/MM/YY):11/25/2020 6: 0.11514; Initial: 7: 0.07115 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/25/2020 1: 13.081; Date (DD/MM/YY):11/25/2020 2: 12.27; Date (DD/MM/YY):11/25/2020 3: 12.707; Date (DD/MM/YY):11/25/2020 4: 12.968; Date (DD/MM/YY):11/25/2020 5: 12.489; Date (DD/MM/YY):11/25/2020 6: 13.306; Initial: 7: 12.877
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/25/2020 1: 13.131; Date (DD/MM/YY):11/25/2020 2: 12.167; Date (DD/MM/YY):11/25/2020 3: 12.631; Date (DD/MM/YY):11/25/2020 4: 12.906; Date (DD/MM/YY):11/25/2020 5: 12.489; Date (DD/MM/YY):11/25/2020 6: 13.297; Initial: 7: 12.832
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/25/2020 1: 12.714; Date (DD/MM/YY):11/25/2020 2: 11.634; Date (DD/MM/YY):11/25/2020 3: 12.133; Date (DD/MM/YY):11/25/2020 4: 12.441; Date (DD/MM/YY):11/25/2020 5: 12.103; Date (DD/MM/YY):11/25/2020 6: 12.792; Initial: 7: 12.479
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/25/2020 1: 12.739; Date (DD/MM/YY):11/25/2020 2: 11.709; Date (DD/MM/YY):11/25/2020 3: 12.15; Date (DD/MM/YY):11/25/2020 4: 12.431; Date (DD/MM/YY):11/25/2020 5: 12.059; Date (DD/MM/YY):11/25/2020 6: 12.803; Initial: 7: 12.472
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):11/25/2020 1: 12.8874; Date (DD/MM/YY):11/25/2020 2: 11.9268; Date (DD/MM/YY):11/25/2020 3: 12.376; Date (DD/MM/YY):11/25/2020 4: 12.6776; Date (DD/MM/YY):11/25/2020 5: 12.2914; Date (DD/MM/YY):11/25/2020 6: 13.035; Initial: 7: 12.6581
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):11/25/2020 1: 12.8946; Date (DD/MM/YY):11/25/2020 2: 11.9098; Date (DD/MM/YY):11/25/2020 3: 12.3769; Date (DD/MM/YY):11/25/2020 4: 12.6763; Date (DD/MM/YY):11/25/2020 5: 12.2711; Date (DD/MM/YY):11/25/2020 6: 13.0226; Initial: 7: 12.6525
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):11/25/2020 1: 51.4661; Date (DD/MM/YY):11/25/2020 2: 47.7464; Date (DD/MM/YY):11/25/2020 3: 49.5306; Date (DD/MM/YY):11/25/2020 4: 50.6939; Date (DD/MM/YY):11/25/2020 5: 49.1521; Date (DD/MM/YY):11/25/2020 6: 52.0895; Initial: 7: 50.6063 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):11/25/2020 1: 51.6513; Date (DD/MM/YY):11/25/2020 2: 47.8158; Date (DD/MM/YY):11/25/2020 3: 49.528; Date (DD/MM/YY):11/25/2020 4: 50.7825; Date (DD/MM/YY):11/25/2020 5: 49.1767; Date (DD/MM/YY):11/25/2020 6: 52.2011; Initial: 7: 50.6606 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):11/25/2020 1: 51.5889; Date (DD/MM/YY):11/25/2020 2: 47.6496; Date (DD/MM/YY):11/25/2020 3: 49.5212; Date (DD/MM/YY):11/25/2020 4: 50.7247; Date (DD/MM/YY):11/25/2020 5: 49.1031; Date (DD/MM/YY):11/25/2020 6: 52.12; Initial: 7: 50.6281 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/25/2020 1: 1.0128; Date (DD/MM/YY):11/25/2020 2: 1.0157; Date (DD/MM/YY):11/25/2020 3: 1.0313; Date (DD/MM/YY):11/25/2020 4: 1.036; Date (DD/MM/YY):11/25/2020 5: 1.0453; Date (DD/MM/YY):11/25/2020 6: 1.0385; Initial: 7: 1.0539 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/25/2020 1: 1.007; Date (DD/MM/YY):11/25/2020 2: 1.0134; Date (DD/MM/YY):11/25/2020 3: 1.0269; Date (DD/MM/YY):11/25/2020 4: 1.0336; Date (DD/MM/YY):11/25/2020 5: 1.0411; Date (DD/MM/YY):11/25/2020 6: 1.0352; Initial: 7: 1.0499 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/25/2020 1: 1.0406; Date (DD/MM/YY):11/25/2020 2: 1.0461; Date (DD/MM/YY):11/25/2020 3: 1.0505; Date (DD/MM/YY):11/25/2020 4: 1.0747; Date (DD/MM/YY):11/25/2020 5: 1.0773; Date (DD/MM/YY):11/25/2020 6: 1.073; Initial: 7: 1.0998 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):11/25/2020 1: 1.0315; Date (DD/MM/YY):11/25/2020 2: 1.0296; Date (DD/MM/YY):11/25/2020 3: 1.0448; Date (DD/MM/YY):11/25/2020 4: 1.0773; Date (DD/MM/YY):11/25/2020 5: 1.0632; Date (DD/MM/YY):11/25/2020 6: 1.0682; Initial: 7: 1.0892 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/25/2020 1: 0.34497; Date (DD/MM/YY):11/25/2020 2: 0.34536; Date (DD/MM/YY):11/25/2020 3: 0.35281; Date (DD/MM/YY):11/25/2020 4: 0.3509; Date (DD/MM/YY):11/25/2020 5: 0.35259; Date (DD/MM/YY):11/25/2020 6: 0.34543; Initial: 7: 0.35854 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/25/2020 1: 0.29931; Date (DD/MM/YY):11/25/2020 2: 0.29584; Date (DD/MM/YY):11/25/2020 3: 0.30999; Date (DD/MM/YY):11/25/2020 4: 0.31339; Date (DD/MM/YY):11/25/2020 5: 0.31745; Date (DD/MM/YY):11/25/2020 6: 0.31843; Initial: 7: 0.32641 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/25/2020 1: 0.38026; Date (DD/MM/YY):11/25/2020 2: 0.3842; Date (DD/MM/YY):11/25/2020 3: 0.39137; Date (DD/MM/YY):11/25/2020 4: 0.38747; Date (DD/MM/YY):11/25/2020 5: 0.39512; Date (DD/MM/YY):11/25/2020 6: 0.38792; Initial: 7: 0.40563 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):11/25/2020 1: 0.35332; Date (DD/MM/YY):11/25/2020 2: 0.34212; Date (DD/MM/YY):11/25/2020 3: 0.35815; Date (DD/MM/YY):11/25/2020 4: 0.37637; Date (DD/MM/YY):11/25/2020 5: 0.36054; Date (DD/MM/YY):11/25/2020 6: 0.36334; Initial: 7: 0.37299 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/25/2020 1: 0; Date (DD/MM/YY):11/25/2020 2: 0; Date (DD/MM/YY):11/25/2020 3: 0; Date (DD/MM/YY):11/25/2020 4: 0; Date (DD/MM/YY):11/25/2020 5: 0; Date (DD/MM/YY):11/25/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):11/25/2020 1: 0; Date (DD/MM/YY):11/25/2020 2: 0; Date (DD/MM/YY):11/25/2020 3: 0; Date (DD/MM/YY):11/25/2020 4: 0; Date (DD/MM/YY):11/25/2020 5: 0; Date (DD/MM/YY):11/25/2020 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/25/2020 1: 0; Date (DD/MM/YY):11/25/2020 2: 0; Date (DD/MM/YY):11/25/2020 3: 0; Date (DD/MM/YY):11/25/2020 4: 0; Date (DD/MM/YY):11/25/2020 5: 0; Date (DD/MM/YY):11/25/2020 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):11/25/2020 1: 0; Date (DD/MM/YY):11/25/2020 2: 0; Date (DD/MM/YY):11/25/2020 3: 0; Date (DD/MM/YY):11/25/2020 4: 0; Date (DD/MM/YY):11/25/2020 5: 0; Date (DD/MM/YY):11/25/2020 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass