## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2202.2347 | 2114.4248 | 2133.4299 | 2070.412 | 2066.7007 | 2079.0928 | 2046.1129 | -- | -- | --
Post Opto-pack Burn-in |  | 2136.1015 | 2041.3396 | 2042.1615 | 1979.406 | 2002.1888 | 1984.6188 | 1946.9253 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1725.4568 | 1323.5348 | 1737.6096 | 1293.1144 | 1636.527 | 1474.1872 | 1704.1011 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 2057.0796 | 1221.6684 | 1579.0276 | 1207.6553 | 1560.7491 | 1320.6667 | 1524.53 | -- | -- | --
Change (%) |  | 19.2194 | -7.6965 | -9.1264 | -6.6088 | -4.6304 | -10.4139 | -10.5376 | -- | -- | --
Opto-board at 0C |  | 1866.7062 | 1329.8159 | 1791.9034 | 1529.7022 | 1599.9442 | 1465.8223 | 1698.234 | -- | -- | --
Change (%) |  | 8.1862 | 0.47457 | 3.1246 | 18.296 | -2.2354 | -0.56742 | -0.34429 | -- | -- | --
Opto-board at 50C |  | 1611.1534 | 1123.2229 | 1578.7276 | 1342.7587 | 1356.2784 | 1291.2754 | 1466.0543 | -- | -- | --
Change (%) |  | -6.6245 | -15.1346 | -9.1437 | 3.8391 | -17.1246 | -12.4076 | -13.9691 | -- | -- | --
Opto-board QA (10C) |  | 1831.2584 | 1303.6858 | 1791.4035 | 1526.0455 | 1560.5749 | 1455.5419 | 1664.1804 | -- | -- | --
Change (%) |  | 6.1318 | -1.4997 | 3.0959 | 18.0132 | -4.6411 | -1.2648 | -2.3426 | -- | -- | --
Reception Test |  | 1605.371 | 1265.443 | 1501.697 | 1265.125 | 1145.561 | 1079.7 | 1353.368 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2160.3432 | 2201.138 | 2167.3023 | 2067.8331 | 2108.7798 | 2167.8505 | 2155.3339 | -- | -- | --
Post Opto-pack Burn-in |  | 2050.6776 | 2082.2027 | 2038.8525 | 1947.4822 | 2015.6404 | 2138.4943 | 2034.0096 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1290.0112 | 1280.6299 | 1288.954 | 1184.7694 | 1251.413 | 1448.1998 | 1379.6216 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1456.8577 | 1485.3789 | 1462.8356 | 1387.1253 | 1457.7086 | 1543.6643 | 1595.2933 | -- | -- | --
Change (%) |  | 12.9337 | 15.9881 | 13.4901 | 17.0798 | 16.485 | 6.5919 | 15.6327 | -- | -- | --
Opto-board at 0C |  | 1523.0032 | 1553.298 | 1428.2496 | 1390.147 | 1189.8437 | 1588.8755 | 1568.6581 | -- | -- | --
Change (%) |  | 18.0612 | 21.2917 | 10.8069 | 17.3348 | -4.92 | 9.7138 | 13.7021 | -- | -- | --
Opto-board at 50C |  | 1342.394 | 1365.732 | 1252.2434 | 1225.4481 | 1041.8958 | 1414.2562 | 1356.7914 | -- | -- | --
Change (%) |  | 4.0607 | 6.6453 | -2.8481 | 3.4335 | -16.7424 | -2.3438 | -1.6548 | -- | -- | --
Opto-board QA (10C) |  | 1488.574 | 1544.6126 | 1413.7094 | 1359.7918 | 1151.5718 | 1598.9036 | 1533.763 | -- | -- | --
Change (%) |  | 15.3923 | 20.6135 | 9.6788 | 14.7727 | -7.9783 | 10.4063 | 11.1727 | -- | -- | --
Reception Test |  | 976.6762 | 1141.511 | 1131.665 | 1112.127 | 1046.608 | 1120.453 | 1094.364 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 357.7881 |  |  |  | 2021-01-05 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 342.0044 |  |  |  | 2021-01-05 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.27676 |  | 2021-01-05 |  |  |  | Pass
QA | uA | 1 | 0.39493 |  | 2021-01-05 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.39577 | 0.3012 | 0.61243 | 0.49942 | 0.62481 | 0.41184 | 0.46302 | 0.60518 | 0.53759 | 0.40816 | 0.58241 | 0.54345 | 0.49118 | 0.55495 |  |  | Pass
Fall | ns | 1 | 0.48059 | 0.66621 | 0.51789 | 0.43335 | 0.59759 | 0.74016 | 0.44086 | 0.56129 | 0.3996 | 0.33659 | 0.53934 | 0.51602 | 0.4157 | 0.51743 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):01/05/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):01/05/2021 1: 0.49673; Date (DD/MM/YY):01/05/2021 2: 0.5131; Date (DD/MM/YY):01/05/2021 3: 0.52616; Date (DD/MM/YY):01/05/2021 4: 0.54923; Date (DD/MM/YY):01/05/2021 5: 0.54978; Date (DD/MM/YY):01/05/2021 6: 0.56525; Initial: 7: 0.58436 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):01/05/2021 1: 0.47757; Date (DD/MM/YY):01/05/2021 2: 0.50206; Date (DD/MM/YY):01/05/2021 3: 0.51749; Date (DD/MM/YY):01/05/2021 4: 0.53733; Date (DD/MM/YY):01/05/2021 5: 0.53373; Date (DD/MM/YY):01/05/2021 6: 0.55748; Initial: 7: 0.58261 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):01/05/2021 1: 0.61074; Date (DD/MM/YY):01/05/2021 2: 0.62515; Date (DD/MM/YY):01/05/2021 3: 0.64464; Date (DD/MM/YY):01/05/2021 4: 0.5983; Date (DD/MM/YY):01/05/2021 5: 0.61502; Date (DD/MM/YY):01/05/2021 6: 0.60916; Initial: 7: 0.62834 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):01/05/2021 1: 0.60182; Date (DD/MM/YY):01/05/2021 2: 0.57823; Date (DD/MM/YY):01/05/2021 3: 0.62297; Date (DD/MM/YY):01/05/2021 4: 0.6109; Date (DD/MM/YY):01/05/2021 5: 0.58534; Date (DD/MM/YY):01/05/2021 6: 0.60392; Initial: 7: 0.6333 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):01/05/2021 1: 0.25496; Date (DD/MM/YY):01/05/2021 2: 0.13486; Date (DD/MM/YY):01/05/2021 3: 0.09647; Date (DD/MM/YY):01/05/2021 4: 0.14828; Date (DD/MM/YY):01/05/2021 5: 0.14045; Date (DD/MM/YY):01/05/2021 6: 0.13901; Initial: 7: 0.07361 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):01/05/2021 1: 0.24422; Date (DD/MM/YY):01/05/2021 2: 0.14048; Date (DD/MM/YY):01/05/2021 3: 0.09118; Date (DD/MM/YY):01/05/2021 4: 0.11876; Date (DD/MM/YY):01/05/2021 5: 0.13617; Date (DD/MM/YY):01/05/2021 6: 0.11513; Initial: 7: 0.05767 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/05/2021 1: 12.466; Date (DD/MM/YY):01/05/2021 2: 12.37; Date (DD/MM/YY):01/05/2021 3: 12.338; Date (DD/MM/YY):01/05/2021 4: 12.39; Date (DD/MM/YY):01/05/2021 5: 12.966; Date (DD/MM/YY):01/05/2021 6: 12.644; Initial: 7: 12.694
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/05/2021 1: 12.42; Date (DD/MM/YY):01/05/2021 2: 12.301; Date (DD/MM/YY):01/05/2021 3: 12.322; Date (DD/MM/YY):01/05/2021 4: 12.333; Date (DD/MM/YY):01/05/2021 5: 12.896; Date (DD/MM/YY):01/05/2021 6: 12.577; Initial: 7: 12.667
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/05/2021 1: 11.604; Date (DD/MM/YY):01/05/2021 2: 11.644; Date (DD/MM/YY):01/05/2021 3: 11.772; Date (DD/MM/YY):01/05/2021 4: 11.745; Date (DD/MM/YY):01/05/2021 5: 12.355; Date (DD/MM/YY):01/05/2021 6: 12.083; Initial: 7: 12.293
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/05/2021 1: 11.601; Date (DD/MM/YY):01/05/2021 2: 11.684; Date (DD/MM/YY):01/05/2021 3: 11.812; Date (DD/MM/YY):01/05/2021 4: 11.827; Date (DD/MM/YY):01/05/2021 5: 12.369; Date (DD/MM/YY):01/05/2021 6: 12.116; Initial: 7: 12.323
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/05/2021 1: 12.0136; Date (DD/MM/YY):01/05/2021 2: 11.9748; Date (DD/MM/YY):01/05/2021 3: 12.0697; Date (DD/MM/YY):01/05/2021 4: 12.0638; Date (DD/MM/YY):01/05/2021 5: 12.6381; Date (DD/MM/YY):01/05/2021 6: 12.3503; Initial: 7: 12.4849
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/05/2021 1: 12.0037; Date (DD/MM/YY):01/05/2021 2: 11.9799; Date (DD/MM/YY):01/05/2021 3: 12.0641; Date (DD/MM/YY):01/05/2021 4: 12.0606; Date (DD/MM/YY):01/05/2021 5: 12.6396; Date (DD/MM/YY):01/05/2021 6: 12.3449; Initial: 7: 12.4855
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):01/05/2021 1: 48.0007; Date (DD/MM/YY):01/05/2021 2: 47.8563; Date (DD/MM/YY):01/05/2021 3: 48.398; Date (DD/MM/YY):01/05/2021 4: 48.2727; Date (DD/MM/YY):01/05/2021 5: 50.5833; Date (DD/MM/YY):01/05/2021 6: 49.3641; Initial: 7: 49.9359 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):01/05/2021 1: 48.0705; Date (DD/MM/YY):01/05/2021 2: 47.9676; Date (DD/MM/YY):01/05/2021 3: 48.3242; Date (DD/MM/YY):01/05/2021 4: 48.34; Date (DD/MM/YY):01/05/2021 5: 50.5656; Date (DD/MM/YY):01/05/2021 6: 49.4136; Initial: 7: 50.0587 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):01/05/2021 1: 48.0493; Date (DD/MM/YY):01/05/2021 2: 47.9257; Date (DD/MM/YY):01/05/2021 3: 48.2544; Date (DD/MM/YY):01/05/2021 4: 48.2625; Date (DD/MM/YY):01/05/2021 5: 50.5662; Date (DD/MM/YY):01/05/2021 6: 49.375; Initial: 7: 49.9413 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/05/2021 1: 1.038; Date (DD/MM/YY):01/05/2021 2: 1.0328; Date (DD/MM/YY):01/05/2021 3: 1.0396; Date (DD/MM/YY):01/05/2021 4: 1.0704; Date (DD/MM/YY):01/05/2021 5: 1.0578; Date (DD/MM/YY):01/05/2021 6: 1.0493; Initial: 7: 1.0699 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/05/2021 1: 1.0337; Date (DD/MM/YY):01/05/2021 2: 1.0293; Date (DD/MM/YY):01/05/2021 3: 1.0357; Date (DD/MM/YY):01/05/2021 4: 1.0633; Date (DD/MM/YY):01/05/2021 5: 1.0526; Date (DD/MM/YY):01/05/2021 6: 1.0466; Initial: 7: 1.0651 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/05/2021 1: 1.07; Date (DD/MM/YY):01/05/2021 2: 1.0776; Date (DD/MM/YY):01/05/2021 3: 1.0804; Date (DD/MM/YY):01/05/2021 4: 1.0682; Date (DD/MM/YY):01/05/2021 5: 1.0931; Date (DD/MM/YY):01/05/2021 6: 1.092; Initial: 7: 1.0893 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/05/2021 1: 1.0591; Date (DD/MM/YY):01/05/2021 2: 1.0556; Date (DD/MM/YY):01/05/2021 3: 1.0723; Date (DD/MM/YY):01/05/2021 4: 1.0701; Date (DD/MM/YY):01/05/2021 5: 1.08; Date (DD/MM/YY):01/05/2021 6: 1.0868; Initial: 7: 1.0806 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/05/2021 1: 0.33988; Date (DD/MM/YY):01/05/2021 2: 0.34856; Date (DD/MM/YY):01/05/2021 3: 0.34712; Date (DD/MM/YY):01/05/2021 4: 0.3665; Date (DD/MM/YY):01/05/2021 5: 0.3546; Date (DD/MM/YY):01/05/2021 6: 0.34943; Initial: 7: 0.36326 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/05/2021 1: 0.32213; Date (DD/MM/YY):01/05/2021 2: 0.31668; Date (DD/MM/YY):01/05/2021 3: 0.31965; Date (DD/MM/YY):01/05/2021 4: 0.3367; Date (DD/MM/YY):01/05/2021 5: 0.33504; Date (DD/MM/YY):01/05/2021 6: 0.33119; Initial: 7: 0.34345 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/05/2021 1: 0.39134; Date (DD/MM/YY):01/05/2021 2: 0.39787; Date (DD/MM/YY):01/05/2021 3: 0.40075; Date (DD/MM/YY):01/05/2021 4: 0.38233; Date (DD/MM/YY):01/05/2021 5: 0.40161; Date (DD/MM/YY):01/05/2021 6: 0.39643; Initial: 7: 0.40041 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/05/2021 1: 0.36729; Date (DD/MM/YY):01/05/2021 2: 0.36144; Date (DD/MM/YY):01/05/2021 3: 0.37642; Date (DD/MM/YY):01/05/2021 4: 0.37748; Date (DD/MM/YY):01/05/2021 5: 0.37565; Date (DD/MM/YY):01/05/2021 6: 0.37758; Initial: 7: 0.37571 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):01/05/2021 1: 0; Date (DD/MM/YY):01/05/2021 2: 0; Date (DD/MM/YY):01/05/2021 3: 0; Date (DD/MM/YY):01/05/2021 4: 0; Date (DD/MM/YY):01/05/2021 5: 0; Date (DD/MM/YY):01/05/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):01/05/2021 1: 0; Date (DD/MM/YY):01/05/2021 2: 0; Date (DD/MM/YY):01/05/2021 3: 0; Date (DD/MM/YY):01/05/2021 4: 0; Date (DD/MM/YY):01/05/2021 5: 0; Date (DD/MM/YY):01/05/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):01/05/2021 1: 0; Date (DD/MM/YY):01/05/2021 2: 0; Date (DD/MM/YY):01/05/2021 3: 0; Date (DD/MM/YY):01/05/2021 4: 0; Date (DD/MM/YY):01/05/2021 5: 0; Date (DD/MM/YY):01/05/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):01/05/2021 1: 0; Date (DD/MM/YY):01/05/2021 2: 0; Date (DD/MM/YY):01/05/2021 3: 0; Date (DD/MM/YY):01/05/2021 4: 0; Date (DD/MM/YY):01/05/2021 5: 0; Date (DD/MM/YY):01/05/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass