## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1743.1019 | 1676.4907 | 1663.5444 | 1663.0003 | 1758.5378 | 1731.7675 | 1752.8941 | -- | -- | --
Post Opto-pack Burn-in |  | 1711.3496 | 1673.3993 | 1650.1127 | 1681.6275 | 1792.4364 | 1642.6465 | 1732.2536 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1292.7329 | 1130.8394 | 1254.4644 | 1055.2091 | 1395.7251 | 1280.995 | 1544.7468 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1388.8336 | 1037.8177 | 1293.32 | 1262.1752 | 1062.5423 | 1207.1256 | 1448.9352 | -- | -- | --
Change (%) |  | 7.4339 | -8.2259 | 3.0974 | 19.6138 | -23.8717 | -5.7666 | -6.2024 | -- | -- | --
Opto-board at 0C |  | 1330.3859 | 1173.5461 | 1357.2128 | 1271.6129 | 1509.6532 | 1258.5802 | 1594.1757 | -- | -- | --
Change (%) |  | 2.9127 | 3.7766 | 8.1906 | 20.5081 | 8.1626 | -1.7498 | 3.1998 | -- | -- | --
Opto-board at 50C |  | 1188.3627 | 1013.8554 | 1169.3241 | 1126.077 | 1353.1532 | 1131.4285 | 1395.5778 | -- | -- | --
Change (%) |  | -8.0736 | -10.3449 | -6.787 | 6.716 | -3.0502 | -11.6758 | -9.6565 | -- | -- | --
Opto-board QA (10C) |  | 1313.4019 | 1142.1982 | 1377.9904 | 1226.6024 | 1444.6053 | 1303.6997 | 1592.7295 | -- | -- | --
Change (%) |  | 1.5989 | 1.0045 | 9.8469 | 16.2426 | 3.5021 | 1.7724 | 3.1062 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1965.9737 | 1943.5049 | 1988.1705 | 1897.7616 | 1957.2989 | 1911.4191 | 1905.5005 | -- | -- | --
Post Opto-pack Burn-in |  | 1826.2784 | 1827.1691 | 1831.7832 | 1768.1663 | 1827.7885 | 1805.1448 | 1766.5082 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1230.5442 | 1205.9735 | 1290.894 | 1179.13 | 1175.748 | 1159.3179 | 1259.0286 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1163.3982 | 1186.3421 | 1208.9092 | 1168.3105 | 1161.1516 | 1233.4961 | 1234.2299 | -- | -- | --
Change (%) |  | -5.4566 | -1.6278 | -6.351 | -0.91758 | -1.2415 | 6.3984 | -1.9697 | -- | -- | --
Opto-board at 0C |  | 1317.0408 | 1335.6461 | 1276.8803 | 1215.0052 | 938.2946 | 1276.8294 | 1331.1734 | -- | -- | --
Change (%) |  | 7.0291 | 10.7525 | -1.0856 | 3.0425 | -20.1959 | 10.1363 | 5.7302 | -- | -- | --
Opto-board at 50C |  | 1162.6051 | 1206.2416 | 1128.8275 | 1072.8454 | 822.5533 | 1128.3697 | 1183.1446 | -- | -- | --
Change (%) |  | -5.5211 | 0.022228 | -12.5546 | -9.0138 | -30.04 | -2.6695 | -6.0272 | -- | -- | --
Opto-board QA (10C) |  | 1312.6155 | 1347.2444 | 1268.317 | 1203.901 | 926.7497 | 1285.7683 | 1325.8144 | -- | -- | --
Change (%) |  | 6.6695 | 11.7143 | -1.7489 | 2.1008 | -21.1779 | 10.9073 | 5.3045 | -- | -- | --
Reception Test |  | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | 2000 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 340.9424 |  |  |  | 2021-01-09 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 335.0952 |  |  |  | 2021-01-09 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.73707 |  | 2021-01-09 |  |  |  | Pass
QA | uA | 1 | 0.60196 |  | 2021-01-09 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.43244 | 0.49033 | 0.56826 | 0.38779 | 0.49369 | 0.37013 | 0.35649 | 0.46706 | 0.67536 | 0.55455 | 0.40316 | 0.6793 | 0.37572 | 0.33371 |  |  | Pass
Fall | ns | 1 | 0.5043 | 0.44316 | 0.75812 | 0.52919 | 0.61567 | 0.85478 | 0.51229 | 0.55244 | 0.59598 | 0.52938 | 0.56604 | 0.46445 | 0.52484 | 0.61169 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):01/09/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):01/09/2021 1: 0.53701; Date (DD/MM/YY):01/09/2021 2: 0.55926; Date (DD/MM/YY):01/09/2021 3: 0.57518; Date (DD/MM/YY):01/09/2021 4: 0.58694; Date (DD/MM/YY):01/09/2021 5: 0.60159; Date (DD/MM/YY):01/09/2021 6: 0.60302; Initial: 7: 0.60347 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):01/09/2021 1: 0.52034; Date (DD/MM/YY):01/09/2021 2: 0.54832; Date (DD/MM/YY):01/09/2021 3: 0.56027; Date (DD/MM/YY):01/09/2021 4: 0.58459; Date (DD/MM/YY):01/09/2021 5: 0.59494; Date (DD/MM/YY):01/09/2021 6: 0.60636; Initial: 7: 0.61353 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):01/09/2021 1: 0.6835; Date (DD/MM/YY):01/09/2021 2: 0.68595; Date (DD/MM/YY):01/09/2021 3: 0.67337; Date (DD/MM/YY):01/09/2021 4: 0.62451; Date (DD/MM/YY):01/09/2021 5: 0.666; Date (DD/MM/YY):01/09/2021 6: 0.63494; Initial: 7: 0.67508 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):01/09/2021 1: 0.67037; Date (DD/MM/YY):01/09/2021 2: 0.62259; Date (DD/MM/YY):01/09/2021 3: 0.65808; Date (DD/MM/YY):01/09/2021 4: 0.65175; Date (DD/MM/YY):01/09/2021 5: 0.63552; Date (DD/MM/YY):01/09/2021 6: 0.66105; Initial: 7: 0.67885 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):01/09/2021 1: 0.05898; Date (DD/MM/YY):01/09/2021 2: 0.1449; Date (DD/MM/YY):01/09/2021 3: 0.07732; Date (DD/MM/YY):01/09/2021 4: 0.19128; Date (DD/MM/YY):01/09/2021 5: 0.16575; Date (DD/MM/YY):01/09/2021 6: 0.07322; Initial: 7: 0.08199 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):01/09/2021 1: 0.06226; Date (DD/MM/YY):01/09/2021 2: 0.11488; Date (DD/MM/YY):01/09/2021 3: 0.06608; Date (DD/MM/YY):01/09/2021 4: 0.15359; Date (DD/MM/YY):01/09/2021 5: 0.12304; Date (DD/MM/YY):01/09/2021 6: 0.0489; Initial: 7: 0.06146 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/09/2021 1: 11.52; Date (DD/MM/YY):01/09/2021 2: 12.542; Date (DD/MM/YY):01/09/2021 3: 11.57; Date (DD/MM/YY):01/09/2021 4: 12.33; Date (DD/MM/YY):01/09/2021 5: 12.759; Date (DD/MM/YY):01/09/2021 6: 12.921; Initial: 7: 12.984
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/09/2021 1: 11.501; Date (DD/MM/YY):01/09/2021 2: 12.428; Date (DD/MM/YY):01/09/2021 3: 11.563; Date (DD/MM/YY):01/09/2021 4: 12.272; Date (DD/MM/YY):01/09/2021 5: 12.674; Date (DD/MM/YY):01/09/2021 6: 12.855; Initial: 7: 12.928
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/09/2021 1: 11.138; Date (DD/MM/YY):01/09/2021 2: 11.897; Date (DD/MM/YY):01/09/2021 3: 11.138; Date (DD/MM/YY):01/09/2021 4: 11.627; Date (DD/MM/YY):01/09/2021 5: 12.061; Date (DD/MM/YY):01/09/2021 6: 12.471; Initial: 7: 12.498
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/09/2021 1: 11.136; Date (DD/MM/YY):01/09/2021 2: 11.889; Date (DD/MM/YY):01/09/2021 3: 11.146; Date (DD/MM/YY):01/09/2021 4: 11.694; Date (DD/MM/YY):01/09/2021 5: 12.091; Date (DD/MM/YY):01/09/2021 6: 12.517; Initial: 7: 12.54
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/09/2021 1: 11.2958; Date (DD/MM/YY):01/09/2021 2: 12.1845; Date (DD/MM/YY):01/09/2021 3: 11.3255; Date (DD/MM/YY):01/09/2021 4: 11.9762; Date (DD/MM/YY):01/09/2021 5: 12.4107; Date (DD/MM/YY):01/09/2021 6: 12.7185; Initial: 7: 12.7254
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/09/2021 1: 11.3075; Date (DD/MM/YY):01/09/2021 2: 12.17; Date (DD/MM/YY):01/09/2021 3: 11.3353; Date (DD/MM/YY):01/09/2021 4: 11.9984; Date (DD/MM/YY):01/09/2021 5: 12.4061; Date (DD/MM/YY):01/09/2021 6: 12.7138; Initial: 7: 12.7201
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):01/09/2021 1: 45.2805; Date (DD/MM/YY):01/09/2021 2: 48.6875; Date (DD/MM/YY):01/09/2021 3: 45.3942; Date (DD/MM/YY):01/09/2021 4: 47.9257; Date (DD/MM/YY):01/09/2021 5: 49.6099; Date (DD/MM/YY):01/09/2021 6: 50.8481; Initial: 7: 50.9006 | Fail
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):01/09/2021 1: 45.1973; Date (DD/MM/YY):01/09/2021 2: 48.7566; Date (DD/MM/YY):01/09/2021 3: 45.3271; Date (DD/MM/YY):01/09/2021 4: 47.9626; Date (DD/MM/YY):01/09/2021 5: 49.6788; Date (DD/MM/YY):01/09/2021 6: 50.9027; Initial: 7: 50.9531 | Fail
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):01/09/2021 1: 45.2345; Date (DD/MM/YY):01/09/2021 2: 48.7119; Date (DD/MM/YY):01/09/2021 3: 45.3586; Date (DD/MM/YY):01/09/2021 4: 47.9977; Date (DD/MM/YY):01/09/2021 5: 49.6549; Date (DD/MM/YY):01/09/2021 6: 50.858; Initial: 7: 50.884 | Fail
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/09/2021 1: 1.0876; Date (DD/MM/YY):01/09/2021 2: 1.0784; Date (DD/MM/YY):01/09/2021 3: 1.0748; Date (DD/MM/YY):01/09/2021 4: 1.0018; Date (DD/MM/YY):01/09/2021 5: 1.0019; Date (DD/MM/YY):01/09/2021 6: 1.0056; Initial: 7: 1.0038 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/09/2021 1: 1.0792; Date (DD/MM/YY):01/09/2021 2: 1.0722; Date (DD/MM/YY):01/09/2021 3: 1.0657; Date (DD/MM/YY):01/09/2021 4: 0.99779; Date (DD/MM/YY):01/09/2021 5: 0.99763; Date (DD/MM/YY):01/09/2021 6: 1.004; Initial: 7: 1.0007 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/09/2021 1: 1.1217; Date (DD/MM/YY):01/09/2021 2: 1.1165; Date (DD/MM/YY):01/09/2021 3: 1.1052; Date (DD/MM/YY):01/09/2021 4: 1.0265; Date (DD/MM/YY):01/09/2021 5: 1.0193; Date (DD/MM/YY):01/09/2021 6: 1.0307; Initial: 7: 1.0411 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/09/2021 1: 1.1091; Date (DD/MM/YY):01/09/2021 2: 1.0948; Date (DD/MM/YY):01/09/2021 3: 1.0964; Date (DD/MM/YY):01/09/2021 4: 1.0297; Date (DD/MM/YY):01/09/2021 5: 1.0125; Date (DD/MM/YY):01/09/2021 6: 1.0304; Initial: 7: 1.0361 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/09/2021 1: 0.37254; Date (DD/MM/YY):01/09/2021 2: 0.35846; Date (DD/MM/YY):01/09/2021 3: 0.36159; Date (DD/MM/YY):01/09/2021 4: 0.32024; Date (DD/MM/YY):01/09/2021 5: 0.31668; Date (DD/MM/YY):01/09/2021 6: 0.31502; Initial: 7: 0.31886 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/09/2021 1: 0.32609; Date (DD/MM/YY):01/09/2021 2: 0.32551; Date (DD/MM/YY):01/09/2021 3: 0.32497; Date (DD/MM/YY):01/09/2021 4: 0.28865; Date (DD/MM/YY):01/09/2021 5: 0.29333; Date (DD/MM/YY):01/09/2021 6: 0.29604; Initial: 7: 0.29735 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/09/2021 1: 0.41042; Date (DD/MM/YY):01/09/2021 2: 0.40855; Date (DD/MM/YY):01/09/2021 3: 0.40416; Date (DD/MM/YY):01/09/2021 4: 0.34685; Date (DD/MM/YY):01/09/2021 5: 0.34823; Date (DD/MM/YY):01/09/2021 6: 0.34945; Initial: 7: 0.36028 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/09/2021 1: 0.38599; Date (DD/MM/YY):01/09/2021 2: 0.37249; Date (DD/MM/YY):01/09/2021 3: 0.37838; Date (DD/MM/YY):01/09/2021 4: 0.33999; Date (DD/MM/YY):01/09/2021 5: 0.32444; Date (DD/MM/YY):01/09/2021 6: 0.33591; Initial: 7: 0.34005 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):01/09/2021 1: 0; Date (DD/MM/YY):01/09/2021 2: 0; Date (DD/MM/YY):01/09/2021 3: 0; Date (DD/MM/YY):01/09/2021 4: 0; Date (DD/MM/YY):01/09/2021 5: 0; Date (DD/MM/YY):01/09/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):01/09/2021 1: 0; Date (DD/MM/YY):01/09/2021 2: 0; Date (DD/MM/YY):01/09/2021 3: 0; Date (DD/MM/YY):01/09/2021 4: 0; Date (DD/MM/YY):01/09/2021 5: 0; Date (DD/MM/YY):01/09/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):01/09/2021 1: 0; Date (DD/MM/YY):01/09/2021 2: 0; Date (DD/MM/YY):01/09/2021 3: 0; Date (DD/MM/YY):01/09/2021 4: 0; Date (DD/MM/YY):01/09/2021 5: 0; Date (DD/MM/YY):01/09/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):01/09/2021 1: 0; Date (DD/MM/YY):01/09/2021 2: 0; Date (DD/MM/YY):01/09/2021 3: 0; Date (DD/MM/YY):01/09/2021 4: 0; Date (DD/MM/YY):01/09/2021 5: 0; Date (DD/MM/YY):01/09/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass