## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2047.5396 | 2052.4586 | 2027.7826 | 1992.593 | 2031.2234 | 2194.4445 | 2091.3033 | -- | -- | --
Post Opto-pack Burn-in |  | 2020.3205 | 1995.7287 | 1990.1978 | 1934.7311 | 1955.3471 | 2105.2729 | 2035.7154 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1488.0099 | 1252.9834 | 1447.4825 | 1323.9102 | 1400.1661 | 1369.2042 | 1531.5972 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1553.4408 | 1348.9478 | 1524.3938 | 1281.0596 | 1516.0486 | 1168.7454 | 1673.8324 | -- | -- | --
Change (%) |  | 4.3972 | 7.6589 | 5.3135 | -3.2367 | 8.2763 | -14.6405 | 9.2867 | -- | -- | --
Opto-board at 0C |  | 1490.602 | 1398.183 | 1350.5435 | 1221.2337 | 1565.2965 | 1170.6522 | 1728.3181 | -- | -- | --
Change (%) |  | 0.1742 | 11.5883 | -6.6971 | -7.7555 | 11.7936 | -14.5013 | 12.8442 | -- | -- | --
Opto-board at 50C |  | 1328.8867 | 1248.3673 | 1183.8225 | 1095.1378 | 1400.6499 | 1049.7478 | 1499.8002 | -- | -- | --
Change (%) |  | -10.6937 | -0.3684 | -18.2151 | -17.28 | 0.034551 | -23.3315 | -2.0761 | -- | -- | --
Opto-board QA (10C) |  | 1468.8788 | 1372.3578 | 1336.0452 | 1212.7999 | 1585.5665 | 1164.0797 | 1720.5227 | -- | -- | --
Change (%) |  | -1.2857 | 9.5272 | -7.6987 | -8.3926 | 13.2413 | -14.9813 | 12.3352 | -- | -- | --
Reception Test |  | 1410.526 | 1266.029 | 1401.552 | 1174.353 | 1036.183 | 1143.271 | 1427.979 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2245.2161 | 2168.8445 | 2154.3294 | 2056.0342 | 2234.9757 | 2255.2848 | 2119.6478 | -- | -- | --
Post Opto-pack Burn-in |  | 2148.0782 | 2058.3237 | 2037.0395 | 1971.5967 | 2134.7381 | 2178.0797 | 2035.6531 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1408.2782 | 1311.3414 | 1223.1261 | 1254.591 | 1112.0718 | 1458.4721 | 1377.3612 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1389.243 | 1357.833 | 1357.9598 | 1425.5538 | 1441.6762 | 1698.1147 | 1506.6851 | -- | -- | --
Change (%) |  | -1.3517 | 3.5453 | 11.0237 | 13.627 | 29.6388 | 16.4311 | 9.3893 | -- | -- | --
Opto-board at 0C |  | 1443.4735 | 1368.0821 | 1419.7047 | 1332.0818 | 1532.684 | 1617.9177 | 1564.7683 | -- | -- | --
Change (%) |  | 2.4992 | 4.3269 | 16.0718 | 6.1766 | 37.8224 | 10.9324 | 13.6062 | -- | -- | --
Opto-board at 50C |  | 1291.0206 | 1180.5429 | 1281.49 | 1171.7548 | 1314.3901 | 1421.383 | 1355.6424 | -- | -- | --
Change (%) |  | -8.3263 | -9.9744 | 4.7717 | -6.6026 | 18.1929 | -2.543 | -1.5768 | -- | -- | --
Opto-board QA (10C) |  | 1460.2195 | 1366.6256 | 1386.6152 | 1327.2782 | 1494.0626 | 1567.8896 | 1560.5206 | -- | -- | --
Change (%) |  | 3.6883 | 4.2159 | 13.3665 | 5.7937 | 34.3495 | 7.5022 | 13.2979 | -- | -- | --
Reception Test |  | 1160.357 | 1177.456 | 1176.69 | 1185.532 | 1132.373 | 1143.722 | 1113.176 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 353.8818 |  |  |  | 2021-01-11 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 336.7188 |  |  |  | 2021-01-11 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.44684 |  | 2021-01-11 |  |  |  | Pass
QA | uA | 1 | 0.41762 |  | 2021-01-11 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.35219 | 0.3442 | 0.50488 | 0.46564 | 0.54127 | 0.48915 | 0.34551 | 0.42399 | 0.68102 | 0.50956 | 0.43692 | 0.57331 | 0.41692 | 0.31369 |  |  | Pass
Fall | ns | 1 | 0.52868 | 0.52489 | 0.69112 | 0.59022 | 0.58527 | 0.53526 | 0.52162 | 0.58977 | 0.56496 | 0.51749 | 0.5607 | 0.49531 | 0.48163 | 0.65861 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):01/11/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):01/11/2021 1: 0.49696; Date (DD/MM/YY):01/11/2021 2: 0.51204; Date (DD/MM/YY):01/11/2021 3: 0.52833; Date (DD/MM/YY):01/11/2021 4: 0.54097; Date (DD/MM/YY):01/11/2021 5: 0.56127; Date (DD/MM/YY):01/11/2021 6: 0.55327; Initial: 7: 0.57278 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):01/11/2021 1: 0.49324; Date (DD/MM/YY):01/11/2021 2: 0.50465; Date (DD/MM/YY):01/11/2021 3: 0.52056; Date (DD/MM/YY):01/11/2021 4: 0.54637; Date (DD/MM/YY):01/11/2021 5: 0.56785; Date (DD/MM/YY):01/11/2021 6: 0.56078; Initial: 7: 0.57929 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):01/11/2021 1: 0.60392; Date (DD/MM/YY):01/11/2021 2: 0.67256; Date (DD/MM/YY):01/11/2021 3: 0.66258; Date (DD/MM/YY):01/11/2021 4: 0.63406; Date (DD/MM/YY):01/11/2021 5: 0.67381; Date (DD/MM/YY):01/11/2021 6: 0.65618; Initial: 7: 0.68629 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):01/11/2021 1: 0.66202; Date (DD/MM/YY):01/11/2021 2: 0.63104; Date (DD/MM/YY):01/11/2021 3: 0.67105; Date (DD/MM/YY):01/11/2021 4: 0.64644; Date (DD/MM/YY):01/11/2021 5: 0.63436; Date (DD/MM/YY):01/11/2021 6: 0.64756; Initial: 7: 0.68716 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):01/11/2021 1: 0.16437; Date (DD/MM/YY):01/11/2021 2: 0.14594; Date (DD/MM/YY):01/11/2021 3: 0.12214; Date (DD/MM/YY):01/11/2021 4: 0.05873; Date (DD/MM/YY):01/11/2021 5: 0.23141; Date (DD/MM/YY):01/11/2021 6: 0.09729; Initial: 7: 0.10206 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):01/11/2021 1: 0.168; Date (DD/MM/YY):01/11/2021 2: 0.12414; Date (DD/MM/YY):01/11/2021 3: 0.11753; Date (DD/MM/YY):01/11/2021 4: 0.05252; Date (DD/MM/YY):01/11/2021 5: 0.23294; Date (DD/MM/YY):01/11/2021 6: 0.0878; Initial: 7: 0.06254 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/11/2021 1: 12.792; Date (DD/MM/YY):01/11/2021 2: 13.662; Date (DD/MM/YY):01/11/2021 3: 12.571; Date (DD/MM/YY):01/11/2021 4: 12.433; Date (DD/MM/YY):01/11/2021 5: 12.772; Date (DD/MM/YY):01/11/2021 6: 13.022; Initial: 7: 12.839
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/11/2021 1: 12.816; Date (DD/MM/YY):01/11/2021 2: 13.503; Date (DD/MM/YY):01/11/2021 3: 12.579; Date (DD/MM/YY):01/11/2021 4: 12.373; Date (DD/MM/YY):01/11/2021 5: 12.713; Date (DD/MM/YY):01/11/2021 6: 12.86; Initial: 7: 12.742
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/11/2021 1: 12.114; Date (DD/MM/YY):01/11/2021 2: 12.864; Date (DD/MM/YY):01/11/2021 3: 11.946; Date (DD/MM/YY):01/11/2021 4: 11.994; Date (DD/MM/YY):01/11/2021 5: 11.863; Date (DD/MM/YY):01/11/2021 6: 12.391; Initial: 7: 12.272
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/11/2021 1: 12.044; Date (DD/MM/YY):01/11/2021 2: 12.924; Date (DD/MM/YY):01/11/2021 3: 11.977; Date (DD/MM/YY):01/11/2021 4: 12.024; Date (DD/MM/YY):01/11/2021 5: 11.999; Date (DD/MM/YY):01/11/2021 6: 12.431; Initial: 7: 12.329
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):01/11/2021 1: 12.4256; Date (DD/MM/YY):01/11/2021 2: 13.2379; Date (DD/MM/YY):01/11/2021 3: 12.2406; Date (DD/MM/YY):01/11/2021 4: 12.1705; Date (DD/MM/YY):01/11/2021 5: 12.3581; Date (DD/MM/YY):01/11/2021 6: 12.6744; Initial: 7: 12.5412
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):01/11/2021 1: 12.4454; Date (DD/MM/YY):01/11/2021 2: 13.2311; Date (DD/MM/YY):01/11/2021 3: 12.2524; Date (DD/MM/YY):01/11/2021 4: 12.1854; Date (DD/MM/YY):01/11/2021 5: 12.3583; Date (DD/MM/YY):01/11/2021 6: 12.6653; Initial: 7: 12.5343
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):01/11/2021 1: 50.8151; Date (DD/MM/YY):01/11/2021 2: 53.5296; Date (DD/MM/YY):01/11/2021 3: 49.7062; Date (DD/MM/YY):01/11/2021 4: 49.1658; Date (DD/MM/YY):01/11/2021 5: 49.3671; Date (DD/MM/YY):01/11/2021 6: 50.648; Initial: 7: 50.1756 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):01/11/2021 1: 49.8218; Date (DD/MM/YY):01/11/2021 2: 53.0646; Date (DD/MM/YY):01/11/2021 3: 48.9908; Date (DD/MM/YY):01/11/2021 4: 48.6781; Date (DD/MM/YY):01/11/2021 5: 49.4387; Date (DD/MM/YY):01/11/2021 6: 50.7393; Initial: 7: 50.2721 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):01/11/2021 1: 49.7939; Date (DD/MM/YY):01/11/2021 2: 52.928; Date (DD/MM/YY):01/11/2021 3: 49.0437; Date (DD/MM/YY):01/11/2021 4: 48.7531; Date (DD/MM/YY):01/11/2021 5: 49.3924; Date (DD/MM/YY):01/11/2021 6: 50.6594; Initial: 7: 50.1339 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/11/2021 1: 1.0259; Date (DD/MM/YY):01/11/2021 2: 1.0335; Date (DD/MM/YY):01/11/2021 3: 1.044; Date (DD/MM/YY):01/11/2021 4: 1.0008; Date (DD/MM/YY):01/11/2021 5: 0.9971; Date (DD/MM/YY):01/11/2021 6: 0.9843; Initial: 7: 1.0096 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/11/2021 1: 1.0228; Date (DD/MM/YY):01/11/2021 2: 1.0313; Date (DD/MM/YY):01/11/2021 3: 1.0396; Date (DD/MM/YY):01/11/2021 4: 0.99629; Date (DD/MM/YY):01/11/2021 5: 0.99501; Date (DD/MM/YY):01/11/2021 6: 0.98324; Initial: 7: 1.0076 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/11/2021 1: 1.0588; Date (DD/MM/YY):01/11/2021 2: 1.0535; Date (DD/MM/YY):01/11/2021 3: 1.0769; Date (DD/MM/YY):01/11/2021 4: 1.0139; Date (DD/MM/YY):01/11/2021 5: 1.0219; Date (DD/MM/YY):01/11/2021 6: 1.0312; Initial: 7: 1.0533 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):01/11/2021 1: 1.0486; Date (DD/MM/YY):01/11/2021 2: 1.0357; Date (DD/MM/YY):01/11/2021 3: 1.0689; Date (DD/MM/YY):01/11/2021 4: 1.0194; Date (DD/MM/YY):01/11/2021 5: 1.0116; Date (DD/MM/YY):01/11/2021 6: 1.0286; Initial: 7: 1.0462 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/11/2021 1: 0.32927; Date (DD/MM/YY):01/11/2021 2: 0.32777; Date (DD/MM/YY):01/11/2021 3: 0.33668; Date (DD/MM/YY):01/11/2021 4: 0.32044; Date (DD/MM/YY):01/11/2021 5: 0.31489; Date (DD/MM/YY):01/11/2021 6: 0.30757; Initial: 7: 0.3262 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/11/2021 1: 0.30897; Date (DD/MM/YY):01/11/2021 2: 0.31694; Date (DD/MM/YY):01/11/2021 3: 0.31517; Date (DD/MM/YY):01/11/2021 4: 0.29006; Date (DD/MM/YY):01/11/2021 5: 0.2903; Date (DD/MM/YY):01/11/2021 6: 0.28758; Initial: 7: 0.30294 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/11/2021 1: 0.37709; Date (DD/MM/YY):01/11/2021 2: 0.37505; Date (DD/MM/YY):01/11/2021 3: 0.39169; Date (DD/MM/YY):01/11/2021 4: 0.33965; Date (DD/MM/YY):01/11/2021 5: 0.35179; Date (DD/MM/YY):01/11/2021 6: 0.35319; Initial: 7: 0.37384 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):01/11/2021 1: 0.3532; Date (DD/MM/YY):01/11/2021 2: 0.3388; Date (DD/MM/YY):01/11/2021 3: 0.36319; Date (DD/MM/YY):01/11/2021 4: 0.33821; Date (DD/MM/YY):01/11/2021 5: 0.32461; Date (DD/MM/YY):01/11/2021 6: 0.33707; Initial: 7: 0.34922 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):01/11/2021 1: 0; Date (DD/MM/YY):01/11/2021 2: 0; Date (DD/MM/YY):01/11/2021 3: 0; Date (DD/MM/YY):01/11/2021 4: 0; Date (DD/MM/YY):01/11/2021 5: 0; Date (DD/MM/YY):01/11/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):01/11/2021 1: 0; Date (DD/MM/YY):01/11/2021 2: 0; Date (DD/MM/YY):01/11/2021 3: 0; Date (DD/MM/YY):01/11/2021 4: 0; Date (DD/MM/YY):01/11/2021 5: 0; Date (DD/MM/YY):01/11/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):01/11/2021 1: 0; Date (DD/MM/YY):01/11/2021 2: 0; Date (DD/MM/YY):01/11/2021 3: 0; Date (DD/MM/YY):01/11/2021 4: 0; Date (DD/MM/YY):01/11/2021 5: 0; Date (DD/MM/YY):01/11/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):01/11/2021 1: 0; Date (DD/MM/YY):01/11/2021 2: 0; Date (DD/MM/YY):01/11/2021 3: 0; Date (DD/MM/YY):01/11/2021 4: 0; Date (DD/MM/YY):01/11/2021 5: 0; Date (DD/MM/YY):01/11/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass