## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1943.708 | 1939.5919 | 1972.0273 | 2046.6336 | 2037.752 | 2060.1255 | 2009.5266 | -- | -- | --
Post Opto-pack Burn-in |  | 1807.0586 | 1791.2634 | 1852.2563 | 1899.5956 | 1878.728 | 1941.2328 | 1898.7824 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1417.6947 | 1187.9712 | 1547.5412 | 1320.2444 | 1432.3949 | 1335.5689 | 1517.1757 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1280.3915 | 1073.5344 | 1477.4391 | 1358.7929 | 1495.2658 | 1365.3996 | 1557.3527 | -- | -- | --
Change (%) |  | -9.685 | -9.633 | -4.5299 | 2.9198 | 4.3892 | 2.2336 | 2.6481 | -- | -- | --
Opto-board at 0C |  | 1341.1121 | 1141.1348 | 1574.9381 | 1409.916 | 1537.2475 | 1400.2387 | 1573.0461 | -- | -- | --
Change (%) |  | -5.4019 | -3.9426 | 1.7703 | 6.792 | 7.3201 | 4.8421 | 3.6825 | -- | -- | --
Opto-board at 50C |  | 1173.197 | 983.6615 | 1386.3995 | 1228.6459 | 1388.8071 | 1271.769 | 1391.0134 | -- | -- | --
Change (%) |  | -17.2461 | -17.1982 | -10.4128 | -6.938 | -3.043 | -4.777 | -8.3156 | -- | -- | --
Opto-board QA (10C) |  | 1361.2394 | 1120.3214 | 1504.816 | 1402.7638 | 1486.0064 | 1375.39 | 1548.9419 | -- | -- | --
Change (%) |  | -3.9822 | -5.6946 | -2.7608 | 6.2503 | 3.7428 | 2.9816 | 2.0938 | -- | -- | --
Reception Test |  | 1189.698 | 1010.214 | 1189.545 | 1123.674 | 973.3436 | 957.8027 | 1258.024 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1933.3696 | 1841.9761 | 1879.8387 | 1759.4027 | 1832.3358 | 1881.7627 | 1819.8112 | -- | -- | --
Post Opto-pack Burn-in |  | 1764.4962 | 1686.0041 | 1689.3054 | 1636.4667 | 1687.1914 | 1744.4402 | 1655.07 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1262.2785 | 1275.4116 | 1239.8094 | 1270.4988 | 1161.3028 | 1405.383 | 1406.0967 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1308.8751 | 1190.5954 | 1169.8152 | 1200.5486 | 1151.2695 | 1260.5477 | 1336.5513 | -- | -- | --
Change (%) |  | 3.6915 | -6.6501 | -5.6456 | -5.5057 | -0.86396 | -10.3058 | -4.946 | -- | -- | --
Opto-board at 0C |  | 1411.4508 | 1319.5442 | 1294.626 | 1260.9468 | 1229.0413 | 1325.0546 | 1463.5395 | -- | -- | --
Change (%) |  | 11.8177 | 3.4603 | 4.4214 | -0.75183 | 5.833 | -5.7158 | 4.0853 | -- | -- | --
Opto-board at 50C |  | 1249.7416 | 1180.9897 | 1106.7771 | 1129.138 | 1060.1673 | 1192.7075 | 1297.6534 | -- | -- | --
Change (%) |  | -0.9932 | -7.4032 | -10.7301 | -11.1264 | -8.7088 | -15.1329 | -7.7124 | -- | -- | --
Opto-board QA (10C) |  | 1417.246 | 1332.7241 | 1281.8964 | 1250.7518 | 1187.6707 | 1339.1578 | 1474.2859 | -- | -- | --
Change (%) |  | 12.2768 | 4.4937 | 3.3946 | -1.5543 | 2.2706 | -4.7123 | 4.8495 | -- | -- | --
Reception Test |  | 869.4887 | 1037.49 | 1039.403 | 990.265 | 849.5279 | 958.8247 | 949.222 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 357.5439 |  |  |  | 2021-02-08 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 335.1196 |  |  |  | 2021-02-08 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.38593 |  | 2021-02-08 |  |  |  | Pass
QA | uA | 1 | 0.41219 |  | 2021-02-08 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.3316 | 0.4842 | 0.6288 | 0.58572 | 0.45571 | 0.65973 | 0.49461 | 0.43353 | 0.7322 | 0.5575 | 0.39663 | 0.58568 | 0.36327 | 0.36641 |  |  | Pass
Fall | ns | 1 | 0.7722 | 0.47113 | 0.56415 | 0.53352 | 0.88141 | 0.57917 | 0.49432 | 0.53404 | 0.65876 | 0.63703 | 0.66032 | 0.48702 | 0.55537 | 0.60932 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):02/08/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.51977; Date (DD/MM/YY):02/08/2021 2: 0.53719; Date (DD/MM/YY):02/08/2021 3: 0.54984; Date (DD/MM/YY):02/08/2021 4: 0.57533; Date (DD/MM/YY):02/08/2021 5: 0.58724; Date (DD/MM/YY):02/08/2021 6: 0.59198; Initial: 7: 0.59857 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.50554; Date (DD/MM/YY):02/08/2021 2: 0.53316; Date (DD/MM/YY):02/08/2021 3: 0.53663; Date (DD/MM/YY):02/08/2021 4: 0.54604; Date (DD/MM/YY):02/08/2021 5: 0.57956; Date (DD/MM/YY):02/08/2021 6: 0.58561; Initial: 7: 0.60013 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.66017; Date (DD/MM/YY):02/08/2021 2: 0.69419; Date (DD/MM/YY):02/08/2021 3: 0.6944; Date (DD/MM/YY):02/08/2021 4: 0.64791; Date (DD/MM/YY):02/08/2021 5: 0.69014; Date (DD/MM/YY):02/08/2021 6: 0.70244; Initial: 7: 0.67945 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.65446; Date (DD/MM/YY):02/08/2021 2: 0.62618; Date (DD/MM/YY):02/08/2021 3: 0.65187; Date (DD/MM/YY):02/08/2021 4: 0.63937; Date (DD/MM/YY):02/08/2021 5: 0.63124; Date (DD/MM/YY):02/08/2021 6: 0.66745; Initial: 7: 0.68891 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.07166; Date (DD/MM/YY):02/08/2021 2: 0.3087; Date (DD/MM/YY):02/08/2021 3: 0.05782; Date (DD/MM/YY):02/08/2021 4: 0.08701; Date (DD/MM/YY):02/08/2021 5: 0.15731; Date (DD/MM/YY):02/08/2021 6: 0.11582; Initial: 7: 0.14527 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.06839; Date (DD/MM/YY):02/08/2021 2: 0.29023; Date (DD/MM/YY):02/08/2021 3: 0.06176; Date (DD/MM/YY):02/08/2021 4: 0.07798; Date (DD/MM/YY):02/08/2021 5: 0.14827; Date (DD/MM/YY):02/08/2021 6: 0.12033; Initial: 7: 0.13654 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 13.199; Date (DD/MM/YY):02/08/2021 2: 12.69; Date (DD/MM/YY):02/08/2021 3: 13.237; Date (DD/MM/YY):02/08/2021 4: 12.426; Date (DD/MM/YY):02/08/2021 5: 12.204; Date (DD/MM/YY):02/08/2021 6: 12.83; Initial: 7: 13.105
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 13.229; Date (DD/MM/YY):02/08/2021 2: 12.618; Date (DD/MM/YY):02/08/2021 3: 13.227; Date (DD/MM/YY):02/08/2021 4: 12.411; Date (DD/MM/YY):02/08/2021 5: 12.146; Date (DD/MM/YY):02/08/2021 6: 12.822; Initial: 7: 13.074
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 12.733; Date (DD/MM/YY):02/08/2021 2: 11.668; Date (DD/MM/YY):02/08/2021 3: 12.863; Date (DD/MM/YY):02/08/2021 4: 11.918; Date (DD/MM/YY):02/08/2021 5: 11.567; Date (DD/MM/YY):02/08/2021 6: 12.333; Initial: 7: 12.489
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 12.776; Date (DD/MM/YY):02/08/2021 2: 11.693; Date (DD/MM/YY):02/08/2021 3: 12.842; Date (DD/MM/YY):02/08/2021 4: 11.959; Date (DD/MM/YY):02/08/2021 5: 11.602; Date (DD/MM/YY):02/08/2021 6: 12.3; Initial: 7: 12.488
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 12.9405; Date (DD/MM/YY):02/08/2021 2: 12.1664; Date (DD/MM/YY):02/08/2021 3: 13.0223; Date (DD/MM/YY):02/08/2021 4: 12.1472; Date (DD/MM/YY):02/08/2021 5: 11.8956; Date (DD/MM/YY):02/08/2021 6: 12.5721; Initial: 7: 12.796
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 12.9637; Date (DD/MM/YY):02/08/2021 2: 12.156; Date (DD/MM/YY):02/08/2021 3: 13.0229; Date (DD/MM/YY):02/08/2021 4: 12.1503; Date (DD/MM/YY):02/08/2021 5: 11.8891; Date (DD/MM/YY):02/08/2021 6: 12.5718; Initial: 7: 12.7848
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):02/08/2021 1: 51.807; Date (DD/MM/YY):02/08/2021 2: 48.6796; Date (DD/MM/YY):02/08/2021 3: 52.1474; Date (DD/MM/YY):02/08/2021 4: 48.5687; Date (DD/MM/YY):02/08/2021 5: 47.5654; Date (DD/MM/YY):02/08/2021 6: 50.2883; Initial: 7: 51.1795 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):02/08/2021 1: 51.8041; Date (DD/MM/YY):02/08/2021 2: 48.7241; Date (DD/MM/YY):02/08/2021 3: 52.1102; Date (DD/MM/YY):02/08/2021 4: 48.7; Date (DD/MM/YY):02/08/2021 5: 47.5987; Date (DD/MM/YY):02/08/2021 6: 50.3238; Initial: 7: 51.2705 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):02/08/2021 1: 51.8701; Date (DD/MM/YY):02/08/2021 2: 48.6061; Date (DD/MM/YY):02/08/2021 3: 52.1163; Date (DD/MM/YY):02/08/2021 4: 48.6216; Date (DD/MM/YY):02/08/2021 5: 47.5578; Date (DD/MM/YY):02/08/2021 6: 50.2736; Initial: 7: 51.1307 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/08/2021 1: 1.0142; Date (DD/MM/YY):02/08/2021 2: 1.0051; Date (DD/MM/YY):02/08/2021 3: 1.0087; Date (DD/MM/YY):02/08/2021 4: 1.0422; Date (DD/MM/YY):02/08/2021 5: 1.0365; Date (DD/MM/YY):02/08/2021 6: 1.0397; Initial: 7: 1.0234 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/08/2021 1: 1.008; Date (DD/MM/YY):02/08/2021 2: 0.99937; Date (DD/MM/YY):02/08/2021 3: 1.0032; Date (DD/MM/YY):02/08/2021 4: 1.0351; Date (DD/MM/YY):02/08/2021 5: 1.0314; Date (DD/MM/YY):02/08/2021 6: 1.0355; Initial: 7: 1.021 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/08/2021 1: 1.0476; Date (DD/MM/YY):02/08/2021 2: 1.0438; Date (DD/MM/YY):02/08/2021 3: 1.063; Date (DD/MM/YY):02/08/2021 4: 1.0717; Date (DD/MM/YY):02/08/2021 5: 1.0628; Date (DD/MM/YY):02/08/2021 6: 1.0584; Initial: 7: 1.0737 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/08/2021 1: 1.037; Date (DD/MM/YY):02/08/2021 2: 1.025; Date (DD/MM/YY):02/08/2021 3: 1.0542; Date (DD/MM/YY):02/08/2021 4: 1.07; Date (DD/MM/YY):02/08/2021 5: 1.0496; Date (DD/MM/YY):02/08/2021 6: 1.0525; Initial: 7: 1.0653 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/08/2021 1: 0.3379; Date (DD/MM/YY):02/08/2021 2: 0.32797; Date (DD/MM/YY):02/08/2021 3: 0.33015; Date (DD/MM/YY):02/08/2021 4: 0.34787; Date (DD/MM/YY):02/08/2021 5: 0.34177; Date (DD/MM/YY):02/08/2021 6: 0.33857; Initial: 7: 0.33676 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/08/2021 1: 0.29468; Date (DD/MM/YY):02/08/2021 2: 0.28858; Date (DD/MM/YY):02/08/2021 3: 0.2955; Date (DD/MM/YY):02/08/2021 4: 0.31239; Date (DD/MM/YY):02/08/2021 5: 0.31191; Date (DD/MM/YY):02/08/2021 6: 0.31575; Initial: 7: 0.31118 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/08/2021 1: 0.37477; Date (DD/MM/YY):02/08/2021 2: 0.37186; Date (DD/MM/YY):02/08/2021 3: 0.38539; Date (DD/MM/YY):02/08/2021 4: 0.37904; Date (DD/MM/YY):02/08/2021 5: 0.37962; Date (DD/MM/YY):02/08/2021 6: 0.37196; Initial: 7: 0.38388 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/08/2021 1: 0.35047; Date (DD/MM/YY):02/08/2021 2: 0.33601; Date (DD/MM/YY):02/08/2021 3: 0.358; Date (DD/MM/YY):02/08/2021 4: 0.36754; Date (DD/MM/YY):02/08/2021 5: 0.35135; Date (DD/MM/YY):02/08/2021 6: 0.3513; Initial: 7: 0.35945 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/08/2021 1: 0; Date (DD/MM/YY):02/08/2021 2: 0; Date (DD/MM/YY):02/08/2021 3: 0; Date (DD/MM/YY):02/08/2021 4: 0; Date (DD/MM/YY):02/08/2021 5: 0; Date (DD/MM/YY):02/08/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/08/2021 1: 0; Date (DD/MM/YY):02/08/2021 2: 0; Date (DD/MM/YY):02/08/2021 3: 0; Date (DD/MM/YY):02/08/2021 4: 0; Date (DD/MM/YY):02/08/2021 5: 0; Date (DD/MM/YY):02/08/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/08/2021 1: 0; Date (DD/MM/YY):02/08/2021 2: 0; Date (DD/MM/YY):02/08/2021 3: 0; Date (DD/MM/YY):02/08/2021 4: 0; Date (DD/MM/YY):02/08/2021 5: 0; Date (DD/MM/YY):02/08/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/08/2021 1: 0; Date (DD/MM/YY):02/08/2021 2: 0; Date (DD/MM/YY):02/08/2021 3: 0; Date (DD/MM/YY):02/08/2021 4: 0; Date (DD/MM/YY):02/08/2021 5: 0; Date (DD/MM/YY):02/08/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass