## Sheet1
Opto-board Assembly Status
0
Opto-board S/N: |  |  |  | Site(check one): |  | OSU |  | Seigen
Opto-board flavor (check one): |  |  | B-Layer |  | Left |  | Right
VDC S/N | 0
0
DORIC S/N |  |  | -- | --
Step |  |  |  | Date | Initial | Comments
1) Reinforce 80-pin Connector
2) Mechanical tolerance test
3) short test
4) VDC mounting
5) DORIC mounting
6) Measure VCSEL power
7) Measure PIN respnsivity
8) Glue VCSEL opto-pack (?)
9) Glue Housing
10.1) Glue 2nd VCSEL opto-pack(?)
10.2) Glue housing (?)
11.1) Glue PIN opto-pack
11.2) Glue housing
12) Solder VCSEL opto-pack
13) Solder 2nd VCSEL opto-pack (?)
14) Solder PIN opto-pack
15) Wire bonding
16) Basic Functionality
17) Encapsulation

## Sheet2
Opto-Board QA data Sheet: Optical Power and Responsivity
Opto-board S/N
0
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 1895.6434 | 1747.8531 | 1877.595 | 1779.5294 | 1823.9208 | 1865.9268 | 1885.9719 | -- | -- | --
Post Opto-pack Burn-in |  | 1777.729 | 1655.4927 | 1770.8661 | 1681.0426 | 1754.6195 | 1790.9899 | 1825.3593 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1422.3373 | 1113.5457 | 1514.4749 | 1215.5783 | 1427.2089 | 1307.7767 | 1608.5664 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1291.3691 | 1022.7496 | 1422.1054 | 1241.8748 | 1407.0743 | 1304.0599 | 1476.9063 | -- | -- | --
Change (%) |  | -9.208 | -8.1538 | -6.0991 | 2.1633 | -1.4108 | -0.2842 | -8.1849 | -- | -- | --
Opto-board at 0C |  | 1405.2566 | 1046.2667 | 1541.6318 | 1288.2925 | 1517.9934 | 1426.8271 | 1656.1902 | -- | -- | --
Change (%) |  | -1.2009 | -6.0419 | 1.7932 | 5.9819 | 6.361 | 9.1033 | 2.9606 | -- | -- | --
Opto-board at 50C |  | 1248.7641 | 958.2897 | 1394.1386 | 1143.3929 | 1379.6445 | 1266.8221 | 1497.1128 | -- | -- | --
Change (%) |  | -12.2034 | -13.9425 | -7.9457 | -5.9384 | -3.3327 | -3.1316 | -6.9288 | -- | -- | --
Opto-board QA (10C) |  | 1425.6741 | 1046.7118 | 1513.0951 | 1279.0609 | 1532.313 | 1427.0292 | 1654.508 | -- | -- | --
Change (%) |  | 0.2346 | -6.0019 | -0.09111 | 5.2224 | 7.3643 | 9.1187 | 2.8561 | -- | -- | --
Reception Test |  | 1217.211 | 959.9067 | 1175.804 | 1008.241 | 918.0053 | 926.0391 | 1243.404 | -- | -- | --
VCSEL Opto-pack S/N:
Power (uW) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | P> 500 uW & dP ,20% ?
Pre Opto-pack Burn-in |  | 2161.3962 | 2167.4198 | 2124.9108 | 2117.7405 | 2203.5477 | 2198.3786 | 2120.2542 | -- | -- | --
Post Opto-pack Burn-in |  | 2000.4427 | 2053.0806 | 1992.3365 | 1965.2875 | 2057.6738 | 2026.8544 | 1999.8598 | -- | -- | --
Change (%) | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Pre Opto-board Burn-in |  | 1321.0786 | 1387.2488 | 1437.5335 | 1328.6192 | 1357.4045 | 1497.0353 | 1515.3124 | -- | -- | --
Change (%) |  | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | -- | -- | --
Post Opto-board Burn-in |  | 1314.6614 | 1329.5252 | 1303.8729 | 1349.5969 | 1341.5044 | 1368.2657 | 1502.3338 | -- | -- | --
Change (%) |  | -0.48575 | -4.161 | -9.2979 | 1.5789 | -1.1714 | -8.6016 | -0.85649 | -- | -- | --
Opto-board at 0C |  | 1459.7508 | 1420.5873 | 1447.7504 | 1424.1394 | 1464.9738 | 1508.0964 | 1624.2832 | -- | -- | --
Change (%) |  | 10.4969 | 2.4032 | 0.71073 | 7.1894 | 7.9246 | 0.73886 | 7.1913 | -- | -- | --
Opto-board at 50C |  | 1266.3433 | 1240.9115 | 1250.7284 | 1273.2358 | 1294.0307 | 1321.1015 | 1403.3371 | -- | -- | --
Change (%) |  | -4.1432 | -10.5487 | -12.9948 | -4.1685 | -4.6688 | -11.7521 | -7.3896 | -- | -- | --
Opto-board QA (10C) |  | 1419.4542 | 1421.2843 | 1434.1986 | 1387.557 | 1403.7445 | 1474.7631 | 1622.0227 | -- | -- | --
Change (%) |  | 7.4466 | 2.4535 | -0.23198 | 4.436 | 3.4139 | -1.4878 | 7.0421 | -- | -- | --
Reception Test |  | 922.8613 | 1220.149 | 1164.625 | 1224.659 | 1100.321 | 1056.639 | 1102.374 | -- | -- | --

## Sheet3
PIN Opto-pack S/N:
Responsivity (A/W) | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | Date | Initial | R> 0.5 A/W & dR <5%
Opto-pack QA | [8 empty] | -- | -- | --
Pre-mount | [8 empty] | -- | -- | --
Change (%)

## Sheet4
Opto-board QA Data Sheet
Opto-board S/N:
0
Current consumption:
| Unit | Min | Max | I |  |  | dI <5% | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | mA | 323 | 371 | 364.7461 |  |  |  | 2021-02-08 |  |  |  | Pass
QA | mA | 308.5 | 350.5 | 341.4551 |  |  |  | 2021-02-08 |  |  |  | Pass
*The allowable range for current consumption for a B-layer opto-board is 330-400 mA.
Dark current:
| Unit | Max | I |  | Date |  | Initial |  | Pass/Fail (?)
Pre-QA | uA | 1 | 0.47574 |  | 2021-02-08 |  |  |  | Pass
QA | uA | 1 | 0.58776 |  | 2021-02-08 |  |  |  | Pass
Optical
| Unit | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | Pass/Fail (?)
Rise | ns | 1 | 0.37667 | 0.31156 | 0.46354 | 0.45602 | 0.55721 | 0.49198 | 0.29771 | 0.48372 | 0.45689 | 0.5721 | 0.3093 | 0.61337 | 0.39313 | 0.46947 |  |  | Pass
Fall | ns | 1 | 0.55814 | 0.58636 | 0.6216 | 0.56772 | 0.56821 | 0.5408 | 0.53262 | 0.51712 | 0.56346 | 0.73341 | 0.72904 | 0.49301 | 0.4288 | 0.49612 |  |  | Pass

## optical calc
Post Mounting @ room Temp
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
-10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
10C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
50C
Power
Power 2
Power 3
channel# | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
| 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000
avg | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000 | 1000

## Sheet5
Electrical: |  |  |  | Date (DD/MM/YY):02/08/2021 | [5 empty] | Initial:
| Unit | Min | Max | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | Pass/fail(?)
Clk Rise | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.50737; Date (DD/MM/YY):02/08/2021 2: 0.52976; Date (DD/MM/YY):02/08/2021 3: 0.5539; Date (DD/MM/YY):02/08/2021 4: 0.56627; Date (DD/MM/YY):02/08/2021 5: 0.5808; Date (DD/MM/YY):02/08/2021 6: 0.58471; Initial: 7: 0.59817 | Pass
Clk Fall | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.49236; Date (DD/MM/YY):02/08/2021 2: 0.51725; Date (DD/MM/YY):02/08/2021 3: 0.53715; Date (DD/MM/YY):02/08/2021 4: 0.5519; Date (DD/MM/YY):02/08/2021 5: 0.5729; Date (DD/MM/YY):02/08/2021 6: 0.58198; Initial: 7: 0.59626 | Pass
Data Rise | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.68443; Date (DD/MM/YY):02/08/2021 2: 0.68771; Date (DD/MM/YY):02/08/2021 3: 0.67997; Date (DD/MM/YY):02/08/2021 4: 0.62959; Date (DD/MM/YY):02/08/2021 5: 0.66878; Date (DD/MM/YY):02/08/2021 6: 0.66947; Initial: 7: 0.68351 | Pass
Data Fall | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.65572; Date (DD/MM/YY):02/08/2021 2: 0.62294; Date (DD/MM/YY):02/08/2021 3: 0.64867; Date (DD/MM/YY):02/08/2021 4: 0.64477; Date (DD/MM/YY):02/08/2021 5: 0.6391; Date (DD/MM/YY):02/08/2021 6: 0.64711; Initial: 7: 0.67391 | Pass
Jitter @ IPIN = 100uA | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.1534; Date (DD/MM/YY):02/08/2021 2: 0.14147; Date (DD/MM/YY):02/08/2021 3: 0.1149; Date (DD/MM/YY):02/08/2021 4: 0.08125; Date (DD/MM/YY):02/08/2021 5: 0.06953; Date (DD/MM/YY):02/08/2021 6: 0.06072; Initial: 7: 0.07698 | Pass
Jitter @ IPIN = 1000uA | ns | -- | 1 | Date (DD/MM/YY):02/08/2021 1: 0.14784; Date (DD/MM/YY):02/08/2021 2: 0.13622; Date (DD/MM/YY):02/08/2021 3: 0.10195; Date (DD/MM/YY):02/08/2021 4: 0.06485; Date (DD/MM/YY):02/08/2021 5: 0.05093; Date (DD/MM/YY):02/08/2021 6: 0.05272; Initial: 7: 0.05744 | Pass
Pos Width max @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 13.043; Date (DD/MM/YY):02/08/2021 2: 12.32; Date (DD/MM/YY):02/08/2021 3: 12.592; Date (DD/MM/YY):02/08/2021 4: 12.416; Date (DD/MM/YY):02/08/2021 5: 12.044; Date (DD/MM/YY):02/08/2021 6: 12.788; Initial: 7: 12.634
Pos Width max @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 12.983; Date (DD/MM/YY):02/08/2021 2: 12.236; Date (DD/MM/YY):02/08/2021 3: 12.526; Date (DD/MM/YY):02/08/2021 4: 12.384; Date (DD/MM/YY):02/08/2021 5: 11.976; Date (DD/MM/YY):02/08/2021 6: 12.736; Initial: 7: 12.506
Pos Width min @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 12.314; Date (DD/MM/YY):02/08/2021 2: 11.58; Date (DD/MM/YY):02/08/2021 3: 11.929; Date (DD/MM/YY):02/08/2021 4: 11.955; Date (DD/MM/YY):02/08/2021 5: 11.627; Date (DD/MM/YY):02/08/2021 6: 12.409; Initial: 7: 12.118
Pos Width min @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 12.311; Date (DD/MM/YY):02/08/2021 2: 11.597; Date (DD/MM/YY):02/08/2021 3: 12.01; Date (DD/MM/YY):02/08/2021 4: 12.017; Date (DD/MM/YY):02/08/2021 5: 11.666; Date (DD/MM/YY):02/08/2021 6: 12.418; Initial: 7: 12.137
Pos Width mean @ IPIN = 100uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 12.6378; Date (DD/MM/YY):02/08/2021 2: 11.9142; Date (DD/MM/YY):02/08/2021 3: 12.2498; Date (DD/MM/YY):02/08/2021 4: 12.1961; Date (DD/MM/YY):02/08/2021 5: 11.824; Date (DD/MM/YY):02/08/2021 6: 12.5845; Initial: 7: 12.3195
Pos Width mean @ IPIN = 1000uA |  |  |  | Date (DD/MM/YY):02/08/2021 1: 12.6374; Date (DD/MM/YY):02/08/2021 2: 11.9176; Date (DD/MM/YY):02/08/2021 3: 12.2534; Date (DD/MM/YY):02/08/2021 4: 12.2061; Date (DD/MM/YY):02/08/2021 5: 11.8182; Date (DD/MM/YY):02/08/2021 6: 12.5891; Initial: 7: 12.3192
GoNoGoDuty Cycle | % | 46 | 54 | Date (DD/MM/YY):02/08/2021 1: 50.6128; Date (DD/MM/YY):02/08/2021 2: 47.7668; Date (DD/MM/YY):02/08/2021 3: 49.0002; Date (DD/MM/YY):02/08/2021 4: 48.9209; Date (DD/MM/YY):02/08/2021 5: 47.3447; Date (DD/MM/YY):02/08/2021 6: 50.2931; Initial: 7: 49.396 | Pass
Duty Cycle @ IPIN = 100uA | % | 46 | 54 | Date (DD/MM/YY):02/08/2021 1: 50.612; Date (DD/MM/YY):02/08/2021 2: 47.7134; Date (DD/MM/YY):02/08/2021 3: 49.0494; Date (DD/MM/YY):02/08/2021 4: 48.7822; Date (DD/MM/YY):02/08/2021 5: 47.2931; Date (DD/MM/YY):02/08/2021 6: 50.3578; Initial: 7: 49.3587 | Pass
Duty Cycle @ IPIN = 1000uA | % | 46 | 54 | Date (DD/MM/YY):02/08/2021 1: 50.5639; Date (DD/MM/YY):02/08/2021 2: 47.7035; Date (DD/MM/YY):02/08/2021 3: 49.0311; Date (DD/MM/YY):02/08/2021 4: 48.8294; Date (DD/MM/YY):02/08/2021 5: 47.2907; Date (DD/MM/YY):02/08/2021 6: 50.3605; Initial: 7: 49.2771 | Pass
Clock+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/08/2021 1: 1.0839; Date (DD/MM/YY):02/08/2021 2: 1.0826; Date (DD/MM/YY):02/08/2021 3: 1.0682; Date (DD/MM/YY):02/08/2021 4: 1.0605; Date (DD/MM/YY):02/08/2021 5: 1.0391; Date (DD/MM/YY):02/08/2021 6: 1.0298; Initial: 7: 1.0485 | Pass
Clock- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/08/2021 1: 1.0749; Date (DD/MM/YY):02/08/2021 2: 1.0755; Date (DD/MM/YY):02/08/2021 3: 1.0596; Date (DD/MM/YY):02/08/2021 4: 1.0533; Date (DD/MM/YY):02/08/2021 5: 1.0352; Date (DD/MM/YY):02/08/2021 6: 1.0279; Initial: 7: 1.0454 | Pass
Data+ common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/08/2021 1: 1.1069; Date (DD/MM/YY):02/08/2021 2: 1.1129; Date (DD/MM/YY):02/08/2021 3: 1.1251; Date (DD/MM/YY):02/08/2021 4: 1.064; Date (DD/MM/YY):02/08/2021 5: 1.0677; Date (DD/MM/YY):02/08/2021 6: 1.0772; Initial: 7: 1.0756 | Pass
Data- common mode | V | 0.9 | 1.5 | Date (DD/MM/YY):02/08/2021 1: 1.0955; Date (DD/MM/YY):02/08/2021 2: 1.0908; Date (DD/MM/YY):02/08/2021 3: 1.116; Date (DD/MM/YY):02/08/2021 4: 1.0671; Date (DD/MM/YY):02/08/2021 5: 1.0552; Date (DD/MM/YY):02/08/2021 6: 1.0733; Initial: 7: 1.068 | Pass
Clock+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/08/2021 1: 0.3757; Date (DD/MM/YY):02/08/2021 2: 0.37142; Date (DD/MM/YY):02/08/2021 3: 0.36427; Date (DD/MM/YY):02/08/2021 4: 0.35574; Date (DD/MM/YY):02/08/2021 5: 0.34028; Date (DD/MM/YY):02/08/2021 6: 0.33174; Initial: 7: 0.34721 | Pass
Clock- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/08/2021 1: 0.32974; Date (DD/MM/YY):02/08/2021 2: 0.32869; Date (DD/MM/YY):02/08/2021 3: 0.32775; Date (DD/MM/YY):02/08/2021 4: 0.31976; Date (DD/MM/YY):02/08/2021 5: 0.31316; Date (DD/MM/YY):02/08/2021 6: 0.31074; Initial: 7: 0.31996 | Pass
Data+ amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/08/2021 1: 0.40816; Date (DD/MM/YY):02/08/2021 2: 0.4154; Date (DD/MM/YY):02/08/2021 3: 0.4213; Date (DD/MM/YY):02/08/2021 4: 0.37013; Date (DD/MM/YY):02/08/2021 5: 0.37912; Date (DD/MM/YY):02/08/2021 6: 0.37991; Initial: 7: 0.38306 | Pass
Data- amplitude | V | 0.2 | 0.5 | Date (DD/MM/YY):02/08/2021 1: 0.38583; Date (DD/MM/YY):02/08/2021 2: 0.37716; Date (DD/MM/YY):02/08/2021 3: 0.39508; Date (DD/MM/YY):02/08/2021 4: 0.36587; Date (DD/MM/YY):02/08/2021 5: 0.35151; Date (DD/MM/YY):02/08/2021 6: 0.36106; Initial: 7: 0.35786 | Pass
Bit errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/08/2021 1: 0; Date (DD/MM/YY):02/08/2021 2: 0; Date (DD/MM/YY):02/08/2021 3: 0; Date (DD/MM/YY):02/08/2021 4: 0; Date (DD/MM/YY):02/08/2021 5: 0; Date (DD/MM/YY):02/08/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 100uA | -- | -- | 0 | Date (DD/MM/YY):02/08/2021 1: 0; Date (DD/MM/YY):02/08/2021 2: 0; Date (DD/MM/YY):02/08/2021 3: 0; Date (DD/MM/YY):02/08/2021 4: 0; Date (DD/MM/YY):02/08/2021 5: 0; Date (DD/MM/YY):02/08/2021 6: 0; Initial: 7: 0 | Pass
Bit errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/08/2021 1: 0; Date (DD/MM/YY):02/08/2021 2: 0; Date (DD/MM/YY):02/08/2021 3: 0; Date (DD/MM/YY):02/08/2021 4: 0; Date (DD/MM/YY):02/08/2021 5: 0; Date (DD/MM/YY):02/08/2021 6: 0; Initial: 7: 0 | Pass
Clk errors @ IPIN = 1000uA | -- | -- | 0 | Date (DD/MM/YY):02/08/2021 1: 0; Date (DD/MM/YY):02/08/2021 2: 0; Date (DD/MM/YY):02/08/2021 3: 0; Date (DD/MM/YY):02/08/2021 4: 0; Date (DD/MM/YY):02/08/2021 5: 0; Date (DD/MM/YY):02/08/2021 6: 0; Initial: 7: 0 | Pass
VDC Bit errors | -- | -- | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Pass